## Äsa16
Measurement Name | Äsa16 (Normal Range)
Time of run | 2019-04-16 13:59:54 (1555419594)
Duration | 67.5 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8505e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 75.05 | 74.8029 | 73.9714 | 72.806 | 71.5374 | 69.029 | 69.4835 | 68.9125 | 68.4919 | 70.2352 | 68.8521 | 69.5401 | 70.487 | 75.7698 | 81.8845 | 84.8199 | 85.6708 | 83.3917 | 82.893 | 82.979 | 80.4579 | 77.3014 | 74.3231 | 71.4467 | 67.6114 | 65.5476 | 62.4911 | 60.4648 | 58.741 | 57.0705 | 54.7062 | 92.7563 | 91.9616
SEL | 93.343 | 93.0959 | 92.2644 | 91.099 | 89.8304 | 87.322 | 87.7765 | 87.2056 | 86.7849 | 88.5282 | 87.1451 | 87.8331 | 88.78 | 94.0628 | 100.1775 | 103.1129 | 103.9638 | 101.6848 | 101.186 | 101.2721 | 98.7509 | 95.5944 | 92.6162 | 89.7397 | 85.9044 | 83.8406 | 80.7841 | 78.7578 | 77.034 | 75.3636 | 72.9992 | 111.0493 | 110.2547
Min | 47.8489 | 44.9662 | 44.0533 | 42.1332 | 44.4359 | 41.5679 | 38.308 | 29.366 | 26.923 | 26.7793 | 24.1307 | 27.173 | 28.3079 | 29.5173 | 31.9129 | 37.0407 | 37.1113 | 33.4892 | 34.7587 | 28.5619 | 19.361 | 15.137 | 15.1138 | 14.2514 | 14.5807 | 17.2466 | 16.6946 | 17.1589 | 20.1197 | 19.2802 | 24.2034
Max | 90.2657 | 87.1133 | 85.1929 | 84.7991 | 84.886 | 79.5401 | 85.566 | 83.6562 | 83.8261 | 86.5766 | 81.7164 | 81.0035 | 83.3493 | 87.3025 | 94.2513 | 95.4928 | 95.4073 | 92.1807 | 95.1512 | 94.3698 | 91.4366 | 88.2539 | 85.966 | 81.735 | 77.9063 | 76.4771 | 72.6012 | 72.3113 | 74.6981 | 75.23 | 73.5498
At Max (LIN) | 86.1935 | 75.9631 | 73.3167 | 73.3454 | 78.2376 | 77.9796 | 79.8004 | 77.8789 | 78.7029 | 83.6428 | 80.5328 | 79.4313 | 81.3465 | 85.2555 | 89.4045 | 92.8252 | 95.4073 | 91.0727 | 95.002 | 90.7016 | 91.1282 | 87.6181 | 85.2653 | 81.4254 | 77.8811 | 75.9757 | 72.2795 | 70.1181 | 66.8389 | 63.9191 | 60.3504 | 102.0763 | 101.5683
At Max (A) | 86.1935 | 75.9631 | 73.3167 | 73.3454 | 78.2376 | 77.9796 | 79.8004 | 77.8789 | 78.7029 | 83.6428 | 80.5328 | 79.4313 | 81.3465 | 85.2555 | 89.4045 | 92.8252 | 95.4073 | 91.0727 | 95.002 | 90.7016 | 91.1282 | 87.6181 | 85.2653 | 81.4254 | 77.8811 | 75.9757 | 72.2795 | 70.1181 | 66.8389 | 63.9191 | 60.3504 | 102.0763 | 101.5683

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 19.5483 | 16.7978 | 15.1004 | 14.2464 | 12.9433 | 10.0693 | 8.4493 | 6.9584 | 7.541 | 6.7498 | 6.4394 | 7.4453 | 6.9639 | 8.0738 | 8.8365 | 9.8531 | 9.8222 | 9.7122 | 9.5631 | 9.7146 | 10.1881 | 10.5396 | 11.0462 | 11.8965 | 12.8362 | 13.6808 | 14.6521 | 15.7569 | 16.8317 | 18.0661 | 19.8382 | 28.4082 | 24.0055
SEL | 37.8413 | 35.0909 | 33.3935 | 32.5394 | 31.2364 | 28.3623 | 26.7424 | 25.2514 | 25.834 | 25.0429 | 24.7324 | 25.7384 | 25.2569 | 26.3668 | 27.1296 | 28.1461 | 28.1152 | 28.0052 | 27.8561 | 28.0076 | 28.4811 | 28.8327 | 29.3392 | 30.1895 | 31.1293 | 31.9739 | 32.9452 | 34.05 | 35.1247 | 36.3592 | 38.1313 | 46.7012 | 42.2985
Min | 2.4148 | -0.90013 | 0.79996 | -0.055687 | -1.9852 | -0.064136 | 0.85362 | -0.44219 | 0.94195 | 0.37718 | 1.6708 | 3.1416 | 3.2877 | 4.3715 | 4.1159 | 6.0911 | 6.5021 | 6.6119 | 7.3707 | 8.1161 | 8.8368 | 9.4006 | 9.951 | 10.8842 | 11.9282 | 12.9131 | 13.9047 | 14.7935 | 15.9583 | 17.1817 | 19.0747
Max | 26.5612 | 24.1627 | 23.2606 | 26.2377 | 21.9617 | 17.9007 | 18.5817 | 14.5494 | 13.2139 | 14.343 | 12.6379 | 14.1083 | 11.8162 | 13.8963 | 14.1404 | 17.4741 | 14.5451 | 13.7448 | 12.0325 | 12.5251 | 13.5514 | 11.768 | 12.3846 | 12.9372 | 13.8939 | 14.7792 | 15.5339 | 16.7943 | 17.8379 | 19.0799 | 20.6334
At Max (LIN) | 25.4221 | 22.3115 | 18.8094 | 26.2377 | 19.9791 | 14.5204 | 10.0573 | 11.9471 | 10.382 | 8.496 | 9.295 | 12.2761 | 11.7198 | 11.4717 | 11.3815 | 11.4163 | 9.9615 | 8.6197 | 9.0959 | 9.3142 | 9.3647 | 9.8606 | 10.5252 | 11.5552 | 12.7793 | 13.5402 | 14.1347 | 15.6819 | 16.8841 | 18.0051 | 19.7058 | 32.1918 | 23.9488
At Max (A) | 13.5177 | 10.4694 | 7.2496 | 7.8004 | 7.9886 | 9.2891 | 6.3418 | 7.8228 | 4.1274 | 7.2359 | 7.43 | 12.5324 | 10.6172 | 10.5482 | 11.2015 | 13.3215 | 14.5451 | 11.5489 | 11.5939 | 10.9862 | 11.1895 | 10.3936 | 10.5093 | 11.6356 | 12.6863 | 13.3647 | 14.4354 | 15.7394 | 16.8427 | 17.9071 | 19.2816 | 27.6269 | 24.6541

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.9116 | 19.3721 | 18.6931 | 18.9005 | 18.6612 | 18.5234 | 18.8456 | 19.0733 | 19.7513 | 20.1532 | 20.9483 | 21.615 | 22.377 | 23.03 | 23.977 | 24.8596 | 25.3603 | 26.0323 | 26.7755 | 27.584 | 28.4777 | 29.4363 | 30.5642 | 31.3378 | 32.3118 | 33.2093 | 34.2013 | 35.3193 | 36.3766 | 37.6234 | 39.4137 | 45.6387 | 42.9239
SEL | 39.2046 | 37.6651 | 36.9862 | 37.1935 | 36.9542 | 36.8164 | 37.1387 | 37.3663 | 38.0444 | 38.4462 | 39.2414 | 39.908 | 40.67 | 41.323 | 42.2701 | 43.1526 | 43.6533 | 44.3254 | 45.0685 | 45.8771 | 46.7708 | 47.7294 | 48.8573 | 49.6308 | 50.6048 | 51.5023 | 52.4943 | 53.6123 | 54.6696 | 55.9165 | 57.7068 | 63.9317 | 61.2169
Min | 8.3867 | 6.579 | 8.7723 | 8.7294 | 11.7616 | 11.0373 | 13.0038 | 13.8817 | 14.0198 | 14.921 | 17.0049 | 18.0743 | 19.2063 | 19.9669 | 20.8692 | 22.5229 | 22.8979 | 23.8659 | 25.0154 | 25.9957 | 26.9262 | 28.0026 | 29.2457 | 30.1205 | 31.2897 | 31.9187 | 33.0631 | 34.2477 | 35.2227 | 36.6393 | 38.5822
Max | 28.0433 | 26.2837 | 25.6048 | 26.069 | 24.8034 | 25.7588 | 24.1247 | 22.9495 | 23.4059 | 24.3492 | 24.4832 | 24.4628 | 24.8794 | 25.8955 | 26.481 | 27.4039 | 27.1532 | 27.8838 | 28.3447 | 29.1356 | 29.9738 | 30.7024 | 32.4371 | 32.4104 | 33.6997 | 34.2563 | 35.2188 | 36.0996 | 37.2546 | 38.6382 | 40.1976
At Max (LIN) | 22.153 | 26.2703 | 25.1679 | 19.1665 | 24.8034 | 19.6292 | 20.9662 | 21.9925 | 20.9783 | 23.519 | 18.5231 | 22.3848 | 23.2475 | 25.8892 | 23.5843 | 25.6805 | 26.2861 | 25.3321 | 27.3108 | 29.1356 | 29.3802 | 30.2176 | 31.6243 | 32.1445 | 33.6997 | 33.2558 | 34.669 | 35.9686 | 36.3336 | 38.2282 | 39.9012 | 46.3012 | 43.6005
At Max (A) | 22.3268 | 21.4079 | 23.7299 | 17.7964 | 19.5187 | 16.2986 | 20.9999 | 20.278 | 20.7617 | 21.6055 | 20.7919 | 22.2539 | 23.787 | 25.5014 | 23.8781 | 24.1073 | 25.2312 | 26.2142 | 27.3712 | 28.7362 | 29.9738 | 30.3734 | 31.7116 | 32.3516 | 33.0005 | 33.7493 | 35.0943 | 35.6447 | 36.8203 | 38.0915 | 39.6067 | 46.1911 | 43.6379

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 95.3927 | 93.5904 | 96.2453 | 101.3521 | 101.1287 | 106.7106 | 113.392 | 112.8426 | 115.2378 | 117.7196 | 120.5368 | 125.0946 | 130.7947 | 137.3822 | 144.7272 | 150.6781 | 150.8155 | 152.9895 | 147.9552 | 147.1815 | 142.4601 | 141.0582 | 137.1393 | 134.4928 | 128.5999 | 131.3274 | 137.0104 | 144.4181 | 139.4826 | 138.955 | 131.7701 | 158.3227 | 157.827
SEL | 113.6857 | 111.8834 | 114.5383 | 119.6452 | 119.4218 | 125.0036 | 131.685 | 131.1356 | 133.5309 | 136.0126 | 138.8298 | 143.3876 | 149.0877 | 155.6752 | 163.0202 | 168.9711 | 169.1086 | 171.2825 | 166.2482 | 165.4745 | 160.7531 | 159.3512 | 155.4323 | 152.7858 | 146.8929 | 149.6205 | 155.3034 | 162.7112 | 157.7757 | 157.248 | 150.0632 | 176.6158 | 176.1201
Min | 54.5536 | 52.5033 | 57.5127 | 57.8008 | 60.2743 | 60.8126 | 62.2656 | 62.4489 | 64.3067 | 65.6562 | 67.3442 | 67.0387 | 69.2205 | 71.1828 | 72.8555 | 78.4295 | 79.2862 | 77.9151 | 88.0814 | 81.3079 | 76.3716 | 77.1504 | 77.9204 | 79.0589 | 80.1151 | 81.6926 | 85.5297 | 97.9412 | 90.6871 | 96.2153 | 104.2595
Max | 111.2303 | 107.1711 | 111.7228 | 118.6112 | 117.4185 | 124.4541 | 132.4001 | 130.8823 | 134.9826 | 136.7514 | 138.3615 | 141.6836 | 146.6326 | 151.4873 | 155.2808 | 162.5277 | 159.7339 | 162.3708 | 157.6329 | 158.9921 | 152.6322 | 151.9088 | 149.1468 | 146.4255 | 139.7857 | 140.8342 | 145.4832 | 154.9964 | 152.6779 | 154.5554 | 147.781
At Max (LIN) | 89.9833 | 89.06 | 95.8741 | 99.3234 | 102.2849 | 105.7148 | 110.8712 | 115.2186 | 114.4892 | 114.5308 | 119.8643 | 124.7044 | 134.9279 | 145.7005 | 150.7755 | 157.7616 | 159.7058 | 162.3708 | 157.0013 | 158.1543 | 151.6904 | 150.9464 | 145.1611 | 144.4035 | 138.1661 | 139.9321 | 144.9657 | 153.2453 | 145.7609 | 142.7911 | 131.8372 | 167.179 | 166.9695
At Max (A) | 89.9833 | 89.06 | 95.8741 | 99.3234 | 102.2849 | 105.7148 | 110.8712 | 115.2186 | 114.4892 | 114.5308 | 119.8643 | 124.7044 | 134.9279 | 145.7005 | 150.7755 | 157.7616 | 159.7058 | 162.3708 | 157.0013 | 158.1543 | 151.6904 | 150.9464 | 145.1611 | 144.4035 | 138.1661 | 139.9321 | 144.9657 | 153.2453 | 145.7609 | 142.7911 | 131.8372 | 167.179 | 166.9695

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 92.9421 | 91.8237 | 92.4046 | 111.2351 | 110.1168 | 110.6977 | 5.4119 | 0.58089 | 102.2036 | 59.8612 | 101.5189 | 43.6529 | 101.8385 | 54.8499 | 100.3249 | 62.2772 | 99.4416 | 44.2221 | 99.924 | 57.2937 | 93.8971 | 2.0734 | 102.8565 | 53.5197 | 102.3802 | 35.8927 | 102.5652 | 53.0357 | 113.5591 | 113.9228 | 113.2259

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 32.4341 | 23.9823 | 25.3204 | 50.7271 | 42.2753 | 43.6135 | 0.17325 | 1.3382 | 37.7477 | 27.4075 | 24.679 | 22.8253 | 29.4675 | 22.275 | 34.4592 | 27.4075 | 24.2953 | 22.8253 | 27.065 | 22.275 | 24.3407 | 0.35839 | 41.1682 | 18.65 | 25.0352 | 14.0678 | 31.6847 | 13.5175 | 48.7965 | 39.0367 | 42.7851

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.5287 | 42.792 | 41.6141 | 64.8217 | 61.0851 | 59.9072 | -1.3051 | -1.1779 | 47.4419 | 45.7018 | 43.905 | 41.7969 | 42.6537 | 40.6569 | 46.9358 | 46.0268 | 43.8731 | 42.1248 | 42.5873 | 40.9641 | 43.1576 | 0.36558 | 48.2943 | 37.9934 | 44.019 | 35.1107 | 42.7951 | 33.8182 | 61.618 | 57.6151 | 55.9865

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 158.1777 | 157.7211 | 157.9194 | 176.4707 | 176.0141 | 176.2124 | -1.7842 | 0.19832 | 167.4854 | 108.064 | 167.3132 | 101.9119 | 167.2885 | 100.5668 | 165.4068 | 112.3611 | 165.1379 | 106.9982 | 165.2178 | 105.6258 | 160.6803 | 2.9593 | 168.853 | 114.5675 | 168.6597 | 108.7517 | 168.7192 | 107.4688 | 185.3287 | 184.9646 | 184.8081