## Äsa17
Measurement Name | Äsa17 (Normal Range)
Time of run | 2019-04-16 14:21:20 (1555420880)
Duration | 47.24 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8505e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 74.6966 | 73.4565 | 72.5406 | 72.6968 | 71.5892 | 69.2174 | 68.488 | 68.7098 | 69.1839 | 68.6073 | 71.5416 | 70.5455 | 71.77 | 76.8097 | 81.4971 | 83.9792 | 84.614 | 83.016 | 80.6662 | 79.7445 | 78.1445 | 75.5372 | 73.8101 | 70.6762 | 67.1207 | 65.1217 | 61.9313 | 59.4827 | 57.603 | 55.6914 | 58.6992 | 91.6747 | 90.5572
SEL | 91.436 | 90.1959 | 89.28 | 89.4362 | 88.3287 | 85.9568 | 85.2274 | 85.4492 | 85.9233 | 85.3468 | 88.281 | 87.2849 | 88.5094 | 93.5492 | 98.2365 | 100.7186 | 101.3534 | 99.7554 | 97.4057 | 96.4839 | 94.8839 | 92.2766 | 90.5495 | 87.4157 | 83.8601 | 81.8612 | 78.6708 | 76.2222 | 74.3424 | 72.4309 | 75.4386 | 108.4141 | 107.2967
Min | 46.8638 | 41.1235 | 45.8895 | 42.72 | 51.8136 | 45.1081 | 36.5205 | 29.4973 | 27.5403 | 27.6645 | 27.8671 | 31.5579 | 34.9075 | 40.4309 | 44.3411 | 48.48 | 47.2245 | 44.5354 | 43.6329 | 37.7578 | 29.1839 | 21.645 | 15.1485 | 14.1311 | 13.3665 | 22.6054 | 20.6201 | 20.2147 | 26.591 | 22.2357 | 28.3469
Max | 86.7003 | 85.1361 | 84.7277 | 82.8857 | 80.8057 | 79.0417 | 80.3613 | 81.46 | 81.5551 | 82.8634 | 86.3704 | 86.1381 | 81.8252 | 85.3168 | 89.9923 | 94.5183 | 95.6814 | 92.6587 | 94.258 | 89.4927 | 89.4334 | 84.6572 | 83.1781 | 81.0865 | 77.0959 | 75.3317 | 72.3836 | 69.6694 | 68.76 | 70.1816 | 76.608
At Max (LIN) | 72.3885 | 74.7345 | 66.6027 | 75.0897 | 73.0706 | 70.7963 | 69.4623 | 66.5083 | 69.6942 | 68.701 | 67.6664 | 71.645 | 74.9164 | 82.525 | 89.2324 | 92.8609 | 95.6814 | 92.6587 | 94.258 | 89.4927 | 89.076 | 84.6572 | 83.1781 | 78.5793 | 76.4858 | 74.4826 | 70.5883 | 68.5771 | 65.6849 | 61.1721 | 59.8864 | 101.3748 | 101.0511
At Max (A) | 72.3885 | 74.7345 | 66.6027 | 75.0897 | 73.0706 | 70.7963 | 69.4623 | 66.5083 | 69.6942 | 68.701 | 67.6664 | 71.645 | 74.9164 | 82.525 | 89.2324 | 92.8609 | 95.6814 | 92.6587 | 94.258 | 89.4927 | 89.076 | 84.6572 | 83.1781 | 78.5793 | 76.4858 | 74.4826 | 70.5883 | 68.5771 | 65.6849 | 61.1721 | 59.8864 | 101.3748 | 101.0511

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 19.8467 | 16.5668 | 15.1612 | 13.9749 | 13.3304 | 10.6828 | 8.6432 | 7.1101 | 7.5175 | 6.578 | 6.9489 | 7.8156 | 7.4555 | 8.4295 | 8.9597 | 9.9514 | 9.639 | 9.6982 | 9.5232 | 9.5754 | 10.0927 | 10.5719 | 10.9832 | 11.8078 | 12.7453 | 13.5969 | 14.5309 | 15.6246 | 16.7421 | 17.9448 | 19.7284 | 28.4062 | 23.933
SEL | 36.5861 | 33.3062 | 31.9006 | 30.7143 | 30.0698 | 27.4222 | 25.3826 | 23.8496 | 24.2569 | 23.3174 | 23.6883 | 24.5551 | 24.195 | 25.169 | 25.6991 | 26.6908 | 26.3784 | 26.4377 | 26.2627 | 26.3148 | 26.8321 | 27.3114 | 27.7226 | 28.5472 | 29.4847 | 30.3363 | 31.2703 | 32.364 | 33.4815 | 34.6842 | 36.4678 | 45.1456 | 40.6725
Min | 4.1562 | 4.6569 | 1.7439 | 1.2337 | 1.7628 | 1.7982 | 0.63705 | 0.65685 | 0.70256 | 0.21549 | 1.1424 | 1.7839 | 3.4649 | 4.2675 | 5.6892 | 6.8472 | 6.7484 | 7.5122 | 7.9693 | 8.1199 | 8.8329 | 9.4975 | 9.9223 | 10.8982 | 11.9049 | 12.6183 | 13.8922 | 14.8789 | 16.0327 | 17.2998 | 19.1947
Max | 26.3776 | 23.8704 | 21.8958 | 22.2628 | 22.7919 | 18.9607 | 17.4389 | 15.5805 | 14.6372 | 13.6849 | 13.8093 | 16.5608 | 11.678 | 12.1858 | 12.2731 | 14.8897 | 13.6316 | 13.1623 | 11.7302 | 11.3847 | 12.0008 | 11.504 | 12.0215 | 12.6291 | 13.633 | 14.2164 | 15.2077 | 16.3258 | 17.7049 | 18.7068 | 20.3812
At Max (LIN) | 24.9697 | 23.8704 | 20.9773 | 19.363 | 18.4474 | 13.8166 | 11.1583 | 10.0771 | 9.9279 | 7.0072 | 8.1066 | 7.503 | 9.4687 | 8.8902 | 8.4572 | 8.5836 | 8.8749 | 9.1309 | 9.2656 | 9.9871 | 10.0488 | 10.4817 | 11.4216 | 12.0728 | 13.5089 | 14.0012 | 14.8716 | 15.7609 | 17.3318 | 18.2525 | 20.2904 | 31.3795 | 24.1684
At Max (A) | 21.4804 | 14.3438 | 13.6853 | 8.8858 | 8.8522 | 7.04 | 6.6396 | 3.6566 | 5.4466 | 3.8474 | 7.0699 | 7.1813 | 5.7714 | 10.0414 | 11.7596 | 13.5871 | 12.5267 | 13.1623 | 11.7302 | 10.6739 | 11.4469 | 10.2915 | 10.5447 | 11.3083 | 12.7038 | 13.6188 | 14.7758 | 15.0886 | 16.6159 | 17.6417 | 19.8697 | 28.4892 | 24.5665

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.0658 | 19.2585 | 18.8843 | 18.4197 | 18.8599 | 18.6899 | 18.7615 | 18.9465 | 19.4946 | 20.3547 | 20.9855 | 21.6379 | 22.5082 | 22.9779 | 23.9572 | 24.8695 | 25.3943 | 26.1603 | 26.8853 | 27.6083 | 28.5661 | 29.7798 | 30.5783 | 31.4041 | 32.354 | 33.2063 | 34.2585 | 35.3681 | 36.407 | 37.6366 | 39.4317 | 45.6762 | 42.9825
SEL | 37.8052 | 35.9979 | 35.6238 | 35.1591 | 35.5993 | 35.4293 | 35.5009 | 35.6859 | 36.2341 | 37.0941 | 37.7249 | 38.3773 | 39.2476 | 39.7173 | 40.6967 | 41.6089 | 42.1337 | 42.8997 | 43.6247 | 44.3477 | 45.3055 | 46.5192 | 47.3177 | 48.1435 | 49.0935 | 49.9458 | 50.998 | 52.1075 | 53.1464 | 54.376 | 56.1711 | 62.4156 | 59.7219
Min | 5.9225 | 7.2887 | 10.6422 | 8.9722 | 10.6601 | 12.4372 | 13.9232 | 13.8164 | 13.701 | 16.306 | 17.0121 | 18.1194 | 19.5593 | 20.2144 | 21.5616 | 22.7235 | 23.4511 | 24.4234 | 25.2678 | 26.3045 | 27.4614 | 28.349 | 29.524 | 30.2233 | 31.4993 | 32.1936 | 33.4855 | 34.4499 | 35.6204 | 36.7064 | 38.692
Max | 27.8834 | 25.401 | 25.1851 | 25.0563 | 25.3139 | 24.2473 | 24.8766 | 22.9248 | 23.6502 | 23.2646 | 24.6701 | 24.3864 | 25.5762 | 25.157 | 26.086 | 26.7946 | 27.0038 | 28.1235 | 28.3396 | 30.6234 | 29.6774 | 32.7613 | 31.5538 | 32.3195 | 33.171 | 33.8864 | 35.0023 | 36.2012 | 37.2365 | 38.4608 | 40.1921
At Max (LIN) | 21.9633 | 20.2695 | 22.0077 | 24.8672 | 21.7792 | 22.956 | 22.8724 | 20.327 | 19.5666 | 20.8727 | 22.3888 | 21.6937 | 23.2754 | 23.7947 | 25.2985 | 25.6075 | 26.9278 | 28.1235 | 27.0216 | 27.7216 | 29.4337 | 31.6463 | 31.1496 | 31.6908 | 32.7731 | 33.5786 | 34.4523 | 36.0739 | 37.1311 | 37.8913 | 39.8478 | 46.2744 | 43.5978
At Max (A) | 22.4833 | 23.2616 | 14.5554 | 18.179 | 20.5966 | 17.7894 | 17.9092 | 19.0927 | 22.2362 | 21.8429 | 20.847 | 21.2012 | 21.8491 | 22.835 | 23.3717 | 24.7337 | 25.2559 | 27.5646 | 27.6559 | 28.2374 | 29.5765 | 32.4572 | 31.3789 | 32.0846 | 32.9997 | 33.6784 | 34.6067 | 35.6363 | 36.7227 | 38.3327 | 39.8587 | 46.2448 | 43.7022

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.9442 | 99.9372 | 102.4724 | 106.701 | 105.7116 | 104.5333 | 110.6832 | 112.3455 | 112.9616 | 115.9987 | 119.5734 | 124.2622 | 131.2324 | 138.0759 | 144.5403 | 149.7392 | 149.9827 | 152.0171 | 146.6632 | 144.6759 | 140.2484 | 138.7328 | 136.7357 | 133.1592 | 127.5106 | 130.2648 | 135.7557 | 143.2001 | 138.9581 | 138.1887 | 135.3768 | 157.2779 | 156.656
SEL | 116.6836 | 116.6767 | 119.2118 | 123.4405 | 122.4511 | 121.2727 | 127.4227 | 129.0849 | 129.7011 | 132.7382 | 136.3129 | 141.0016 | 147.9718 | 154.8153 | 161.2798 | 166.4787 | 166.7221 | 168.7565 | 163.4026 | 161.4153 | 156.9878 | 155.4722 | 153.4751 | 149.8987 | 144.25 | 147.0042 | 152.4951 | 159.9395 | 155.6975 | 154.9281 | 152.1163 | 174.0173 | 173.3954
Min | 54.1462 | 57.2308 | 55.3917 | 58.2509 | 59.8941 | 59.3504 | 62.1391 | 62.7467 | 64.6158 | 66.1091 | 66.9327 | 68.1003 | 69.4818 | 71.5095 | 79.5572 | 80.5512 | 82.241 | 86.9197 | 98.4897 | 92.3827 | 80.9803 | 78.2777 | 78.5955 | 79.6175 | 80.5114 | 82.5361 | 90.9937 | 105.799 | 100.2366 | 103.0573 | 108.4678
Max | 116.9306 | 117.9211 | 121.4031 | 123.7215 | 124.1734 | 117.2971 | 126.8147 | 128.3775 | 131.9253 | 134.5602 | 138.8775 | 142.2517 | 147.1293 | 151.8652 | 156.1473 | 162.3035 | 160.4308 | 162.0654 | 158.0116 | 154.7111 | 151.2041 | 147.9883 | 147.9936 | 144.1427 | 138.8957 | 139.6611 | 143.4066 | 151.341 | 148.4683 | 151.5449 | 153.0096
At Max (LIN) | 88.5491 | 97.8891 | 103.2653 | 103.2786 | 102.3291 | 109.0774 | 115.3341 | 111.2218 | 114.5305 | 116.2743 | 123.3008 | 128.3102 | 139.2805 | 148.22 | 156.1473 | 162.3035 | 159.7603 | 161.0037 | 158.0116 | 151.5291 | 149.0103 | 145.8109 | 141.772 | 142.2951 | 136.2098 | 137.7214 | 142.8294 | 150.2787 | 143.5975 | 140.4739 | 130.4566 | 167.3952 | 166.5944
At Max (A) | 88.5491 | 97.8891 | 103.2653 | 103.2786 | 102.3291 | 109.0774 | 115.3341 | 111.2218 | 114.5305 | 116.2743 | 123.3008 | 128.3102 | 139.2805 | 148.22 | 156.1473 | 162.3035 | 159.7603 | 161.0037 | 158.0116 | 151.5291 | 149.0103 | 145.8109 | 141.772 | 142.2951 | 136.2098 | 137.7214 | 142.8294 | 150.2787 | 143.5975 | 140.4739 | 130.4566 | 167.3952 | 166.5944

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 91.8856 | 90.4264 | 91.3106 | 108.6287 | 107.1695 | 108.0537 | 6.452 | 0.88419 | 101.5102 | 57.2713 | 101.1479 | 53.3587 | 101.4474 | 57.9346 | 99.595 | 57.2713 | 99.0476 | 54.2643 | 99.463 | 59.7688 | 92.8268 | 2.4004 | 102.0657 | 48.5138 | 101.6632 | 46.7442 | 102.0062 | 51.4114 | 112.529 | 111.4755 | 112.6219

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 32.6534 | 23.9276 | 25.367 | 49.3965 | 40.6707 | 42.1101 | -0.56882 | 1.4394 | 38.1135 | 28.0594 | 25.1348 | 23.4894 | 29.4104 | 23.0345 | 34.3872 | 28.264 | 25.1348 | 23.7024 | 27.3572 | 24.311 | 24.2599 | 0.33229 | 41.6108 | 19.5065 | 24.9884 | 16.3773 | 31.817 | 18.0262 | 48.9099 | 37.6002 | 43.2409

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6038 | 42.8528 | 41.6709 | 63.3469 | 59.5959 | 58.414 | -1.2948 | -1.1819 | 47.5418 | 45.8075 | 43.5591 | 42.2576 | 42.3933 | 41.12 | 46.9539 | 45.8075 | 43.3374 | 42.3833 | 42.1779 | 41.3251 | 43.1791 | 0.32626 | 48.6304 | 37.05 | 43.8896 | 33.6475 | 42.7133 | 32.6836 | 61.1215 | 57.2649 | 56.5564

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 157.1521 | 156.528 | 156.8436 | 173.8952 | 173.2711 | 173.5867 | -1.847 | 0.31563 | 167.3445 | 112.225 | 166.5327 | 106.4527 | 167.2622 | 105.3043 | 165.0667 | 112.225 | 164.4322 | 106.4527 | 164.9424 | 105.3043 | 160.2776 | 3.7496 | 168.902 | 103.4675 | 167.9352 | 97.6952 | 168.8374 | 96.5468 | 186.5094 | 184.6639 | 185.5939