## Äsa26
Measurement Name | Äsa26 (Normal Range)
Time of run | 2019-04-16 15:40:31 (1555425631)
Duration | 21.24 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8505e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 73.3225 | 73.6513 | 74.4168 | 75.1371 | 72.4971 | 76.3558 | 71.9241 | 67.9442 | 66.8692 | 67.2471 | 66.0564 | 65.9865 | 67.7089 | 71.5801 | 75.2277 | 74.6415 | 76.5765 | 77.5958 | 73.5045 | 71.2662 | 72.26 | 68.3334 | 65.4116 | 61.4883 | 59.3476 | 58.8078 | 56.3198 | 56.2781 | 53.6718 | 50.1342 | 48.909 | 86.6162 | 83.4316
SEL | 86.5858 | 86.9147 | 87.6802 | 88.4005 | 85.7605 | 89.6191 | 85.1874 | 81.2076 | 80.1326 | 80.5104 | 79.3198 | 79.2499 | 80.9722 | 84.8434 | 88.491 | 87.9049 | 89.8399 | 90.8591 | 86.7679 | 84.5296 | 85.5233 | 81.5967 | 78.6749 | 74.7517 | 72.611 | 72.0712 | 69.5831 | 69.5414 | 66.9352 | 63.3976 | 62.1724 | 99.8796 | 96.695
Min | 51.2262 | 53.4623 | 48.58 | 50.2214 | 52.2916 | 57.0962 | 48.595 | 35.1155 | 31.5001 | 28.899 | 27.9131 | 30.1467 | 30.3858 | 30.0084 | 29.8346 | 33.455 | 36.7972 | 40.2399 | 43.2093 | 30.4081 | 25.7253 | 18.7798 | 16.2194 | 14.4716 | 14.3848 | 20.0781 | 19.1381 | 20.7376 | 26.6027 | 25.3872 | 29.7658
Max | 86.0699 | 85.1674 | 87.2926 | 89.1329 | 82.5889 | 83.3941 | 83.5403 | 80.0254 | 77.2015 | 79.9284 | 76.8237 | 75.6335 | 77.5903 | 83.2686 | 89.3055 | 88.3797 | 90.6043 | 90.4401 | 87.0116 | 83.7892 | 83.4187 | 80.4271 | 76.2886 | 72.2081 | 69.6217 | 69.6796 | 66.3693 | 66.9639 | 63.2205 | 58.691 | 58.4017
At Max (LIN) | 69.7616 | 77.4417 | 78.3873 | 77.0031 | 74.033 | 80.3743 | 76.1702 | 75.9283 | 73.6484 | 72.1116 | 73.0399 | 75.5973 | 75.9689 | 83.2686 | 89.3055 | 87.8115 | 90.6043 | 90.4401 | 87.0116 | 83.4111 | 82.8386 | 80.0195 | 75.6241 | 71.9536 | 69.6217 | 68.3302 | 65.4801 | 65.3911 | 63.0296 | 58.6829 | 56.1619 | 97.4443 | 96.3157
At Max (A) | 69.7616 | 77.4417 | 78.3873 | 77.0031 | 74.033 | 80.3743 | 76.1702 | 75.9283 | 73.6484 | 72.1116 | 73.0399 | 75.5973 | 75.9689 | 83.2686 | 89.3055 | 87.8115 | 90.6043 | 90.4401 | 87.0116 | 83.4111 | 82.8386 | 80.0195 | 75.6241 | 71.9536 | 69.6217 | 68.3302 | 65.4801 | 65.3911 | 63.0296 | 58.6829 | 56.1619 | 97.4443 | 96.3157

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.3331 | 17.0495 | 15.8586 | 14.9568 | 13.4294 | 12.8421 | 9.3819 | 7.2864 | 7.694 | 7.0756 | 6.6981 | 7.2305 | 7.3528 | 8.2579 | 8.01 | 8.3158 | 8.7933 | 9.356 | 9.3066 | 9.4639 | 9.9844 | 10.5033 | 10.9733 | 11.9081 | 12.7382 | 13.6651 | 14.6215 | 15.7252 | 16.829 | 17.9972 | 19.7621 | 28.6157 | 23.8609
SEL | 33.5964 | 30.3129 | 29.122 | 28.2202 | 26.6927 | 26.1054 | 22.6452 | 20.5497 | 20.9573 | 20.339 | 19.9615 | 20.4938 | 20.6161 | 21.5213 | 21.2733 | 21.5791 | 22.0566 | 22.6193 | 22.5699 | 22.7272 | 23.2478 | 23.7667 | 24.2366 | 25.1714 | 26.0015 | 26.9284 | 27.8849 | 28.9885 | 30.0924 | 31.2606 | 33.0254 | 41.8791 | 37.1243
Min | 4.7018 | 7.5309 | 3.7476 | 3.5016 | -0.62623 | 5.3066 | 2.8973 | -0.71539 | 2.8 | 2.3483 | 1.4043 | 4.0695 | 4.2686 | 4.5967 | 5.3218 | 6.1975 | 7.0217 | 7.463 | 5.9202 | 8.5886 | 8.7436 | 9.7218 | 10.1471 | 10.9556 | 11.9049 | 13.0093 | 13.8306 | 14.998 | 16.2167 | 17.3391 | 19.1518
Max | 28.2822 | 23.8844 | 26.8785 | 24.6883 | 22.9558 | 22.5594 | 17.5975 | 13.8777 | 14.1108 | 14.1066 | 13.2612 | 11.2117 | 12.5645 | 13.5936 | 13.2998 | 11.7073 | 12.4239 | 14.5628 | 11.6177 | 10.4846 | 11.1182 | 11.4007 | 11.737 | 12.6587 | 13.4411 | 14.5616 | 15.2767 | 16.6026 | 17.5916 | 18.6156 | 20.553
At Max (LIN) | 28.2822 | 20.6612 | 18.1686 | 15.8032 | 20.036 | 19.8184 | 9.5572 | 7.7145 | 6.0962 | 3.9011 | 8.1957 | 9.1428 | 8.8059 | 12.4905 | 10.0519 | 9.3912 | 9.671 | 12.1282 | 10.2275 | 9.5256 | 10.1354 | 9.7218 | 10.82 | 12.1849 | 12.62 | 13.6643 | 14.2674 | 15.6031 | 16.7335 | 17.7851 | 19.6764 | 31.955 | 24.1028
At Max (A) | 19.552 | 16.649 | 9.2774 | 14.4918 | 15.1057 | 16.1509 | 11.3721 | 10.3048 | 7.184 | 6.0479 | 6.0958 | 8.1295 | 10.4892 | 11.4878 | 13.2998 | 11.7068 | 12.4239 | 14.2834 | 11.2582 | 9.5219 | 10.1617 | 10.7368 | 10.328 | 11.44 | 12.2774 | 13.2808 | 14.4524 | 15.443 | 16.6498 | 17.6303 | 19.5287 | 28.8133 | 24.4733

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.3804 | 19.1435 | 19.079 | 19.2242 | 18.9569 | 19.6807 | 19.2011 | 19.3002 | 19.7273 | 20.3906 | 21.118 | 21.6747 | 22.3958 | 23.0854 | 23.8131 | 24.5062 | 25.2902 | 26.0368 | 26.8938 | 27.5899 | 28.5517 | 29.3959 | 30.5786 | 31.4744 | 32.4031 | 33.2992 | 34.3231 | 35.4175 | 36.4557 | 37.6292 | 39.4335 | 45.6932 | 42.9857
SEL | 34.6437 | 32.4069 | 32.3424 | 32.4875 | 32.2202 | 32.944 | 32.4645 | 32.5635 | 32.9907 | 33.654 | 34.3814 | 34.938 | 35.6591 | 36.3488 | 37.0765 | 37.7696 | 38.5535 | 39.3002 | 40.1572 | 40.8532 | 41.815 | 42.6592 | 43.8419 | 44.7378 | 45.6665 | 46.5626 | 47.5865 | 48.6809 | 49.7191 | 50.8926 | 52.6968 | 58.9566 | 56.2491
Min | 10.8951 | 8.3452 | 10.4783 | 10.5707 | 12.6606 | 14.5425 | 14.7878 | 14.2014 | 14.7732 | 15.851 | 17.8949 | 19.0331 | 20.0596 | 20.304 | 21.7384 | 23.078 | 23.47 | 24.3341 | 25.6013 | 26.3783 | 27.3414 | 28.24 | 29.621 | 30.4182 | 31.5107 | 32.4351 | 33.3419 | 34.4734 | 35.6447 | 36.8394 | 38.7856
Max | 27.6481 | 25.4328 | 28.6807 | 25.1585 | 23.7633 | 25.0035 | 23.6177 | 22.4673 | 22.9633 | 23.7657 | 23.7293 | 24.5934 | 25.1721 | 25.2514 | 25.5915 | 26.2927 | 27.1506 | 27.483 | 28.308 | 28.6713 | 29.6106 | 30.2011 | 31.6695 | 32.7405 | 33.2135 | 34.4648 | 35.0849 | 36.2051 | 37.1544 | 38.1951 | 39.9848
At Max (LIN) | 26.2714 | 17.9157 | 28.6807 | 22.5112 | 20.8748 | 16.2921 | 23.6177 | 19.5241 | 14.9277 | 17.5677 | 22.3926 | 23.7401 | 24.2801 | 23.2967 | 24.9147 | 25.9622 | 24.5737 | 26.9743 | 26.578 | 28.0203 | 28.8818 | 28.7394 | 30.367 | 32.7405 | 32.5374 | 34.4648 | 34.9427 | 36.2051 | 36.6898 | 37.726 | 39.6317 | 46.1903 | 43.452
At Max (A) | 26.2714 | 17.9157 | 28.6807 | 22.5112 | 20.8748 | 16.2921 | 23.6177 | 19.5241 | 14.9277 | 17.5677 | 22.3926 | 23.7401 | 24.2801 | 23.2967 | 24.9147 | 25.9622 | 24.5737 | 26.9743 | 26.578 | 28.0203 | 28.8818 | 28.7394 | 30.367 | 32.7405 | 32.5374 | 34.4648 | 34.9427 | 36.2051 | 36.6898 | 37.726 | 39.6317 | 46.1903 | 43.452

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 106.5892 | 98.4103 | 104.6522 | 101.4729 | 104.9201 | 108.7471 | 113.2706 | 109.5895 | 111.9672 | 116.7313 | 120.0572 | 122.4049 | 128.8199 | 134.9239 | 141.6086 | 142.2414 | 144.2617 | 149.8047 | 143.1631 | 140.5878 | 137.9766 | 135.4812 | 131.6914 | 126.4175 | 125.1016 | 130.2709 | 136.9642 | 145.6293 | 141.4522 | 139.0555 | 131.7428 | 154.2828 | 153.492
SEL | 119.8526 | 111.6737 | 117.9156 | 114.7362 | 118.1835 | 122.0104 | 126.5339 | 122.8529 | 125.2306 | 129.9947 | 133.3206 | 135.6682 | 142.0833 | 148.1873 | 154.872 | 155.5047 | 157.525 | 163.0681 | 156.4265 | 153.8511 | 151.24 | 148.7445 | 144.9547 | 139.6809 | 138.3649 | 143.5343 | 150.2276 | 158.8926 | 154.7156 | 152.3188 | 145.0061 | 167.5462 | 166.7554
Min | 53.3998 | 57.2983 | 56.7325 | 56.5533 | 58.8562 | 61.5046 | 63.7485 | 59.0042 | 63.9008 | 66.1072 | 67.2551 | 67.8141 | 69.7449 | 71.4284 | 72.3045 | 79.6538 | 81.7089 | 88.889 | 96.4978 | 89.8236 | 78.226 | 79.4995 | 78.4009 | 79.3147 | 80.5891 | 83.5198 | 94.7896 | 109.929 | 101.4668 | 107.7439 | 111.9852
Max | 118.5944 | 109.7575 | 115.5938 | 114.2511 | 117.7108 | 121.7723 | 125.8528 | 123.4681 | 130.0368 | 134.8766 | 138.0588 | 141.7245 | 146.8577 | 153.0945 | 160.9454 | 158.1069 | 161.1392 | 164.2874 | 159.3288 | 154.4502 | 149.9601 | 148.3109 | 144.2706 | 140.045 | 137.7129 | 142.6438 | 147.8015 | 158.2036 | 151.5263 | 148.7973 | 145.5723
At Max (LIN) | 114.0088 | 109.2621 | 108.3266 | 112.22 | 113.9477 | 120.4391 | 123.0604 | 121.3724 | 130.0368 | 131.8778 | 138.0588 | 141.7245 | 146.8577 | 153.0945 | 160.9454 | 158.1069 | 161.1392 | 164.2874 | 157.7414 | 154.4502 | 149.9601 | 146.4511 | 140.8379 | 135.5914 | 135.1311 | 139.4255 | 145.794 | 154.2939 | 149.5523 | 147.4971 | 138.8051 | 168.8396 | 168.0223
At Max (A) | 114.0088 | 109.2621 | 108.3266 | 112.22 | 113.9477 | 120.4391 | 123.0604 | 121.3724 | 130.0368 | 131.8778 | 138.0588 | 141.7245 | 146.8577 | 153.0945 | 160.9454 | 158.1069 | 161.1392 | 164.2874 | 157.7414 | 154.4502 | 149.9601 | 146.4511 | 140.8379 | 135.5914 | 135.1311 | 139.4255 | 145.794 | 154.2939 | 149.5523 | 147.4971 | 138.8051 | 168.8396 | 168.0223

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.9999 | 83.2376 | 85.7321 | 101.2714 | 96.5091 | 99.0037 | 24.7955 | 2.4946 | 99.9218 | 58.8825 | 96.2561 | 46.9537 | 97.2373 | 61.5481 | 94.9581 | 58.8825 | 92.7706 | 52.5021 | 94.1455 | 61.7121 | 87.8099 | 4.5723 | 103.0641 | 50.125 | 97.3172 | 45.1948 | 98.1177 | 52.9786 | 109.996 | 107.1278 | 108.5064

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 34.1924 | 23.8639 | 25.8364 | 47.4639 | 37.1354 | 39.1079 | -0.046104 | 1.9725 | 40.5763 | 28.3554 | 24.6856 | 23.0949 | 29.7359 | 23.3181 | 40.5763 | 31.864 | 24.1204 | 23.0949 | 27.5343 | 23.4346 | 24.2523 | 0.38846 | 42.6394 | 31.8188 | 25.3628 | 14.3374 | 32.2938 | 14.6771 | 49.1905 | 38.3239 | 43.2448

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6733 | 42.8534 | 41.6835 | 59.9449 | 56.1249 | 54.955 | -0.88462 | -1.1699 | 48.1947 | 45.9485 | 43.5987 | 42.0945 | 42.6381 | 40.8975 | 48.1768 | 46.2774 | 43.5864 | 42.4366 | 42.6268 | 41.2712 | 43.2013 | 0.34788 | 47.9474 | 39.4166 | 43.4952 | 34.8272 | 42.5923 | 33.8678 | 61.1315 | 56.6902 | 55.6668

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 154.144 | 153.3677 | 153.3344 | 167.4155 | 166.6392 | 166.6059 | -1.3895 | -0.033321 | 169.2737 | 115.8736 | 168.6933 | 110.3835 | 169.1063 | 108.8384 | 164.3919 | 120.683 | 163.6813 | 115.9416 | 163.9302 | 114.7711 | 160.3145 | 6.9468 | 171.7404 | 115.2993 | 170.6653 | 110.1593 | 171.6322 | 108.2549 | 184.2969 | 183.0667 | 184.0431