## Äsa28
Measurement Name | Äsa28 (Normal Range)
Time of run | 2019-04-16 16:12:49 (1555427569)
Duration | 31.82 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8505e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 61.6897 | 62.56 | 60.5045 | 58.4277 | 57.5004 | 59.4841 | 57.1727 | 57.2203 | 56.7321 | 55.5556 | 55.6212 | 55.5479 | 59.715 | 70.212 | 69.4209 | 63.845 | 66.459 | 64.8063 | 64.1573 | 63.4771 | 62.6271 | 61.8431 | 62.9907 | 58.2135 | 53.2311 | 51.2641 | 47.9864 | 46.8806 | 44.0805 | 40.2844 | 37.601 | 77.0377 | 74.8358
SEL | 76.7139 | 77.5842 | 75.5288 | 73.4519 | 72.5246 | 74.5083 | 72.197 | 72.2445 | 71.7564 | 70.5799 | 70.6455 | 70.5722 | 74.7392 | 85.2362 | 84.4451 | 78.8693 | 81.4833 | 79.8305 | 79.1815 | 78.5013 | 77.6514 | 76.8673 | 78.015 | 73.2378 | 68.2554 | 66.2884 | 63.0106 | 61.9049 | 59.1048 | 55.3086 | 52.6253 | 92.062 | 89.8601
Min | 36.2282 | 40.4481 | 35.9102 | 36.277 | 40.1302 | 41.0528 | 36.7236 | 30.4851 | 23.1628 | 22.4977 | 24.0519 | 25.2503 | 25.9425 | 36.4668 | 39.5224 | 35.9327 | 32.8711 | 29.2575 | 37.0946 | 25.8733 | 20.269 | 18.9248 | 15.6688 | 13.2871 | 13.3525 | 16.3283 | 16.5249 | 18.1534 | 19.8047 | 18.1774 | 19.5485
Max | 73.822 | 74.3647 | 71.1721 | 66.8782 | 66.9486 | 68.9527 | 67.6649 | 66.3358 | 65.952 | 67.0715 | 65.4879 | 64.7908 | 69.0896 | 80.3362 | 79.6721 | 74.6088 | 75.4015 | 73.5437 | 73.9104 | 72.9354 | 75.2843 | 72.4534 | 72.9559 | 68.1781 | 62.3242 | 59.4906 | 56.1271 | 55.5702 | 51.716 | 49.3528 | 44.835
At Max (LIN) | 58.863 | 65.3531 | 67.5771 | 57.683 | 60.59 | 62.7627 | 61.7858 | 65.1482 | 64.3857 | 62.899 | 64.5222 | 62.3204 | 66.8522 | 80.3362 | 75.5833 | 71.5809 | 73.7536 | 71.5025 | 70.8141 | 72.108 | 68.4713 | 71.6978 | 72.3299 | 67.9003 | 62.0095 | 59.4906 | 56.0783 | 55.5702 | 51.2427 | 47.4531 | 44.0438 | 84.8534 | 82.9023
At Max (A) | 58.863 | 65.3531 | 67.5771 | 57.683 | 60.59 | 62.7627 | 61.7858 | 65.1482 | 64.3857 | 62.899 | 64.5222 | 62.3204 | 66.8522 | 80.3362 | 75.5833 | 71.5809 | 73.7536 | 71.5025 | 70.8141 | 72.108 | 68.4713 | 71.6978 | 72.3299 | 67.9003 | 62.0095 | 59.4906 | 56.0783 | 55.5702 | 51.2427 | 47.4531 | 44.0438 | 84.8534 | 82.9023

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 18.9493 | 16.5798 | 14.1036 | 13.7517 | 12.0249 | 10.4342 | 8.4895 | 6.7754 | 6.9156 | 6.8966 | 6.5514 | 7.2605 | 6.9738 | 9.105 | 9.7145 | 8.4352 | 8.8723 | 8.8523 | 9.2579 | 9.488 | 10.0862 | 10.5522 | 11.1107 | 11.9499 | 12.956 | 13.8025 | 14.7626 | 15.8783 | 16.9892 | 18.1564 | 19.9471 | 28.2661 | 23.9877
SEL | 33.9736 | 31.604 | 29.1278 | 28.7759 | 27.0492 | 25.4585 | 23.5137 | 21.7996 | 21.9399 | 21.9208 | 21.5757 | 22.2848 | 21.9981 | 24.1292 | 24.7388 | 23.4595 | 23.8966 | 23.8766 | 24.2822 | 24.5123 | 25.1105 | 25.5765 | 26.135 | 26.9741 | 27.9803 | 28.8267 | 29.7869 | 30.9026 | 32.0135 | 33.1807 | 34.9713 | 43.2903 | 39.0119
Min | 2.1887 | 2.6691 | 0.13417 | 1.7431 | -0.79681 | 0.51248 | 0.19726 | 1.0707 | 0.60159 | -0.27526 | 2.0006 | 3.1146 | 3.6449 | 4.2593 | 5.689 | 6.3122 | 6.9375 | 7.3418 | 7.989 | 8.338 | 8.83 | 9.2798 | 10.3597 | 11.1646 | 12.2484 | 12.6136 | 14.1298 | 15.0805 | 16.3209 | 17.5539 | 19.1763
Max | 26.0862 | 24.3246 | 23.8987 | 22.7645 | 22.5973 | 19.6758 | 17.9798 | 14.4611 | 13.2729 | 14.3539 | 12.8247 | 12.8168 | 10.966 | 12.3572 | 14.2494 | 10.7111 | 11.0328 | 10.3224 | 10.6696 | 10.5194 | 10.9033 | 11.5622 | 11.9323 | 12.604 | 13.7541 | 14.5241 | 15.5125 | 16.6542 | 17.9869 | 18.9561 | 20.7473
At Max (LIN) | 23.1593 | 24.3246 | 21.4293 | 21.353 | 20.5146 | 13.9058 | 12.1077 | 11.3014 | 9.8247 | 12.9559 | 9.7863 | 11.499 | 9.5111 | 10.7606 | 11.5283 | 10.6933 | 9.3063 | 8.7187 | 8.7236 | 8.7544 | 10.1479 | 10.5855 | 11.5644 | 12.4913 | 13.1081 | 13.9273 | 15.0111 | 16.0823 | 17.2626 | 18.6574 | 20.4575 | 31.6432 | 24.3368
At Max (A) | 21.7899 | 20.71 | 18.0349 | 17.5824 | 10.3783 | 10.4821 | 10.6097 | 7.1522 | 8.5089 | 5.9855 | 5.0761 | 6.293 | 6.6036 | 9.3935 | 8.61 | 7.1418 | 8.8849 | 10.3224 | 9.8695 | 10.3929 | 10.5564 | 11.2075 | 11.4836 | 12.1373 | 13.5128 | 14.3991 | 14.9018 | 16.2816 | 17.3317 | 18.9561 | 20.259 | 29.6808 | 24.4172

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.56 | 19.7982 | 18.8081 | 18.3045 | 18.0288 | 18.4765 | 18.5917 | 19.0327 | 19.6433 | 20.2853 | 21.0617 | 21.5508 | 22.1761 | 23.2289 | 23.9618 | 24.5857 | 25.3609 | 26.1708 | 26.8667 | 27.7572 | 28.5993 | 29.5675 | 30.6409 | 31.4491 | 32.4686 | 33.361 | 34.3896 | 35.571 | 36.5844 | 37.7729 | 39.5319 | 45.7812 | 43.0715
SEL | 35.5843 | 34.8224 | 33.8323 | 33.3288 | 33.0531 | 33.5008 | 33.616 | 34.0569 | 34.6676 | 35.3096 | 36.086 | 36.5751 | 37.2004 | 38.2532 | 38.9861 | 39.61 | 40.3851 | 41.1951 | 41.8909 | 42.7815 | 43.6236 | 44.5918 | 45.6652 | 46.4734 | 47.4929 | 48.3853 | 49.4139 | 50.5952 | 51.6086 | 52.7972 | 54.5562 | 60.8054 | 58.0958
Min | 11.4707 | 7.0872 | 10.0957 | 11.5709 | 11.8176 | 12.3419 | 14.2954 | 13.6866 | 15.0306 | 15.8994 | 17.4722 | 18.7825 | 19.8179 | 20.0333 | 22.1025 | 22.7713 | 23.2587 | 24.8233 | 24.8696 | 26.0607 | 27.2741 | 28.2868 | 29.1426 | 30.4701 | 31.5708 | 32.4797 | 33.4732 | 34.3984 | 35.6421 | 36.8779 | 38.8578
Max | 28.1154 | 26.1293 | 25.2405 | 26.6057 | 24.0554 | 23.5019 | 22.5173 | 23.404 | 22.9194 | 23.6483 | 23.8255 | 24.328 | 24.7579 | 25.75 | 25.6359 | 26.2717 | 26.8939 | 28.038 | 27.9742 | 28.8083 | 29.9314 | 30.6273 | 31.531 | 32.7469 | 33.3337 | 34.0365 | 35.1797 | 36.3478 | 37.3255 | 38.4599 | 40.1124
At Max (LIN) | 16.2771 | 18.7917 | 20.0503 | 21.1302 | 18.5805 | 17.8614 | 19.1145 | 21.8316 | 20.545 | 18.3601 | 18.7902 | 20.9444 | 23.9202 | 22.5183 | 23.0829 | 25.0084 | 26.8608 | 26.6501 | 27.1295 | 28.2052 | 28.7664 | 29.6503 | 31.2556 | 32.7469 | 32.9321 | 33.4449 | 34.8649 | 35.6619 | 37.1308 | 38.3542 | 39.8355 | 46.1935 | 43.5255
At Max (A) | 16.2771 | 18.7917 | 20.0503 | 21.1302 | 18.5805 | 17.8614 | 19.1145 | 21.8316 | 20.545 | 18.3601 | 18.7902 | 20.9444 | 23.9202 | 22.5183 | 23.0829 | 25.0084 | 26.8608 | 26.6501 | 27.1295 | 28.2052 | 28.7664 | 29.6503 | 31.2556 | 32.7469 | 32.9321 | 33.4449 | 34.8649 | 35.6619 | 37.1308 | 38.3542 | 39.8355 | 46.1935 | 43.5255

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 89.596 | 92.605 | 96.6696 | 94.5119 | 90.0228 | 97.8677 | 99.6542 | 102.5592 | 103.431 | 105.3157 | 109.4399 | 112.4958 | 115.1338 | 125.4717 | 127.0818 | 127.7255 | 131.3891 | 133.5528 | 130.5473 | 126.4209 | 124.1883 | 126.3645 | 123.7715 | 120.8143 | 117.9881 | 122.3301 | 128.6691 | 136.0013 | 130.9788 | 127.8638 | 118.5131 | 141.668 | 140.4429
SEL | 104.6203 | 107.6293 | 111.6939 | 109.5362 | 105.0471 | 112.892 | 114.6784 | 117.5834 | 118.4553 | 120.34 | 124.4642 | 127.5201 | 130.1581 | 140.496 | 142.106 | 142.7497 | 146.4133 | 148.577 | 145.5715 | 141.4451 | 139.2125 | 141.3888 | 138.7958 | 135.8386 | 133.0123 | 137.3544 | 143.6934 | 151.0256 | 146.0031 | 142.8881 | 133.5374 | 156.6923 | 155.4672
Min | 55.8914 | 58.5468 | 58.8268 | 59.7918 | 58.6492 | 60.7227 | 62.2773 | 63.897 | 63.3693 | 65.8663 | 67.2156 | 68.2533 | 70.0158 | 72.7035 | 77.4281 | 75.1858 | 75.9174 | 78.193 | 90.948 | 82.46 | 78.1367 | 77.7671 | 77.9135 | 79.4019 | 80.3772 | 82.4908 | 89.1542 | 103.4585 | 98.2263 | 96.1339 | 94.1219
Max | 101.1295 | 103.9733 | 108.5581 | 107.1323 | 103.4019 | 111.4188 | 115.6467 | 121.3672 | 119.4581 | 122.458 | 123.1255 | 125.2765 | 129.0816 | 136.6474 | 139.3736 | 140.6896 | 142.585 | 145.4172 | 141.9408 | 136.3889 | 134.1439 | 135.7748 | 133.8658 | 132.1252 | 128.4052 | 131.0785 | 136.0328 | 145.089 | 137.5938 | 134.5841 | 123.9199
At Max (LIN) | 94.4352 | 98.0607 | 101.8922 | 98.1227 | 101.1637 | 109.5454 | 113.3097 | 110.4115 | 106.7595 | 109.4996 | 120.3228 | 121.093 | 124.7321 | 131.3769 | 138.4442 | 139.1125 | 142.585 | 145.4172 | 141.9408 | 136.3889 | 133.9201 | 134.7189 | 133.2278 | 130.3096 | 127.5924 | 130.7307 | 136.0164 | 144.183 | 137.2849 | 134.3023 | 123.9199 | 151.4268 | 150.6488
At Max (A) | 94.4352 | 98.0607 | 101.8922 | 98.1227 | 101.1637 | 109.5454 | 113.3097 | 110.4115 | 106.7595 | 109.4996 | 120.3228 | 121.093 | 124.7321 | 131.3769 | 138.4442 | 139.1125 | 142.585 | 145.4172 | 141.9408 | 136.3889 | 133.9201 | 134.7189 | 133.2278 | 130.3096 | 127.5924 | 130.7307 | 136.0164 | 144.183 | 137.2849 | 134.3023 | 123.9199 | 151.4268 | 150.6488

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.9957 | 74.6639 | 76.5512 | 93.0227 | 89.6909 | 91.5782 | 1.5033 | 1.8873 | 85.8276 | 54.6353 | 82.7723 | 44.0343 | 84.5551 | 51.5227 | 83.8287 | 56.4265 | 81.2885 | 44.826 | 82.9698 | 53.3704 | 77.0816 | 2.4176 | 88.2484 | 47.7038 | 83.4893 | 36.2201 | 85.4862 | 48.2558 | 97.8064 | 96.1049 | 96.9703

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 32.412 | 23.9531 | 25.1222 | 47.439 | 38.9801 | 40.1492 | -0.30673 | 1.169 | 38.7104 | 27.9752 | 24.7697 | 23.5438 | 29.3257 | 23.0235 | 34.4433 | 29.9236 | 24.7697 | 23.7765 | 27.9527 | 23.9007 | 24.2751 | 0.32192 | 42.0682 | 22.1285 | 24.7135 | 16.0122 | 32.0013 | 19.1527 | 49.7229 | 38.3881 | 42.7616

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6734 | 42.9303 | 41.729 | 61.7004 | 57.9573 | 56.756 | -1.2621 | -1.2013 | 47.5443 | 45.1623 | 43.4014 | 41.8472 | 42.1926 | 40.5435 | 46.9115 | 45.1623 | 43.235 | 41.8472 | 42.0231 | 40.5435 | 43.2677 | 0.33739 | 48.4707 | 36.4048 | 43.754 | 33.0897 | 42.4898 | 31.786 | 60.6808 | 57.1685 | 56.2636

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 141.4969 | 140.2663 | 139.855 | 156.5239 | 155.2933 | 154.882 | -1.8507 | -0.41134 | 151.752 | 106.1122 | 150.9523 | 103.1289 | 150.8031 | 101.4777 | 149.0259 | 107.0112 | 148.0503 | 104.2952 | 147.7943 | 102.6589 | 144.3333 | 4.067 | 153.4795 | 98.4711 | 152.9003 | 95.8185 | 152.7993 | 94.1881 | 169.9395 | 168.3051 | 168.7722