## Kode26
Measurement Name | Kode26 (Normal Range)
Time of run | 2018-11-14 12:11:28 (1542197488)
Duration | 52.32 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0506111 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0415918 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0446534 (V)/(Pa)
Channel 4 | +0 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.60242e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 54.0264 | 53.7733 | 52.1092 | 54.7931 | 56.9129 | 54.7 | 52.3526 | 53.0908 | 49.7631 | 52.9916 | 60.019 | 59.2547 | 57.7634 | 59.4075 | 59.6167 | 66.5827 | 64.2418 | 58.1445 | 59.5622 | 52.6767 | 56.2815 | 56.013 | 56.9901 | 51.3546 | 47.7166 | 43.3541 | 40.3328 | 38.6298 | 36.9717 | 36.6453 | 37.6836 | 72.3473 | 70.0769
SEL | 71.2114 | 70.9583 | 69.2942 | 71.9781 | 74.0979 | 71.885 | 69.5376 | 70.2758 | 66.9481 | 70.1767 | 77.204 | 76.4397 | 74.9484 | 76.5925 | 76.8017 | 83.7678 | 81.4268 | 75.3295 | 76.7472 | 69.8617 | 73.4665 | 73.198 | 74.1751 | 68.5396 | 64.9016 | 60.5391 | 57.5178 | 55.8149 | 54.1567 | 53.8303 | 54.8686 | 89.5323 | 87.2619
Min | 39.0001 | 39.2203 | 38.7501 | 42.2566 | 44.8223 | 42.0929 | 38.9036 | 33.9268 | 32.5826 | 31.0248 | 31.3919 | 34.4672 | 34.9608 | 31.7825 | 34.5352 | 38.3777 | 39.9117 | 42.9039 | 39.5845 | 37.5169 | 36.335 | 33.2992 | 31.7303 | 30.172 | 30.0882 | 30.5979 | 31.6878 | 32.6189 | 33.7218 | 34.9442 | 36.8283
Max | 63.8492 | 63.4098 | 64.8596 | 65.6066 | 69.8957 | 66.385 | 68.5955 | 63.9769 | 61.2888 | 64.9538 | 72.1116 | 71.9767 | 69.1098 | 71.0542 | 72.9893 | 80.2935 | 80.2008 | 70.9042 | 73.7435 | 62.464 | 67.6225 | 67.4055 | 69.0177 | 62.0644 | 60.0732 | 54.0753 | 49.9876 | 46.7449 | 43.5163 | 43.5356 | 42.0972
At Max (LIN) | 58.7604 | 60.8176 | 58.9613 | 58.4752 | 60.8848 | 57.4958 | 63.2802 | 59.5057 | 56.0531 | 60.1009 | 59.9306 | 64.548 | 65.5543 | 65.0497 | 67.8234 | 79.1018 | 80.2008 | 58.9406 | 68.9637 | 59.8459 | 59.7227 | 60.3639 | 64.2791 | 60.0528 | 52.494 | 50.348 | 46.6028 | 44.4413 | 40.7454 | 39.5243 | 38.1399 | 83.5822 | 82.1441
At Max (A) | 58.7604 | 60.8176 | 58.9613 | 58.4752 | 60.8848 | 57.4958 | 63.2802 | 59.5057 | 56.0531 | 60.1009 | 59.9306 | 64.548 | 65.5543 | 65.0497 | 67.8234 | 79.1018 | 80.2008 | 58.9406 | 68.9637 | 59.8459 | 59.7227 | 60.3639 | 64.2791 | 60.0528 | 52.494 | 50.348 | 46.6028 | 44.4413 | 40.7454 | 39.5243 | 38.1399 | 83.5822 | 82.1441

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 52.1917 | 53.4104 | 51.659 | 55.2537 | 56.5695 | 56.4855 | 52.7696 | 50.2857 | 50.5755 | 53.7878 | 59.7366 | 58.4848 | 56.9067 | 60.2199 | 60.1697 | 67.7876 | 64.5848 | 57.7477 | 59.8802 | 52.1627 | 56.211 | 57.8679 | 58.7428 | 52.7768 | 48.7559 | 44.5652 | 41.4659 | 39.5296 | 38.4716 | 38.4491 | 39.4655 | 72.8728 | 70.8176
SEL | 69.3767 | 70.5955 | 68.844 | 72.4387 | 73.7545 | 73.6706 | 69.9546 | 67.4707 | 67.7605 | 70.9729 | 76.9216 | 75.6699 | 74.0917 | 77.4049 | 77.3547 | 84.9726 | 81.7698 | 74.9327 | 77.0652 | 69.3477 | 73.396 | 75.0529 | 75.9278 | 69.9618 | 65.9409 | 61.7503 | 58.6509 | 56.7146 | 55.6566 | 55.6341 | 56.6505 | 90.0578 | 88.0026
Min | 37.032 | 38.1738 | 38.6396 | 43.4176 | 44.2974 | 41.0973 | 39.5965 | 35.9587 | 30.6938 | 29.0123 | 28.338 | 28.7221 | 29.0065 | 28.3511 | 30.9805 | 33.4719 | 35.4728 | 38.8822 | 36.9058 | 34.3499 | 34.8544 | 31.4598 | 33.4036 | 30.686 | 31.2439 | 32.0676 | 32.9042 | 34.0743 | 35.0112 | 36.3783 | 38.2711
Max | 64.5315 | 65.2197 | 65.5375 | 67.2641 | 69.9564 | 68.2031 | 66.7892 | 61.8034 | 62.0896 | 64.9005 | 72.2762 | 72.1605 | 70.2628 | 72.6773 | 72.2049 | 83.3785 | 81.7592 | 73.2014 | 75.0636 | 62.7484 | 67.4977 | 70.7783 | 75.2348 | 66.0759 | 63.2749 | 56.5144 | 52.977 | 47.7056 | 47.4659 | 48.746 | 50.8855
At Max (LIN) | 61.0302 | 63.244 | 56.8427 | 53.4195 | 63.6002 | 64.1139 | 64.0674 | 52.8199 | 57.1719 | 60.8579 | 61.0274 | 67.5358 | 66.8914 | 67.3803 | 68.6294 | 81.8686 | 81.7592 | 58.9463 | 71.6152 | 61.4531 | 61.2493 | 64.0095 | 65.9384 | 60.9898 | 54.2656 | 51.5135 | 47.3315 | 45.2899 | 42.4438 | 40.8227 | 39.9074 | 85.6583 | 84.1991
At Max (A) | 61.0302 | 63.244 | 56.8427 | 53.4195 | 63.6002 | 64.1139 | 64.0674 | 52.8199 | 57.1719 | 60.8579 | 61.0274 | 67.5358 | 66.8914 | 67.3803 | 68.6294 | 81.8686 | 81.7592 | 58.9463 | 71.6152 | 61.4531 | 61.2493 | 64.0095 | 65.9384 | 60.9898 | 54.2656 | 51.5135 | 47.3315 | 45.2899 | 42.4438 | 40.8227 | 39.9074 | 85.6583 | 84.1991

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 50.1739 | 53.6729 | 51.4581 | 53.3046 | 55.0542 | 54.4161 | 50.283 | 49.095 | 45.9609 | 49.0608 | 53.8848 | 56.3786 | 59.5479 | 62.3015 | 62.2679 | 61.7147 | 63.6039 | 66.4602 | 60.1031 | 58.893 | 56.6448 | 59.4655 | 61.1515 | 55.6555 | 51.859 | 49.5847 | 46.2511 | 44.1096 | 42.1715 | 40.1061 | 39.9504 | 72.9948 | 71.8756
SEL | 67.3589 | 70.8579 | 68.6431 | 70.4896 | 72.2392 | 71.6011 | 67.468 | 66.28 | 63.1459 | 66.2458 | 71.0698 | 73.5636 | 76.7329 | 79.4865 | 79.4529 | 78.8997 | 80.7889 | 83.6452 | 77.2882 | 76.078 | 73.8298 | 76.6506 | 78.3365 | 72.8405 | 69.044 | 66.7697 | 63.4362 | 61.2947 | 59.3565 | 57.2911 | 57.1355 | 90.1798 | 89.0606
Min | 35.3512 | 36.7542 | 33.7601 | 40.3506 | 45.0267 | 40.4377 | 35.4368 | 33.3206 | 30.159 | 26.3603 | 25.3825 | 24.1526 | 25.0628 | 26.4538 | 27.7746 | 30.7224 | 34.5852 | 37.2738 | 34.6422 | 33.1912 | 32.6347 | 30.7295 | 31.546 | 30.8917 | 31.9623 | 32.6491 | 33.6923 | 34.5884 | 35.8091 | 36.9925 | 38.8422
Max | 62.1027 | 68.144 | 63.6737 | 63.4299 | 65.5557 | 65.7648 | 60.7073 | 61.5226 | 59.2497 | 61.6951 | 69.9857 | 69.6276 | 73.6742 | 74.3267 | 74.5136 | 73.2552 | 76.0338 | 81.7375 | 74.0286 | 73.0208 | 68.0983 | 71.9143 | 74.3377 | 69.2536 | 66.5295 | 64.966 | 59.7846 | 55.1008 | 52.3821 | 48.3369 | 44.31
At Max (LIN) | 52.2746 | 56.9235 | 58.8608 | 59.5354 | 57.8447 | 61.0946 | 56.6086 | 60.2933 | 55.1947 | 57.3815 | 62.7649 | 64.3315 | 70.3422 | 69.1208 | 70.3821 | 71.3876 | 71.2248 | 81.7375 | 72.5002 | 64.4614 | 64.9825 | 66.8531 | 68.171 | 62.7579 | 59.9115 | 57.0251 | 54.1249 | 52.6522 | 48.9119 | 45.45 | 42.0789 | 84.0897 | 83.5717
At Max (A) | 52.2746 | 56.9235 | 58.8608 | 59.5354 | 57.8447 | 61.0946 | 56.6086 | 60.2933 | 55.1947 | 57.3815 | 62.7649 | 64.3315 | 70.3422 | 69.1208 | 70.3821 | 71.3876 | 71.2248 | 81.7375 | 72.5002 | 64.4614 | 64.9825 | 66.8531 | 68.171 | 62.7579 | 59.9115 | 57.0251 | 54.1249 | 52.6522 | 48.9119 | 45.45 | 42.0789 | 84.0897 | 83.5717

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 79.6616 | 76.183 | 76.279 | 81.2447 | 87.4937 | 92.8384 | 96.6805 | 99.7148 | 102.0699 | 106.82 | 117.973 | 118.212 | 118.4553 | 122.101 | 120.2718 | 120.0564 | 122.8947 | 122.9981 | 124.5994 | 122.9902 | 123.4091 | 124.2801 | 123.4506 | 122.3062 | 122.0376 | 126.6828 | 119.0544 | 118.5612 | 110.769 | 105.1242 | 104.8013 | 134.9603 | 134.838
SEL | 96.8466 | 93.368 | 93.464 | 98.4298 | 104.6787 | 110.0234 | 113.8655 | 116.8999 | 119.2549 | 124.005 | 135.1581 | 135.397 | 135.6404 | 139.2861 | 137.4568 | 137.2414 | 140.0797 | 140.1831 | 141.7845 | 140.1752 | 140.5942 | 141.4651 | 140.6356 | 139.4913 | 139.2227 | 143.8678 | 136.2394 | 135.7462 | 127.954 | 122.3092 | 121.9863 | 152.1453 | 152.0231
Min | 47.0217 | 47.7937 | 50.1926 | 51.5587 | 54.199 | 54.0112 | 54.2642 | 56.3713 | 56.142 | 56.978 | 58.381 | 59.3134 | 60.1725 | 61.5812 | 62.7191 | 64.415 | 65.8631 | 64.946 | 66.0468 | 66.4176 | 67.6953 | 68.7743 | 69.4838 | 70.522 | 71.6665 | 72.8653 | 73.6897 | 75.0875 | 76.582 | 77.6392 | 78.7308
Max | 95.0206 | 90.1891 | 91.6684 | 96.2719 | 101.6005 | 107.2798 | 112.8793 | 115.6424 | 117.3236 | 121.6573 | 132.8286 | 135.0046 | 133.4302 | 136.9621 | 136.8473 | 134.3681 | 137.1258 | 136.7253 | 140.696 | 134.7479 | 137.0819 | 137.3793 | 138.2826 | 137.1677 | 138.5801 | 141.3773 | 131.5517 | 130.9284 | 121.1686 | 125.8486 | 127.8088
At Max (LIN) | 89.7211 | 88.8576 | 85.861 | 88.7963 | 94.287 | 97.8901 | 105.2949 | 110.3866 | 111.7407 | 119.4782 | 131.6158 | 133.1164 | 132.4107 | 136.2342 | 133.2695 | 132.6517 | 133.7621 | 136.4004 | 140.696 | 134.7479 | 137.0609 | 135.9244 | 138.2826 | 137.1677 | 138.5801 | 141.3773 | 131.5517 | 130.7524 | 121.1686 | 110.8575 | 104.4546 | 149.0112 | 148.9709
At Max (A) | 89.7211 | 88.8576 | 85.861 | 88.7963 | 94.287 | 97.8901 | 105.2949 | 110.3866 | 111.7407 | 119.4782 | 131.6158 | 133.1164 | 132.4107 | 136.2342 | 133.2695 | 132.6517 | 133.7621 | 136.4004 | 140.696 | 134.7479 | 137.0609 | 135.9244 | 138.2826 | 137.1677 | 138.5801 | 141.3773 | 131.5517 | 130.7524 | 121.1686 | 110.8575 | 104.4546 | 149.0112 | 148.9709

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 72.6565 | 69.9979 | 72.0403 | 89.8432 | 87.1846 | 89.2269 | 5.1252 | 2.0423 | 84.2784 | 54.9723 | 82.3757 | 49.7072 | 83.7388 | 55.795 | 81.9017 | 54.9723 | 80.09 | 49.8007 | 81.5878 | 57.3687 | 73.4722 | 3.4743 | 85.3898 | 46.2111 | 83.5397 | 41.0395 | 84.8134 | 50.3827 | 93.1198 | 91.7539 | 94.1295

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 72.8749 | 70.7158 | 72.5594 | 90.0616 | 87.9024 | 89.7461 | 4.9309 | 1.8437 | 85.727 | 53.6186 | 84.3578 | 45.7262 | 85.7007 | 54.7757 | 82.6207 | 53.6186 | 81.1226 | 45.7262 | 82.5037 | 56.3846 | 74.9653 | 4.2495 | 86.9344 | 44.8574 | 85.6533 | 36.965 | 86.9477 | 49.3908 | 94.4301 | 93.5065 | 94.3448

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 72.8668 | 71.6929 | 72.6018 | 90.0535 | 88.8796 | 89.7885 | 3.4606 | 0.90892 | 84.6679 | 55.2206 | 84.2001 | 45.9715 | 84.6039 | 52.0641 | 82.3105 | 56.5744 | 81.4549 | 46.2594 | 82.1773 | 53.9467 | 74.7553 | 3.0625 | 86.0222 | 54.8885 | 85.6477 | 39.2592 | 85.9735 | 51.1394 | 95.9063 | 95.2643 | 95.5788

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 134.7941 | 134.6592 | 134.204 | 151.9807 | 151.8459 | 151.3907 | -1.3156 | -0.45526 | 148.9409 | 86.7694 | 148.8706 | 82.7642 | 148.3148 | 81.6162 | 145.1186 | 87.15 | 145.1705 | 83.1548 | 144.4466 | 82.1239 | 139.6553 | 4.9961 | 150.7345 | 80.3711 | 150.6184 | 77.2 | 150.14 | 76.4038 | 165.1054 | 165.8195 | 164.4328