## Kode29
Measurement Name | Kode29 (Normal Range)
Time of run | 2018-11-14 13:12:51 (1542201171)
Duration | 38.34 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0506111 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0415918 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0446534 (V)/(Pa)
Channel 4 | +0 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.60242e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 54.3249 | 56.2749 | 57.0496 | 55.9862 | 58.4403 | 57.9894 | 54.8973 | 56.2002 | 51.8922 | 53.0606 | 54.2356 | 56.6872 | 65.2013 | 65.5437 | 64.2646 | 67.549 | 67.9839 | 66.7106 | 61.5481 | 58.767 | 59.438 | 60.241 | 60.8759 | 57.8435 | 54.3264 | 49.8196 | 46.5151 | 43.5694 | 40.3306 | 35.5952 | 31.04 | 75.725 | 73.9611
SEL | 70.1568 | 72.1069 | 72.8816 | 71.8182 | 74.2723 | 73.8214 | 70.7293 | 72.0322 | 67.7242 | 68.8926 | 70.0676 | 72.5192 | 81.0332 | 81.3757 | 80.0966 | 83.381 | 83.8159 | 82.5426 | 77.3801 | 74.599 | 75.27 | 76.073 | 76.7079 | 73.6754 | 70.1584 | 65.6516 | 62.347 | 59.4013 | 56.1626 | 51.4271 | 46.872 | 91.5569 | 89.7931
Min | 40.5914 | 41.4299 | 37.3583 | 41.3024 | 40.3032 | 44.9563 | 39.7043 | 37.6258 | 34.7464 | 33.7664 | 35.2275 | 33.7189 | 35.2167 | 35.7878 | 38.0255 | 40.1317 | 41.7421 | 43.059 | 39.6764 | 38.1567 | 37.213 | 33.739 | 33.3592 | 29.0682 | 25.6063 | 23.3263 | 22.4143 | 23.3128 | 24.1447 | 25.3671 | 27.2793
Max | 65.2263 | 69.5608 | 69.4322 | 70.5526 | 73.4048 | 67.6809 | 67.4096 | 68.9601 | 67.0639 | 67.0416 | 67.9498 | 67.2321 | 79.2901 | 80.6033 | 74.8425 | 78.7116 | 79.4928 | 78.0469 | 72.9561 | 70.8702 | 69.8482 | 70.0184 | 71.6957 | 71.9034 | 67.187 | 60.8073 | 57.0635 | 53.1623 | 51.0516 | 48.9656 | 45.2368
At Max (LIN) | 53.2821 | 61.7904 | 66.4644 | 63.8789 | 68.3292 | 63.5855 | 62.2835 | 64.4214 | 59.0265 | 60.0769 | 62.9312 | 63.9623 | 75.319 | 80.6033 | 74.1701 | 76.7735 | 78.0088 | 77.0848 | 69.6413 | 68.26 | 68.2646 | 69.6691 | 70.8719 | 66.8264 | 63.3754 | 59.1343 | 55.4092 | 52.7045 | 48.691 | 42.9843 | 36.5064 | 86.2109 | 84.1373
At Max (A) | 53.2821 | 61.7904 | 66.4644 | 63.8789 | 68.3292 | 63.5855 | 62.2835 | 64.4214 | 59.0265 | 60.0769 | 62.9312 | 63.9623 | 75.319 | 80.6033 | 74.1701 | 76.7735 | 78.0088 | 77.0848 | 69.6413 | 68.26 | 68.2646 | 69.6691 | 70.8719 | 66.8264 | 63.3754 | 59.1343 | 55.4092 | 52.7045 | 48.691 | 42.9843 | 36.5064 | 86.2109 | 84.1373

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 53.7469 | 56.2359 | 57.3519 | 57.0428 | 58.4361 | 59.4833 | 56.1155 | 53.0352 | 51.4568 | 53.0224 | 53.1367 | 54.1699 | 63.3089 | 65.1256 | 64.8359 | 66.2481 | 66.7025 | 66.6744 | 63.3865 | 59.4481 | 59.5169 | 62.2689 | 62.4367 | 61.1009 | 55.6045 | 51.0113 | 47.5382 | 44.7445 | 42.9126 | 39.2343 | 36.9122 | 75.5618 | 74.1416
SEL | 69.5789 | 72.0678 | 73.1838 | 72.8748 | 74.2681 | 75.3153 | 71.9474 | 68.8671 | 67.2888 | 68.8544 | 68.9687 | 70.0019 | 79.1408 | 80.9576 | 80.6679 | 82.0801 | 82.5345 | 82.5064 | 79.2185 | 75.2801 | 75.3488 | 78.1009 | 78.2687 | 76.9328 | 71.4365 | 66.8433 | 63.3702 | 60.5765 | 58.7446 | 55.0663 | 52.7442 | 91.3938 | 89.9736
Min | 40.3489 | 40.4449 | 34.7378 | 39.8817 | 41.8224 | 45.3206 | 42.0146 | 37.247 | 31.9909 | 29.1296 | 31.7218 | 29.0015 | 30.2536 | 30.7183 | 33.2423 | 33.8311 | 38.1269 | 41.2813 | 38.7568 | 36.7596 | 36.6538 | 31.335 | 34.264 | 29.6066 | 24.1662 | 23.4562 | 23.82 | 24.2602 | 25.8267 | 26.8926 | 28.8044
Max | 67.8359 | 69.2512 | 69.8581 | 72.1846 | 72.8921 | 69.994 | 68.2896 | 64.4721 | 63.4628 | 64.7738 | 63.3454 | 64.6176 | 75.9346 | 76.6223 | 76.1441 | 77.4946 | 78.7786 | 80.4731 | 76.5753 | 72.2574 | 71.5312 | 73.7562 | 73.2925 | 78.9776 | 70.7398 | 63.0568 | 58.6608 | 54.8213 | 56.825 | 56.1302 | 55.7676
At Max (LIN) | 58.2562 | 60.0951 | 68.0113 | 66.7362 | 68.9071 | 69.4024 | 64.7277 | 60.8467 | 61.6214 | 64.6506 | 62.692 | 63.3008 | 71.1899 | 76.6223 | 75.8505 | 77.2047 | 78.091 | 75.7382 | 71.2943 | 70.7473 | 68.4264 | 72.3089 | 73.199 | 68.3931 | 64.5709 | 60.9731 | 56.6744 | 53.7374 | 51.7732 | 46.1073 | 44.1961 | 85.7512 | 84.2493
At Max (A) | 58.2562 | 60.0951 | 68.0113 | 66.7362 | 68.9071 | 69.4024 | 64.7277 | 60.8467 | 61.6214 | 64.6506 | 62.692 | 63.3008 | 71.1899 | 76.6223 | 75.8505 | 77.2047 | 78.091 | 75.7382 | 71.2943 | 70.7473 | 68.4264 | 72.3089 | 73.199 | 68.3931 | 64.5709 | 60.9731 | 56.6744 | 53.7374 | 51.7732 | 46.1073 | 44.1961 | 85.7512 | 84.2493

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 53.8272 | 54.2663 | 59.6918 | 55.1442 | 56.1021 | 58.3144 | 53.2345 | 50.8023 | 48.1726 | 50.0787 | 53.1912 | 55.3344 | 59.679 | 65.6706 | 67.3922 | 66.9202 | 68.2522 | 64.8726 | 63.9768 | 58.8134 | 58.6321 | 60.4961 | 61.4865 | 59.2051 | 57.0039 | 52.8233 | 49.5477 | 47.4715 | 45.4385 | 40.4052 | 34.9802 | 75.673 | 74.1533
SEL | 69.6592 | 70.0983 | 75.5238 | 70.9762 | 71.9341 | 74.1463 | 69.0665 | 66.6343 | 64.0046 | 65.9106 | 69.0232 | 71.1664 | 75.511 | 81.5026 | 83.2242 | 82.7522 | 84.0842 | 80.7045 | 79.8088 | 74.6454 | 74.4641 | 76.3281 | 77.3185 | 75.0371 | 72.8359 | 68.6553 | 65.3796 | 63.3035 | 61.2705 | 56.2372 | 50.8122 | 91.505 | 89.9853
Min | 40.6715 | 39.9221 | 38.6564 | 40.5886 | 46.1732 | 47.1663 | 43.7759 | 37.209 | 34.8719 | 31.1027 | 28.5845 | 26.1743 | 27.6887 | 29.7929 | 32.8075 | 34.4876 | 38.7427 | 39.3207 | 37.3964 | 36.103 | 33.2727 | 29.5117 | 29.2641 | 25.7051 | 23.3346 | 23.4606 | 24.1068 | 24.7246 | 26.049 | 27.1418 | 28.9896
Max | 64.6157 | 65.5231 | 70.3271 | 64.8958 | 65.0736 | 67.9184 | 64.04 | 62.4802 | 60.0238 | 62.9329 | 66.1358 | 67.0099 | 73.4747 | 77.4462 | 77.9879 | 79.6171 | 80.0665 | 76.7392 | 76.5008 | 70.6241 | 70.4558 | 74.6903 | 77.4993 | 72.6293 | 72.9939 | 65.6258 | 63.2923 | 59.2091 | 57.5901 | 52.7142 | 47.593
At Max (LIN) | 58.7935 | 61.1568 | 68.3369 | 59.412 | 61.5858 | 63.4013 | 59.0572 | 60.0822 | 58.1437 | 58.8523 | 62.7948 | 65.33 | 73.4747 | 76.3505 | 77.5602 | 78.5769 | 78.557 | 75.6488 | 72.6355 | 68.5864 | 67.362 | 71.9689 | 74.5366 | 70.379 | 67.9032 | 63.9639 | 59.9893 | 57.719 | 55.8735 | 50.9556 | 44.8247 | 86.2507 | 84.9224
At Max (A) | 58.7935 | 61.1568 | 68.3369 | 59.412 | 61.5858 | 63.4013 | 59.0572 | 60.0822 | 58.1437 | 58.8523 | 62.7948 | 65.33 | 73.4747 | 76.3505 | 77.5602 | 78.5769 | 78.557 | 75.6488 | 72.6355 | 68.5864 | 67.362 | 71.9689 | 74.5366 | 70.379 | 67.9032 | 63.9639 | 59.9893 | 57.719 | 55.8735 | 50.9556 | 44.8247 | 86.2507 | 84.9224

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 91.8716 | 91.3331 | 88.2967 | 84.4351 | 89.925 | 94.923 | 100.5486 | 100.3789 | 100.237 | 103.1269 | 107.7796 | 113.1687 | 124.6663 | 127.4859 | 129.2041 | 135.3194 | 135.7665 | 131.6987 | 125.4555 | 125.7991 | 126.8996 | 128.6251 | 128.4067 | 131.081 | 131.1997 | 134.4449 | 125.6404 | 125.5186 | 118.1681 | 113.2924 | 110.914 | 142.838 | 142.3685
SEL | 107.7036 | 107.1651 | 104.1287 | 100.2671 | 105.757 | 110.7549 | 116.3806 | 116.2109 | 116.069 | 118.9589 | 123.6116 | 129.0007 | 140.4983 | 143.3179 | 145.0361 | 151.1513 | 151.5985 | 147.5307 | 141.2874 | 141.631 | 142.7316 | 144.4571 | 144.2386 | 146.913 | 147.0317 | 150.2769 | 141.4724 | 141.3506 | 134.0001 | 129.1244 | 126.7459 | 158.67 | 158.2005
Min | 50.1013 | 51.29 | 51.31 | 52.4674 | 54.4653 | 54.9536 | 55.0054 | 56.0094 | 57.5336 | 57.8109 | 57.4519 | 59.7699 | 60.5545 | 62.249 | 64.5463 | 65.5309 | 66.0648 | 65.6746 | 66.4651 | 66.872 | 67.6975 | 68.4692 | 69.5986 | 70.7955 | 71.9279 | 72.7981 | 73.8085 | 74.8692 | 76.4415 | 77.9664 | 78.7928
Max | 104.732 | 106.3074 | 102.7843 | 98.7624 | 103.8956 | 109.1835 | 114.3667 | 118.1686 | 117.3086 | 118.5524 | 122.4063 | 126.9382 | 139.4679 | 142.4719 | 142.0642 | 149.2413 | 148.8248 | 145.632 | 137.9015 | 137.0747 | 139.7818 | 140.0386 | 140.6354 | 145.551 | 147.0163 | 149.2299 | 138.0074 | 140.0628 | 129.7746 | 131.0751 | 129.4805
At Max (LIN) | 101.5449 | 98.1054 | 97.6873 | 95.1675 | 103.8956 | 107.0086 | 112.2182 | 109.2643 | 109.0842 | 112.1593 | 117.6984 | 124.4907 | 139.4679 | 137.7484 | 141.9352 | 148.2251 | 145.2049 | 143.6087 | 137.9015 | 136.1302 | 139.7818 | 139.8507 | 139.6005 | 143.6474 | 146.9736 | 149.2299 | 138.0074 | 140.0628 | 128.9996 | 118.5115 | 112.4459 | 155.6349 | 155.2351
At Max (A) | 101.5449 | 98.1054 | 97.6873 | 95.1675 | 103.8956 | 107.0086 | 112.2182 | 109.2643 | 109.0842 | 112.1593 | 117.6984 | 124.4907 | 139.4679 | 137.7484 | 141.9352 | 148.2251 | 145.2049 | 143.6087 | 137.9015 | 136.1302 | 139.7818 | 139.8507 | 139.6005 | 143.6474 | 146.9736 | 149.2299 | 138.0074 | 140.0628 | 128.9996 | 118.5115 | 112.4459 | 155.6349 | 155.2351

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.7356 | 73.8427 | 75.3894 | 91.5722 | 89.6792 | 91.2259 | 7.9632 | 1.5467 | 86.3132 | 59.0733 | 84.1042 | 50.2425 | 86.2004 | 56.9502 | 84.4498 | 60.8681 | 82.7429 | 50.5088 | 84.3225 | 58.4684 | 76.1416 | 2.2989 | 87.4854 | 53.9411 | 84.84 | 41.7937 | 87.418 | 51.2328 | 97.9033 | 95.9625 | 97.7764

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.4563 | 73.9786 | 75.1433 | 91.2928 | 89.8151 | 90.9798 | 9.637 | 1.1647 | 85.7384 | 58.9846 | 84.3873 | 48.0792 | 85.5758 | 56.9401 | 84.2114 | 60.4114 | 82.8746 | 48.7046 | 83.9794 | 58.8028 | 76.5795 | 2.601 | 86.3763 | 52.4303 | 85.0652 | 41.2061 | 86.3376 | 54.1726 | 97.4419 | 96.3986 | 97.4093

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.5659 | 73.9843 | 75.2702 | 91.4024 | 89.8208 | 91.1067 | 4.8032 | 1.2859 | 86.1812 | 53.2709 | 85.045 | 45.5363 | 86.0129 | 55.6853 | 84.9262 | 53.2709 | 83.588 | 45.5363 | 84.6859 | 55.8691 | 76.5005 | 2.5162 | 86.811 | 44.5097 | 85.7523 | 36.7752 | 86.6316 | 47.1352 | 98.0706 | 97.3783 | 97.8367

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 142.6642 | 142.1972 | 142.1436 | 158.5007 | 158.0337 | 157.9801 | -0.98824 | -0.05363 | 155.748 | 87.0126 | 155.4332 | 82.8575 | 154.9364 | 82.1207 | 152.6974 | 87.484 | 152.1599 | 83.5503 | 152.2428 | 82.9449 | 147.181 | 4.9838 | 156.9985 | 85.1117 | 156.7895 | 84.2415 | 156.3855 | 83.4556 | 169.8613 | 170.9145 | 168.1876