## Kode31
Measurement Name | Kode31 (Normal Range)
Time of run | 2018-11-14 14:11:26 (1542204686)
Duration | 36.48 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0506111 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0415918 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0446534 (V)/(Pa)
Channel 4 | +0 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.60242e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 55.1862 | 55.6687 | 60.1571 | 60.3624 | 57.5885 | 63.2091 | 57.8302 | 55.733 | 54.7036 | 54.6282 | 54.2241 | 54.1219 | 63.7361 | 68.7192 | 63.4252 | 64.9518 | 68.0378 | 65.6751 | 58.2106 | 56.3485 | 57.9347 | 55.7754 | 52.5365 | 53.6308 | 52.7993 | 50.0365 | 46.3175 | 45.2305 | 40.57 | 35.755 | 30.3771 | 75.5222 | 72.7112
SEL | 70.7972 | 71.2797 | 75.7681 | 75.9734 | 73.1995 | 78.8202 | 73.4412 | 71.344 | 70.3146 | 70.2392 | 69.8352 | 69.733 | 79.3471 | 84.3302 | 79.0362 | 80.5628 | 83.6488 | 81.2861 | 73.8217 | 71.9595 | 73.5457 | 71.3864 | 68.1475 | 69.2418 | 68.4103 | 65.6476 | 61.9285 | 60.8415 | 56.181 | 51.366 | 45.9881 | 91.1333 | 88.3222
Min | 41.7191 | 42.0559 | 38.4426 | 43.793 | 44.4218 | 41.1571 | 38.7586 | 36.851 | 35.142 | 34.8221 | 34.9091 | 35.2852 | 38.6004 | 38.8012 | 42.2586 | 44.6948 | 45.5796 | 44.5168 | 42.2864 | 38.1885 | 34.4199 | 30.6329 | 26.7154 | 23.5521 | 21.1927 | 21.9313 | 22.4368 | 23.2253 | 24.5068 | 25.5203 | 27.1662
Max | 66.6205 | 67.0519 | 74.4806 | 75.6199 | 71.5862 | 78.9625 | 71.1621 | 70.5462 | 70.981 | 68.8895 | 67.6297 | 66.4827 | 81.4257 | 80.8196 | 74.086 | 74.8514 | 80.216 | 79.3358 | 68.5403 | 67.2583 | 68.4173 | 67.6118 | 63.404 | 65.2301 | 65.6276 | 61.1512 | 59.592 | 62.5054 | 56.7215 | 53.113 | 45.038
At Max (LIN) | 56.2688 | 61.6276 | 73.0735 | 65.9986 | 61.04 | 69.883 | 66.4743 | 60.6534 | 59.0729 | 60.981 | 57.7306 | 57.8827 | 65.957 | 80.6541 | 73.0849 | 74.1852 | 79.9345 | 76.506 | 68.0306 | 64.1624 | 67.0987 | 65.3218 | 61.0672 | 62.6959 | 61.6238 | 59.5384 | 55.7847 | 53.5318 | 48.1468 | 42.2298 | 32.9921 | 85.7943 | 83.4619
At Max (A) | 52.1473 | 57.4865 | 68.1809 | 64.5769 | 63.3869 | 75.6742 | 66.5702 | 67.5133 | 59.8703 | 62.4439 | 66.8091 | 63.0577 | 66.1307 | 77.9312 | 73.4218 | 74.3483 | 78.2068 | 79.3358 | 68.2406 | 64.9235 | 68.2414 | 65.52 | 63.0571 | 64.2917 | 62.5311 | 59.4947 | 55.1256 | 52.2236 | 48.1188 | 41.6721 | 33.2812 | 85.6156 | 83.539

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 53.371 | 55.3844 | 62.5116 | 61.4908 | 57.5804 | 61.3315 | 58.4017 | 53.4683 | 54.5532 | 55.3888 | 53.5795 | 51.7715 | 62.2702 | 69.9028 | 63.6245 | 63.7757 | 67.3279 | 65.0528 | 58.8656 | 56.4717 | 57.6653 | 57.2784 | 53.5788 | 54.3104 | 52.3056 | 51.0378 | 46.3311 | 44.6995 | 40.597 | 34.6087 | 31.2755 | 75.5129 | 72.545
SEL | 68.982 | 70.9954 | 78.1226 | 77.1018 | 73.1914 | 76.9426 | 74.0127 | 69.0794 | 70.1642 | 70.9998 | 69.1905 | 67.3825 | 77.8812 | 85.5138 | 79.2355 | 79.3867 | 82.9389 | 80.6638 | 74.4766 | 72.0827 | 73.2763 | 72.8895 | 69.1898 | 69.9214 | 67.9166 | 66.6488 | 61.9421 | 60.3105 | 56.208 | 50.2197 | 46.8865 | 91.1239 | 88.156
Min | 41.7564 | 40.9231 | 36.1662 | 43.7178 | 43.4337 | 43.424 | 39.7181 | 38.0205 | 33.7923 | 30.3681 | 28.7971 | 29.1507 | 33.3915 | 33.9649 | 37.2073 | 40.7653 | 42.176 | 43.0464 | 40.8057 | 37.2798 | 33.1491 | 28.1861 | 25.0194 | 22.8326 | 22.1758 | 23.0057 | 23.6544 | 24.8029 | 25.9227 | 26.9818 | 28.8574
Max | 65.8532 | 68.2601 | 77.0482 | 76.2441 | 70.6216 | 71.135 | 69.9272 | 67.7687 | 72.1852 | 70.4925 | 67.9905 | 62.5969 | 79.0814 | 83.5734 | 75.1145 | 74.8836 | 79.2452 | 78.922 | 70.6456 | 67.2133 | 69.1242 | 69.1433 | 65.6358 | 65.709 | 64.4465 | 61.9253 | 57.1649 | 54.7823 | 50.587 | 44.0738 | 38.4514
At Max (LIN) | 56.8409 | 64.1973 | 71.0731 | 64.8657 | 66.2497 | 71.135 | 67.5928 | 59.633 | 60.228 | 64.8041 | 61.6615 | 56.7106 | 66.0694 | 83.5734 | 75.0327 | 69.805 | 76.7831 | 76.324 | 67.5421 | 64.564 | 66.1499 | 65.0939 | 61.8572 | 63.4566 | 61.8995 | 60.0792 | 54.5627 | 53.0578 | 48.6875 | 41.1287 | 35.5892 | 86.3886 | 83.192
At Max (A) | 56.4735 | 60.4106 | 72.8124 | 66.5823 | 60.37 | 70.5259 | 64.4843 | 60.1321 | 58.424 | 62.1634 | 65.8438 | 60.8806 | 66.6022 | 78.3193 | 75.1145 | 73.0153 | 76.5057 | 78.922 | 70.6456 | 65.0864 | 68.5454 | 67.2327 | 64.4157 | 63.8968 | 61.859 | 61.289 | 56.1849 | 54.2114 | 50.0289 | 43.7074 | 37.169 | 85.2208 | 83.265

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 57.5071 | 54.6995 | 60.3372 | 61.9703 | 56.9983 | 60.2692 | 57.5205 | 52.9446 | 52.4013 | 52.9998 | 54.675 | 54.5941 | 58.6538 | 62.2192 | 65.9613 | 66.8336 | 68.6046 | 68.4423 | 63.7299 | 56.7177 | 55.7922 | 57.0466 | 53.2949 | 52.4583 | 53.0061 | 52.0272 | 49.6713 | 47.5633 | 44.9579 | 38.7891 | 33.9098 | 75.6654 | 73.858
SEL | 73.1182 | 70.3105 | 75.9482 | 77.5813 | 72.6093 | 75.8802 | 73.1315 | 68.5556 | 68.0123 | 68.6108 | 70.286 | 70.2051 | 74.2649 | 77.8302 | 81.5723 | 82.4446 | 84.2156 | 84.0533 | 79.341 | 72.3288 | 71.4032 | 72.6576 | 68.9059 | 68.0693 | 68.6172 | 67.6382 | 65.2823 | 63.1744 | 60.5689 | 54.4001 | 49.5208 | 91.2764 | 89.469
Min | 41.1871 | 40.2834 | 34.3015 | 43.3728 | 44.9108 | 47.8329 | 41.2864 | 38.7696 | 35.5832 | 33.558 | 32.8769 | 29.2854 | 30.7364 | 33.1022 | 36.5635 | 40.6313 | 43.2518 | 43.6668 | 40.3163 | 37.9286 | 33.8804 | 29.2814 | 26.1925 | 24.0315 | 23.0397 | 23.3641 | 24.0719 | 25.0176 | 26.1826 | 27.3732 | 29.0006
Max | 74.2209 | 67.2736 | 73.8184 | 77.0861 | 66.8151 | 71.0079 | 70.6985 | 66.2948 | 66.9561 | 70.7118 | 70.0981 | 69.1867 | 73.2923 | 73.7286 | 78.2633 | 79.9462 | 80.9023 | 80.6708 | 75.9252 | 67.4248 | 67.035 | 70.6778 | 65.1931 | 64.9113 | 65.3782 | 63.5783 | 61.7593 | 58.3889 | 55.747 | 48.8186 | 43.1923
At Max (LIN) | 60.5234 | 64.0164 | 72.97 | 67.7189 | 62.5742 | 65.5355 | 65.6069 | 62.2773 | 61.5398 | 61.2177 | 63.5831 | 62.2785 | 69.5481 | 72.1995 | 78.2633 | 78.1969 | 80.7329 | 79.2952 | 73.3397 | 66.815 | 66.4655 | 65.9145 | 64.574 | 62.9875 | 65.3782 | 62.6717 | 61.7593 | 57.3461 | 54.5336 | 48.2478 | 42.1246 | 86.5912 | 85.076
At Max (A) | 62.3107 | 62.5483 | 71.0874 | 75.7047 | 58.6766 | 66.4536 | 62.7144 | 59.9613 | 58.6552 | 56.8893 | 63.091 | 62.2118 | 67.604 | 70.2129 | 76.3516 | 78.1686 | 78.6599 | 80.6708 | 75.8671 | 67.3048 | 66.3055 | 69.0239 | 64.7725 | 64.1407 | 64.3567 | 62.9258 | 60.644 | 58.22 | 54.5395 | 48.3943 | 41.7848 | 86.5358 | 85.1481

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 92.7469 | 94.8351 | 92.1732 | 89.2092 | 88.7678 | 94.7306 | 101.5349 | 103.0327 | 101.416 | 103.6441 | 107.2704 | 112.7479 | 119.6705 | 129.2403 | 128.0966 | 133.9095 | 139.5821 | 132.908 | 126.5583 | 125.6997 | 127.4404 | 127.9352 | 127.8606 | 130.1043 | 135.9063 | 135.1834 | 123.0819 | 123.9284 | 116.2456 | 107.611 | 102.6854 | 144.2221 | 143.8685
SEL | 108.3579 | 110.4462 | 107.7842 | 104.8202 | 104.3788 | 110.3416 | 117.1459 | 118.6438 | 117.027 | 119.2551 | 122.8815 | 128.3589 | 135.2815 | 144.8513 | 143.7076 | 149.5205 | 155.1931 | 148.519 | 142.1693 | 141.3108 | 143.0514 | 143.5462 | 143.4716 | 145.7153 | 151.5173 | 150.7944 | 138.6929 | 139.5394 | 131.8566 | 123.222 | 118.2964 | 159.8331 | 159.4795
Min | 51.6973 | 51.0704 | 50.5527 | 53.1569 | 53.3309 | 54.9675 | 57.1745 | 56.7459 | 57.8781 | 57.8091 | 58.0163 | 60.5823 | 60.5155 | 62.331 | 63.2784 | 64.7964 | 65.9867 | 66.1666 | 66.0222 | 67.0522 | 67.797 | 68.9216 | 69.6117 | 70.9745 | 71.5524 | 72.6711 | 73.674 | 74.963 | 76.5914 | 78.0774 | 78.9025
Max | 107.7768 | 111.4263 | 108.6518 | 105.9835 | 101.7747 | 109.9581 | 118.2779 | 119.3155 | 120.1741 | 120.5047 | 123.1107 | 128.1526 | 137.9112 | 144.0973 | 142.9453 | 147.0146 | 152.9612 | 149.1763 | 139.5669 | 139.1036 | 140.6382 | 140.3285 | 141.8687 | 145.3291 | 151.5558 | 148.9821 | 135.0748 | 136.2943 | 126.9392 | 117.4019 | 112.9917
At Max (LIN) | 95.8545 | 105.6475 | 100.8094 | 103.3622 | 99.6571 | 102.204 | 111.8227 | 113.7096 | 108.3461 | 118.7713 | 120.7022 | 127.1161 | 130.5109 | 144.0973 | 142.9453 | 147.0146 | 152.9612 | 149.1763 | 139.012 | 136.6904 | 138.5889 | 137.641 | 140.3817 | 142.1017 | 150.0221 | 147.2534 | 134.5494 | 135.1645 | 126.2118 | 116.1667 | 110.5307 | 157.7166 | 157.2972
At Max (A) | 95.8545 | 105.6475 | 100.8094 | 103.3622 | 99.6571 | 102.204 | 111.8227 | 113.7096 | 108.3461 | 118.7713 | 120.7022 | 127.1161 | 130.5109 | 144.0973 | 142.9453 | 147.0146 | 152.9612 | 149.1763 | 139.012 | 136.6904 | 138.5889 | 137.641 | 140.3817 | 142.1017 | 150.0221 | 147.2534 | 134.5494 | 135.1645 | 126.2118 | 116.1667 | 110.5307 | 157.7166 | 157.2972

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.5921 | 72.5864 | 75.1055 | 91.2126 | 88.2069 | 90.726 | 6.1083 | 2.5191 | 85.9253 | 57.6965 | 83.8927 | 51.5444 | 85.6447 | 55.6994 | 84.7499 | 59.7876 | 82.3645 | 52.5489 | 84.5047 | 57.2905 | 75.4464 | 2.86 | 86.7089 | 53.8743 | 85.1072 | 46.18 | 86.6274 | 48.5294 | 99.6797 | 96.3801 | 97.7589

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.4442 | 72.4058 | 75.0476 | 91.0648 | 88.0264 | 90.6682 | 5.4634 | 2.6418 | 86.141 | 56.6364 | 83.3979 | 47.7357 | 86.0357 | 51.4588 | 84.9314 | 58.9944 | 82.4078 | 47.7357 | 84.6735 | 51.4588 | 75.0699 | 2.6641 | 87.2358 | 51.7806 | 84.0498 | 38.9745 | 87.1757 | 42.6976 | 97.8884 | 94.9858 | 96.6288

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.6187 | 73.7211 | 75.2058 | 91.2392 | 89.3416 | 90.8264 | 3.6036 | 1.4848 | 86.8766 | 57.2755 | 85.3417 | 49.6805 | 86.64 | 56.2225 | 85.5951 | 57.5039 | 84.0655 | 50.6034 | 85.3008 | 57.7231 | 76.8754 | 3.1543 | 87.9069 | 48.7743 | 86.6504 | 44.0129 | 87.7274 | 49.8424 | 99.4511 | 96.5278 | 98.5228

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 144.0272 | 143.6913 | 143.5437 | 159.6478 | 159.3119 | 159.1642 | -1.1294 | -0.14763 | 157.7313 | 87.0957 | 157.3549 | 82.8709 | 157.3276 | 82.345 | 154.7104 | 88.5283 | 154.3229 | 85.1895 | 154.3292 | 84.704 | 149.0791 | 5.3878 | 159.6167 | 80.1611 | 159.1313 | 76.7404 | 159.2428 | 76.5501 | 171.5645 | 172.0108 | 171.0539