## Kode36
Measurement Name | Kode36 (Normal Range)
Time of run | 2018-11-14 14:54:51 (1542207291)
Duration | 42.04 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0506111 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0415918 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0446534 (V)/(Pa)
Channel 4 | +0 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.60242e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 58.2843 | 57.175 | 54.309 | 55.1606 | 59.1019 | 57.6247 | 54.6289 | 54.2532 | 51.1373 | 52.9758 | 54.5797 | 61.7919 | 65.3716 | 60.9446 | 62.8022 | 65.0933 | 67.5117 | 63.8432 | 57.5429 | 59.7456 | 57.5491 | 58.0564 | 57.9767 | 54.4302 | 52.1547 | 47.6978 | 43.6452 | 41.2418 | 37.2052 | 32.2452 | 28.9395 | 74.4163 | 72.1563
SEL | 74.5168 | 73.4075 | 70.5415 | 71.3931 | 75.3344 | 73.8572 | 70.8614 | 70.4857 | 67.3698 | 69.2083 | 70.8122 | 78.0244 | 81.6041 | 77.177 | 79.0347 | 81.3258 | 83.7442 | 80.0757 | 73.7754 | 75.9781 | 73.7816 | 74.2889 | 74.2092 | 70.6627 | 68.3872 | 63.9303 | 59.8777 | 57.4743 | 53.4377 | 48.4777 | 45.172 | 90.6488 | 88.3888
Min | 40.2872 | 38.6053 | 42.2229 | 44.5051 | 47.1692 | 45.6601 | 40.6395 | 36.3628 | 35.1131 | 36.9661 | 37.6488 | 37.2322 | 38.5659 | 39.112 | 43.1552 | 44.7445 | 45.1779 | 45.0092 | 42.2429 | 39.5901 | 35.5423 | 32.2831 | 28.6672 | 26.8075 | 24.2786 | 22.4027 | 22.705 | 23.3909 | 24.3015 | 25.4573 | 27.286
Max | 74.222 | 70.9287 | 65.1947 | 69.1681 | 69.5372 | 67.0803 | 67.5592 | 66.15 | 63.2261 | 65.7164 | 67.0002 | 76.3758 | 80.34 | 73.3297 | 72.9282 | 76.2526 | 82.4232 | 77.9055 | 70.9183 | 70.9272 | 69.4722 | 69.5664 | 68.9851 | 67.4414 | 65.8999 | 59.861 | 55.3883 | 51.8343 | 47.491 | 41.2751 | 34.4624
At Max (LIN) | 65.4248 | 62.5955 | 52.9021 | 52.7143 | 61.13 | 62.1248 | 60.5374 | 60.6018 | 58.484 | 61.0632 | 67.0002 | 71.2145 | 72.1626 | 69.2925 | 72.0484 | 71.7518 | 82.4232 | 69.4616 | 63.9105 | 68.8305 | 65.264 | 65.7834 | 66.5956 | 61.8438 | 59.2476 | 54.7399 | 50.5261 | 48.8947 | 44.2195 | 38.7327 | 32.559 | 84.7028 | 83.2543
At Max (A) | 65.4248 | 62.5955 | 52.9021 | 52.7143 | 61.13 | 62.1248 | 60.5374 | 60.6018 | 58.484 | 61.0632 | 67.0002 | 71.2145 | 72.1626 | 69.2925 | 72.0484 | 71.7518 | 82.4232 | 69.4616 | 63.9105 | 68.8305 | 65.264 | 65.7834 | 66.5956 | 61.8438 | 59.2476 | 54.7399 | 50.5261 | 48.8947 | 44.2195 | 38.7327 | 32.559 | 84.7028 | 83.2543

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 58.3084 | 57.3565 | 53.8619 | 55.8853 | 58.7347 | 58.8712 | 55.5554 | 51.9334 | 51.187 | 54.0115 | 54.1938 | 60.7818 | 63.9059 | 61.4957 | 63.1628 | 63.6478 | 67.6724 | 63.4368 | 57.9628 | 60.5121 | 57.7838 | 59.8324 | 59.487 | 55.9734 | 53.3743 | 48.9772 | 45.1972 | 42.2172 | 39.1868 | 34.6879 | 31.3796 | 74.3137 | 72.3128
SEL | 74.5409 | 73.589 | 70.0944 | 72.1178 | 74.9672 | 75.1037 | 71.7879 | 68.1659 | 67.4195 | 70.2439 | 70.4263 | 77.0143 | 80.1384 | 77.7282 | 79.3952 | 79.8803 | 83.9049 | 79.6693 | 74.1953 | 76.7446 | 74.0163 | 76.0649 | 75.7195 | 72.2059 | 69.6068 | 65.2097 | 61.4297 | 58.4497 | 55.4193 | 50.9204 | 47.6121 | 90.5462 | 88.5453
Min | 38.7817 | 40.9838 | 42.4081 | 43.5796 | 45.978 | 44.2672 | 42.0116 | 36.8026 | 34.2847 | 32.2688 | 31.2659 | 31.8154 | 33.4391 | 34.799 | 38.98 | 40.4431 | 40.7021 | 42.0244 | 39.6695 | 36.729 | 33.1808 | 29.3543 | 26.4312 | 24.9543 | 23.5389 | 23.0808 | 23.6012 | 24.336 | 25.7702 | 26.395 | 28.6482
Max | 75.7294 | 71.6334 | 64.5767 | 70.0031 | 68.0271 | 71.7622 | 68.0752 | 61.4411 | 62.5462 | 68.1709 | 66.4385 | 75.4163 | 78.1707 | 72.0815 | 74.0136 | 74.3761 | 82.2413 | 77.1882 | 72.8793 | 71.9202 | 69.3566 | 74.1102 | 73.816 | 69.499 | 69.2258 | 62.3536 | 58.8949 | 52.8999 | 50.2891 | 44.8703 | 40.678
At Max (LIN) | 64.3066 | 64.2508 | 56.0906 | 52.9426 | 63.1523 | 65.6202 | 60.8972 | 59.4518 | 59.1377 | 63.1257 | 66.4385 | 69.171 | 69.2365 | 69.8474 | 72.7682 | 71.4941 | 82.2413 | 69.4297 | 64.3891 | 69.793 | 65.8537 | 67.2851 | 68.1946 | 63.0325 | 59.4693 | 56.2036 | 51.9752 | 49.8612 | 46.5118 | 42.0498 | 36.0436 | 84.6002 | 83.2892
At Max (A) | 64.3066 | 64.2508 | 56.0906 | 52.9426 | 63.1523 | 65.6202 | 60.8972 | 59.4518 | 59.1377 | 63.1257 | 66.4385 | 69.171 | 69.2365 | 69.8474 | 72.7682 | 71.4941 | 82.2413 | 69.4297 | 64.3891 | 69.793 | 65.8537 | 67.2851 | 68.1946 | 63.0325 | 59.4693 | 56.2036 | 51.9752 | 49.8612 | 46.5118 | 42.0498 | 36.0436 | 84.6002 | 83.2892

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 57.8069 | 62.6287 | 60.5342 | 58.3872 | 64.872 | 60.1079 | 58.1065 | 61.9401 | 58.1242 | 59.8814 | 57.8733 | 59.1284 | 59.816 | 64.8817 | 65.5165 | 64.0064 | 65.9169 | 61.023 | 59.8212 | 57.3803 | 57.0686 | 58.1773 | 59.2821 | 56.2857 | 53.1678 | 51.3631 | 47.6959 | 45.1652 | 42.7576 | 37.6623 | 33.0337 | 75.2254 | 71.6934
SEL | 74.0394 | 78.8611 | 76.7667 | 74.6197 | 81.1045 | 76.3404 | 74.339 | 78.1726 | 74.3567 | 76.1139 | 74.1058 | 75.3609 | 76.0485 | 81.1142 | 81.749 | 80.2389 | 82.1494 | 77.2555 | 76.0537 | 73.6127 | 73.3011 | 74.4098 | 75.5145 | 72.5182 | 69.4003 | 67.5956 | 63.9284 | 61.3977 | 58.9901 | 53.8948 | 49.2662 | 91.4579 | 87.9259
Min | 38.3214 | 41.5741 | 42.4521 | 44.2583 | 47.2702 | 46.3415 | 43.243 | 38.8554 | 37.6837 | 34.4674 | 32.713 | 30.4846 | 32.8643 | 34.7303 | 38.7172 | 41.8614 | 44.5648 | 45.0496 | 42.4668 | 39.8851 | 35.7455 | 31.8448 | 28.3239 | 25.8407 | 23.339 | 23.3002 | 23.8694 | 24.907 | 25.6405 | 27.2021 | 28.8231
Max | 71.9066 | 78.0708 | 74.3054 | 71.4664 | 81.0771 | 73.4534 | 69.816 | 77.7355 | 72.8251 | 75.5409 | 71.3001 | 72.1768 | 71.9641 | 76.0874 | 77.5063 | 76.3259 | 78.7109 | 71.5231 | 70.1305 | 68.5249 | 68.6961 | 69.7367 | 70.8894 | 68.7915 | 67.0997 | 66.9541 | 61.4729 | 57.179 | 53.582 | 49.32 | 43.9348
At Max (LIN) | 65.7216 | 74.6533 | 67.1788 | 66.9933 | 80.3688 | 70.1258 | 67.5099 | 77.4289 | 70.4313 | 71.5633 | 68.1505 | 67.9595 | 67.2945 | 73.9359 | 73.0762 | 72.4248 | 73.6675 | 69.2352 | 66.0786 | 62.7913 | 63.84 | 64.9515 | 66.0624 | 65.3549 | 61.9729 | 59.3174 | 55.7191 | 54.1478 | 50.6032 | 44.2812 | 37.6626 | 85.8339 | 79.469
At Max (A) | 67.6713 | 67.0087 | 70.0552 | 71.4664 | 74.7891 | 67.9646 | 67.4039 | 68.6058 | 62.5146 | 65.5698 | 66.0539 | 70.8025 | 70.5213 | 75.2158 | 77.5063 | 75.9874 | 75.3083 | 71.0294 | 67.9697 | 66.2503 | 66.3235 | 68.1193 | 70.0248 | 67.3379 | 63.3426 | 60.5154 | 57.6626 | 54.7248 | 52.4667 | 46.6416 | 40.8455 | 85.2359 | 82.0573

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 88.8454 | 86.0477 | 82.5838 | 85.0811 | 90.9658 | 96.5281 | 99.1959 | 98.3197 | 99.8854 | 103.6059 | 108.7656 | 117.6715 | 124.1972 | 123.2976 | 128.2104 | 130.987 | 130.2115 | 125.9519 | 123.7624 | 126.5259 | 126.3751 | 128.312 | 128.7757 | 129.9775 | 132.7338 | 132.2464 | 119.9847 | 121.2938 | 113.3566 | 105.1012 | 100.1411 | 140.5199 | 140.4374
SEL | 105.0779 | 102.2802 | 98.8163 | 101.3136 | 107.1983 | 112.7606 | 115.4284 | 114.5522 | 116.1179 | 119.8384 | 124.9981 | 133.904 | 140.4297 | 139.5301 | 144.4429 | 147.2195 | 146.444 | 142.1844 | 139.9948 | 142.7584 | 142.6076 | 144.5445 | 145.0082 | 146.21 | 148.9663 | 148.4789 | 136.2172 | 137.5263 | 129.5891 | 121.3336 | 116.3736 | 156.7524 | 156.6699
Min | 49.0692 | 48.7432 | 50.9695 | 53.387 | 55.381 | 57.1876 | 57.0126 | 57.3611 | 56.8385 | 58.2386 | 58.8805 | 58.9384 | 60.7483 | 61.53 | 62.8412 | 63.827 | 65.4558 | 65.4247 | 66.146 | 66.7372 | 67.6646 | 68.7294 | 69.1083 | 70.7571 | 71.6696 | 72.6908 | 73.6657 | 75.0191 | 76.306 | 77.4477 | 78.9119
Max | 103.0028 | 100.8112 | 98.2708 | 100.9265 | 107.5937 | 111.0852 | 116.5223 | 111.9443 | 113.9744 | 118.5668 | 122.5819 | 135.1025 | 139.4985 | 138.4224 | 143.127 | 145.7854 | 142.6783 | 141.587 | 136.0854 | 138.0122 | 139.5266 | 140.9732 | 141.9883 | 144.3655 | 148.3449 | 147.101 | 133.6212 | 135.7512 | 125.3289 | 115.0286 | 110.7983
At Max (LIN) | 100.9484 | 96.8716 | 89.362 | 93.0984 | 101.2838 | 102.9883 | 109.1189 | 110.0605 | 108.1255 | 114.2066 | 121.9102 | 125.8404 | 139.1506 | 133.8683 | 139.7402 | 141.8753 | 140.258 | 136.6721 | 134.0006 | 138.0122 | 139.5266 | 140.9732 | 141.9883 | 144.3655 | 148.3449 | 146.679 | 133.6212 | 135.7512 | 125.3289 | 115.0286 | 110.0202 | 153.9109 | 154.037
At Max (A) | 100.9484 | 96.8716 | 89.362 | 93.0984 | 101.2838 | 102.9883 | 109.1189 | 110.0605 | 108.1255 | 114.2066 | 121.9102 | 125.8404 | 139.1506 | 133.8683 | 139.7402 | 141.8753 | 140.258 | 136.6721 | 134.0006 | 138.0122 | 139.5266 | 140.9732 | 141.9883 | 144.3655 | 148.3449 | 146.679 | 133.6212 | 135.7512 | 125.3289 | 115.0286 | 110.0202 | 153.9109 | 154.037

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 74.7306 | 72.0336 | 74.0153 | 90.9672 | 88.2703 | 90.2519 | 4.999 | 1.9817 | 84.6702 | 59.0795 | 83.3304 | 51.8779 | 84.5382 | 57.5143 | 82.6375 | 60.9153 | 80.6709 | 52.7784 | 82.3859 | 58.3013 | 75.3169 | 3.2833 | 86.3947 | 53.065 | 85.0909 | 46.3102 | 86.0593 | 50.5048 | 95.8987 | 93.9017 | 95.0622

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 74.3319 | 72.1887 | 73.8646 | 90.5685 | 88.4253 | 90.1012 | 6.8042 | 1.6759 | 85.141 | 57.958 | 83.9277 | 48.4193 | 84.9981 | 55.3652 | 83.0665 | 59.152 | 81.4034 | 48.4193 | 82.7994 | 55.9331 | 75.4736 | 3.2849 | 86.9922 | 51.695 | 85.9668 | 39.6581 | 86.9208 | 47.172 | 95.5295 | 94.9495 | 95.1192

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.2151 | 71.5377 | 74.5137 | 91.4517 | 87.7743 | 90.7503 | 7.8524 | 2.976 | 85.9201 | 58.4221 | 82.1993 | 51.2622 | 85.1853 | 57.325 | 84.4217 | 60.3373 | 80.9174 | 52.0579 | 83.7704 | 58.7041 | 74.0555 | 2.5178 | 86.8036 | 53.8381 | 83.3264 | 44.5898 | 85.9835 | 55.9178 | 98.1392 | 94.0818 | 96.9711

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 140.3505 | 140.2583 | 139.7061 | 156.5871 | 156.4949 | 155.9427 | -1.552 | -0.55217 | 153.9 | 86.9021 | 154.0072 | 82.8007 | 152.9837 | 82.0975 | 151.0106 | 87.1339 | 151.0363 | 82.8541 | 150.2258 | 82.3801 | 145.07 | 4.8117 | 155.4867 | 78.8842 | 155.4632 | 74.0947 | 154.5633 | 74.8747 | 167.2708 | 167.4816 | 166.0477