## Torp24
Measurement Name | Torp24 (Normal Range)
Time of run | 2019-04-10 12:46:29 (1554896789)
Duration | 21.92 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.93336e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 4
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.6268 | 72.595 | 70.9963 | 71.8714 | 70.2343 | 69.8162 | 68.6369 | 65.3695 | 64.7254 | 66.6747 | 63.9006 | 63.579 | 63.3547 | 63.2992 | 62.3965 | 63.2943 | 68.7593 | 70.7516 | 68.0368 | 68.4167 | 69.5331 | 67.1358 | 63.0466 | 61.3126 | 61.3808 | 57.9088 | 56.2189 | 55.3512 | 52.5322 | 48.2331 | 44.8143 | 82.0412 | 78.0932
SEL | 83.0312 | 85.9995 | 84.4007 | 85.2758 | 83.6387 | 83.2206 | 82.0413 | 78.7739 | 78.1298 | 80.0792 | 77.3051 | 76.9834 | 76.7592 | 76.7037 | 75.8009 | 76.6987 | 82.1637 | 84.156 | 81.4412 | 81.8212 | 82.9376 | 80.5403 | 76.451 | 74.7171 | 74.7852 | 71.3132 | 69.6234 | 68.7556 | 65.9366 | 61.6376 | 58.2187 | 95.4456 | 91.4976
Min | 41.9194 | 41.2937 | 41.4493 | 42.3203 | 40.253 | 39.3938 | 32.1694 | 31.584 | 31.3912 | 29.7703 | 29.9246 | 28.9654 | 30.1909 | 30.9686 | 32.8611 | 36.455 | 36.0717 | 33.6618 | 29.6369 | 25.5095 | 22.4652 | 20.7695 | 18.6306 | 16.4672 | 15.055 | 15.2836 | 15.8068 | 18.3103 | 24.5091 | 20.0027 | 21.6795
Max | 81.918 | 89.112 | 84.8972 | 84.9619 | 83.9537 | 80.857 | 80.9741 | 77.5716 | 76.3136 | 79.0167 | 74.4278 | 75.3775 | 73.3055 | 73.7812 | 71.8001 | 72.0239 | 78.2299 | 80.3423 | 78.6627 | 77.8663 | 79.2305 | 78.8752 | 75.2177 | 73.3466 | 72.932 | 68.3655 | 67.7186 | 65.2367 | 61.1056 | 57.5273 | 55.5136
At Max (LIN) | 80.9134 | 89.112 | 82.5134 | 84.2587 | 81.0913 | 78.1688 | 79.8014 | 73.268 | 76.1658 | 74.9784 | 73.4013 | 74.4466 | 71.2167 | 71.4451 | 70.4123 | 70.0185 | 73.8732 | 76.5827 | 74.0864 | 73.7335 | 74.5384 | 71.5633 | 69.4322 | 67.9714 | 67.5503 | 64.6241 | 62.7772 | 62.1617 | 59.7282 | 56.7025 | 53.8261 | 93.1301 | 83.839
At Max (A) | 77.007 | 70.3969 | 75.7822 | 74.9145 | 74.3471 | 75.5905 | 73.1155 | 68.6699 | 70.9986 | 76.4969 | 71.7145 | 68.1793 | 69.6767 | 71.1074 | 69.1124 | 70.2853 | 78.2299 | 80.3423 | 77.6081 | 77.4173 | 79.2305 | 78.8752 | 73.6496 | 73.3466 | 72.932 | 67.3784 | 63.8479 | 63.4674 | 59.8864 | 55.388 | 50.4618 | 89.3723 | 87.9577

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 68.0129 | 70.9081 | 69.2606 | 69.8922 | 67.7317 | 69.4963 | 68.8904 | 64.7017 | 63.8141 | 65.1525 | 65.2434 | 64.9473 | 65.8266 | 63.2962 | 62.5853 | 63.7336 | 68.0161 | 69.8514 | 68.1064 | 68.5844 | 68.3137 | 66.1127 | 61.6253 | 61.82 | 62.5391 | 56.1455 | 55.1247 | 53.1022 | 49.1491 | 44.5896 | 39.9336 | 81.1742 | 77.6008
SEL | 81.4173 | 84.3126 | 82.6651 | 83.2966 | 81.1362 | 82.9008 | 82.2948 | 78.1061 | 77.2185 | 78.557 | 78.6479 | 78.3517 | 79.231 | 76.7007 | 75.9898 | 77.138 | 81.4206 | 83.2559 | 81.5108 | 81.9888 | 81.7182 | 79.5172 | 75.0298 | 75.2244 | 75.9435 | 69.5499 | 68.5292 | 66.5066 | 62.5535 | 57.994 | 53.338 | 94.5787 | 91.0052
Min | 47.282 | 50.1652 | 49.8843 | 49.5159 | 47.0149 | 44.7262 | 42.333 | 37.0697 | 35.6958 | 35.8238 | 33.4935 | 33.1366 | 32.556 | 33.8113 | 35.4803 | 39.0583 | 36.6854 | 35.2851 | 30.8663 | 27.0607 | 24.626 | 22.3366 | 19.9535 | 17.3497 | 16.2402 | 15.8585 | 17.0588 | 19.5922 | 20.7902 | 19.0494 | 21.5569
Max | 78.929 | 86.6172 | 83.4563 | 82.8606 | 78.6076 | 79.7891 | 80.9126 | 76.5794 | 74.7366 | 75.5253 | 77.2377 | 76.0402 | 75.7898 | 73.4275 | 71.9665 | 72.858 | 77.16 | 78.9235 | 78.2685 | 78.2539 | 77.7993 | 78.2508 | 73.2915 | 75.6157 | 74.8148 | 65.9342 | 65.8885 | 62.5796 | 58.1993 | 53.7603 | 50.3977
At Max (LIN) | 78.6686 | 86.6172 | 80.6917 | 82.7082 | 77.4094 | 78.5904 | 80.8744 | 76.5794 | 73.8723 | 72.8667 | 74.5285 | 74.4359 | 75.3031 | 73.4275 | 71.0008 | 71.094 | 74.7158 | 77.0646 | 74.2402 | 74.8396 | 73.3732 | 70.4781 | 67.487 | 67.8537 | 67.9179 | 63.1849 | 62.4297 | 60.207 | 57.1595 | 53.2046 | 49.725 | 91.7804 | 84.0262
At Max (A) | 74.7253 | 70.3032 | 72.2235 | 73.342 | 74.0715 | 73.2463 | 72.3166 | 68.6724 | 69.7051 | 71.9701 | 70.9412 | 72.1404 | 71.788 | 71.211 | 70.2196 | 71.0915 | 75.8314 | 78.9235 | 78.2685 | 78.1966 | 77.1766 | 78.2148 | 73.2145 | 75.6157 | 74.3244 | 65.8089 | 63.1416 | 61.6904 | 57.285 | 52.4799 | 47.2231 | 88.5483 | 87.5189

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 22.5595 | 21.0705 | 20.4804 | 20.2627 | 19.9731 | 18.9448 | 18.8916 | 19.0676 | 20.1099 | 20.5065 | 21.1237 | 21.4669 | 22.2187 | 22.8749 | 23.5061 | 24.1733 | 24.8829 | 25.6443 | 26.5014 | 27.2354 | 28.0597 | 28.9862 | 29.9604 | 30.9199 | 31.9316 | 32.798 | 33.8479 | 35.0471 | 36.187 | 37.2804 | 39.0566 | 45.3325 | 42.5488
SEL | 35.964 | 34.4749 | 33.8849 | 33.6671 | 33.3775 | 32.3493 | 32.296 | 32.472 | 33.5144 | 33.9109 | 34.5282 | 34.8714 | 35.6231 | 36.2794 | 36.9106 | 37.5777 | 38.2873 | 39.0488 | 39.9058 | 40.6399 | 41.4641 | 42.3906 | 43.3648 | 44.3243 | 45.336 | 46.2025 | 47.2524 | 48.4516 | 49.5914 | 50.6849 | 52.461 | 58.7369 | 55.9533
Min | 11.793 | 10.7662 | 11.4114 | 11.5584 | 12.7035 | 13.9387 | 12.9492 | 14.6791 | 15.3594 | 16.5885 | 17.6946 | 18.5838 | 19.7581 | 20.712 | 21.2535 | 22.4157 | 21.8418 | 24.2116 | 24.9317 | 26.2504 | 26.3952 | 27.7867 | 29.0574 | 30.0675 | 31.1114 | 32.03 | 33.136 | 34.2914 | 35.0477 | 36.4682 | 38.4332
Max | 30.3304 | 27.7352 | 26.0428 | 27.8623 | 25.1473 | 23.8972 | 23.1677 | 23.4183 | 24.1709 | 23.5963 | 23.9328 | 24.9559 | 24.9045 | 24.803 | 25.4842 | 27.0814 | 26.8856 | 26.896 | 27.9655 | 28.5097 | 29.183 | 29.9052 | 31.1934 | 31.8728 | 32.7515 | 33.5735 | 34.5353 | 36.0052 | 37.1486 | 38.0967 | 39.7623
At Max (LIN) | 29.297 | 25.4774 | 22.485 | 19.5985 | 21.9439 | 19.2131 | 15.9532 | 19.4954 | 20.0012 | 19.3684 | 22.3641 | 21.2954 | 22.0145 | 23.7806 | 23.691 | 24.1881 | 25.2575 | 26.2315 | 27.2466 | 27.9452 | 28.5382 | 29.5149 | 29.9485 | 31.7888 | 32.2304 | 33.2174 | 34.2818 | 35.8438 | 36.866 | 37.7884 | 39.4935 | 45.9441 | 43.0652
At Max (A) | 27.7073 | 24.1416 | 17.3763 | 21.3974 | 22.6017 | 18.5408 | 12.9492 | 20.3544 | 23.5646 | 22.5464 | 22.3836 | 24.9559 | 21.8716 | 24.0187 | 22.1863 | 27.0814 | 21.8418 | 25.313 | 27.0618 | 28.3033 | 28.0899 | 29.6436 | 30.0187 | 31.7794 | 32.7515 | 33.3911 | 34.4887 | 35.4904 | 36.8705 | 37.2166 | 39.7375 | 45.9238 | 43.0855

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 137.6554 | 137.3098 | 138.8166 | 139.8226 | 140.7655 | 139.9717 | 137.3391 | 136.6055 | 137.8289 | 137.1512 | 139.5229 | 141.1448 | 140.1465 | 138.2425 | 136.8791 | 138.1112 | 141.7788 | 143.3977 | 142.5513 | 142.3762 | 143.9249 | 143.5666 | 142.4155 | 141.4906 | 142.9209 | 141.7351 | 141.5485 | 145.0329 | 143.2289 | 143.2175 | 140.1491 | 156.0858 | 154.385
SEL | 151.0598 | 150.7143 | 152.2211 | 153.227 | 154.17 | 153.3761 | 150.7435 | 150.0099 | 151.2334 | 150.5556 | 152.9274 | 154.5492 | 153.5509 | 151.6469 | 150.2835 | 151.5156 | 155.1832 | 156.8022 | 155.9557 | 155.7807 | 157.3294 | 156.9711 | 155.8199 | 154.895 | 156.3253 | 155.1395 | 154.9529 | 158.4373 | 156.6333 | 156.6219 | 153.5535 | 169.4902 | 167.7894
Min | 57.3195 | 54.9542 | 58.0221 | 58.1654 | 59.6004 | 61.4548 | 61.0104 | 63.7116 | 65.246 | 66.2375 | 67.4223 | 67.8911 | 69.5138 | 69.2828 | 70.7836 | 72.8014 | 76.5026 | 78.1704 | 77.1243 | 86.6352 | 82.0511 | 79.2291 | 78.1963 | 78.9097 | 79.8595 | 81.1196 | 84.7385 | 102.8239 | 105.7745 | 102.4039 | 106.5672
Max | 152.9094 | 154.6847 | 156.7387 | 156.615 | 159.2209 | 157.4772 | 152.7905 | 154.1212 | 155.1028 | 155.7242 | 157.6872 | 158.7793 | 157.8562 | 156.0418 | 154.9834 | 155.197 | 157.9558 | 160.1624 | 157.3301 | 159.0245 | 160.9967 | 160.8785 | 159.0737 | 158.7782 | 160.4513 | 158.6515 | 158.4271 | 159.3951 | 158.907 | 159.1269 | 157.0341
At Max (LIN) | 134.4422 | 129.9881 | 128.5598 | 139.2331 | 137.2097 | 135.4274 | 152.2386 | 149.4198 | 153.878 | 155.7242 | 152.2853 | 156.0488 | 157.8562 | 156.0418 | 154.9834 | 155.197 | 157.3115 | 160.1624 | 157.3301 | 159.0245 | 160.9967 | 160.8785 | 159.0737 | 158.7782 | 160.4513 | 158.6515 | 158.4271 | 159.3951 | 158.907 | 159.1269 | 157.0341 | 171.9298 | 171.0414
At Max (A) | 134.4422 | 129.9881 | 128.5598 | 139.2331 | 137.2097 | 135.4274 | 152.2386 | 149.4198 | 153.878 | 155.7242 | 152.2853 | 156.0488 | 157.8562 | 156.0418 | 154.9834 | 155.197 | 157.3115 | 160.1624 | 157.3301 | 159.0245 | 160.9967 | 160.8785 | 159.0737 | 158.7782 | 160.4513 | 158.6515 | 158.4271 | 159.3951 | 158.907 | 159.1269 | 157.0341 | 171.9298 | 171.0414

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.2138 | 77.9084 | 80.7 | 96.6222 | 91.3168 | 94.1084 | 9.1395 | 2.7916 | 97.2255 | 56.3941 | 87.7726 | 42.0884 | 91.9353 | 51.5512 | 91.266 | 59.1945 | 86.0416 | 43.0033 | 87.8976 | 53.7416 | 81.431 | 3.5225 | 99.7041 | 61.9857 | 88.7783 | 44.0343 | 93.7178 | 53.0125 | 108.0027 | 99.9872 | 103.6356

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 82.1219 | 77.432 | 80.0486 | 95.5303 | 90.8404 | 93.457 | 20.9571 | 2.6166 | 94.6642 | 63.9402 | 87.4362 | 43.9876 | 90.5178 | 58.4168 | 89.3 | 69.3449 | 85.4386 | 45.1264 | 87.142 | 62.1749 | 80.8011 | 3.3691 | 97.0794 | 64.1568 | 88.5018 | 44.4878 | 92.2802 | 53.4174 | 105.5163 | 100.2389 | 101.5613

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.5123 | 42.4398 | 41.3188 | 59.9207 | 55.8482 | 54.7272 | -1.0432 | -1.1209 | 47.9827 | 45.7994 | 42.9262 | 41.9255 | 41.8241 | 40.7857 | 46.9481 | 46.1675 | 42.7172 | 42.1519 | 41.5569 | 40.9834 | 42.7675 | 0.32771 | 49.1055 | 37.786 | 43.1492 | 33.7046 | 42.4104 | 32.2259 | 60.5238 | 56.0464 | 54.9171

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 156.1386 | 154.1584 | 154.4333 | 169.547 | 167.5668 | 167.8417 | -1.819 | 0.27484 | 173.3125 | 110.7526 | 171.8337 | 104.9971 | 171.6658 | 103.1519 | 165.8791 | 114.5725 | 164.1214 | 109.3897 | 164.1528 | 107.5868 | 165.252 | 11.0935 | 177.2409 | 122.935 | 176.1313 | 118.7058 | 175.9371 | 116.8453 | 191.3393 | 190.5441 | 191.3713