## Torp33
Measurement Name | Torp33 (Normal Range)
Time of run | 2019-04-10 14:09:47 (1554901787)
Duration | 32.14 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.93336e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 71.9835 | 71.1943 | 71.426 | 72.362 | 71.3389 | 70.7907 | 69.2535 | 67.3568 | 64.8665 | 64.3714 | 61.3325 | 61.3315 | 63.8783 | 66.998 | 67.9942 | 69.7678 | 76.0872 | 76.9031 | 78.6697 | 78.1866 | 77.7342 | 74.3688 | 69.8918 | 65.5848 | 65.0038 | 62.2883 | 59.9128 | 58.632 | 56.1408 | 51.3649 | 47.8149 | 86.6992 | 86.036
SEL | 87.0485 | 86.2594 | 86.491 | 87.427 | 86.404 | 85.8558 | 84.3186 | 82.4219 | 79.9316 | 79.4365 | 76.3975 | 76.3966 | 78.9434 | 82.063 | 83.0592 | 84.8328 | 91.1522 | 91.9681 | 93.7348 | 93.2516 | 92.7992 | 89.4338 | 84.9569 | 80.6499 | 80.0688 | 77.3533 | 74.9778 | 73.6971 | 71.2059 | 66.43 | 62.8799 | 101.7642 | 101.101
Min | 40.1369 | 40.9096 | 40.2721 | 40.2762 | 32.7367 | 40.0857 | 38.426 | 30.7976 | 29.0984 | 29.2873 | 28.259 | 28.8307 | 30.4382 | 30.1143 | 32.7193 | 34.4317 | 35.5814 | 34.5437 | 33.9811 | 31.1364 | 26.155 | 19.9918 | 14.7313 | 12.123 | 12.3088 | 14.3192 | 16.3109 | 16.7431 | 20.8811 | 19.8054 | 25.0817
Max | 87.1112 | 85.4246 | 84.58 | 86.7667 | 86.3484 | 85.6745 | 84.0852 | 82.9414 | 78.9516 | 80.0721 | 77.0186 | 75.4527 | 77.5291 | 80.4479 | 83.3266 | 85.8029 | 93.7038 | 93.2862 | 95.8569 | 95.6173 | 94.2855 | 91.4195 | 85.6441 | 80.6176 | 80.3835 | 75.9871 | 74.5118 | 70.9375 | 65.9346 | 61.6714 | 57.3458
At Max (LIN) | 77.6713 | 79.8983 | 80.6194 | 86.7667 | 86.2026 | 83.3913 | 83.5739 | 82.9414 | 78.6121 | 80.0721 | 77.0186 | 74.7947 | 76.8537 | 78.6873 | 82.043 | 85.2585 | 93.7038 | 93.2862 | 95.5692 | 95.6173 | 93.6487 | 90.0603 | 85.6441 | 80.4408 | 80.3835 | 75.9871 | 74.5118 | 70.7452 | 65.8904 | 61.6714 | 55.3467 | 102.6506 | 102.6478
At Max (A) | 77.6713 | 79.8983 | 80.6194 | 86.7667 | 86.2026 | 83.3913 | 83.5739 | 82.9414 | 78.6121 | 80.0721 | 77.0186 | 74.7947 | 76.8537 | 78.6873 | 82.043 | 85.2585 | 93.7038 | 93.2862 | 95.5692 | 95.6173 | 93.6487 | 90.0603 | 85.6441 | 80.4408 | 80.3835 | 75.9871 | 74.5118 | 70.7452 | 65.8904 | 61.6714 | 55.3467 | 102.6506 | 102.6478

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 71.1072 | 69.6775 | 69.641 | 70.3352 | 69.0141 | 68.216 | 68.6326 | 65.0548 | 63.2414 | 62.9514 | 62.1287 | 62.4742 | 63.9637 | 65.8653 | 67.4417 | 71.3777 | 77.0004 | 76.4818 | 78.1472 | 78.5203 | 76.3302 | 71.6611 | 68.0879 | 65.0807 | 63.7388 | 59.9326 | 57.9951 | 55.98 | 52.5764 | 47.2705 | 43.0681 | 86.0565 | 85.5394
SEL | 86.1722 | 84.7426 | 84.7061 | 85.4002 | 84.0791 | 83.281 | 83.6976 | 80.1198 | 78.3064 | 78.0164 | 77.1937 | 77.5392 | 79.0287 | 80.9303 | 82.5067 | 86.4428 | 92.0655 | 91.5468 | 93.2123 | 93.5853 | 91.3953 | 86.7262 | 83.1529 | 80.1458 | 78.8039 | 74.9976 | 73.0601 | 71.0451 | 67.6414 | 62.3355 | 58.1331 | 101.1216 | 100.6044
Min | 37.2088 | 41.3711 | 35.5201 | 40.14 | 37.3797 | 38.9022 | 36.6984 | 33.6368 | 34.1297 | 31.0043 | 32.7472 | 33.2177 | 36.8738 | 34.1246 | 34.586 | 35.575 | 37.8702 | 35.8078 | 34.8784 | 32.7498 | 28.7861 | 21.6093 | 16.0039 | 13.3598 | 14.0943 | 15.0899 | 16.8181 | 17.2238 | 18.0904 | 18.7394 | 21.4468
Max | 84.8679 | 83.2453 | 82.4351 | 83.1277 | 82.52 | 84.3508 | 84.2206 | 79.2994 | 78.419 | 77.5514 | 75.885 | 76.3759 | 77.4238 | 78.5521 | 80.6545 | 88.0163 | 94.8281 | 91.7926 | 95.1603 | 95.7318 | 92.0991 | 87.3685 | 83.6287 | 80.4031 | 78.4744 | 73.1826 | 72.2547 | 68.0351 | 62.9706 | 58.1036 | 53.5142
At Max (LIN) | 76.5718 | 78.5542 | 77.9997 | 83.1277 | 81.7474 | 79.5695 | 82.8421 | 79.2994 | 76.539 | 77.5514 | 74.8585 | 76.3759 | 76.4666 | 77.4095 | 80.5645 | 87.2518 | 94.8281 | 91.7926 | 95.1603 | 95.7318 | 92.0991 | 87.2026 | 83.5499 | 79.6027 | 78.1992 | 72.8879 | 72.2547 | 68.0351 | 62.7303 | 57.9116 | 53.2243 | 102.034 | 102.1298
At Max (A) | 76.5718 | 78.5542 | 77.9997 | 83.1277 | 81.7474 | 79.5695 | 82.8421 | 79.2994 | 76.539 | 77.5514 | 74.8585 | 76.3759 | 76.4666 | 77.4095 | 80.5645 | 87.2518 | 94.8281 | 91.7926 | 95.1603 | 95.7318 | 92.0991 | 87.2026 | 83.5499 | 79.6027 | 78.1992 | 72.8879 | 72.2547 | 68.0351 | 62.7303 | 57.9116 | 53.2243 | 102.034 | 102.1298

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 22.837 | 20.7407 | 19.8104 | 19.4476 | 18.9051 | 18.9785 | 18.9823 | 19.0714 | 19.7485 | 20.333 | 21.0958 | 21.5602 | 22.3531 | 22.755 | 23.4994 | 24.1954 | 24.91 | 25.7164 | 26.3823 | 27.2 | 28.0198 | 28.9537 | 29.9174 | 31.0308 | 31.9086 | 32.7735 | 33.839 | 34.9747 | 36.1245 | 37.2193 | 39.0598 | 45.2988 | 42.5268
SEL | 37.9021 | 35.8057 | 34.8754 | 34.5126 | 33.9702 | 34.0436 | 34.0473 | 34.1364 | 34.8136 | 35.3981 | 36.1608 | 36.6252 | 37.4182 | 37.8201 | 38.5645 | 39.2605 | 39.9751 | 40.7814 | 41.4474 | 42.265 | 43.0848 | 44.0188 | 44.9825 | 46.0958 | 46.9737 | 47.8386 | 48.904 | 50.0397 | 51.1896 | 52.2843 | 54.1248 | 60.3639 | 57.5918
Min | 11.0176 | 10.7428 | 11.8107 | 13.1788 | 11.2529 | 12.1906 | 12.9285 | 13.8972 | 15.3885 | 15.2051 | 17.5178 | 17.7933 | 19.612 | 20.4504 | 20.7256 | 22.408 | 23.3373 | 23.8842 | 25.0719 | 25.9122 | 26.6811 | 27.7611 | 28.8418 | 29.5777 | 30.9595 | 32.1086 | 32.901 | 34.1049 | 35.0751 | 36.1169 | 38.3615
Max | 29.9837 | 26.4492 | 26.4373 | 26.3221 | 23.7437 | 24.1205 | 25.6816 | 22.7183 | 24.9441 | 24.1259 | 23.451 | 24.5678 | 24.8381 | 24.7183 | 25.5695 | 26.0417 | 26.7894 | 27.2465 | 27.5271 | 28.4541 | 29.246 | 30.2795 | 31.2887 | 32.226 | 32.7228 | 33.5312 | 34.5371 | 35.6498 | 36.9395 | 37.8223 | 39.6861
At Max (LIN) | 22.0604 | 18.9008 | 20.6191 | 16.0231 | 15.9595 | 24.1205 | 20.8226 | 22.0879 | 22.8031 | 21.4478 | 22.1766 | 21.3919 | 24.0937 | 21.8584 | 23.1739 | 25.0414 | 25.6879 | 26.3694 | 27.1517 | 27.6756 | 27.7128 | 28.9289 | 29.8533 | 31.4616 | 31.6446 | 33.0203 | 34.4999 | 35.3441 | 36.2981 | 37.5276 | 39.6659 | 45.6915 | 42.8017
At Max (A) | 15.0696 | 16.4226 | 16.8457 | 18.6024 | 19.3284 | 23.7095 | 21.2953 | 17.9605 | 19.9267 | 19.4881 | 19.9876 | 22.1133 | 22.276 | 23.4529 | 23.9382 | 24.373 | 24.8078 | 26.1322 | 27.0873 | 27.7805 | 28.7741 | 30.158 | 30.2374 | 31.6399 | 32.3431 | 33.1227 | 34.5316 | 35.388 | 36.4774 | 37.3768 | 39.3346 | 45.6538 | 43.0209

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 107.6318 | 98.8857 | 105.0195 | 99.8257 | 104.4883 | 109.573 | 111.2626 | 107.9534 | 107.0499 | 109.4408 | 111.4898 | 116.2774 | 121.584 | 125.6982 | 130.5999 | 136.5333 | 143.7665 | 146.8588 | 145.3467 | 145.7473 | 144.9089 | 137.7639 | 132.6756 | 129.793 | 124.8902 | 130.6528 | 135.2741 | 144.3057 | 142.1832 | 141.0238 | 131.2333 | 154.022 | 153.7911
SEL | 122.6969 | 113.9508 | 120.0845 | 114.8908 | 119.5534 | 124.6381 | 126.3276 | 123.0185 | 122.115 | 124.5059 | 126.5548 | 131.3425 | 136.6491 | 140.7633 | 145.6649 | 151.5984 | 158.8315 | 161.9238 | 160.4118 | 160.8123 | 159.9739 | 152.829 | 147.7407 | 144.858 | 139.9553 | 145.7178 | 150.3391 | 159.3708 | 157.2482 | 156.0889 | 146.2984 | 169.087 | 168.8562
Min | 56.9346 | 56.0336 | 49.2374 | 57.6964 | 58.458 | 58.1982 | 61.2963 | 63.3264 | 65.0099 | 63.6939 | 65.1759 | 67.5429 | 67.9366 | 69.6842 | 70.8651 | 73.2415 | 76.1578 | 81.0798 | 80.8071 | 91.2333 | 88.4523 | 82.0264 | 77.9592 | 78.7452 | 80.2088 | 81.1275 | 82.7151 | 90.8128 | 96.3591 | 99.4752 | 105.1453
Max | 120.5428 | 111.331 | 118.6331 | 117.5859 | 124.02 | 131.0659 | 130.8926 | 122.3281 | 125.8535 | 127.1248 | 127.338 | 133.2644 | 136.748 | 140.6456 | 146.386 | 153.8942 | 162.0466 | 164.619 | 163.4887 | 163.2752 | 161.3213 | 153.862 | 146.5926 | 144.8071 | 138.3713 | 142.0792 | 145.6496 | 155.8944 | 151.8247 | 151.0063 | 140.752
At Max (LIN) | 114.0358 | 111.331 | 118.3403 | 117.5859 | 122.2221 | 128.211 | 127.8798 | 119.7119 | 122.6134 | 123.8342 | 121.4354 | 129.9686 | 134.2866 | 138.171 | 145.0723 | 153.8942 | 162.0466 | 164.619 | 163.237 | 163.2752 | 161.252 | 153.7593 | 146.0967 | 144.3708 | 137.8138 | 139.8351 | 144.9101 | 153.6977 | 149.8019 | 149.1433 | 138.4206 | 170.4637 | 170.7537
At Max (A) | 114.0358 | 111.331 | 118.3403 | 117.5859 | 122.2221 | 128.211 | 127.8798 | 119.7119 | 122.6134 | 123.8342 | 121.4354 | 129.9686 | 134.2866 | 138.171 | 145.0723 | 153.8942 | 162.0466 | 164.619 | 163.237 | 163.2752 | 161.252 | 153.7593 | 146.0967 | 144.3708 | 137.8138 | 139.8351 | 144.9101 | 153.6977 | 149.8019 | 149.1433 | 138.4206 | 170.4637 | 170.7537

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.2543 | 85.8615 | 86.0344 | 102.3248 | 100.932 | 101.1048 | 24.7776 | 0.17284 | 103.1245 | 55.7274 | 102.7004 | 43.6513 | 102.3933 | 51.8314 | 98.7428 | 56.9433 | 98.3068 | 44.0535 | 98.0621 | 53.8936 | 91.9127 | 6.0512 | 104.0402 | 48.2727 | 104.0627 | 35.296 | 103.6612 | 52.28 | 115.343 | 113.8499 | 113.2587

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.4759 | 85.3205 | 85.4654 | 101.5464 | 100.391 | 100.5359 | 19.6714 | 0.14488 | 102.2632 | 55.0732 | 102.0033 | 44.3091 | 101.7871 | 52.2305 | 97.9185 | 55.1096 | 97.6594 | 44.3091 | 97.4775 | 54.1011 | 91.0334 | 5.7129 | 103.1512 | 46.352 | 103.0622 | 35.5516 | 102.8555 | 53.6022 | 113.3844 | 113.6703 | 112.9879

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.4608 | 42.4307 | 41.2983 | 61.5313 | 57.5012 | 56.3687 | -1.1244 | -1.1324 | 47.1759 | 45.6643 | 42.9216 | 41.637 | 41.8467 | 40.5994 | 46.712 | 46.0216 | 42.7441 | 41.637 | 41.6098 | 40.6646 | 42.7028 | 0.27206 | 48.0568 | 37.4317 | 43.1767 | 32.8795 | 42.6141 | 31.9071 | 60.3064 | 56.3916 | 55.7307

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 153.8474 | 153.6243 | 152.9498 | 168.9179 | 168.6947 | 168.0203 | -1.9027 | -0.67445 | 170.5981 | 108.8735 | 170.9328 | 103.518 | 170.423 | 102.4599 | 165.9922 | 108.9774 | 166.2908 | 103.518 | 165.7608 | 102.4599 | 159.5586 | 5.9343 | 171.4208 | 100.2367 | 171.6727 | 94.7605 | 171.272 | 93.7024 | 182.6965 | 182.8634 | 182.3132