## Torp48
Measurement Name | Torp48 (Normal Range)
Time of run | 2019-04-10 16:29:06 (1554910146)
Duration | 34.34 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.93336e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.9054 | 69.1731 | 68.5184 | 67.8076 | 66.2932 | 67.0376 | 65.2673 | 63.1304 | 61.0173 | 59.2146 | 58.517 | 57.5645 | 58.6204 | 61.4878 | 63.0749 | 63.4565 | 68.16 | 68.7958 | 67.2678 | 67.6947 | 68.3198 | 66.8731 | 63.4059 | 61.2179 | 60.8564 | 58.2387 | 55.411 | 54.3813 | 52.3112 | 47.4614 | 43.103 | 79.7348 | 77.1991
SEL | 82.2583 | 84.526 | 83.8714 | 83.1606 | 81.6461 | 82.3905 | 80.6203 | 78.4833 | 76.3702 | 74.5675 | 73.8699 | 72.9175 | 73.9734 | 76.8407 | 78.4278 | 78.8095 | 83.5129 | 84.1487 | 82.6208 | 83.0476 | 83.6727 | 82.226 | 78.7588 | 76.5708 | 76.2094 | 73.5916 | 70.764 | 69.7343 | 67.6641 | 62.8143 | 58.4559 | 95.0877 | 92.5521
Min | 41.6163 | 41.6331 | 43.6955 | 37.0402 | 42.4606 | 36.1383 | 32.5716 | 38.1276 | 28.8079 | 38.0851 | 28.8715 | 27.4654 | 25.0332 | 26.5987 | 30.2083 | 32.0621 | 34.4175 | 33.0495 | 31.8065 | 24.1843 | 21.0146 | 22.1492 | 20.998 | 17.8967 | 15.8764 | 14.8057 | 15.6938 | 15.7626 | 18.7597 | 17.8549 | 21.6238
Max | 85.2521 | 87.7155 | 83.4411 | 86.4475 | 80.3295 | 81.8216 | 80.4206 | 77.8725 | 77.108 | 74.9011 | 73.3076 | 71.588 | 74.4625 | 75.7709 | 77.9612 | 76.843 | 80.9267 | 82.9941 | 79.5355 | 80.3608 | 82.0212 | 81.3778 | 78.5939 | 77.1344 | 76.8718 | 72.6405 | 68.6589 | 67.5514 | 64.9455 | 60.9364 | 54.9688
At Max (LIN) | 85.2521 | 86.7707 | 83.4411 | 86.4475 | 77.8854 | 81.8216 | 78.108 | 77.8725 | 74.5733 | 74.9011 | 71.4285 | 69.4542 | 72.6142 | 73.6577 | 75.9143 | 75.6424 | 79.2301 | 79.4191 | 77.5853 | 79.4044 | 80.1379 | 78.1838 | 73.1724 | 70.4486 | 69.7779 | 69.0453 | 67.2116 | 66.8321 | 64.51 | 60.7161 | 54.3773 | 94.0828 | 88.3636
At Max (A) | 76.1375 | 80.5853 | 81.0438 | 76.7589 | 77.6013 | 79.0772 | 77.8983 | 75.434 | 74.6286 | 71.7641 | 72.7075 | 70.7826 | 70.6599 | 73.6898 | 74.9922 | 76.523 | 80.9265 | 82.9941 | 78.0153 | 80.3204 | 81.5129 | 81.3778 | 76.6037 | 75.6515 | 76.8718 | 71.436 | 68.4831 | 67.1743 | 64.5331 | 59.2241 | 53.7461 | 92.2674 | 90.5238

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 65.2937 | 67.2537 | 66.1353 | 66.2595 | 64.0338 | 64.8181 | 63.2547 | 61.194 | 59.5727 | 57.9022 | 58.9091 | 58.9621 | 59.381 | 61.5891 | 63.2205 | 65.3358 | 69.8542 | 69.7064 | 67.0587 | 68.6982 | 67.8276 | 64.5207 | 61.3243 | 60.5319 | 59.7216 | 56.0665 | 54.2143 | 52.2109 | 48.9172 | 43.774 | 38.8531 | 79.1228 | 77.2852
SEL | 80.6466 | 82.6067 | 81.4882 | 81.6125 | 79.3868 | 80.171 | 78.6077 | 76.5469 | 74.9256 | 73.2551 | 74.2621 | 74.315 | 74.734 | 76.942 | 78.5735 | 80.6887 | 85.2071 | 85.0593 | 82.4117 | 84.0511 | 83.1805 | 79.8736 | 76.6772 | 75.8848 | 75.0745 | 71.4195 | 69.5672 | 67.5638 | 64.2701 | 59.1269 | 54.206 | 94.4757 | 92.6382
Min | 39.6544 | 42.3871 | 42.5769 | 37.1372 | 41.7948 | 35.3278 | 31.2986 | 36.147 | 30.3114 | 39.9804 | 31.2869 | 32.4082 | 30.8847 | 30.8554 | 32.9785 | 33.675 | 35.1716 | 32.6078 | 30.6444 | 24.5845 | 24.4046 | 21.8972 | 20.8601 | 17.6952 | 15.5903 | 16.0362 | 16.4656 | 16.6154 | 17.0558 | 18.376 | 20.2656
Max | 83.65 | 85.7801 | 80.7186 | 83.8225 | 77.285 | 78.7135 | 78.3478 | 75.6454 | 74.1525 | 71.7497 | 73.3357 | 73.5486 | 73.4044 | 75.3628 | 76.0325 | 78.7022 | 82.6074 | 82.2483 | 80.201 | 81.4148 | 80.4676 | 77.7402 | 75.653 | 76.5016 | 74.3016 | 69.5169 | 67.2976 | 65.2355 | 62.6798 | 58.8401 | 53.9561
At Max (LIN) | 83.65 | 84.3461 | 80.2402 | 83.8225 | 73.8696 | 78.3316 | 76.2554 | 74.4601 | 71.26 | 71.1388 | 71.4221 | 71.4948 | 72.2698 | 74.5585 | 74.9058 | 77.1328 | 80.0245 | 80.1581 | 77.4268 | 79.364 | 79.4311 | 76.6991 | 71.797 | 70.5671 | 69.6924 | 67.5003 | 66.7144 | 64.864 | 62.6449 | 58.8352 | 53.9561 | 92.3757 | 88.2034
At Max (A) | 74.217 | 79.1308 | 78.6757 | 76.8007 | 74.7596 | 78.5012 | 76.986 | 75.4837 | 73.8122 | 69.2366 | 71.164 | 71.1307 | 71.1516 | 73.4922 | 74.5298 | 78.7022 | 82.6074 | 82.2483 | 78.5265 | 80.4523 | 80.1937 | 77.6014 | 74.7489 | 74.436 | 74.2532 | 69.4511 | 67.2976 | 64.9255 | 61.2113 | 56.1631 | 50.6863 | 91.4926 | 89.7904

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.7534 | 19.1718 | 18.9586 | 19.2854 | 18.3636 | 18.7188 | 18.741 | 19.2668 | 19.8785 | 20.6214 | 21.1181 | 21.703 | 22.2089 | 22.9794 | 23.6434 | 24.4269 | 25.0701 | 25.954 | 26.6813 | 27.451 | 28.3856 | 29.2843 | 30.3437 | 31.2328 | 32.1651 | 33.0676 | 34.0877 | 35.3058 | 36.445 | 37.5456 | 39.3215 | 45.5658 | 42.8183
SEL | 37.1064 | 34.5247 | 34.3116 | 34.6383 | 33.7166 | 34.0718 | 34.0939 | 34.6197 | 35.2314 | 35.9743 | 36.471 | 37.056 | 37.5619 | 38.3324 | 38.9963 | 39.7798 | 40.423 | 41.3069 | 42.0343 | 42.804 | 43.7385 | 44.6372 | 45.6966 | 46.5857 | 47.5181 | 48.4205 | 49.4407 | 50.6588 | 51.7979 | 52.8985 | 54.6744 | 60.9187 | 58.1713
Min | 12.4127 | 9.8318 | 10.7957 | 9.45 | 11.634 | 11.7546 | 12.6268 | 14.5493 | 14.8897 | 17.5616 | 17.8704 | 18.5197 | 18.0207 | 20.592 | 21.669 | 22.4908 | 23.4178 | 24.5653 | 25.2834 | 26.3655 | 27.2897 | 28.2469 | 29.1936 | 30.2617 | 31.1256 | 32.3388 | 33.3671 | 34.3235 | 35.4425 | 36.7551 | 38.6453
Max | 28.6581 | 25.1 | 24.9051 | 24.867 | 24.5599 | 23.8681 | 23.6048 | 23.6511 | 23.4821 | 23.8198 | 25.0268 | 24.8589 | 24.6731 | 25.3376 | 25.3277 | 26.3461 | 26.7784 | 27.5509 | 28.1738 | 28.7078 | 29.4096 | 30.4928 | 31.4313 | 32.1802 | 32.9223 | 33.6777 | 34.7145 | 36.0847 | 37.3641 | 38.1799 | 39.9974
At Max (LIN) | 26.3624 | 20.1553 | 20.7542 | 18.6789 | 19.008 | 17.7423 | 21.9642 | 19.6217 | 18.1531 | 19.2872 | 20.8074 | 20.9137 | 22.6797 | 22.6396 | 22.9763 | 24.5008 | 24.863 | 26.5975 | 26.8826 | 27.542 | 28.8909 | 30.4928 | 30.7614 | 31.6939 | 32.4938 | 33.3953 | 34.6133 | 35.4689 | 37.0843 | 37.9848 | 39.915 | 46.0555 | 43.2612
At Max (A) | 26.3624 | 20.1553 | 20.7542 | 18.6789 | 19.008 | 17.7423 | 21.9642 | 19.6217 | 18.1531 | 19.2872 | 20.8074 | 20.9137 | 22.6797 | 22.6396 | 22.9763 | 24.5008 | 24.863 | 26.5975 | 26.8826 | 27.542 | 28.8909 | 30.4928 | 30.7614 | 31.6939 | 32.4938 | 33.3953 | 34.6133 | 35.4689 | 37.0843 | 37.9848 | 39.915 | 46.0555 | 43.2612

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 98.5672 | 95.6861 | 98.9544 | 94.7341 | 97.9176 | 97.5302 | 102.2163 | 99.8827 | 99.1676 | 100.9357 | 104.6428 | 108.4574 | 115.1075 | 121.2857 | 125.5391 | 130.971 | 135.2947 | 138.3432 | 134.5419 | 136.8197 | 135.6148 | 132.7613 | 129.5698 | 127.4225 | 123.9493 | 127.7535 | 132.7021 | 141.5294 | 138.6162 | 136.3427 | 125.3136 | 147.4428 | 146.3578
SEL | 113.9202 | 111.0391 | 114.3074 | 110.087 | 113.2706 | 112.8832 | 117.5692 | 115.2357 | 114.5205 | 116.2886 | 119.9958 | 123.8103 | 130.4604 | 136.6386 | 140.892 | 146.324 | 150.6476 | 153.6961 | 149.8949 | 152.1726 | 150.9678 | 148.1142 | 144.9228 | 142.7754 | 139.3023 | 143.1065 | 148.0551 | 156.8824 | 153.9692 | 151.6956 | 140.6666 | 162.7957 | 161.7108
Min | 55.1715 | 56.9357 | 57.5251 | 55.1962 | 58.0888 | 60.736 | 61.9003 | 63.0555 | 63.7432 | 66.6013 | 65.8576 | 67.511 | 69.0771 | 69.6937 | 70.9486 | 71.737 | 77.3034 | 80.9108 | 79.5111 | 87.2087 | 82.2446 | 79.9735 | 78.1985 | 79.2379 | 80.3208 | 81.4006 | 82.9409 | 90.5592 | 94.1647 | 94.4002 | 99.0119
Max | 113.9167 | 111.264 | 114.3547 | 111.3376 | 115.5562 | 113.505 | 118.316 | 118.4301 | 116.786 | 117.466 | 121.6959 | 124.5091 | 131.7923 | 137.2223 | 140.3968 | 147.0588 | 150.279 | 152.1174 | 149.0474 | 149.5673 | 148.6672 | 147.0507 | 144.9924 | 144.2039 | 140.9566 | 141.6223 | 145.5648 | 155.8103 | 149.4955 | 147.8823 | 136.6892
At Max (LIN) | 110.5592 | 108.6396 | 113.0022 | 107.3297 | 110.524 | 111.955 | 116.3144 | 114.4557 | 110.891 | 114.7815 | 117.54 | 123.6787 | 128.4233 | 133.5023 | 137.24 | 143.9398 | 148.9839 | 151.9171 | 148.5023 | 149.5673 | 148.6672 | 147.0507 | 144.9924 | 143.9639 | 140.9566 | 140.8724 | 145.5648 | 155.0937 | 149.3839 | 147.6994 | 136.6892 | 160.5856 | 159.8047
At Max (A) | 110.5592 | 108.6396 | 113.0022 | 107.3297 | 110.524 | 111.955 | 116.3144 | 114.4557 | 110.891 | 114.7815 | 117.54 | 123.6787 | 128.4233 | 133.5023 | 137.24 | 143.9398 | 148.9839 | 151.9171 | 148.5023 | 149.5673 | 148.6672 | 147.0507 | 144.9924 | 143.9639 | 140.9566 | 140.8724 | 145.5648 | 155.0937 | 149.3839 | 147.6994 | 136.6892 | 160.5856 | 159.8047

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 80.535 | 77.0134 | 78.5468 | 95.893 | 92.3714 | 93.9048 | 14.9846 | 1.5334 | 96.8974 | 53.3871 | 90.5129 | 40.6298 | 92.8126 | 49.8777 | 91.1567 | 56.6732 | 87.9868 | 40.8236 | 89.2408 | 49.8777 | 80.6029 | 3.5895 | 99.6734 | 51.6363 | 91.4343 | 32.0901 | 94.1384 | 41.1203 | 106.5798 | 104.5796 | 105.6267

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.5263 | 77.0965 | 78.2014 | 94.8843 | 92.4545 | 93.5594 | 6.4014 | 1.1049 | 94.5414 | 53.9824 | 89.8991 | 41.566 | 91.1807 | 51.0538 | 89.9453 | 56.5561 | 87.6903 | 42.024 | 88.6321 | 52.2068 | 80.3 | 3.2035 | 96.7812 | 49.1456 | 90.8882 | 33.4586 | 92.2758 | 43.7378 | 104.3891 | 102.4878 | 104.613

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6482 | 42.7101 | 41.5427 | 62.0062 | 58.0681 | 56.9007 | -1.1339 | -1.1674 | 50.2896 | 45.8968 | 43.181 | 41.8237 | 42.4742 | 40.9644 | 47.5201 | 46.0851 | 42.9882 | 41.8237 | 41.8743 | 41.0868 | 42.9942 | 0.28414 | 53.0787 | 37.4602 | 43.4627 | 33.0662 | 43.5065 | 32.3293 | 62.5872 | 57.455 | 56.1669

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 147.2441 | 146.1318 | 145.2245 | 162.6021 | 161.4898 | 160.5825 | -1.7965 | -0.9073 | 160.5788 | 103.5286 | 159.7382 | 97.4301 | 158.7737 | 95.9154 | 158.1592 | 103.6592 | 157.2135 | 97.8453 | 156.2585 | 96.3116 | 150.2661 | 4.1343 | 161.6412 | 94.9382 | 160.7452 | 89.2432 | 160.1746 | 87.716 | 175.6124 | 176.1723 | 175.1546