## Torp07
Measurement Name | Torp07 (Normal Range)
Time of run | 2019-04-10 10:36:31 (1554888991)
Duration | 18.92 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0503398 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0415052 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.93336e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 71.7465 | 76.6102 | 74.5678 | 74.6155 | 74.9984 | 74.3022 | 70.9366 | 69.2052 | 67.3548 | 66.3668 | 68.6945 | 63.3191 | 63.3997 | 64.7657 | 65.7707 | 66.8151 | 69.4242 | 70.5589 | 68.4651 | 67.7085 | 69.6211 | 69.2253 | 66.779 | 63.5823 | 62.3441 | 60.7976 | 57.7139 | 56.8199 | 54.8281 | 49.9331 | 45.7077 | 84.6651 | 78.9525
SEL | 84.5112 | 89.3749 | 87.3324 | 87.3801 | 87.7631 | 87.0668 | 83.7012 | 81.9699 | 80.1194 | 79.1314 | 81.4591 | 76.0837 | 76.1643 | 77.5303 | 78.5353 | 79.5797 | 82.1888 | 83.3235 | 81.2297 | 80.4731 | 82.3857 | 81.99 | 79.5436 | 76.3469 | 75.1087 | 73.5622 | 70.4785 | 69.5845 | 67.5927 | 62.6977 | 58.4723 | 97.4297 | 91.7171
Min | 42.3883 | 39.7865 | 43.7132 | 48.469 | 41.7553 | 41.3664 | 34.8527 | 32.2334 | 30.8054 | 27.9753 | 26.3795 | 28.2417 | 29.2069 | 27.7687 | 29.9926 | 32.1446 | 33.0436 | 31.8027 | 31.7871 | 27.4497 | 25.6226 | 23.8463 | 18.4473 | 14.1804 | 14.2481 | 17.5218 | 20.6541 | 24.6296 | 31.7425 | 27.4826 | 28.3178
Max | 84.1658 | 92.2175 | 90.3405 | 88.5333 | 90.7801 | 88.6926 | 83.2826 | 83.2482 | 81.6469 | 80.3708 | 84.8396 | 77.6692 | 75.5915 | 76.8768 | 78.7973 | 79.5156 | 82.6776 | 81.8971 | 79.6571 | 79.6684 | 81.2306 | 81.8008 | 80.0006 | 76.8206 | 74.3891 | 72.4713 | 69.312 | 68.2176 | 67.142 | 62.7201 | 57.2347
At Max (LIN) | 84.1658 | 92.2175 | 90.3405 | 88.5333 | 87.8312 | 83.7878 | 82.3518 | 79.4523 | 78.3831 | 76.4705 | 74.5116 | 71.3247 | 71.9215 | 74.019 | 76.2838 | 78.1096 | 79.9409 | 81.8971 | 78.6606 | 77.6502 | 78.8269 | 78.8621 | 75.0932 | 71.2691 | 71.5695 | 70.5815 | 66.3471 | 65.682 | 62.0336 | 56.9111 | 51.4316 | 97.5978 | 88.9071
At Max (A) | 81.2318 | 89.0306 | 82.5551 | 86.1249 | 83.5451 | 84.7359 | 80.065 | 78.3476 | 76.4875 | 76.2451 | 72.6558 | 71.7898 | 72.6897 | 74.5311 | 75.5715 | 77.4609 | 80.2462 | 80.9849 | 78.2253 | 77.6581 | 81.2306 | 81.8008 | 79.1879 | 75.927 | 74.044 | 72.0723 | 68.0412 | 66.9775 | 63.1919 | 59.0609 | 53.9697 | 95.1765 | 90.1304

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.4898 | 74.9479 | 72.4594 | 73.4985 | 73.3479 | 71.9389 | 69.0867 | 68.1429 | 65.6593 | 64.4048 | 65.6779 | 64.7591 | 64.7068 | 65.6596 | 66.1891 | 67.9579 | 70.0917 | 71.8357 | 68.9615 | 68.8286 | 69.4213 | 67.3681 | 65.7079 | 63.2673 | 61.5833 | 59.141 | 57.08 | 55.0506 | 51.3625 | 46.5958 | 41.6813 | 83.5506 | 79.0843
SEL | 82.2544 | 87.7125 | 85.224 | 86.2632 | 86.1125 | 84.7036 | 81.8513 | 80.9075 | 78.424 | 77.1695 | 78.4426 | 77.5237 | 77.4714 | 78.4242 | 78.9537 | 80.7226 | 82.8563 | 84.6004 | 81.7261 | 81.5932 | 82.1859 | 80.1327 | 78.4725 | 76.0319 | 74.3479 | 71.9056 | 69.8447 | 67.8152 | 64.1271 | 59.3604 | 54.4459 | 96.3152 | 91.8489
Min | 47.4305 | 46.5502 | 45.9186 | 44.7523 | 43.2181 | 42.9565 | 35.8032 | 34.8933 | 33.994 | 32.8799 | 34.0947 | 32.6149 | 31.9006 | 30.8744 | 31.227 | 33.0605 | 35.2376 | 33.6052 | 34.1491 | 29.111 | 27.8854 | 26.1531 | 20.9359 | 15.4687 | 14.9259 | 18.6582 | 21.2135 | 23.3157 | 24.3425 | 21.4759 | 24.2125
Max | 81.0721 | 90.6728 | 88.0187 | 87.5732 | 88.6642 | 86.5632 | 81.3103 | 82.2601 | 78.6781 | 76.7703 | 79.1277 | 76.9332 | 77.0023 | 78.4653 | 78.0148 | 80.4959 | 81.624 | 84.4351 | 80.1124 | 81.1606 | 80.6012 | 79.5934 | 77.7167 | 76.3111 | 73.2693 | 69.9454 | 68.4053 | 65.5689 | 63.0318 | 58.6419 | 53.8518
At Max (LIN) | 80.845 | 90.6728 | 88.0187 | 87.5732 | 87.2702 | 81.5595 | 77.6327 | 78.3061 | 77.3308 | 70.8986 | 73.3316 | 73.8187 | 74.5837 | 76.4526 | 77.0053 | 79.8067 | 80.9578 | 82.3211 | 79.1302 | 78.7576 | 78.2975 | 76.2568 | 73.7979 | 71.4219 | 70.6429 | 68.7607 | 66.1522 | 63.7505 | 59.4669 | 54.2378 | 48.8995 | 96.2884 | 89.0285
At Max (A) | 75.7875 | 80.6379 | 76.6564 | 79.4294 | 75.5825 | 80.2138 | 79.3464 | 75.9936 | 73.8102 | 73.7268 | 79.1277 | 74.8814 | 72.7614 | 77.1335 | 74.614 | 77.1963 | 79.5824 | 83.1608 | 78.1839 | 77.5025 | 79.9449 | 79.5934 | 77.6411 | 76.3111 | 73.2693 | 69.8638 | 68.4053 | 65.5511 | 63.0318 | 58.6157 | 53.1147 | 92.1002 | 89.7193

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 24.7025 | 21.0035 | 19.981 | 20.1922 | 20.0099 | 19.3447 | 19.0622 | 19.6477 | 20.2589 | 20.4873 | 20.8125 | 21.6992 | 22.1608 | 22.9173 | 23.4807 | 24.2465 | 24.8742 | 25.7826 | 26.5008 | 27.3254 | 28.1808 | 29.1423 | 30.0171 | 31.1823 | 32.0368 | 32.869 | 34.0095 | 35.2401 | 36.3495 | 37.3628 | 39.1582 | 45.4633 | 42.6765
SEL | 37.4671 | 33.7681 | 32.7456 | 32.9568 | 32.7745 | 32.1093 | 31.8268 | 32.4124 | 33.0235 | 33.2519 | 33.5771 | 34.4638 | 34.9255 | 35.682 | 36.2453 | 37.0111 | 37.6388 | 38.5472 | 39.2654 | 40.09 | 40.9454 | 41.9069 | 42.7817 | 43.9469 | 44.8014 | 45.6336 | 46.7741 | 48.0047 | 49.1141 | 50.1275 | 51.9228 | 58.2279 | 55.4411
Min | 13.4021 | 12.0324 | 12.2041 | 6.4461 | 11.6851 | 13.6347 | 14.1221 | 15.9112 | 15.6164 | 15.9452 | 17.8578 | 18.2651 | 19.0306 | 20.5836 | 21.2993 | 22.6727 | 23.4183 | 24.5449 | 25.2413 | 26.1851 | 27.0231 | 28.0022 | 29.0324 | 30.1099 | 31.0624 | 32.0281 | 33.0186 | 34.1888 | 35.2159 | 36.5816 | 38.4522
Max | 39.0194 | 27.7983 | 27.231 | 25.2639 | 24.8817 | 23.3626 | 22.8647 | 23.8338 | 25.8648 | 23.7409 | 23.2237 | 24.162 | 24.7633 | 24.9856 | 25.2361 | 26.3549 | 26.5477 | 27.5569 | 27.967 | 28.3239 | 29.3423 | 29.9861 | 30.8653 | 32.3374 | 32.8161 | 33.4699 | 34.8445 | 35.9527 | 37.0295 | 37.9535 | 39.721
At Max (LIN) | 39.0194 | 25.0237 | 23.522 | 21.9687 | 22.6402 | 19.3693 | 19.0645 | 19.4484 | 18.2384 | 22.2591 | 19.8624 | 21.0724 | 23.3104 | 23.795 | 24.0937 | 24.0028 | 24.0862 | 25.7742 | 26.5223 | 28.1369 | 28.1466 | 28.734 | 29.5734 | 30.8381 | 32.2795 | 32.9724 | 34.2915 | 35.5332 | 36.3612 | 37.1653 | 39.1003 | 46.3738 | 42.7045
At Max (A) | 19.4317 | 16.4885 | 20.6921 | 21.1627 | 17.2249 | 15.8524 | 17.7365 | 18.1266 | 18.0756 | 21.2853 | 21.2761 | 22.1859 | 21.7021 | 23.5053 | 23.9259 | 23.9064 | 26.2561 | 25.814 | 26.7148 | 27.6509 | 29.1144 | 29.896 | 30.2985 | 31.5622 | 32.2837 | 32.9192 | 34.1283 | 35.6305 | 36.62 | 37.5149 | 39.7007 | 45.7487 | 43.0097

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 108.8226 | 99.2874 | 101.9184 | 101.5648 | 100.5267 | 102.4528 | 100.7364 | 103.1969 | 99.5061 | 103.3098 | 106.8552 | 110.9895 | 114.5416 | 120.8468 | 125.8067 | 131.3909 | 133.8627 | 141.1119 | 136.1945 | 135.4432 | 136.5177 | 134.1082 | 131.2095 | 127.9338 | 123.8707 | 130.0619 | 134.1908 | 142.6928 | 140.4927 | 140.3799 | 130.9853 | 149.0205 | 147.6058
SEL | 121.5872 | 112.052 | 114.683 | 114.3295 | 113.2913 | 115.2174 | 113.501 | 115.9615 | 112.2708 | 116.0744 | 119.6198 | 123.7541 | 127.3063 | 133.6114 | 138.5713 | 144.1555 | 146.6273 | 153.8766 | 148.9592 | 148.2078 | 149.2823 | 146.8728 | 143.9741 | 140.6984 | 136.6353 | 142.8265 | 146.9554 | 155.4574 | 153.2573 | 153.1445 | 143.7499 | 161.7852 | 160.3705
Min | 55.731 | 58.261 | 57.5322 | 60.207 | 60.8112 | 60.5423 | 62.6412 | 63.7322 | 63.8073 | 65.6058 | 66.7179 | 68.1356 | 69.203 | 70.0036 | 71.4565 | 74.6176 | 76.2195 | 82.3727 | 81.5293 | 89.1491 | 87.1526 | 89.6473 | 83.4009 | 79.5955 | 80.3434 | 82.1516 | 91.9068 | 111.6997 | 115.0277 | 112.9992 | 113.9238
Max | 121.6535 | 111.8298 | 115.454 | 113.7788 | 114.5281 | 118.3344 | 114.5059 | 117.1059 | 115.4783 | 119.8796 | 124.2735 | 128.337 | 131.1848 | 137.3533 | 141.8089 | 145.0282 | 145.9512 | 153.4416 | 148.3358 | 147.8339 | 147.5086 | 146.6708 | 144.4881 | 141.069 | 137.0259 | 141.5365 | 145.3867 | 154.4258 | 149.6998 | 150.4893 | 140.9468
At Max (LIN) | 118.2074 | 111.8298 | 114.3687 | 113.7256 | 112.0838 | 113.3828 | 113.1769 | 114.322 | 108.5495 | 113.0074 | 115.9659 | 120.8382 | 125.2675 | 131.5439 | 136.9861 | 143.8781 | 145.3035 | 151.6406 | 148.3358 | 147.8339 | 147.0564 | 146.6708 | 143.496 | 140.5256 | 135.5586 | 141.5359 | 144.9543 | 154.206 | 149.6788 | 149.891 | 140.637 | 159.9373 | 158.8565
At Max (A) | 118.2074 | 111.8298 | 114.3687 | 113.7256 | 112.0838 | 113.3828 | 113.1769 | 114.322 | 108.5495 | 113.0074 | 115.9659 | 120.8382 | 125.2675 | 131.5439 | 136.9861 | 143.8781 | 145.3035 | 151.6406 | 148.3358 | 147.8339 | 147.0564 | 146.6708 | 143.496 | 140.5256 | 135.5586 | 141.5359 | 144.9543 | 154.206 | 149.6788 | 149.891 | 140.637 | 159.9373 | 158.8565

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.0157 | 78.7795 | 83.0413 | 98.7849 | 91.5488 | 95.8105 | 19.2131 | 4.2618 | 101.6227 | 57.1958 | 90.0606 | 40.7353 | 96.467 | 54.3374 | 95.1775 | 59.0576 | 87.981 | 46.6068 | 91.8604 | 59.4309 | 82.5343 | 3.7548 | 104.5552 | 50.3001 | 90.8585 | 37.8493 | 97.9432 | 54.2372 | 111.3568 | 102.3462 | 106.7337

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.4912 | 78.9251 | 82.1444 | 97.2604 | 91.6943 | 94.9136 | 18.4753 | 3.2193 | 99.1762 | 62.2028 | 89.673 | 42.2626 | 94.8338 | 55.7072 | 93.3062 | 65.8128 | 88.0018 | 48.1692 | 90.8089 | 59.9321 | 82.5907 | 3.6657 | 101.8985 | 63.3458 | 90.8079 | 39.4142 | 96.087 | 54.6203 | 108.9611 | 101.7281 | 104.9408

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6502 | 42.5774 | 41.4532 | 59.4194 | 55.3466 | 54.2224 | -1.0375 | -1.1243 | 47.8886 | 45.8449 | 42.9547 | 41.9084 | 42.25 | 40.7579 | 46.9112 | 46.202 | 42.9304 | 42.1317 | 41.6804 | 41.0033 | 42.8471 | 0.26963 | 48.7197 | 38.0681 | 43.1888 | 34.1694 | 43.043 | 32.8037 | 60.8105 | 56.6703 | 55.5075

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 148.8801 | 147.4478 | 146.4956 | 161.6493 | 160.2171 | 159.2648 | -1.834 | -0.95225 | 160.1106 | 119.7992 | 158.9647 | 114.2296 | 158.058 | 112.3532 | 157.6921 | 120.6872 | 156.5359 | 115.4327 | 155.6437 | 113.5671 | 151.8064 | 4.3585 | 161.6698 | 112.263 | 160.6277 | 107.1364 | 159.6303 | 105.2763 | 176.6488 | 174.5574 | 175.8244