## Torp63
Measurement Name | Torp63 (Normal Range)
Time of run | 2019-04-18 09:55:20 (1555577720)
Duration | 43.76 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0502998 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0413313 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82322e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.8179 | 63.3601 | 63.2609 | 64.8557 | 63.3819 | 63.2588 | 59.4954 | 58.0018 | 57.9488 | 55.7377 | 54.1103 | 56.921 | 59.8565 | 63.8663 | 66.9949 | 73.868 | 78.6824 | 77.749 | 74.4067 | 71.144 | 68.2565 | 63.9141 | 62.1297 | 60.9653 | 57.9623 | 55.1767 | 53.7636 | 52.8328 | 50.3181 | 44.3994 | 41.9743 | 83.7504 | 83.1293
SEL | 79.2227 | 79.7649 | 79.6658 | 81.2605 | 79.7867 | 79.6636 | 75.9002 | 74.4066 | 74.3537 | 72.1426 | 70.5151 | 73.3258 | 76.2613 | 80.2711 | 83.3997 | 90.2728 | 95.0872 | 94.1538 | 90.8115 | 87.5488 | 84.6614 | 80.3189 | 78.5345 | 77.3701 | 74.3672 | 71.5815 | 70.1684 | 69.2376 | 66.7229 | 60.8043 | 58.3791 | 100.1552 | 99.5342
Min | 34.1704 | 38.7266 | 40.7557 | 36.2775 | 35.9671 | 37.2892 | 30.5532 | 24.0585 | 20.4405 | 19.7573 | 19.1035 | 20.231 | 23.293 | 25.3756 | 28.6725 | 33.6175 | 37.9297 | 37.0745 | 32.3744 | 29.6121 | 22.2153 | 16.6156 | 19.4119 | 19.3475 | 15.6078 | 13.4628 | 14.6358 | 14.8041 | 16.8023 | 17.4596 | 19.7905
Max | 75.9717 | 79.6182 | 79.2805 | 83.2687 | 79.4653 | 79.7179 | 74.0016 | 73.5535 | 76.164 | 71.0513 | 70.2316 | 72.7319 | 74.3728 | 79.6755 | 83.1278 | 91.4187 | 96.4248 | 94.9893 | 91.465 | 88.0122 | 83.2223 | 79.4681 | 76.1415 | 73.7165 | 70.1427 | 67.4364 | 64.0061 | 63.8046 | 60.4375 | 54.751 | 50.0107
At Max (LIN) | 74.1575 | 75.8447 | 77.2374 | 80.9772 | 79.4653 | 76.9295 | 73.561 | 70.1448 | 73.7019 | 70.1021 | 69.4009 | 70.9204 | 73.7544 | 78.1206 | 82.4563 | 91.3657 | 96.4248 | 94.6065 | 91.465 | 88.0122 | 83.2223 | 79.1215 | 75.8566 | 72.7524 | 70.1427 | 67.4364 | 63.6562 | 62.1506 | 58.6201 | 52.4232 | 47.4161 | 100.7132 | 100.1813
At Max (A) | 74.1575 | 75.8447 | 77.2374 | 80.9772 | 79.4653 | 76.9295 | 73.561 | 70.1448 | 73.7019 | 70.1021 | 69.4009 | 70.9204 | 73.7544 | 78.1206 | 82.4563 | 91.3657 | 96.4248 | 94.6065 | 91.465 | 88.0122 | 83.2223 | 79.1215 | 75.8566 | 72.7524 | 70.1427 | 67.4364 | 63.6562 | 62.1506 | 58.6201 | 52.4232 | 47.4161 | 100.7132 | 100.1813

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 60.7384 | 61.4722 | 61.3251 | 62.9487 | 61.1822 | 61.5986 | 58.5804 | 57.0513 | 56.3433 | 55.2139 | 55.7605 | 58.4081 | 59.7966 | 63.5331 | 67.4201 | 76.0845 | 78.628 | 76.4704 | 74.2185 | 70.7881 | 67.1846 | 61.9425 | 59.8259 | 59.3161 | 57.5377 | 53.1112 | 51.037 | 49.4065 | 45.2909 | 39.4727 | 34.3427 | 83.5484 | 82.8503
SEL | 77.1432 | 77.877 | 77.7299 | 79.3536 | 77.587 | 78.0034 | 74.9852 | 73.4561 | 72.7481 | 71.6187 | 72.1654 | 74.8129 | 76.2014 | 79.938 | 83.8249 | 92.4894 | 95.0328 | 92.8752 | 90.6233 | 87.193 | 83.5894 | 78.3473 | 76.2307 | 75.7209 | 73.9425 | 69.516 | 67.4419 | 65.8113 | 61.6957 | 55.8775 | 50.7475 | 99.9532 | 99.2551
Min | 35.5431 | 37.8483 | 39.3164 | 36.2501 | 35.6714 | 34.5966 | 29.1544 | 23.7598 | 22.5763 | 24.9507 | 26.2453 | 26.0778 | 28.5344 | 28.9609 | 30.7252 | 35.2583 | 38.9262 | 39.4016 | 32.8703 | 31.4918 | 22.8581 | 18.2834 | 20.378 | 18.9255 | 16.6472 | 14.6056 | 15.4139 | 16.0383 | 17.3018 | 17.8409 | 19.3395
Max | 73.3357 | 77.6984 | 76.5895 | 81.7753 | 76.1943 | 79.2187 | 73.7848 | 73.0709 | 72.4117 | 70.3503 | 71.3099 | 74.2941 | 74.871 | 79.3195 | 83.2311 | 94.0936 | 95.0638 | 92.5557 | 91.0873 | 87.2573 | 81.7096 | 76.5257 | 74.2092 | 71.1835 | 69.2005 | 65.3068 | 61.4208 | 60.7028 | 55.355 | 49.9699 | 44.3329
At Max (LIN) | 71.1761 | 70.6541 | 76.5895 | 79.4714 | 74.3665 | 77.6024 | 71.4159 | 73.0709 | 70.603 | 67.1961 | 71.3099 | 74.2941 | 74.5091 | 78.7846 | 83.2311 | 94.0936 | 94.7346 | 91.6302 | 89.6973 | 85.6384 | 80.4718 | 76.0898 | 72.7547 | 68.8845 | 67.8461 | 64.3288 | 60.3439 | 58.1096 | 53.6705 | 48.3973 | 41.8063 | 99.607 | 98.753
At Max (A) | 71.8167 | 73.5694 | 74.1359 | 78.8673 | 76.1943 | 76.8853 | 73.4034 | 71.1736 | 72.4117 | 70.3503 | 68.6494 | 71.8967 | 73.4714 | 77.9762 | 82.952 | 92.2002 | 94.754 | 91.8591 | 90.889 | 87.2573 | 81.31 | 76.298 | 73.7301 | 70.7645 | 69.2005 | 65.3068 | 61.2369 | 59.0455 | 54.1836 | 48.9516 | 43.0926 | 99.4292 | 98.8026

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.4919 | 20.0822 | 18.9471 | 19.2664 | 18.7869 | 18.4676 | 18.3806 | 18.9984 | 19.7855 | 20.3899 | 20.9652 | 21.6274 | 22.244 | 22.9111 | 23.7274 | 24.5032 | 25.1606 | 26.0385 | 26.7132 | 27.451 | 28.3617 | 29.2688 | 30.3984 | 31.2911 | 32.2172 | 33.1076 | 34.1069 | 35.2207 | 36.4182 | 37.5234 | 39.3252 | 45.5625 | 42.8296
SEL | 37.8967 | 36.4871 | 35.3519 | 35.6712 | 35.1918 | 34.8725 | 34.7855 | 35.4032 | 36.1903 | 36.7947 | 37.37 | 38.0322 | 38.6489 | 39.3159 | 40.1322 | 40.9081 | 41.5654 | 42.4433 | 43.118 | 43.8558 | 44.7666 | 45.6736 | 46.8033 | 47.6959 | 48.6221 | 49.5124 | 50.5117 | 51.6256 | 52.8231 | 53.9282 | 55.73 | 61.9673 | 59.2345
Min | 11.5942 | 9.6976 | 8.4154 | 11.1982 | 11.1624 | 13.5386 | 11.9456 | 14.2014 | 15.1533 | 16.8522 | 17.1141 | 18.15 | 19.7162 | 20.7489 | 21.5784 | 22.4077 | 23.2955 | 23.6641 | 25.0713 | 25.8552 | 26.886 | 28.1367 | 29.412 | 30.4916 | 31.0987 | 32.1108 | 33.3183 | 34.4701 | 35.4529 | 36.6573 | 38.7457
Max | 28.6453 | 27.1678 | 26.4614 | 26.1264 | 23.6477 | 24.1861 | 22.8006 | 23.0992 | 24.0707 | 23.8837 | 24.6594 | 24.5336 | 24.5737 | 25.3112 | 25.9341 | 26.4525 | 26.7003 | 27.5461 | 27.9476 | 28.6447 | 29.4274 | 30.1912 | 31.4824 | 32.0433 | 33.038 | 33.863 | 34.7774 | 35.9447 | 37.2049 | 38.1457 | 39.9185
At Max (LIN) | 24.3855 | 20.4114 | 20.7843 | 18.6552 | 16.9526 | 21.1635 | 15.7285 | 16.9437 | 20.4038 | 20.9811 | 22.2171 | 22.586 | 22.5758 | 23.1291 | 25.1834 | 24.3714 | 24.2458 | 26.4154 | 27.8336 | 26.6967 | 27.8225 | 30.0725 | 30.6343 | 31.4609 | 32.5148 | 33.4088 | 34.5982 | 35.4806 | 36.6611 | 38.0941 | 39.847 | 45.9665 | 43.1335
At Max (A) | 18.9256 | 22.2606 | 20.1797 | 18.1295 | 16.7903 | 19.0065 | 19.7403 | 18.5409 | 21.2987 | 20.7769 | 22.9726 | 22.9004 | 21.1224 | 21.7084 | 24.5045 | 24.4769 | 25.855 | 26.403 | 27.0882 | 28.1895 | 29.2424 | 30.1268 | 30.7768 | 32.0316 | 32.2124 | 33.3747 | 34.5038 | 35.8123 | 36.5839 | 37.7741 | 39.6153 | 45.9128 | 43.2534

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 97.3639 | 98.1913 | 95.1396 | 96.8376 | 103.8949 | 106.7617 | 101.8684 | 100.6526 | 102.3517 | 106.4065 | 112.191 | 115.1907 | 121.3975 | 128.7614 | 135.6324 | 141.9799 | 146.4238 | 146.4931 | 141.098 | 138.8731 | 135.4018 | 128.9622 | 128.6079 | 127.206 | 121.3567 | 123.6768 | 130.6017 | 139.5787 | 137.0785 | 135.1893 | 127.0429 | 151.8889 | 151.2754
SEL | 113.7687 | 114.5961 | 111.5444 | 113.2424 | 120.2997 | 123.1665 | 118.2732 | 117.0574 | 118.7565 | 122.8113 | 128.5958 | 131.5955 | 137.8023 | 145.1662 | 152.0372 | 158.3847 | 162.8286 | 162.8979 | 157.5028 | 155.2779 | 151.8066 | 145.367 | 145.0127 | 143.6108 | 137.7616 | 140.0816 | 147.0065 | 155.9835 | 153.4834 | 151.5941 | 143.4477 | 168.2937 | 167.6802
Min | 52.7573 | 56.6138 | 57.4904 | 58.6503 | 58.7992 | 60.4271 | 59.9436 | 62.4321 | 64.3571 | 65.3656 | 66.6675 | 67.9492 | 68.0061 | 68.727 | 72.7368 | 76.7369 | 85.6945 | 88.7403 | 88.355 | 93.7461 | 86.284 | 78.0501 | 78.2195 | 79.3399 | 80.2971 | 81.3078 | 82.5156 | 85.6331 | 90.8296 | 94.0001 | 101.9192
Max | 111.1486 | 112.1342 | 109.4834 | 110.7863 | 117.776 | 120.3655 | 116.8272 | 116.2962 | 116.0223 | 120.5489 | 125.646 | 129.621 | 139.2102 | 148.6731 | 155.4382 | 161.3314 | 165.3684 | 164.5769 | 159.4227 | 156.6802 | 150.5934 | 143.9355 | 143.7216 | 139.9426 | 133.9748 | 135.9745 | 141.0314 | 151.7563 | 146.0856 | 144.4254 | 134.8434
At Max (LIN) | 111.1486 | 112.1342 | 109.4834 | 107.9602 | 114.4964 | 117.9571 | 110.8799 | 107.7992 | 112.0172 | 119.2334 | 124.8059 | 128.3202 | 135.5827 | 144.9501 | 152.491 | 160.7841 | 164.9731 | 164.5769 | 158.3903 | 155.478 | 149.2758 | 143.9355 | 143.7216 | 139.2769 | 132.4697 | 133.6328 | 139.3997 | 148.0686 | 144.2369 | 142.4526 | 132.9207 | 169.4105 | 168.9415
At Max (A) | 111.1486 | 112.1342 | 109.4834 | 107.9602 | 114.4964 | 117.9571 | 110.8799 | 107.7992 | 112.0172 | 119.2334 | 124.8059 | 128.3202 | 135.5827 | 144.9501 | 152.491 | 160.7841 | 164.9731 | 164.5769 | 158.3903 | 155.478 | 149.2758 | 143.9355 | 143.7216 | 139.2769 | 132.4697 | 133.6328 | 139.3997 | 148.0686 | 144.2369 | 142.4526 | 132.9207 | 169.4105 | 168.9415

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.6736 | 82.9553 | 83.409 | 100.0844 | 99.3661 | 99.8198 | 1.9323 | 0.45377 | 100.6745 | 52.2701 | 100.0982 | 42.3101 | 100.5654 | 47.8213 | 97.0271 | 53.1259 | 96.4708 | 43.8872 | 96.9059 | 47.8945 | 87.8297 | 4.8744 | 101.3178 | 44.3684 | 100.7747 | 38.0582 | 101.2287 | 39.1476 | 111.5086 | 110.607 | 112.0044

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.4499 | 82.713 | 83.2748 | 99.8606 | 99.1237 | 99.6856 | 12.7638 | 0.56189 | 99.7073 | 51.4304 | 99.1208 | 44.388 | 99.6443 | 47.5104 | 96.6974 | 53.0012 | 96.065 | 45.1331 | 96.623 | 47.5104 | 87.8083 | 5.0954 | 101.8413 | 45.5235 | 100.9053 | 37.1187 | 101.7407 | 38.7529 | 111.9168 | 110.6364 | 112.1453

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.5542 | 42.7052 | 41.5319 | 62.965 | 59.116 | 57.9426 | -1.1389 | -1.1733 | 47.6777 | 45.4155 | 43.1272 | 41.5006 | 42.0078 | 40.4833 | 46.8752 | 45.4155 | 42.9758 | 41.5006 | 41.7597 | 40.4833 | 42.9969 | 0.29174 | 48.4373 | 36.658 | 43.4584 | 32.7431 | 42.3176 | 31.7258 | 60.4104 | 56.8498 | 55.2903

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 151.7098 | 151.1338 | 151.2964 | 168.1206 | 167.5446 | 167.7072 | -1.8893 | 0.16261 | 169.4745 | 105.5451 | 169.0643 | 101.1716 | 169.4333 | 100.3653 | 165.4871 | 105.6416 | 165.0717 | 101.2383 | 165.4153 | 100.4288 | 157.2873 | 6.1535 | 171.3721 | 96.9008 | 170.8199 | 92.4905 | 171.3487 | 91.6804 | 181.4559 | 180.6454 | 181.2297