## Torp94
Measurement Name | Torp94 (Normal Range)
Time of run | 2019-04-18 14:10:31 (1555593031)
Duration | 39.5 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0502998 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0413313 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0426762 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82322e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.297 | 72.73 | 72.7876 | 73.3692 | 73.2097 | 73.0729 | 71.6842 | 69.6337 | 67.9811 | 66.2405 | 66.0847 | 68.0603 | 66.3051 | 66.3414 | 69.5707 | 72.176 | 78.1321 | 81.0146 | 78.1714 | 80.0365 | 79.3839 | 73.8317 | 70.5616 | 66.2861 | 63.0831 | 62.0538 | 59.2335 | 58.1425 | 55.3259 | 51.4219 | 47.0421 | 88.368 | 87.5917
SEL | 88.2629 | 88.696 | 88.7536 | 89.3352 | 89.1756 | 89.0389 | 87.6502 | 85.5997 | 83.9471 | 82.2064 | 82.0507 | 84.0263 | 82.2711 | 82.3073 | 85.5367 | 88.142 | 94.0981 | 96.9805 | 94.1374 | 96.0024 | 95.3499 | 89.7977 | 86.5275 | 82.2521 | 79.0491 | 78.0198 | 75.1995 | 74.1085 | 71.2918 | 67.3879 | 63.0081 | 104.334 | 103.5577
Min | 39.728 | 41.1045 | 39.0093 | 44.8603 | 47.8855 | 39.1753 | 33.2113 | 28.0391 | 26.2614 | 26.3842 | 27.0596 | 26.0676 | 26.658 | 29.071 | 32.2494 | 34.6332 | 38.2959 | 39.9716 | 32.0352 | 31.1246 | 24.4683 | 15.6138 | 12.7649 | 13.1492 | 13.0379 | 15.3269 | 15.6738 | 16.0812 | 16.8336 | 17.5089 | 19.6202
Max | 87.6297 | 88.1735 | 87.2394 | 89.425 | 88.6875 | 88.2906 | 89.1169 | 87.2996 | 85.4807 | 81.5425 | 83.5394 | 87.3362 | 83.3211 | 83.3676 | 86.33 | 89.4777 | 95.6901 | 98.3168 | 95.7118 | 97.5043 | 96.1299 | 90.7989 | 87.2107 | 81.2052 | 78.6068 | 79.1527 | 74.2348 | 72.7145 | 67.9227 | 63.4008 | 58.0338
At Max (LIN) | 75.2907 | 82.5583 | 86.0741 | 89.425 | 88.6875 | 87.3338 | 89.1169 | 82.1454 | 82.9409 | 80.848 | 83.5394 | 87.3362 | 83.3211 | 81.406 | 86.2159 | 89.4777 | 95.6901 | 97.2964 | 95.5031 | 96.6706 | 95.7082 | 90.7989 | 86.361 | 80.7688 | 78.6068 | 78.0111 | 74.2342 | 72.6735 | 67.8289 | 63.4008 | 57.2332 | 104.6886 | 104.2782
At Max (A) | 72.4407 | 82.0491 | 77.0872 | 86.2202 | 87.0413 | 82.7676 | 85.3188 | 85.2732 | 84.1387 | 81.5425 | 82.2804 | 86.3593 | 83.1132 | 83.3676 | 86.33 | 88.0508 | 93.6237 | 98.3168 | 95.7118 | 97.5043 | 96.1299 | 90.7543 | 87.2107 | 81.2052 | 78.4782 | 79.1527 | 74.2348 | 72.7145 | 67.9227 | 62.9803 | 57.1993 | 104.6411 | 104.6183

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.2631 | 72.4481 | 72.3345 | 72.929 | 72.9227 | 72.5429 | 70.8509 | 69.3692 | 66.4222 | 66.8784 | 67.2336 | 67.0744 | 67.6048 | 68.0201 | 70.3309 | 73.3413 | 79.0129 | 82.1656 | 78.8767 | 79.2486 | 79.5838 | 73.4163 | 69.8902 | 66.3156 | 62.9343 | 61.6687 | 58.5311 | 57.7338 | 54.6914 | 50.5614 | 48.5535 | 88.6413 | 87.9378
SEL | 88.229 | 88.4141 | 88.3005 | 88.8949 | 88.8886 | 88.5089 | 86.8168 | 85.3352 | 82.3882 | 82.8444 | 83.1996 | 83.0404 | 83.5707 | 83.986 | 86.2969 | 89.3073 | 94.9789 | 98.1316 | 94.8426 | 95.2146 | 95.5498 | 89.3823 | 85.8562 | 82.2816 | 78.9003 | 77.6346 | 74.4971 | 73.6998 | 70.6573 | 66.5274 | 64.5195 | 104.6073 | 103.9038
Min | 46.8254 | 45.5947 | 38.1844 | 45.0536 | 47.7087 | 40.9239 | 35.0145 | 28.391 | 27.8603 | 27.2776 | 28.3807 | 27.3457 | 29.1534 | 32.1919 | 35.3301 | 37.2713 | 37.9237 | 38.5704 | 33.1758 | 32.7333 | 24.7576 | 15.6831 | 14.1414 | 14.4691 | 14.3194 | 16.8098 | 16.9798 | 17.3786 | 18.2335 | 18.8755 | 21.393
Max | 87.5841 | 87.6681 | 86.4653 | 88.6109 | 88.1494 | 87.754 | 87.9446 | 87.3332 | 82.4552 | 84.1317 | 86.2818 | 84.811 | 85.8139 | 84.5534 | 87.5207 | 91.2055 | 96.9464 | 99.7625 | 96.47 | 96.5851 | 96.2887 | 90.7984 | 85.9048 | 80.6749 | 78.2857 | 78.4279 | 73.624 | 72.3483 | 66.7815 | 62.3543 | 58.1732
At Max (LIN) | 73.4269 | 82.0708 | 77.1185 | 85.8452 | 86.2924 | 82.4843 | 85.0284 | 85.02 | 81.1594 | 83.9449 | 86.2818 | 84.811 | 84.0563 | 84.5534 | 85.589 | 90.1767 | 96.4614 | 99.7625 | 96.47 | 96.5851 | 96.2887 | 90.7984 | 85.9048 | 80.6749 | 78.2857 | 78.4279 | 73.624 | 72.3483 | 66.7815 | 62.2901 | 57.5855 | 105.3073 | 105.2032
At Max (A) | 73.4269 | 82.0708 | 77.1185 | 85.8452 | 86.2924 | 82.4843 | 85.0284 | 85.02 | 81.1594 | 83.9449 | 86.2818 | 84.811 | 84.0563 | 84.5534 | 85.589 | 90.1767 | 96.4614 | 99.7625 | 96.47 | 96.5851 | 96.2887 | 90.7984 | 85.9048 | 80.6749 | 78.2857 | 78.4279 | 73.624 | 72.3483 | 66.7815 | 62.2901 | 57.5855 | 105.3073 | 105.2032

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.8385 | 19.3436 | 18.1678 | 18.0138 | 18.3782 | 17.9857 | 18.5785 | 18.9847 | 19.7491 | 20.4878 | 21.2447 | 21.63 | 22.488 | 23.2935 | 23.8512 | 24.62 | 25.3092 | 26.2162 | 26.9916 | 27.8039 | 28.6507 | 29.6536 | 30.6365 | 31.4969 | 32.4195 | 33.3186 | 34.3062 | 35.4462 | 36.5809 | 37.8071 | 39.5308 | 45.7714 | 43.0607
SEL | 36.8045 | 35.3096 | 34.1337 | 33.9798 | 34.3441 | 33.9516 | 34.5445 | 34.9506 | 35.7151 | 36.4538 | 37.2107 | 37.596 | 38.454 | 39.2595 | 39.8172 | 40.586 | 41.2752 | 42.1822 | 42.9576 | 43.7699 | 44.6167 | 45.6196 | 46.6024 | 47.4629 | 48.3855 | 49.2846 | 50.2721 | 51.4122 | 52.5469 | 53.773 | 55.4967 | 61.7373 | 59.0267
Min | 8.1053 | 9.841 | 8.4705 | 10.4758 | 11.8696 | 11.9128 | 13.4874 | 13.4064 | 15.1881 | 15.8012 | 18.0188 | 18.5924 | 19.257 | 20.9296 | 21.4068 | 21.6687 | 23.5211 | 24.2506 | 25.0719 | 25.5928 | 26.8337 | 28.1773 | 28.9484 | 29.9447 | 31.0914 | 31.7824 | 32.7564 | 34.1651 | 35.2503 | 36.3687 | 38.3134
Max | 27.26 | 26.8112 | 23.5324 | 24.0326 | 23.7633 | 22.7386 | 23.2125 | 23.4779 | 24.7767 | 23.9828 | 24.5348 | 24.3897 | 24.7997 | 25.3505 | 26.6458 | 26.8038 | 27.1316 | 28.1939 | 28.4888 | 29.2293 | 30.1317 | 31.491 | 31.9315 | 32.7719 | 33.5467 | 34.499 | 35.3535 | 36.4928 | 37.6887 | 38.8261 | 40.3888
At Max (LIN) | 22.2251 | 17.8718 | 18.8081 | 22.1561 | 19.7395 | 17.3872 | 18.3457 | 18.8923 | 19.8656 | 19.3426 | 21.6201 | 20.8323 | 22.9222 | 23.1594 | 24.8579 | 24.7114 | 25.5766 | 26.3234 | 28.3474 | 28.3046 | 29.1898 | 30.492 | 31.434 | 32.4906 | 33.2364 | 34.3603 | 35.3535 | 36.4169 | 37.5492 | 38.5745 | 40.3196 | 46.6072 | 43.9253
At Max (A) | 21.8085 | 21.7212 | 18.9678 | 18.37 | 18.4823 | 17.3017 | 21.1079 | 22.0717 | 20.7335 | 21.8294 | 22.3179 | 21.03 | 21.8539 | 25.2112 | 25.1452 | 24.9894 | 26.1233 | 26.1727 | 27.9175 | 29.0006 | 29.4035 | 31.1562 | 31.3745 | 32.7719 | 33.297 | 34.3598 | 35.2259 | 36.3801 | 37.1864 | 38.1464 | 39.8502 | 46.454 | 43.9394

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 109.2116 | 104.8318 | 103.2081 | 105.4265 | 107.3083 | 112.5216 | 112.9791 | 109.3344 | 107.0877 | 106.6538 | 110.6228 | 116.0941 | 123.0759 | 127.3307 | 134.6073 | 138.2471 | 144.5852 | 152.5931 | 146.8818 | 150.1537 | 147.3328 | 141.2024 | 137.3765 | 132.9493 | 126.9774 | 130.233 | 135.794 | 142.592 | 137.9887 | 133.6295 | 125.8218 | 156.8167 | 157.1131
SEL | 125.1776 | 120.7977 | 119.1741 | 121.3925 | 123.2742 | 128.4875 | 128.9451 | 125.3004 | 123.0536 | 122.6198 | 126.5887 | 132.0601 | 139.0419 | 143.2967 | 150.5733 | 154.2131 | 160.5511 | 168.5591 | 162.8478 | 166.1197 | 163.2988 | 157.1684 | 153.3425 | 148.9153 | 142.9433 | 146.199 | 151.76 | 158.558 | 153.9547 | 149.5955 | 141.7877 | 172.7827 | 173.079
Min | 55.4577 | 57.3478 | 57.5856 | 58.2013 | 60.5398 | 59.7634 | 62.1065 | 62.5716 | 63.7742 | 65.6405 | 66.9014 | 68.2556 | 68.6724 | 70.2305 | 73.5971 | 79.8549 | 88.378 | 96.2203 | 90.4517 | 97.8667 | 85.9885 | 77.1093 | 77.6898 | 79.0594 | 79.8896 | 81.1428 | 82.1603 | 83.8602 | 86.1089 | 89.0648 | 94.4314
Max | 122.7503 | 119.8403 | 118.6194 | 118.4705 | 128.1508 | 134.0776 | 131.8204 | 128.0467 | 123.5965 | 122.8812 | 125.6779 | 130.4706 | 138.7132 | 141.9234 | 152.7573 | 156.7671 | 163.2873 | 171.5087 | 165.5523 | 167.7067 | 165.1345 | 158.218 | 150.7522 | 147.2361 | 141.5927 | 142.4249 | 146.9791 | 154.4458 | 148.4215 | 144.5766 | 135.2473
At Max (LIN) | 106.6867 | 106.8567 | 108.0756 | 116.3214 | 115.3632 | 115.6271 | 118.5765 | 115.2324 | 119.8762 | 118.9213 | 124.7497 | 126.2895 | 135.6872 | 140.1883 | 150.5523 | 156.7671 | 163.0759 | 171.5087 | 165.5523 | 167.7067 | 163.7542 | 157.7922 | 149.7852 | 146.423 | 140.476 | 139.8472 | 145.2408 | 151.6631 | 145.2478 | 140.9669 | 132.2592 | 174.7187 | 175.0546
At Max (A) | 106.6867 | 106.8567 | 108.0756 | 116.3214 | 115.3632 | 115.6271 | 118.5765 | 115.2324 | 119.8762 | 118.9213 | 124.7497 | 126.2895 | 135.6872 | 140.1883 | 150.5523 | 156.7671 | 163.0759 | 171.5087 | 165.5523 | 167.7067 | 163.7542 | 157.7922 | 149.7852 | 146.423 | 140.476 | 139.8472 | 145.2408 | 151.6631 | 145.2478 | 140.9669 | 132.2592 | 174.7187 | 175.0546

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.6907 | 87.4133 | 87.7568 | 104.6566 | 103.3792 | 103.7228 | 3.8285 | 0.34355 | 105.6126 | 58.3822 | 104.4818 | 41.5613 | 104.5598 | 48.0353 | 101.131 | 62.1182 | 100.2938 | 41.5613 | 100.3682 | 48.0353 | 92.9539 | 5.5407 | 107.3492 | 54.7632 | 105.7908 | 32.8038 | 105.7455 | 39.2778 | 117.1539 | 116.2297 | 116.3702

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.8625 | 87.7497 | 88.0772 | 104.8285 | 103.7157 | 104.0432 | 7.1522 | 0.32749 | 106 | 60.0111 | 105.1676 | 41.5656 | 105.3019 | 51.0631 | 101.3444 | 64.2279 | 100.6226 | 41.5656 | 100.7538 | 51.0631 | 93.6671 | 5.9174 | 107.6539 | 57.8845 | 106.6426 | 32.8081 | 106.7618 | 42.3056 | 118.1222 | 117.8611 | 117.8551

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.5873 | 42.9212 | 41.7291 | 62.5533 | 58.8872 | 57.6951 | 0.48663 | -1.1921 | 47.6477 | 45.4383 | 43.8292 | 41.6914 | 42.6416 | 40.5222 | 47.1806 | 45.8768 | 43.5833 | 42.0712 | 42.3749 | 40.9243 | 43.2103 | 0.28904 | 48.3593 | 37.6588 | 43.9606 | 34.0917 | 42.9832 | 33.2635 | 60.6146 | 56.8022 | 55.6506

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 156.6617 | 156.9992 | 156.4078 | 172.6276 | 172.9652 | 172.3738 | -1.8539 | -0.59138 | 175.1322 | 105.0478 | 175.543 | 104.2368 | 175.0642 | 103.8497 | 169.9178 | 105.6969 | 170.3514 | 105.7356 | 169.8386 | 105.0293 | 164.3295 | 7.3303 | 177.365 | 96.9394 | 177.6584 | 96.9781 | 177.3122 | 96.2718 | 188.5313 | 188.8228 | 188.4436