## Åsa11
Measurement Name | Åsa11 (Normal Range)
Time of run | 2019-06-05 13:53:12 (1559739192)
Duration | 71.7 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0485069 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85422e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.4054 | 69.7203 | 70.5923 | 69.6954 | 72.2355 | 70.2516 | 67.5388 | 65.1312 | 63.6724 | 62.6499 | 63.3481 | 63.6315 | 65.5074 | 69.4803 | 76.1748 | 80.8245 | 81.0167 | 80.0773 | 77.3825 | 77.9184 | 75.3809 | 73.0985 | 69.4707 | 67.7827 | 65.1202 | 62.9753 | 61.0311 | 59.4756 | 56.8625 | 51.8544 | 46.7875 | 88.3474 | 87.4014
SEL | 88.9606 | 88.2755 | 89.1475 | 88.2505 | 90.7907 | 88.8068 | 86.094 | 83.6864 | 82.2276 | 81.2051 | 81.9033 | 82.1867 | 84.0626 | 88.0354 | 94.73 | 99.3797 | 99.5719 | 98.6325 | 95.9377 | 96.4735 | 93.9361 | 91.6537 | 88.0259 | 86.3378 | 83.6754 | 81.5305 | 79.5863 | 78.0308 | 75.4177 | 70.4096 | 65.3427 | 106.9026 | 105.9566
Min | 51.7207 | 47.9116 | 47.1488 | 46.195 | 43.5187 | 40.4108 | 37.5238 | 33.6016 | 32.2194 | 30.2518 | 25.7176 | 26.7445 | 26.2106 | 26.2937 | 28.4584 | 31.1161 | 28.7711 | 29.3085 | 31.2475 | 27.4348 | 27.1618 | 28.2366 | 29.4347 | 30.473 | 30.8368 | 31.5009 | 32.2256 | 33.0711 | 34.3585 | 35.5282 | 37.1382
Max | 83.5554 | 84.1675 | 83.5091 | 84.3842 | 85.4018 | 87.3672 | 85.3606 | 80.1005 | 76.1685 | 75.7871 | 76.1492 | 77.0563 | 80.26 | 81.4131 | 86.6151 | 92.6496 | 92.058 | 91.6801 | 88.7658 | 90.9737 | 88.4619 | 87.7088 | 82.3801 | 81.0524 | 76.7358 | 74.4946 | 71.0322 | 70.2387 | 67.3604 | 64.7688 | 58.022
At Max (LIN) | 76.9292 | 70.0215 | 68.8496 | 71.5804 | 73.5543 | 80.331 | 71.9362 | 67.4618 | 67.5135 | 65.0002 | 68.5112 | 67.5715 | 70.1832 | 77.2092 | 86.2503 | 92.5224 | 92.058 | 91.6801 | 88.4772 | 90.6224 | 87.9778 | 86.471 | 81.1188 | 79.4435 | 75.8609 | 74.4946 | 70.4778 | 68.4323 | 64.982 | 60.1416 | 55.3278 | 99.4655 | 99.1596
At Max (A) | 76.9292 | 70.0215 | 68.8496 | 71.5804 | 73.5543 | 80.331 | 71.9362 | 67.4618 | 67.5135 | 65.0002 | 68.5112 | 67.5715 | 70.1832 | 77.2092 | 86.2503 | 92.5224 | 92.058 | 91.6801 | 88.4772 | 90.6224 | 87.9778 | 86.471 | 81.1188 | 79.4435 | 75.8609 | 74.4946 | 70.4778 | 68.4323 | 64.982 | 60.1416 | 55.3278 | 99.4655 | 99.1596

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.3258 | 69.1977 | 69.7741 | 68.5313 | 72.3149 | 71.9022 | 68.2039 | 65.3803 | 63.5957 | 62.2219 | 62.4622 | 64.4561 | 66.1295 | 70.4346 | 76.4024 | 80.5045 | 81.2945 | 80.3933 | 77.7059 | 78.7153 | 75.9638 | 73.7237 | 69.8299 | 68.4127 | 65.8307 | 63.691 | 61.3584 | 59.2503 | 56.2808 | 52.162 | 47.8801 | 88.5984 | 87.7477
SEL | 88.881 | 87.7529 | 88.3293 | 87.0865 | 90.8701 | 90.4574 | 86.7591 | 83.9355 | 82.1509 | 80.777 | 81.0174 | 83.0113 | 84.6847 | 88.9898 | 94.9576 | 99.0597 | 99.8497 | 98.9485 | 96.2611 | 97.2705 | 94.519 | 92.2789 | 88.3851 | 86.9679 | 84.3858 | 82.2462 | 79.9136 | 77.8055 | 74.8359 | 70.7172 | 66.4353 | 107.1536 | 106.3029
Min | 38.0377 | 37.4813 | 38.4052 | 37.1799 | 35.4055 | 37.4861 | 31.53 | 28.9818 | 26.4202 | 27.0763 | 27.4642 | 24.7995 | 26.1733 | 26.7803 | 27.8556 | 32.2842 | 31.5331 | 30.7151 | 32.6454 | 28.2686 | 28.3422 | 29.3239 | 30.7171 | 31.6179 | 32.1584 | 32.8362 | 33.3875 | 34.2134 | 35.5502 | 36.7262 | 38.898
Max | 88.7263 | 82.8918 | 84.4056 | 81.0415 | 86.025 | 91.4081 | 85.1712 | 82.5786 | 76.9224 | 74.6328 | 74.9644 | 80.2734 | 80.145 | 81.1133 | 87.1146 | 92.4559 | 92.521 | 91.6371 | 88.8638 | 92.9397 | 89.401 | 87.8419 | 83.5619 | 83.4438 | 80.5833 | 79.3147 | 76.5897 | 73.3453 | 69.1028 | 66.9805 | 62.8461
At Max (LIN) | 73.8374 | 74.4794 | 78.2573 | 73.8351 | 76.9926 | 82.0756 | 76.0602 | 71.5635 | 70.7528 | 66.3136 | 69.0221 | 69.6139 | 72.8172 | 78.3222 | 87.1146 | 92.3336 | 91.0102 | 91.1804 | 88.1853 | 92.9397 | 89.3844 | 87.1367 | 83.5619 | 83.4438 | 80.5833 | 79.3147 | 76.5897 | 73.3453 | 69.1028 | 66.9805 | 60.8732 | 100.0306 | 99.8508
At Max (A) | 73.8374 | 74.4794 | 78.2573 | 73.8351 | 76.9926 | 82.0756 | 76.0602 | 71.5635 | 70.7528 | 66.3136 | 69.0221 | 69.6139 | 72.8172 | 78.3222 | 87.1146 | 92.3336 | 91.0102 | 91.1804 | 88.1853 | 92.9397 | 89.3844 | 87.1367 | 83.5619 | 83.4438 | 80.5833 | 79.3147 | 76.5897 | 73.3453 | 69.1028 | 66.9805 | 60.8732 | 100.0306 | 99.8508

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.6936 | 71.8831 | 72.3607 | 70.8811 | 74.5277 | 70.9681 | 67.6249 | 65.7043 | 66.2167 | 67.0354 | 65.3661 | 65.4342 | 67.0036 | 70.9833 | 77.5052 | 83.1759 | 81.9077 | 80.9165 | 78.2271 | 78.9728 | 76.3071 | 74.1544 | 71.2636 | 69.2757 | 66.4528 | 64.625 | 62.2719 | 60.6363 | 58.48 | 54.4943 | 50.8239 | 89.7202 | 88.608
SEL | 91.2488 | 90.4383 | 90.9159 | 89.4362 | 93.0828 | 89.5233 | 86.1801 | 84.2595 | 84.7718 | 85.5906 | 83.9213 | 83.9894 | 85.5588 | 89.5385 | 96.0604 | 101.7311 | 100.4629 | 99.4717 | 96.7823 | 97.528 | 94.8623 | 92.7096 | 89.8188 | 87.8308 | 85.008 | 83.1802 | 80.8271 | 79.1915 | 77.0352 | 73.0494 | 69.3791 | 108.2754 | 107.1632
Min | 53.8356 | 48.5283 | 50.8646 | 46.3834 | 45.0046 | 46.0819 | 38.9571 | 37.0094 | 35.7232 | 31.1158 | 29.3734 | 27.897 | 28.1614 | 30.3383 | 33.358 | 35.3637 | 36.6414 | 35.3398 | 37.9756 | 31.0605 | 29.602 | 30.1679 | 31.3646 | 32.4123 | 33.1083 | 33.8815 | 34.6326 | 35.2591 | 36.8013 | 37.9777 | 39.3203
Max | 86.4729 | 85.7277 | 85.7383 | 84.0892 | 89.6494 | 88.0193 | 81.3158 | 78.9347 | 78.2361 | 84.9125 | 80.8943 | 80.2318 | 80.652 | 82.188 | 88.0915 | 94.8474 | 93.2224 | 93.0505 | 90.8583 | 93.0306 | 90.777 | 87.5752 | 84.2278 | 81.778 | 79.0256 | 77.4193 | 75.4391 | 74.7559 | 75.9301 | 72.6716 | 70.2906
At Max (LIN) | 78.3009 | 76.5669 | 71.519 | 77.1665 | 77.6031 | 81.1218 | 70.2923 | 69.364 | 67.0354 | 67.7487 | 67.1779 | 66.9109 | 72.6961 | 77.3765 | 88.0714 | 94.0663 | 92.8317 | 93.0505 | 90.6963 | 92.5907 | 90.777 | 87.5752 | 83.3892 | 80.9862 | 76.7391 | 74.0439 | 70.1661 | 67.3089 | 64.3255 | 58.7106 | 54.1536 | 101.0733 | 100.8322
At Max (A) | 78.3009 | 76.5669 | 71.519 | 77.1665 | 77.6031 | 81.1218 | 70.2923 | 69.364 | 67.0354 | 67.7487 | 67.1779 | 66.9109 | 72.6961 | 77.3765 | 88.0714 | 94.0663 | 92.8317 | 93.0505 | 90.6963 | 92.5907 | 90.777 | 87.5752 | 83.3892 | 80.9862 | 76.7391 | 74.0439 | 70.1661 | 67.3089 | 64.3255 | 58.7106 | 54.1536 | 101.0733 | 100.8322

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 95.8976 | 93.2317 | 97.8196 | 99.001 | 103.7617 | 105.0249 | 108.4558 | 111.1985 | 114.034 | 115.4501 | 118.1771 | 121.4492 | 127.379 | 133.9496 | 141.1146 | 147.8786 | 149.1371 | 151.1708 | 146.1582 | 144.5613 | 141.1443 | 138.8479 | 134.2946 | 131.5746 | 127.1794 | 129.8833 | 133.4201 | 138.0882 | 129.9938 | 124.9073 | 117.2372 | 155.9847 | 155.6758
SEL | 114.4528 | 111.7869 | 116.3748 | 117.5562 | 122.3169 | 123.5801 | 127.011 | 129.7536 | 132.5892 | 134.0053 | 136.7323 | 140.0044 | 145.9342 | 152.5048 | 159.6698 | 166.4338 | 167.6922 | 169.726 | 164.7134 | 163.1165 | 159.6995 | 157.4031 | 152.8498 | 150.1297 | 145.7346 | 148.4385 | 151.9753 | 156.6434 | 148.549 | 143.4625 | 135.7924 | 174.5399 | 174.231
Min | 66.4347 | 67.6141 | 68.6072 | 71.6383 | 72.3982 | 71.339 | 72.6849 | 74.5657 | 74.7029 | 75.4166 | 77.4422 | 78.4373 | 78.9614 | 80.1746 | 82.2843 | 85.8064 | 84.9598 | 89.9142 | 88.3241 | 86.6299 | 87.0848 | 88.2045 | 88.9666 | 89.6879 | 90.9729 | 91.6628 | 93.0345 | 94.1315 | 95.553 | 96.9329 | 98.0446
Max | 110.8204 | 107.4638 | 113.5667 | 116.8572 | 121.9412 | 125.3298 | 130.5415 | 133.2268 | 138.2384 | 139.2912 | 141.5165 | 143.3741 | 148.0251 | 152.6124 | 154.7813 | 162.5214 | 162.967 | 164.6668 | 159.5169 | 158.5794 | 155.6116 | 152.8499 | 149.0881 | 146.2712 | 141.6294 | 142.8306 | 144.5486 | 150.2389 | 141.7879 | 138.4053 | 133.5815
At Max (LIN) | 101.0981 | 93.8569 | 104.077 | 101.5652 | 107.8976 | 106.2336 | 113.3684 | 117.8149 | 112.0018 | 118.7936 | 120.3726 | 124.8194 | 134.6698 | 141.4426 | 153.5632 | 162.5214 | 162.6996 | 164.6668 | 159.2725 | 158.5794 | 155.4972 | 152.6862 | 147.4016 | 144.5052 | 141.6294 | 142.8306 | 144.5486 | 150.2389 | 141.1452 | 134.7674 | 130.3712 | 169.6367 | 169.3311
At Max (A) | 101.0981 | 93.8569 | 104.077 | 101.5652 | 107.8976 | 106.2336 | 113.3684 | 117.8149 | 112.0018 | 118.7936 | 120.3726 | 124.8194 | 134.6698 | 141.4426 | 153.5632 | 162.5214 | 162.6996 | 164.6668 | 159.2725 | 158.5794 | 155.4972 | 152.6862 | 147.4016 | 144.5052 | 141.6294 | 142.8306 | 144.5486 | 150.2389 | 141.1452 | 134.7674 | 130.3712 | 169.6367 | 169.3311

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.4936 | 87.2676 | 87.9586 | 107.0488 | 105.8228 | 106.5138 | 20.7392 | 0.69102 | 99.5147 | 66.3054 | 99.2169 | 43.6637 | 99.406 | 57.3566 | 97.5642 | 69.4866 | 97.048 | 44.2806 | 97.393 | 62.9919 | 89.6331 | 2.3655 | 100.0811 | 62.7934 | 99.779 | 44.6706 | 99.9977 | 60.4066 | 111.1186 | 110.9388 | 110.9813

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.6177 | 87.6141 | 88.2158 | 107.1729 | 106.1693 | 106.771 | 24.3604 | 0.60169 | 99.8579 | 52.7316 | 99.763 | 44.3931 | 99.7061 | 48.8224 | 98.0834 | 54.9029 | 97.6189 | 45.0101 | 97.8999 | 50.16 | 90.1335 | 2.5194 | 100.4663 | 59.6909 | 100.351 | 45.5701 | 100.3175 | 52.6906 | 111.5728 | 112.1701 | 111.3555

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 89.8259 | 88.4771 | 89.3055 | 108.3811 | 107.0323 | 107.8607 | 6.5785 | 0.82842 | 101.0549 | 64.3738 | 100.7944 | 47.5441 | 100.9261 | 58.2223 | 99.1006 | 64.7353 | 98.6386 | 48.2409 | 98.9457 | 58.2223 | 91.0015 | 2.5244 | 101.5596 | 56.0252 | 101.3451 | 44.4492 | 101.4319 | 49.4648 | 113.3498 | 113.0891 | 113.1494

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 155.8182 | 155.5523 | 155.7263 | 174.3734 | 174.1075 | 174.2815 | -0.63281 | 0.17405 | 169.4739 | 106.0498 | 169.2088 | 102.4406 | 169.4075 | 101.6541 | 166.617 | 106.547 | 166.4268 | 102.8153 | 166.5494 | 102.1051 | 159.5362 | 3.9839 | 170.3151 | 107.113 | 169.8685 | 103.2467 | 170.2487 | 102.516 | 187.2542 | 186.9847 | 186.7709