## Åsa14
Measurement Name | Åsa14 (Normal Range)
Time of run | 2019-06-05 14:41:34 (1559742094)
Duration | 17.54 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0485069 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85422e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 74.1432 | 76.6565 | 74.123 | 71.9825 | 70.4614 | 71.9996 | 72.8826 | 68.2401 | 64.0458 | 64.3855 | 62.3469 | 63.1041 | 64.2971 | 65.5244 | 65.8578 | 68.1916 | 70.0497 | 73.0593 | 71.1165 | 67.2652 | 67.4159 | 64.0409 | 60.1905 | 58.1256 | 57.6707 | 56.454 | 54.9615 | 55.5239 | 53.7908 | 49.6722 | 45.5123 | 84.0331 | 78.6612
SEL | 86.5736 | 89.0868 | 86.5534 | 84.4129 | 82.8918 | 84.43 | 85.313 | 80.6705 | 76.4762 | 76.8159 | 74.7773 | 75.5344 | 76.7275 | 77.9547 | 78.2882 | 80.6219 | 82.4801 | 85.4897 | 83.5469 | 79.6956 | 79.8463 | 76.4713 | 72.6209 | 70.556 | 70.101 | 68.8844 | 67.3919 | 67.9542 | 66.2212 | 62.1025 | 57.9427 | 96.4635 | 91.0915
Min | 58.833 | 56.617 | 55.3107 | 56.3598 | 56.5823 | 59.0016 | 55.1521 | 45.9985 | 39.0232 | 37.0539 | 33.4171 | 34.5358 | 36.7679 | 40.6962 | 43.2887 | 40.5202 | 37.8552 | 39.5339 | 41.6874 | 32.6293 | 30.9869 | 30.6606 | 32.0631 | 32.7735 | 32.3292 | 33.4481 | 33.8644 | 35.0321 | 37.7957 | 38.1472 | 38.5634
Max | 84.9604 | 91.665 | 88.8094 | 82.9684 | 79.3034 | 82.3803 | 86.3912 | 79.6126 | 76.1573 | 77.1459 | 74.6747 | 74.211 | 76.1063 | 76.31 | 75.7326 | 79.3369 | 80.7719 | 83.9826 | 81.8798 | 77.5651 | 78.874 | 75.864 | 71.0396 | 68.9406 | 68.6274 | 67.8624 | 65.7377 | 65.766 | 63.038 | 58.2113 | 53.3244
At Max (LIN) | 82.2607 | 91.665 | 83.7043 | 82.7007 | 76.7252 | 81.3292 | 81.8847 | 77.2157 | 72.4468 | 71.9581 | 72.6785 | 73.0891 | 72.5776 | 73.8527 | 74.8863 | 77.8227 | 79.0325 | 83.06 | 81.4613 | 77.5651 | 76.8386 | 74.3473 | 70.3545 | 68.0246 | 68.2176 | 66.933 | 65.7377 | 65.6441 | 62.3286 | 57.6528 | 52.1688 | 95.1132 | 88.547
At Max (A) | 81.2434 | 89.6494 | 80.6942 | 82.1028 | 77.6254 | 80.7719 | 81.5562 | 78.208 | 72.274 | 71.9357 | 70.8944 | 72.4914 | 72.2517 | 76.31 | 75.4931 | 78.9874 | 79.5785 | 82.4533 | 81.8798 | 77.5371 | 77.3874 | 75.864 | 70.8117 | 68.9193 | 68.6253 | 67.3696 | 65.7028 | 65.766 | 62.5452 | 57.9368 | 51.9535 | 94.1029 | 88.8188

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.9093 | 70.4999 | 72.0776 | 71.38 | 72.6992 | 72.5536 | 70.7639 | 66.6942 | 64.2241 | 63.6052 | 63.2942 | 64.3783 | 64.5195 | 65.6237 | 66.7581 | 68.0729 | 69.8585 | 75.1802 | 70.6167 | 67.4061 | 68.1695 | 64.8439 | 61.0052 | 59.2547 | 58.8678 | 57.0555 | 55.1425 | 55.0371 | 52.6995 | 49.0321 | 45.3319 | 83.1744 | 79.4309
SEL | 83.3397 | 82.9302 | 84.508 | 83.8103 | 85.1296 | 84.984 | 83.1943 | 79.1246 | 76.6544 | 76.0356 | 75.7245 | 76.8087 | 76.9498 | 78.0541 | 79.1885 | 80.5032 | 82.2889 | 87.6105 | 83.0471 | 79.8365 | 80.5999 | 77.2742 | 73.4356 | 71.6851 | 71.2982 | 69.4858 | 67.5729 | 67.4675 | 65.1299 | 61.4625 | 57.7623 | 95.6048 | 91.8613
Min | 42.3062 | 47.4061 | 46.7763 | 50.6538 | 50.2861 | 50.6115 | 46.5653 | 37.3977 | 33.1109 | 31.9442 | 30.6 | 32.0349 | 35.2918 | 41.5981 | 42.9661 | 41.6636 | 39.2046 | 36.5668 | 46.1639 | 33.0812 | 31.0259 | 30.7911 | 31.7078 | 32.5275 | 32.3437 | 34.476 | 34.6146 | 35.4297 | 37.8825 | 38.5619 | 39.9256
Max | 82.5906 | 85.0834 | 86.3845 | 83.9244 | 85.7486 | 83.92 | 82.9977 | 78.7802 | 76.2008 | 75.1108 | 76.2624 | 75.9437 | 75.9327 | 76.0604 | 77.0745 | 79.3482 | 80.3718 | 87.1402 | 81.9337 | 77.7057 | 79.4745 | 76.6403 | 71.8774 | 70.0239 | 69.8016 | 68.1518 | 65.8291 | 65.5513 | 62.4136 | 58.0019 | 53.3676
At Max (LIN) | 80.0226 | 83.3435 | 83.0646 | 81.9259 | 85.7486 | 83.2911 | 80.4531 | 75.1846 | 72.2762 | 71.8204 | 72.8876 | 75.1594 | 73.9558 | 74.4482 | 74.8274 | 78.1433 | 79.9864 | 87.1402 | 81.9337 | 77.3828 | 79.0172 | 76.6403 | 71.4615 | 69.0563 | 69.3248 | 67.6752 | 65.7072 | 65.0538 | 61.8367 | 57.4463 | 52.8549 | 94.2164 | 90.5921
At Max (A) | 80.0226 | 83.3435 | 83.0646 | 81.9259 | 85.7486 | 83.2911 | 80.4531 | 75.1846 | 72.2762 | 71.8204 | 72.8876 | 75.1594 | 73.9558 | 74.4482 | 74.8274 | 78.1433 | 79.9864 | 87.1402 | 81.9337 | 77.3828 | 79.0172 | 76.6403 | 71.4615 | 69.0563 | 69.3248 | 67.6752 | 65.7072 | 65.0538 | 61.8367 | 57.4463 | 52.8549 | 94.2164 | 90.5921

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 75.3934 | 76.4464 | 73.174 | 75.111 | 73.1478 | 74.4214 | 72.4185 | 67.964 | 66.3607 | 66.0981 | 64.4136 | 63.3379 | 65.6251 | 67.0268 | 68.6464 | 70.776 | 72.2719 | 80.3268 | 73.6333 | 68.6439 | 69.7848 | 66.714 | 62.3837 | 59.9881 | 58.963 | 57.6945 | 55.6465 | 55.6699 | 53.4554 | 49.7869 | 45.8753 | 86.2301 | 82.9412
SEL | 87.8238 | 88.8768 | 85.6043 | 87.5414 | 85.5782 | 86.8517 | 84.8489 | 80.3944 | 78.7911 | 78.5284 | 76.8439 | 75.7683 | 78.0555 | 79.4572 | 81.0768 | 83.2064 | 84.7023 | 92.7572 | 86.0637 | 81.0742 | 82.2152 | 79.1443 | 74.8141 | 72.4184 | 71.3933 | 70.1249 | 68.0769 | 68.1003 | 65.8858 | 62.2173 | 58.3057 | 98.6605 | 95.3716
Min | 60.1624 | 59.0067 | 58.2536 | 59.5601 | 55.5893 | 55.0559 | 51.6393 | 46.6981 | 44.5314 | 38.9144 | 37.6232 | 35.4047 | 39.5595 | 37.5438 | 36.6115 | 37.804 | 35.7102 | 35.4803 | 41.0492 | 33.7145 | 32.2988 | 32.4092 | 32.7804 | 33.7839 | 33.1969 | 34.2954 | 34.8992 | 35.9058 | 37.3592 | 38.1178 | 39.929
Max | 85.3657 | 91.0925 | 82.6203 | 88.7476 | 87.3109 | 84.8483 | 83.822 | 79.2546 | 79.0287 | 78.9523 | 75.9672 | 74.7592 | 77.5324 | 78.0385 | 79.799 | 82.9751 | 82.9873 | 92.4706 | 85.5739 | 80.0389 | 80.9394 | 78.9188 | 74.1512 | 70.918 | 69.886 | 68.8934 | 66.1809 | 66.2609 | 63.2304 | 59.2549 | 53.8898
At Max (LIN) | 83.5265 | 91.0925 | 81.9071 | 86.5594 | 87.3109 | 82.3681 | 81.9179 | 76.5847 | 76.7071 | 75.0482 | 74.0997 | 72.4921 | 75.0948 | 75.0758 | 76.3666 | 76.7934 | 80.4149 | 89.0116 | 82.3527 | 77.4341 | 78.1819 | 75.6339 | 71.3844 | 69.2574 | 69.0772 | 67.6913 | 65.306 | 64.9903 | 62.2288 | 58.4319 | 53.3826 | 96.6186 | 91.5203
At Max (A) | 80.5138 | 83.8622 | 82.4729 | 81.6524 | 80.6088 | 84.8483 | 83.822 | 78.5306 | 76.1109 | 76.5255 | 74.6363 | 73.8802 | 77.1994 | 77.5689 | 79.799 | 82.1235 | 82.9873 | 92.4706 | 85.5739 | 78.9789 | 80.9394 | 78.3118 | 74.1512 | 70.918 | 69.886 | 68.8934 | 66.1766 | 66.2211 | 62.9202 | 58.3632 | 53.2621 | 96.6118 | 94.7263

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 105.6244 | 98.3772 | 103.173 | 103.2222 | 101.9302 | 106.2335 | 110.2484 | 110.8518 | 103.049 | 106.5314 | 106.287 | 111.1661 | 115.5176 | 120.8663 | 126.2476 | 133.8295 | 136.9877 | 146.4266 | 140.0282 | 136.6837 | 135.6317 | 132.2796 | 126.6142 | 122.4408 | 121.7063 | 126.9275 | 131.6168 | 137.3243 | 130.8061 | 126.5244 | 118.6746 | 149.1328 | 149.0638
SEL | 118.0548 | 110.8075 | 115.6034 | 115.6526 | 114.3606 | 118.6638 | 122.6787 | 123.2822 | 115.4794 | 118.9618 | 118.7174 | 123.5965 | 127.948 | 133.2967 | 138.678 | 146.2599 | 149.4181 | 158.857 | 152.4586 | 149.1141 | 148.0621 | 144.7099 | 139.0446 | 134.8711 | 134.1367 | 139.3579 | 144.0472 | 149.7547 | 143.2365 | 138.9548 | 131.1049 | 161.5632 | 161.4942
Min | 72.4176 | 71.4916 | 74.4377 | 73.9062 | 75.3022 | 72.7324 | 75.7456 | 76.6367 | 76.4674 | 78.2253 | 78.737 | 79.8386 | 80.0584 | 82.6406 | 85.6755 | 89.1286 | 87.6387 | 92.375 | 101.1664 | 89.8171 | 87.4617 | 88.45 | 89.2915 | 90.1101 | 91.2913 | 94.0995 | 99.5342 | 113.4246 | 110.2296 | 107.5395 | 107.0759
Max | 118.9301 | 109.5409 | 115.8319 | 116.855 | 115.7886 | 118.7928 | 122.7238 | 123.6481 | 116.3676 | 120.3564 | 120.3436 | 125.8399 | 129.0313 | 135.6051 | 139.8061 | 147.3365 | 149.2427 | 158.7694 | 151.3119 | 148.2001 | 147.3992 | 143.9898 | 138.4957 | 135.1849 | 134.3729 | 138.5985 | 141.702 | 146.9436 | 139.0053 | 135.6883 | 126.8121
At Max (LIN) | 111.2903 | 105.4504 | 108.0641 | 107.9643 | 110.3634 | 111.3924 | 122.7238 | 122.7949 | 113.9265 | 115.4839 | 118.956 | 122.809 | 129.0313 | 135.6051 | 139.8061 | 146.8266 | 149.2427 | 158.7694 | 151.2849 | 147.4637 | 145.9739 | 142.6007 | 137.2027 | 134.7402 | 134.3278 | 137.5101 | 141.4508 | 146.9436 | 137.6435 | 134.4807 | 126.3743 | 160.9244 | 160.8716
At Max (A) | 111.2903 | 105.4504 | 108.0641 | 107.9643 | 110.3634 | 111.3924 | 122.7238 | 122.7949 | 113.9265 | 115.4839 | 118.956 | 122.809 | 129.0313 | 135.6051 | 139.8061 | 146.8266 | 149.2427 | 158.7694 | 151.2849 | 147.4637 | 145.9739 | 142.6007 | 137.2027 | 134.7402 | 134.3278 | 137.5101 | 141.4508 | 146.9436 | 137.6435 | 134.4807 | 126.3743 | 160.9244 | 160.8716

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 85.8885 | 78.5315 | 82.4215 | 98.3288 | 90.9718 | 94.8618 | 20.9802 | 3.89 | 97.0779 | 72.3117 | 88.9494 | 51.5826 | 92.9886 | 64.3728 | 92.5725 | 78.204 | 86.8711 | 54.503 | 89.8404 | 64.3728 | 82.1507 | 3.6191 | 99.959 | 78.5253 | 89.8656 | 45.7664 | 94.5619 | 55.6153 | 107.7669 | 101.7292 | 103.5085

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.9967 | 79.3376 | 82.1013 | 96.437 | 91.7779 | 94.5416 | 17.8327 | 2.7637 | 96.5243 | 63.5154 | 90.5913 | 51.0269 | 93.1764 | 59.862 | 92.0372 | 63.5154 | 87.9238 | 51.0924 | 90.3911 | 65.0218 | 83.5433 | 4.2057 | 98.2877 | 54.7579 | 92.1151 | 42.3393 | 94.1808 | 59.7012 | 106.2499 | 103.0939 | 104.4994

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.2867 | 82.8066 | 85.0382 | 99.727 | 95.2469 | 97.4785 | 13.4383 | 2.2316 | 98.3104 | 72.8658 | 94.6372 | 49.4183 | 95.7709 | 67.402 | 94.3567 | 77.9163 | 91.657 | 51.3409 | 93.1746 | 72.1153 | 87.1297 | 4.3231 | 100.2389 | 69.1588 | 95.9725 | 42.9818 | 96.6791 | 76.0386 | 108.2567 | 106.1751 | 107.739

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 148.9156 | 148.9076 | 148.5609 | 161.3559 | 161.3479 | 161.0012 | -1.6769 | -0.3467 | 160.87 | 114.678 | 160.9089 | 110.6114 | 160.6735 | 109.295 | 157.1514 | 114.678 | 157.1598 | 110.6114 | 156.8332 | 109.295 | 153.5936 | 4.686 | 162.3474 | 105.9206 | 162.3656 | 101.8539 | 162.1698 | 100.5375 | 173.5033 | 172.3207 | 173.0879