## Åsa18
Measurement Name | Åsa18 (Normal Range)
Time of run | 2019-06-05 15:21:38 (1559744498)
Duration | 49.74 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0485069 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85422e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 67.0741 | 66.3705 | 64.3834 | 68.3723 | 64.0703 | 64.782 | 65.9389 | 66.8526 | 66.6414 | 66.889 | 68.717 | 69.1932 | 71.6817 | 76.844 | 80.1954 | 80.0522 | 79.3329 | 78.1818 | 74.1752 | 71.0958 | 73.1424 | 71.9278 | 68.395 | 66.2682 | 63.573 | 61.4081 | 59.3428 | 57.8368 | 57.8431 | 63.7715 | 55.1053 | 87.5883 | 85.8949
SEL | 84.0376 | 83.3341 | 81.347 | 85.3358 | 81.0338 | 81.7456 | 82.9024 | 83.8162 | 83.605 | 83.8526 | 85.6806 | 86.1568 | 88.6453 | 93.8076 | 97.159 | 97.0158 | 96.2964 | 95.1454 | 91.1387 | 88.0594 | 90.1059 | 88.8914 | 85.3586 | 83.2318 | 80.5365 | 78.3716 | 76.3064 | 74.8004 | 74.8066 | 80.7351 | 72.0688 | 104.5518 | 102.8585
Min | 43.2132 | 40.8861 | 42.6352 | 43.4314 | 41.0924 | 38.256 | 37.2111 | 32.397 | 29.9448 | 28.2732 | 26.2091 | 26.2255 | 25.9636 | 31.4509 | 38.9287 | 37.056 | 31.2577 | 31.7327 | 31.9374 | 27.3307 | 27.1481 | 29.1563 | 32.1314 | 32.655 | 32.6793 | 32.0203 | 32.2185 | 32.968 | 35.9071 | 35.7467 | 37.5688
Max | 75.6949 | 74.9711 | 73.6084 | 79.9246 | 72.3394 | 74.1217 | 76.4602 | 77.1728 | 78.1913 | 79.6991 | 82.6753 | 82.0517 | 82.2074 | 88.7695 | 88.9349 | 90.4037 | 89.2851 | 88.592 | 83.5371 | 79.8997 | 83.8518 | 82.4762 | 77.5591 | 76.045 | 73.3687 | 70.7835 | 68.6181 | 66.36 | 67.6903 | 83.2603 | 68.9499
At Max (LIN) | 68.4748 | 65.3421 | 62.7001 | 72.8073 | 66.209 | 70.1054 | 72.9424 | 75.6687 | 78.1913 | 77.4593 | 81.0105 | 82.0154 | 79.2118 | 83.3519 | 88.9349 | 90.4037 | 88.0807 | 86.6513 | 82.9224 | 79.8997 | 83.8081 | 80.1086 | 77.5591 | 75.6769 | 72.9109 | 70.6705 | 67.0504 | 65.5069 | 63.6898 | 66.057 | 55.2107 | 96.6005 | 95.0154
At Max (A) | 68.4748 | 65.3421 | 62.7001 | 72.8073 | 66.209 | 70.1054 | 72.9424 | 75.6687 | 78.1913 | 77.4593 | 81.0105 | 82.0154 | 79.2118 | 83.3519 | 88.9349 | 90.4037 | 88.0807 | 86.6513 | 82.9224 | 79.8997 | 83.8081 | 80.1086 | 77.5591 | 75.6769 | 72.9109 | 70.6705 | 67.0504 | 65.5069 | 63.6898 | 66.057 | 55.2107 | 96.6005 | 95.0154

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.1045 | 64.5279 | 63.9059 | 68.3024 | 65.0002 | 65.2429 | 66.3117 | 66.6056 | 66.6658 | 66.5747 | 68.2793 | 69.4477 | 71.7553 | 77.0937 | 80.0528 | 79.9999 | 79.5027 | 78.9917 | 74.5006 | 71.8061 | 73.4658 | 72.4794 | 68.96 | 66.8721 | 64.2548 | 61.6879 | 59.2195 | 57.9807 | 59.477 | 69.7983 | 57.8127 | 87.8048 | 86.2115
SEL | 81.0681 | 81.4915 | 80.8694 | 85.266 | 81.9638 | 82.2065 | 83.2753 | 83.5692 | 83.6294 | 83.5383 | 85.2428 | 86.4112 | 88.7188 | 94.0573 | 97.0164 | 96.9635 | 96.4663 | 95.9553 | 91.4642 | 88.7697 | 90.4293 | 89.443 | 85.9236 | 83.8356 | 81.2183 | 78.6515 | 76.183 | 74.9443 | 76.4405 | 86.7619 | 74.7762 | 104.7683 | 103.1751
Min | 35.4703 | 38.1528 | 41.5682 | 39.453 | 41.0314 | 37.9482 | 37.8333 | 31.4544 | 21.2926 | 24.7461 | 26.4471 | 27.8169 | 29.1741 | 38.0741 | 44.9399 | 40.3852 | 32.2019 | 34.025 | 36.0434 | 28.6205 | 28.3561 | 29.6902 | 31.5422 | 33.1961 | 32.8233 | 33.4955 | 33.6368 | 34.6891 | 37.3953 | 37.4686 | 39.086
Max | 75.0192 | 75.1164 | 74.0814 | 80.1871 | 77.2958 | 75.2029 | 77.1017 | 79.8851 | 78.4879 | 78.2331 | 81.4805 | 82.7823 | 82.5553 | 87.5333 | 89.1915 | 90.1159 | 89.3272 | 89.5129 | 85.4295 | 80.5899 | 84.4156 | 83.4848 | 78.4422 | 76.7315 | 74.218 | 71.0339 | 67.9691 | 66.9968 | 74.3181 | 89.1018 | 72.8824
At Max (LIN) | 64.7379 | 66.732 | 68.8628 | 75.4335 | 67.2322 | 72.4886 | 74.9099 | 77.2043 | 78.2461 | 76.2348 | 81.4805 | 80.3275 | 80.7298 | 84.5154 | 88.5635 | 90.1159 | 88.2791 | 88.1097 | 83.5959 | 80.3925 | 83.5483 | 80.0339 | 77.7693 | 76.7315 | 73.9123 | 70.6946 | 67.773 | 64.8153 | 61.3931 | 56.6617 | 52.0732 | 96.8128 | 95.2941
At Max (A) | 65.4859 | 67.8661 | 69.5791 | 74.3687 | 67.4245 | 70.8631 | 75.7503 | 75.3235 | 75.8335 | 76.8462 | 80.0478 | 79.2247 | 81.4661 | 85.8295 | 89.1915 | 89.3097 | 88.1273 | 88.0047 | 83.6522 | 80.0388 | 84.4156 | 80.5388 | 77.8292 | 76.3516 | 74.218 | 71.0339 | 67.8611 | 65.0918 | 61.4391 | 57.4223 | 53.4429 | 96.7863 | 95.3093

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.7194 | 67.0289 | 67.1115 | 69.9708 | 66.4295 | 65.732 | 65.9973 | 67.4357 | 68.3669 | 68.5695 | 68.5993 | 69.2905 | 73.2128 | 77.2563 | 81.2317 | 80.5221 | 80.1 | 79.1492 | 75.2787 | 72.3152 | 73.4147 | 72.5643 | 69.5502 | 67.2123 | 64.2893 | 62.264 | 59.677 | 58.1706 | 57.747 | 56.5432 | 55.465 | 88.3815 | 86.6875
SEL | 83.683 | 83.9925 | 84.0751 | 86.9344 | 83.393 | 82.6956 | 82.9609 | 84.3993 | 85.3305 | 85.533 | 85.5628 | 86.2541 | 90.1763 | 94.2198 | 98.1953 | 97.4856 | 97.0636 | 96.1127 | 92.2423 | 89.2788 | 90.3783 | 89.5279 | 86.5137 | 84.1758 | 81.2529 | 79.2276 | 76.6406 | 75.1341 | 74.7106 | 73.5068 | 72.4286 | 105.345 | 103.6511
Min | 45.7562 | 42.8761 | 44.0534 | 42.4997 | 45.7566 | 40.1002 | 37.9854 | 33.417 | 30.941 | 28.8293 | 26.0847 | 26.8624 | 32.1053 | 38.0165 | 41.952 | 40.8626 | 37.2348 | 35.8154 | 36.2537 | 34.2227 | 31.9093 | 30.6067 | 32.9508 | 33.389 | 32.4226 | 33.8035 | 34.2712 | 35.5116 | 37.376 | 38.4699 | 39.8537
Max | 77.2666 | 80.8412 | 80.6738 | 83.7314 | 78.168 | 75.0468 | 76.1321 | 79.3192 | 80.0567 | 78.9528 | 80.1931 | 80.3451 | 84.2057 | 87.758 | 89.5452 | 89.6278 | 90.472 | 89.0806 | 85.6313 | 81.883 | 84.0363 | 83.1975 | 79.0675 | 76.6316 | 73.2148 | 71.775 | 68.9011 | 67.9707 | 68.8342 | 70.2235 | 69.6357
At Max (LIN) | 67.3518 | 66.7379 | 65.709 | 66.9451 | 67.6573 | 66.0287 | 67.8935 | 73.3428 | 75.715 | 73.0946 | 72.319 | 74.8579 | 83.1593 | 86.8172 | 89.4735 | 88.8113 | 90.472 | 87.6931 | 83.6475 | 79.8729 | 80.4603 | 83.0274 | 78.1794 | 76.2471 | 72.6567 | 70.677 | 67.5127 | 65.1307 | 62.0344 | 58.2004 | 57.0331 | 96.9799 | 95.5959
At Max (A) | 67.3518 | 66.7379 | 65.709 | 66.9451 | 67.6573 | 66.0287 | 67.8935 | 73.3428 | 75.715 | 73.0946 | 72.319 | 74.8579 | 83.1593 | 86.8172 | 89.4735 | 88.8113 | 90.472 | 87.6931 | 83.6475 | 79.8729 | 80.4603 | 83.0274 | 78.1794 | 76.2471 | 72.6567 | 70.677 | 67.5127 | 65.1307 | 62.0344 | 58.2004 | 57.0331 | 96.9799 | 95.5959

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 95.2953 | 101.2711 | 100.0535 | 102.7538 | 100.0974 | 102.6589 | 107.9693 | 111.143 | 112.8684 | 115.416 | 119.3932 | 124.0415 | 129.7231 | 136.9468 | 142.6351 | 144.8725 | 145.2218 | 146.5616 | 140.0331 | 135.5389 | 137.0233 | 137.5584 | 132.9846 | 130.0935 | 124.6791 | 128.2967 | 131.7307 | 136.1691 | 128.2199 | 123.7034 | 117.7888 | 152.2766 | 151.5407
SEL | 112.2589 | 118.2347 | 117.0171 | 119.7173 | 117.0609 | 119.6225 | 124.9329 | 128.1066 | 129.832 | 132.3796 | 136.3568 | 141.005 | 146.6866 | 153.9104 | 159.5987 | 161.836 | 162.1854 | 163.5252 | 156.9967 | 152.5025 | 153.9868 | 154.5219 | 149.9482 | 147.057 | 141.6426 | 145.2603 | 148.6943 | 153.1327 | 145.1835 | 140.667 | 134.7524 | 169.2401 | 168.5043
Min | 69.3041 | 69.1776 | 70.4868 | 71.97 | 71.7405 | 72.6957 | 74.2907 | 74.2374 | 75.9579 | 77.4086 | 77.0482 | 78.9889 | 80.2565 | 83.0072 | 84.13 | 85.8512 | 86.2499 | 91.6493 | 93.5743 | 87.319 | 87.0683 | 88.1247 | 88.9941 | 90.6618 | 91.3261 | 93.0654 | 95.0041 | 103.7032 | 102.1688 | 102.0187 | 102.7607
Max | 104.2498 | 111.6227 | 110.3484 | 112.7771 | 118.8782 | 123.2605 | 123.6183 | 127.479 | 130.6402 | 133.4263 | 137.8425 | 141.5826 | 146.5234 | 149.9691 | 153.7688 | 156.0708 | 156.6935 | 157.0073 | 152.8866 | 147.8407 | 148.2175 | 147.6631 | 144.8601 | 142.283 | 136.7702 | 137.7589 | 140.2283 | 145.0197 | 134.8555 | 130.0067 | 127.5992
At Max (LIN) | 100.5022 | 108.2179 | 105.6503 | 108.8021 | 103.2206 | 103.0196 | 109.96 | 116.1166 | 116.6605 | 123.4671 | 126.3703 | 131.6635 | 139.2853 | 149.9691 | 150.8413 | 152.9329 | 156.6935 | 157.0073 | 151.2411 | 145.3552 | 147.7616 | 147.6631 | 144.8601 | 140.9465 | 134.8689 | 137.2257 | 139.2877 | 145.0197 | 134.2671 | 128.9731 | 122.084 | 162.4986 | 161.9152
At Max (A) | 100.5022 | 108.2179 | 105.6503 | 108.8021 | 103.2206 | 103.0196 | 109.96 | 116.1166 | 116.6605 | 123.4671 | 126.3703 | 131.6635 | 139.2853 | 149.9691 | 150.8413 | 152.9329 | 156.6935 | 157.0073 | 151.2411 | 145.3552 | 147.7616 | 147.6631 | 144.8601 | 140.9465 | 134.8689 | 137.2257 | 139.2877 | 145.0197 | 134.2671 | 128.9731 | 122.084 | 162.4986 | 161.9152

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.6119 | 85.7448 | 87.2783 | 104.5789 | 102.7118 | 104.2454 | 6.4617 | 1.5336 | 96.5607 | 58.7163 | 94.9963 | 46.8863 | 96.4909 | 52.6045 | 95.108 | 64.6709 | 93.4962 | 48.7397 | 95.0192 | 56.1638 | 87.9309 | 2.1861 | 97.6122 | 69.8056 | 95.7956 | 45.6941 | 97.5642 | 59.7755 | 107.93 | 107.8926 | 107.8549

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.6847 | 86.0617 | 87.4632 | 104.6517 | 103.0287 | 104.4302 | 9.0957 | 1.4015 | 96.7037 | 57.2507 | 95.286 | 48.6619 | 96.6466 | 54.3834 | 95.386 | 58.8262 | 93.857 | 50.2463 | 95.2927 | 56.2499 | 88.0891 | 2.0275 | 97.3458 | 53.1733 | 95.8272 | 42.7906 | 97.3237 | 52.0086 | 108.1993 | 107.5365 | 108.3195

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.3263 | 86.5404 | 88.084 | 105.2934 | 103.5075 | 105.051 | 3.4692 | 1.5436 | 97.082 | 59.4577 | 95.5146 | 49.0345 | 97.0026 | 56.9591 | 95.6915 | 60.4362 | 94.1376 | 49.0378 | 95.5827 | 58.6515 | 88.5429 | 2.0025 | 97.9811 | 51.8652 | 96.3439 | 40.2805 | 97.9132 | 51.5149 | 108.9786 | 107.2551 | 108.8524

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 152.1023 | 151.3966 | 151.9681 | 169.0694 | 168.3637 | 168.9352 | -1.1959 | 0.57148 | 162.65 | 110.8988 | 162.1184 | 106.3423 | 162.61 | 105.0442 | 160.4064 | 113.9986 | 159.8322 | 109.0903 | 160.3058 | 107.5298 | 155.1507 | 3.7541 | 164.4455 | 115.1079 | 163.6568 | 108.8892 | 164.394 | 106.986 | 182.1222 | 180.7917 | 181.8415