## Åsa20
Measurement Name | Åsa20 (Normal Range)
Time of run | 2019-06-05 15:44:31 (1559745871)
Duration | 21.7 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0485069 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85422e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 71.8941 | 71.2304 | 72.4712 | 74.3952 | 71.8243 | 71.9199 | 72.8751 | 67.2153 | 65.2716 | 65.7225 | 62.6023 | 63.4022 | 63.0104 | 65.3174 | 65.6524 | 66.6354 | 69.9507 | 72.62 | 71.6557 | 68.2642 | 68.8229 | 66.9554 | 62.4778 | 61.5719 | 58.9416 | 56.9185 | 55.0614 | 54.6522 | 52.9257 | 48.7561 | 44.9593 | 83.4566 | 79.1257
SEL | 85.2587 | 84.595 | 85.8358 | 87.7598 | 85.1889 | 85.2845 | 86.2397 | 80.5798 | 78.6362 | 79.0871 | 75.9669 | 76.7668 | 76.375 | 78.682 | 79.017 | 80 | 83.3152 | 85.9846 | 85.0203 | 81.6288 | 82.1875 | 80.32 | 75.8424 | 74.9365 | 72.3062 | 70.2831 | 68.426 | 68.0167 | 66.2903 | 62.1207 | 58.3239 | 96.8212 | 92.4903
Min | 48.6768 | 50.8974 | 47.1759 | 47.1415 | 45.6562 | 44.2133 | 44.4025 | 32.8933 | 28.2801 | 24.6052 | 22.9774 | 23.7105 | 24.7518 | 27.3832 | 28.1874 | 31.2706 | 29.6586 | 32.8712 | 43.9791 | 30.2679 | 27.6834 | 27.906 | 30.089 | 30.7425 | 31.2597 | 31.6276 | 32.0197 | 33.4884 | 35.7898 | 35.6627 | 37.737
Max | 87.5365 | 87.4463 | 88.3 | 90.8671 | 85.1453 | 83.59 | 85.8076 | 79.3606 | 78.8091 | 79.4796 | 76.7646 | 77.6348 | 74.8034 | 77.5993 | 76.8049 | 78.453 | 81.679 | 83.9735 | 83.124 | 80.0301 | 80.6033 | 80.7904 | 75.7147 | 76.8948 | 71.6791 | 69.1377 | 66.7799 | 65.6216 | 63.6951 | 58.9719 | 54.2812
At Max (LIN) | 84.0785 | 87.4463 | 86.214 | 90.8671 | 82.2071 | 81.8516 | 83.2558 | 77.5148 | 73.3175 | 75.623 | 74.3698 | 74.6188 | 74.1347 | 76.8069 | 75.8164 | 76.4549 | 79.8304 | 82.11 | 80.7949 | 77.9727 | 77.4586 | 75.6352 | 70.2225 | 67.6324 | 67.7188 | 66.2954 | 65.3554 | 65.0764 | 62.5699 | 57.5755 | 51.6193 | 95.8859 | 88.4462
At Max (A) | 76.2505 | 76.7689 | 74.1274 | 78.444 | 75.5919 | 80.6456 | 81.5562 | 73.403 | 70.7821 | 70.7072 | 71.102 | 72.2148 | 71.153 | 76.4369 | 76.1115 | 78.453 | 81.1828 | 82.7948 | 82.152 | 80.0301 | 80.6033 | 80.7904 | 75.7147 | 76.8948 | 71.6791 | 69.1377 | 66.7799 | 64.9542 | 62.1782 | 57.6204 | 51.4752 | 92.2132 | 90.6359

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 68.2951 | 71.9853 | 71.9804 | 70.6709 | 72.3146 | 72.8329 | 71.9254 | 66.6098 | 64.4241 | 65.8546 | 63.0938 | 63.2321 | 64.2417 | 66.0774 | 66.8447 | 68.2293 | 70.0117 | 73.7013 | 72.289 | 68.464 | 69.302 | 67.7414 | 62.9959 | 62.5952 | 60.0317 | 57.6355 | 55.2639 | 54.5524 | 51.8243 | 48.1629 | 44.7923 | 83.2944 | 79.8183
SEL | 81.6597 | 85.3499 | 85.345 | 84.0355 | 85.6792 | 86.1975 | 85.29 | 79.9744 | 77.7888 | 79.2192 | 76.4584 | 76.5967 | 77.6063 | 79.442 | 80.2093 | 81.5939 | 83.3763 | 87.0659 | 85.6536 | 81.8286 | 82.6666 | 81.106 | 76.3605 | 75.9598 | 73.3963 | 71.0001 | 68.6285 | 67.917 | 65.1889 | 61.5275 | 58.1569 | 96.659 | 93.1828
Min | 39.0385 | 40.2167 | 43.2397 | 43.6464 | 45.9056 | 45.5921 | 46.1575 | 29.4847 | 25.7825 | 29.1434 | 30.189 | 29.7128 | 28.1977 | 38.7992 | 40.1171 | 39.7163 | 37.1236 | 37.3577 | 46.419 | 33.4618 | 31.5102 | 30.8829 | 32.0457 | 33.4503 | 32.9246 | 33.2607 | 33.4127 | 34.7127 | 37.2669 | 37.4522 | 39.0788
Max | 81.1123 | 86.7935 | 87.6121 | 84.5396 | 89.692 | 87.9539 | 85.5094 | 81.9186 | 78.2313 | 79.2702 | 76.266 | 76.4672 | 76.6578 | 78.3264 | 77.9125 | 80.4708 | 81.2383 | 84.8892 | 84.0594 | 80.6879 | 81.8308 | 81.5743 | 76.1426 | 78.058 | 72.9026 | 69.382 | 67.0082 | 66.2617 | 62.7185 | 58.6642 | 54.5056
At Max (LIN) | 76.9127 | 86.7935 | 84.0915 | 84.5396 | 89.692 | 87.9539 | 82.6777 | 81.9186 | 78.2313 | 76.1944 | 75.8348 | 76.4144 | 76.2599 | 78.3264 | 75.8015 | 78.4701 | 79.9849 | 83.6413 | 82.5329 | 77.4755 | 77.1312 | 75.3688 | 70.5354 | 68.9904 | 69.3866 | 67.8029 | 65.296 | 65.7925 | 62.7185 | 58.3482 | 54.5056 | 96.0956 | 89.3688
At Max (A) | 78.1153 | 78.3407 | 76.8598 | 74.4086 | 77.648 | 81.3258 | 80.8343 | 74.3986 | 73.9134 | 76.2904 | 72.9382 | 72.7217 | 74.6964 | 75.1936 | 75.8058 | 79.2452 | 81.2383 | 84.1758 | 83.699 | 80.3134 | 81.8308 | 79.519 | 74.6903 | 73.0647 | 71.6114 | 69.144 | 66.4173 | 66.2617 | 62.3283 | 57.4654 | 51.4699 | 92.7962 | 91.1121

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 74.1709 | 74.6458 | 74.4192 | 71.7237 | 72.3854 | 72.5874 | 72.1024 | 67.0897 | 66.8406 | 66.293 | 64.5111 | 62.9738 | 64.6184 | 66.6507 | 67.8836 | 69.692 | 71.2494 | 79.0497 | 76.3276 | 69.9039 | 70.8198 | 68.8174 | 63.9154 | 63.2361 | 60.502 | 58.4 | 56.1251 | 55.4778 | 53.0519 | 49.2898 | 45.5881 | 85.6236 | 83.0076
SEL | 87.5355 | 88.0104 | 87.7838 | 85.0883 | 85.75 | 85.952 | 85.467 | 80.4543 | 80.2052 | 79.6576 | 77.8757 | 76.3384 | 77.983 | 80.0153 | 81.2482 | 83.0566 | 84.614 | 92.4143 | 89.6922 | 83.2685 | 84.1844 | 82.182 | 77.28 | 76.6007 | 73.8666 | 71.7645 | 69.4897 | 68.8424 | 66.4165 | 62.6544 | 58.9527 | 98.9882 | 96.3722
Min | 44.7086 | 45.6913 | 48.5782 | 46.6021 | 49.2377 | 48.6567 | 41.4302 | 35.8724 | 28.3145 | 26.7022 | 27.6459 | 25.9579 | 28.192 | 34.612 | 34.2329 | 35.1785 | 34.0193 | 34.2119 | 48.0623 | 37.633 | 31.6486 | 30.8486 | 31.4284 | 33.1324 | 32.7624 | 33.3045 | 34.373 | 35.3409 | 37.456 | 37.8782 | 39.4429
Max | 90.4629 | 92.5397 | 88.1104 | 85.904 | 87.7273 | 86.1559 | 85.7257 | 78.836 | 82.1697 | 79.4982 | 78.954 | 76.3596 | 77.4228 | 77.9588 | 79.9176 | 81.88 | 83.6684 | 91.197 | 88.8229 | 82.0265 | 83.4804 | 81.8713 | 77.4762 | 78.4119 | 73.3453 | 70.4883 | 67.8193 | 66.5928 | 63.9464 | 59.6249 | 55.1463
At Max (LIN) | 89.8439 | 92.5397 | 87.6711 | 82.9312 | 87.7273 | 82.7078 | 75.1448 | 77.3078 | 78.646 | 78.9764 | 75.3808 | 74.6581 | 76.152 | 76.4109 | 77.3528 | 78.8289 | 81.1434 | 88.3815 | 85.1066 | 79.4109 | 78.9011 | 76.3744 | 71.2988 | 69.726 | 68.3296 | 67.9737 | 65.5735 | 65.7813 | 62.6214 | 58.6756 | 53.7767 | 97.9487 | 92.048
At Max (A) | 78.0328 | 77.6734 | 80.4203 | 78.7656 | 78.1466 | 80.5784 | 83.8685 | 78.2624 | 73.1808 | 75.1042 | 72.0975 | 70.4293 | 74.608 | 75.1249 | 79.2031 | 81.0871 | 83.6684 | 90.9753 | 88.8229 | 81.8596 | 83.4804 | 80.9334 | 75.9619 | 73.7866 | 72.1423 | 70.0898 | 67.1458 | 66.4822 | 63.7248 | 58.5633 | 52.8236 | 96.0223 | 95.1066

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 106.239 | 99.7071 | 102.2893 | 103.5622 | 101.2134 | 102.8173 | 108.5018 | 110.7899 | 108.3363 | 107.6025 | 108.7784 | 113.8505 | 116.2079 | 120.933 | 126.4959 | 132.6242 | 137.8641 | 146.5775 | 143.1471 | 139.3302 | 137.3334 | 135.7112 | 129.3503 | 124.4422 | 123.4515 | 128.5819 | 132.7872 | 137.44 | 131.1241 | 126.3047 | 118.2337 | 150.1607 | 150.2643
SEL | 119.6036 | 113.0717 | 115.6539 | 116.9268 | 114.578 | 116.1819 | 121.8664 | 124.1545 | 121.7009 | 120.9671 | 122.143 | 127.2151 | 129.5725 | 134.2976 | 139.8605 | 145.9888 | 151.2287 | 159.9421 | 156.5117 | 152.6948 | 150.698 | 149.0758 | 142.7149 | 137.8068 | 136.8161 | 141.9465 | 146.1518 | 150.8046 | 144.4888 | 139.6693 | 131.5983 | 163.5253 | 163.6289
Min | 69.079 | 70.7177 | 72.842 | 72.6611 | 73.2927 | 75.7726 | 76.7816 | 75.4866 | 75.5263 | 78.2924 | 77.9301 | 79.224 | 77.5472 | 82.286 | 82.6047 | 87.9465 | 87.3391 | 92.6962 | 104.9819 | 90.8995 | 87.2733 | 87.6913 | 88.9764 | 89.6972 | 91.2156 | 92.2096 | 94.6425 | 103.3471 | 100.1916 | 100.4147 | 101.638
Max | 119.8533 | 112.5886 | 115.9679 | 116.806 | 114.9897 | 117.2952 | 124.0499 | 124.4358 | 126.6142 | 123.5613 | 124.9727 | 130.3473 | 131.3914 | 136.2525 | 139.7577 | 146.1211 | 151.3299 | 159.3447 | 157.3047 | 151.4728 | 150.0919 | 148.7396 | 144.124 | 140.2615 | 138.5916 | 142.3853 | 145.9103 | 149.8882 | 141.3029 | 137.0409 | 128.2044
At Max (LIN) | 114.6719 | 108.7892 | 112.095 | 114.9383 | 113.3152 | 114.0208 | 119.3031 | 122.7601 | 116.1761 | 117.2303 | 119.5506 | 121.3456 | 125.018 | 132.7431 | 136.6142 | 143.5777 | 149.1687 | 158.5925 | 157.3047 | 150.4913 | 150.0919 | 148.7007 | 143.6971 | 140.2615 | 138.5916 | 142.3853 | 145.9103 | 149.8882 | 141.3029 | 136.8901 | 128.2044 | 162.7324 | 162.9295
At Max (A) | 114.6719 | 108.7892 | 112.095 | 114.9383 | 113.3152 | 114.0208 | 119.3031 | 122.7601 | 116.1761 | 117.2303 | 119.5506 | 121.3456 | 125.018 | 132.7431 | 136.6142 | 143.5777 | 149.1687 | 158.5925 | 157.3047 | 150.4913 | 150.0919 | 148.7007 | 143.6971 | 140.2615 | 138.5916 | 142.3853 | 145.9103 | 149.8882 | 141.3029 | 136.8901 | 128.2044 | 162.7324 | 162.9295

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.4191 | 78.9624 | 82.1546 | 97.7837 | 92.327 | 95.5192 | 10.5678 | 3.1922 | 98.4757 | 64.7647 | 90.8455 | 47.2594 | 94.3738 | 57.6617 | 93.6085 | 67.3323 | 88.8393 | 48.6741 | 91.2903 | 60.9087 | 82.9542 | 3.9918 | 99.8918 | 65.0024 | 91.8586 | 43.9409 | 96.1159 | 58.3698 | 107.4226 | 103.8963 | 106.4618

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.3463 | 79.6507 | 82.2457 | 97.7109 | 93.0153 | 95.6103 | 5.8088 | 2.595 | 99.5751 | 55.671 | 91.0645 | 51.0706 | 94.7016 | 58.0106 | 93.6105 | 55.7605 | 89.4247 | 52.0207 | 91.2906 | 59.7895 | 83.4313 | 3.7806 | 102.1133 | 47.0159 | 91.7703 | 43.5465 | 96.586 | 51.198 | 108.2391 | 105.0623 | 105.7328

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.1607 | 82.9198 | 84.5461 | 99.5253 | 96.2844 | 97.9107 | 1.3182 | 1.6262 | 100.3402 | 62.9623 | 95.0934 | 50.6506 | 96.7166 | 56.8085 | 95.2635 | 63.2425 | 92.8427 | 51.2598 | 93.9611 | 56.8376 | 87.1249 | 4.2051 | 102.1595 | 54.5261 | 96.2269 | 42.6289 | 97.9333 | 48.084 | 109.2421 | 108.4247 | 109.4488

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 150.0182 | 150.1657 | 149.7085 | 163.3828 | 163.5303 | 163.0731 | -0.75786 | -0.45726 | 162.7277 | 112.5704 | 162.9653 | 110.6181 | 162.4223 | 109.5763 | 159.8601 | 114.8629 | 160.0616 | 113.8179 | 159.5804 | 112.9073 | 155.5447 | 5.379 | 164.9053 | 109.6982 | 165.1012 | 106.4878 | 164.6336 | 104.8883 | 180.183 | 179.455 | 179.7401