## Åsa23
Measurement Name | Åsa23 (Normal Range)
Time of run | 2019-06-05 16:19:12 (1559747952)
Duration | 48.44 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -20 dB | AC | 10Hz HP | GRAS MK01 | 0.0485069 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85422e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 53.6765 | 54.6493 | 53.9858 | 53.6697 | 59.4772 | 55.2349 | 53.9043 | 56.7151 | 51.0788 | 49.6628 | 52.2853 | 53.5244 | 57.7624 | 57.1441 | 58.779 | 57.9762 | 55.938 | 57.8297 | 56.6836 | 56.6388 | 50.2974 | 53.3806 | 58.2833 | 50.4076 | 44.2178 | 43.308 | 42.5738 | 39.9374 | 39.3061 | 37.6965 | 38.1581 | 69.6321 | 66.7354
SEL | 70.5249 | 71.4978 | 70.8343 | 70.5182 | 76.3257 | 72.0834 | 70.7527 | 73.5636 | 67.9272 | 66.5113 | 69.1338 | 70.3729 | 74.6109 | 73.9926 | 75.6274 | 74.8246 | 72.7865 | 74.6781 | 73.532 | 73.4873 | 67.1459 | 70.229 | 75.1318 | 67.256 | 61.0662 | 60.1564 | 59.4223 | 56.7859 | 56.1545 | 54.545 | 55.0066 | 86.4805 | 83.5838
Min | 35.8891 | 35.4447 | 41.1816 | 39.1257 | 41.4962 | 37.7798 | 32.755 | 28.6631 | 27.4383 | 30.1115 | 27.3858 | 24.6571 | 26.8426 | 32.8409 | 36.7147 | 32.8524 | 30.6549 | 32.9632 | 33.5802 | 27.1795 | 26.847 | 27.148 | 28.4049 | 29.5358 | 29.8739 | 30.655 | 31.5237 | 32.4677 | 33.908 | 35.0185 | 36.7402
Max | 62.8857 | 66.04 | 64.5151 | 65.7849 | 74.5864 | 66.8533 | 66.4433 | 69.774 | 63.2143 | 63.4131 | 66.2515 | 67.1562 | 70.3649 | 68.7642 | 68.9432 | 69.7073 | 67.8159 | 72.0306 | 71.8935 | 70.776 | 62.3626 | 67.6912 | 72.3504 | 64.141 | 54.8703 | 55.821 | 55.6998 | 50.2427 | 47.9762 | 45.3837 | 49.5633
At Max (LIN) | 48.8727 | 57.6366 | 59.3046 | 65.7849 | 74.5509 | 64.2099 | 62.3877 | 66.6047 | 63.2143 | 58.7506 | 62.2756 | 63.8157 | 67.4426 | 68.7642 | 65.9208 | 69.3717 | 67.5804 | 70.921 | 67.1335 | 68.7913 | 61.2734 | 67.6912 | 72.0751 | 64.0165 | 54.8703 | 55.6184 | 55.6736 | 49.5371 | 46.1091 | 43.4628 | 40.0343 | 81.2462 | 79.0093
At Max (A) | 54.1843 | 54.7866 | 55.1284 | 63.7362 | 72.9489 | 64.221 | 65.1786 | 64.7878 | 59.6159 | 59.0536 | 62.9921 | 61.8236 | 63.9806 | 66.1889 | 63.8242 | 66.9934 | 66.0662 | 71.6543 | 71.8935 | 69.6682 | 60.9877 | 65.0798 | 71.7027 | 63.0484 | 53.6853 | 53.4768 | 54.452 | 47.9823 | 45.4522 | 42.5451 | 39.3205 | 80.6741 | 79.1932

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 49.7456 | 51.7872 | 52.214 | 51.6205 | 58.1047 | 53.7276 | 52.7641 | 54.578 | 50.7323 | 49.5434 | 52.2118 | 54.2582 | 56.492 | 59.4214 | 59.0613 | 58.3998 | 59.9804 | 55.0309 | 58.1339 | 57.369 | 51.2576 | 52.2444 | 59.4843 | 54.1454 | 46.4703 | 43.7337 | 42.0298 | 40.7307 | 39.6504 | 38.7947 | 40.0271 | 69.7576 | 67.6808
SEL | 66.5941 | 68.6356 | 69.0625 | 68.4689 | 74.9531 | 70.5761 | 69.6125 | 71.4264 | 67.5808 | 66.3918 | 69.0602 | 71.1067 | 73.3404 | 76.2698 | 75.9098 | 75.2483 | 76.8288 | 71.8793 | 74.9823 | 74.2175 | 68.1061 | 69.0929 | 76.3327 | 70.9939 | 63.3187 | 60.5821 | 58.8782 | 57.5792 | 56.4988 | 55.6432 | 56.8756 | 86.606 | 84.5293
Min | 31.7464 | 35.8177 | 39.7053 | 36.8031 | 40.7374 | 37.2602 | 32.3036 | 26.1251 | 27.8053 | 29.9677 | 27.6101 | 27.8387 | 27.1986 | 32.5414 | 36.2349 | 31.3045 | 30.139 | 31.3231 | 31.7657 | 28.1878 | 27.6741 | 28.4891 | 29.9151 | 31.0177 | 31.5621 | 32.2398 | 33.0898 | 34.1911 | 35.5226 | 36.6134 | 38.5257
Max | 63.2589 | 65.2419 | 62.316 | 64.7301 | 74.681 | 67.9351 | 68.8765 | 68.8146 | 65.0544 | 62.8315 | 65.9014 | 67.9848 | 68.5247 | 70.4151 | 70.0865 | 71.1949 | 74.3263 | 67.5608 | 72.2573 | 71.7559 | 63.5026 | 65.372 | 73.9613 | 68.9408 | 58.762 | 55.6519 | 54.1858 | 51.5954 | 49.4688 | 48.8126 | 54.9168
At Max (LIN) | 63.2589 | 57.2021 | 55.8572 | 64.711 | 74.681 | 61.2027 | 59.659 | 66.3243 | 62.9846 | 59.3605 | 65.5417 | 66.9292 | 66.5705 | 70.2909 | 67.338 | 69.154 | 72.2248 | 66.5744 | 71.4142 | 70.6639 | 62.8134 | 65.1057 | 73.9613 | 67.7983 | 58.1105 | 55.0437 | 53.8854 | 50.8074 | 45.9576 | 43.3134 | 41.3479 | 82.2105 | 80.4615
At Max (A) | 60.9313 | 59.6224 | 52.6152 | 59.6118 | 71.1646 | 61.7004 | 60.8768 | 66.3248 | 62.916 | 58.6484 | 63.2258 | 64.7721 | 67.0102 | 69.8344 | 65.1172 | 69.6174 | 72.3835 | 67.3935 | 72.2573 | 70.989 | 62.964 | 65.372 | 73.4014 | 68.0092 | 58.762 | 55.6519 | 53.8268 | 50.9155 | 46.1437 | 43.6943 | 41.4886 | 81.6297 | 80.5333

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 53.7771 | 53.4373 | 54.616 | 53.5409 | 57.5718 | 54.574 | 52.2161 | 54.6371 | 50.7762 | 50.9295 | 52.4983 | 52.3424 | 56.7899 | 67.2036 | 62.3337 | 59.6371 | 61.0945 | 59.1353 | 58.8919 | 54.9019 | 52.3544 | 52.929 | 55.6266 | 52.8288 | 47.0385 | 45.1787 | 43.1186 | 42.0179 | 41.1679 | 40.039 | 40.5464 | 71.9074 | 68.9297
SEL | 70.6255 | 70.2858 | 71.4644 | 70.3893 | 74.4203 | 71.4225 | 69.0645 | 71.4856 | 67.6246 | 67.7779 | 69.3468 | 69.1909 | 73.6384 | 84.0521 | 79.1821 | 76.4856 | 77.943 | 75.9838 | 75.7403 | 71.7504 | 69.2028 | 69.7774 | 72.475 | 69.6773 | 63.887 | 62.0272 | 59.967 | 58.8664 | 58.0164 | 56.8875 | 57.3949 | 88.7558 | 85.7782
Min | 36.8107 | 32.8399 | 38.313 | 37.9172 | 37.5564 | 33.766 | 30.2299 | 26.3985 | 28.4426 | 27.9823 | 24.6379 | 25.3345 | 25.484 | 28.5502 | 30.5243 | 30.307 | 32.0998 | 30.8769 | 31.8428 | 30.0989 | 28.8376 | 29.3807 | 30.8092 | 31.6937 | 32.3668 | 33.153 | 33.5393 | 34.8621 | 36.1664 | 37.3524 | 39.0097
Max | 64.9013 | 65.6575 | 65.2516 | 69.3506 | 71.2436 | 69.574 | 64.3185 | 67.0313 | 65.1634 | 63.747 | 66.4165 | 65.0739 | 69.6635 | 80.062 | 73.874 | 71.7595 | 74.5322 | 71.9516 | 74.836 | 70.3506 | 65.9907 | 66.8402 | 70.1141 | 67.2457 | 59.3818 | 57.3362 | 55.3341 | 52.7466 | 53.0501 | 51.627 | 51.7282
At Max (LIN) | 58.2606 | 55.7668 | 63.7756 | 61.7589 | 64.6748 | 62.8686 | 61.0567 | 62.834 | 60.9452 | 58.1054 | 59.2403 | 62.6306 | 69.6635 | 80.062 | 73.874 | 71.218 | 73.6274 | 70.1473 | 69.4029 | 68.0303 | 63.9405 | 64.9119 | 66.9209 | 64.0236 | 57.6466 | 56.2161 | 53.4083 | 51.3459 | 48.4329 | 44.438 | 42.009 | 83.5955 | 80.8727
At Max (A) | 62.3205 | 57.1874 | 59.9273 | 62.3474 | 68.0709 | 63.1819 | 62.0561 | 65.6887 | 62.1739 | 61.9841 | 62.3368 | 62.0155 | 67.7941 | 77.6142 | 73.1917 | 71.7108 | 73.4508 | 71.1898 | 73.0803 | 70.3506 | 65.9907 | 66.8402 | 69.5765 | 66.9202 | 58.9247 | 56.9701 | 54.4932 | 52.3884 | 49.9843 | 46.102 | 43.2611 | 83.3413 | 81.4837

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 86.2541 | 87.0621 | 84.8288 | 81.1669 | 85.5051 | 88.5604 | 93.6216 | 97.9123 | 98.5975 | 102.6863 | 105.3212 | 108.6182 | 114.9699 | 115.3802 | 118.2202 | 122.4225 | 122.0521 | 123.2728 | 118.7249 | 116.6767 | 116.3688 | 115.5868 | 112.5523 | 110.8243 | 108.8226 | 112.9028 | 116.8575 | 121.3573 | 114.178 | 109.3178 | 102.7484 | 130.696 | 129.7926
SEL | 103.1026 | 103.9106 | 101.6772 | 98.0154 | 102.3535 | 105.4088 | 110.47 | 114.7608 | 115.446 | 119.5348 | 122.1696 | 125.4667 | 131.8183 | 132.2287 | 135.0687 | 139.271 | 138.9005 | 140.1213 | 135.5734 | 133.5251 | 133.2173 | 132.4353 | 129.4008 | 127.6728 | 125.671 | 129.7512 | 133.706 | 138.2057 | 131.0265 | 126.1662 | 119.5968 | 147.5445 | 146.641
Min | 67.7104 | 70.5515 | 71.013 | 72.3778 | 71.1767 | 73.2065 | 73.8213 | 73.089 | 74.3573 | 75.807 | 76.9056 | 78.0541 | 79.6043 | 81.5305 | 83.3621 | 83.1624 | 83.1255 | 86.3893 | 88.377 | 86.7661 | 87.0368 | 88.1423 | 88.8256 | 90.3235 | 91.134 | 92.2622 | 93.8482 | 99.0187 | 97.3847 | 97.004 | 98.4739
Max | 99.7508 | 102.5908 | 99.1659 | 92.6635 | 99.9171 | 105.9895 | 110.2332 | 116.4597 | 116.4078 | 121.3162 | 123.069 | 125.3788 | 129.2381 | 131.2752 | 131.5596 | 134.4779 | 135.3913 | 137.2403 | 133.5891 | 129.3539 | 128.2516 | 127.3367 | 125.7928 | 125.5142 | 123.2977 | 124.8468 | 127.6121 | 133.3122 | 122.2811 | 117.9915 | 108.9094
At Max (LIN) | 92.3865 | 94.1109 | 93.6477 | 90.0215 | 92.3748 | 93.7843 | 105.3604 | 111.6836 | 106.7844 | 111.5145 | 117.4692 | 118.7923 | 129.0098 | 126.9654 | 129.593 | 134.4779 | 135.3913 | 136.5694 | 133.0429 | 126.7874 | 126.7314 | 127.2777 | 124.1645 | 122.8345 | 120.7466 | 123.3568 | 126.9243 | 131.6819 | 122.2789 | 116.936 | 108.8923 | 142.9346 | 142.173
At Max (A) | 92.3865 | 94.1109 | 93.6477 | 90.0215 | 92.3748 | 93.7843 | 105.3604 | 111.6836 | 106.7844 | 111.5145 | 117.4692 | 118.7923 | 129.0098 | 126.9654 | 129.593 | 134.4779 | 135.3913 | 136.5694 | 133.0429 | 126.7874 | 126.7314 | 127.2777 | 124.1645 | 122.8345 | 120.7466 | 123.3568 | 126.9243 | 131.6819 | 122.2789 | 116.936 | 108.8923 | 142.9346 | 142.173

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 70.1377 | 66.5882 | 68.9657 | 86.9897 | 83.4403 | 85.8178 | 12.273 | 2.3775 | 81.1015 | 51.2616 | 79.3745 | 44.0078 | 80.6076 | 51.7233 | 79.4453 | 51.2616 | 77.8049 | 44.0265 | 79.0163 | 53.8193 | 69.5091 | 2.9209 | 81.9665 | 42.5041 | 80.526 | 35.2715 | 81.4312 | 46.4265 | 92.2639 | 90.587 | 91.2624

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 69.7325 | 67.5317 | 69.2416 | 86.5846 | 84.3837 | 86.0936 | 12.5024 | 1.7099 | 82.3427 | 49.8221 | 80.459 | 44.0531 | 81.8162 | 49.4565 | 80.1994 | 49.8221 | 78.846 | 44.067 | 79.8399 | 49.5078 | 70.0373 | 2.5056 | 83.3725 | 41.0646 | 80.9995 | 35.3116 | 82.7476 | 40.7576 | 94.1932 | 92.5823 | 93.4952

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 72.0586 | 68.8126 | 71.4814 | 88.9107 | 85.6646 | 88.3335 | 4.8196 | 2.6689 | 83.6101 | 53.715 | 81.3414 | 45.7388 | 83.4657 | 45.6606 | 82.123 | 55.4087 | 79.6998 | 46.0043 | 81.8449 | 45.6606 | 71.5806 | 2.7681 | 84.9297 | 49.961 | 82.2161 | 37.3344 | 84.8265 | 36.9031 | 95.9944 | 93.1943 | 95.7355

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 130.5451 | 129.6649 | 129.9303 | 147.3971 | 146.517 | 146.7824 | -0.99893 | 0.26541 | 143.044 | 106.4711 | 142.4735 | 103.0357 | 142.7385 | 101.7326 | 140.9856 | 106.4711 | 140.2479 | 103.0458 | 140.5482 | 101.7338 | 133.1821 | 3.5172 | 144.5623 | 97.7136 | 144.1094 | 94.2898 | 144.3304 | 92.9765 | 158.3064 | 157.9814 | 158.0786