## Torp Buller11
Measurement Name | Torp Buller11 (Normal Range)
Time of run | 2019-06-18 13:28:15 (1560860895)
Duration | 28.32 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0489603 (V)/(Pa)
Channel 2 | -20 dB | AC | 10Hz HP | GRAS MK02 | 0.0405849 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0433909 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.85637e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 71.3402 | 74.1749 | 73.9399 | 74.0909 | 73.071 | 71.268 | 71.669 | 68.5216 | 65.9654 | 65.8098 | 64.4895 | 64.7243 | 64.9204 | 66.3256 | 67.895 | 71.2289 | 72.1716 | 74.6192 | 70.1745 | 69.9311 | 71.5579 | 66.6175 | 62.2439 | 60.0591 | 60.448 | 60.573 | 59.3317 | 60.2024 | 58.0585 | 53.4022 | 48.6918 | 84.447 | 80.5792
SEL | 85.8581 | 88.6927 | 88.4577 | 88.6087 | 87.5889 | 85.7859 | 86.1869 | 83.0395 | 80.4833 | 80.3276 | 79.0074 | 79.2422 | 79.4383 | 80.8435 | 82.4128 | 85.7468 | 86.6894 | 89.137 | 84.6924 | 84.449 | 86.0758 | 81.1354 | 76.7618 | 74.577 | 74.9659 | 75.0909 | 73.8496 | 74.7202 | 72.5764 | 67.9201 | 63.2097 | 98.9648 | 95.0971
Min | 44.6324 | 43.4099 | 44.1382 | 47.1463 | 46.8896 | 42.3271 | 36.2389 | 36.4893 | 34.2146 | 31.729 | 35.3748 | 34.6739 | 36.3706 | 38.4586 | 39.5568 | 39.8405 | 40.7324 | 43.1585 | 40.4646 | 36.9537 | 35.1919 | 33.1005 | 32.5453 | 32.4417 | 31.4538 | 30.0602 | 29.4441 | 31.298 | 35.7289 | 31.9191 | 34.0655
Max | 85.1029 | 90.0754 | 87.5504 | 87.971 | 86.2578 | 86.9143 | 85.2222 | 81.7117 | 79.0396 | 79.3757 | 78.2209 | 77.932 | 79.5083 | 78.9869 | 80.906 | 85.0098 | 85.9461 | 86.0702 | 82.0254 | 81.9266 | 84.7694 | 80.689 | 77.1269 | 73.2532 | 73.2534 | 73.0099 | 71.3863 | 72.5788 | 69.0867 | 63.1014 | 58.3499
At Max (LIN) | 84.6995 | 90.0754 | 87.1248 | 86.1753 | 82.9845 | 83.9867 | 84.7142 | 80.7944 | 78.1903 | 78.1218 | 75.8552 | 77.3146 | 78.2824 | 77.3427 | 80.6304 | 84.8004 | 83.3764 | 84.668 | 80.4728 | 79.1406 | 80.1608 | 74.9868 | 72.4554 | 71.3806 | 72.7995 | 72.7401 | 70.9438 | 71.9713 | 67.3614 | 62.504 | 55.5338 | 96.826 | 91.1012
At Max (A) | 71.6242 | 78.119 | 85.5087 | 81.9732 | 86.2578 | 82.5271 | 83.4598 | 79.0738 | 76.4809 | 76.7046 | 76.1094 | 75.1099 | 74.763 | 77.1985 | 77.8402 | 76.8061 | 83.3271 | 86.0702 | 82.0254 | 81.9266 | 84.7694 | 80.689 | 77.1269 | 73.2532 | 73.2534 | 73.0099 | 71.0198 | 71.6024 | 68.8959 | 62.8944 | 58.169 | 95.2576 | 92.4899

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 34.726 | 34.338 | 34.219 | 35.3729 | 37.7711 | 40.3472 | 52.3383 | 46.2046 | 42.8506 | 46.9498 | 48.8478 | 52.5117 | 57.6757 | 62.6022 | 66.5014 | 70.1432 | 71.8419 | 79.9559 | 76.0842 | 72.502 | 70.6714 | 64.6296 | 62.0769 | 66.6384 | 69.1971 | 71.7844 | 72.8032 | 77.2756 | 81.4792 | 88.1451 | 96.8145 | 97.7103 | 90.1945
SEL | 49.2439 | 48.8558 | 48.7369 | 49.8908 | 52.289 | 54.8651 | 66.8561 | 60.7225 | 57.3685 | 61.4677 | 63.3657 | 67.0296 | 72.1936 | 77.12 | 81.0193 | 84.661 | 86.3597 | 94.4738 | 90.602 | 87.0199 | 85.1893 | 79.1475 | 76.5947 | 81.1563 | 83.715 | 86.3023 | 87.3211 | 91.7934 | 95.9971 | 102.6629 | 111.3324 | 112.2281 | 104.7124
Min | 14.3325 | 14.1618 | 14.9667 | 17.7278 | 19.0813 | 20.3956 | 21.2481 | 22.6903 | 22.83 | 23.9469 | 24.6741 | 23.7173 | 25.3284 | 27.827 | 31.2988 | 41.1188 | 43.5646 | 52.8168 | 51.0884 | 39.7858 | 31.8508 | 31.3597 | 32.0999 | 32.5729 | 32.9386 | 35.062 | 36.614 | 50.2336 | 64.5197 | 73.8036 | 87.9356
Max | 49.6879 | 45.9898 | 45.7838 | 47.243 | 49.6312 | 54.992 | 69.2172 | 61.0441 | 58.5278 | 61.6086 | 61.1013 | 65.7289 | 68.5181 | 73.686 | 76.8345 | 82.0113 | 82.012 | 91.7927 | 86.2109 | 83.8161 | 84.3525 | 77.9039 | 76.6006 | 79.5607 | 80.7124 | 82.9728 | 83.3715 | 86.667 | 88.5542 | 95.5988 | 102.6413
At Max (LIN) | 43.4838 | 39.1345 | 45.5184 | 45.3802 | 48.6269 | 47.8649 | 57.8703 | 51.2291 | 47.1589 | 53.2936 | 57.1891 | 61.7315 | 68.2727 | 72.8182 | 72.3419 | 77.9445 | 77.0961 | 88.5867 | 83.6052 | 79.7868 | 81.8955 | 73.8791 | 72.1842 | 78.0796 | 80.3158 | 82.2121 | 83.0871 | 86.3577 | 88.4776 | 95.5087 | 102.6413 | 103.9806 | 97.3474
At Max (A) | 42.8811 | 36.919 | 45.7838 | 45.3926 | 45.8507 | 45.1889 | 58.9051 | 50.4838 | 46.8099 | 52.5917 | 55.1795 | 61.1211 | 67.043 | 71.6255 | 72.0087 | 77.5798 | 77.6045 | 88.8523 | 83.371 | 80.6667 | 82.6695 | 75.7018 | 72.5645 | 77.4191 | 79.8467 | 82.7585 | 83.3715 | 86.0401 | 88.3208 | 95.5988 | 102.5515 | 103.9373 | 97.404

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 47.7237 | 42.6074 | 39.9311 | 41.6206 | 39.1617 | 41.1192 | 47.5582 | 48.8391 | 41.5676 | 47.0943 | 50.9129 | 56.0641 | 64.7113 | 69.9811 | 74.5212 | 81.378 | 81.6467 | 85.3013 | 80.6255 | 82.0116 | 81.8566 | 76.4202 | 71.4382 | 67.6491 | 64.8864 | 71.693 | 77.1661 | 86.0072 | 84.9445 | 85.2183 | 76.1581 | 93.6371 | 92.2079
SEL | 62.2416 | 57.1253 | 54.449 | 56.1384 | 53.6795 | 55.637 | 62.0761 | 63.3569 | 56.0855 | 61.6121 | 65.4307 | 70.582 | 79.2292 | 84.499 | 89.039 | 95.8959 | 96.1646 | 99.8191 | 95.1433 | 96.5295 | 96.3745 | 90.9381 | 85.956 | 82.167 | 79.4043 | 86.2109 | 91.684 | 100.5251 | 99.4623 | 99.7362 | 90.6759 | 108.155 | 106.7257
Min | 7.4825 | 6.8829 | 10.5994 | 11.0433 | 10.8711 | 11.8058 | 13.7223 | 14.358 | 16.7394 | 18.29 | 17.9305 | 18.8995 | 21.2914 | 23.5768 | 27.5995 | 37.7319 | 37.3345 | 39.3858 | 35.1591 | 40.5252 | 33.4055 | 29.1162 | 30.133 | 31.0595 | 31.3859 | 32.8756 | 35.1377 | 54.0411 | 61.3616 | 59.5191 | 62.9752
Max | 61.2139 | 57.7787 | 54.5912 | 55.9574 | 53.8523 | 58.1915 | 63.9291 | 64.2663 | 57.2162 | 63.266 | 65.6395 | 72.2995 | 81.5092 | 86.1691 | 89.0536 | 98.1814 | 97.0029 | 98.6871 | 94.9803 | 94.5655 | 94.7899 | 90.7059 | 86.1393 | 81.1355 | 79.1007 | 85.3244 | 88.6335 | 99.0453 | 94.4245 | 95.3638 | 84.5393
At Max (LIN) | 55.6531 | 48.0707 | 48.2077 | 52.7945 | 47.1558 | 50.3355 | 58.1017 | 59.2692 | 53.3195 | 61.6673 | 63.1692 | 69.1059 | 79.7921 | 83.81 | 87.364 | 90.7769 | 93.2465 | 98.6871 | 94.9803 | 94.5655 | 94.7899 | 90.7059 | 86.1393 | 81.1355 | 78.8996 | 84.0927 | 87.9411 | 97.3196 | 93.9714 | 95.0682 | 84.3606 | 105.399 | 104.666
At Max (A) | 55.6531 | 48.0707 | 48.2077 | 52.7945 | 47.1558 | 50.3355 | 58.1017 | 59.2692 | 53.3195 | 61.6673 | 63.1692 | 69.1059 | 79.7921 | 83.81 | 87.364 | 90.7769 | 93.2465 | 98.6871 | 94.9803 | 94.5655 | 94.7899 | 90.7059 | 86.1393 | 81.1355 | 78.8996 | 84.0927 | 87.9411 | 97.3196 | 93.9714 | 95.0682 | 84.3606 | 105.399 | 104.666

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 107.9138 | 106.5057 | 106.3999 | 106.5818 | 109.5879 | 108.7116 | 111.8074 | 113.2299 | 110.5668 | 112.4046 | 113.1502 | 115.938 | 123.7441 | 129.051 | 133.5791 | 140.4454 | 140.6252 | 144.4818 | 139.8207 | 141.2577 | 141.1708 | 135.9821 | 131.2077 | 127.7177 | 125.7701 | 134.0141 | 139.2491 | 146.0932 | 140.9971 | 136.3164 | 129.0164 | 152.1944 | 151.3728
SEL | 122.4317 | 121.0236 | 120.9178 | 121.0997 | 124.1058 | 123.2294 | 126.3253 | 127.7478 | 125.0847 | 126.9224 | 127.6681 | 130.4559 | 138.2619 | 143.5689 | 148.097 | 154.9633 | 155.1431 | 158.9997 | 154.3386 | 155.7756 | 155.6887 | 150.5 | 145.7256 | 142.2356 | 140.2879 | 148.532 | 153.767 | 160.611 | 155.515 | 150.8342 | 143.5343 | 166.7123 | 165.8907
Min | 62.6746 | 64.1388 | 66.8028 | 69.1298 | 70.7101 | 69.8466 | 72.9088 | 73.4751 | 74.7142 | 76.2864 | 76.8238 | 77.6301 | 79.0823 | 80.795 | 83.563 | 90.8119 | 91.3187 | 95.4966 | 90.9501 | 94.5414 | 88.2602 | 88.2397 | 88.9231 | 89.8184 | 90.4045 | 91.6848 | 94.8498 | 113.0965 | 117.6129 | 110.8342 | 111.0242
Max | 121.0723 | 125.4557 | 126.1213 | 125.5814 | 130.682 | 129.3642 | 131.2703 | 132.3046 | 130.5187 | 133.1469 | 132.7085 | 133.7238 | 140.6684 | 145.0791 | 148.0107 | 157.3195 | 155.7716 | 157.7775 | 153.9757 | 153.8355 | 154.1497 | 150.4386 | 145.8462 | 141.3269 | 140.7206 | 147.626 | 150.6734 | 159.3669 | 150.4967 | 146.4284 | 140.2825
At Max (LIN) | 89.804 | 90.4217 | 95.0096 | 115.0809 | 122.3645 | 122.6387 | 126.3521 | 132.3046 | 130.5187 | 133.1469 | 132.7085 | 133.7238 | 135.816 | 145.0791 | 148.0107 | 157.3195 | 154.8221 | 155.2126 | 150.0066 | 149.7148 | 149.8383 | 144.5574 | 142.4354 | 139.6709 | 140.7206 | 147.626 | 150.0873 | 159.3669 | 150.4378 | 146.347 | 140.2825 | 164.5182 | 163.2131
At Max (A) | 116.4225 | 110.1656 | 110.2471 | 113.3199 | 109.334 | 111.4262 | 117.6212 | 119.3854 | 113.7402 | 121.0163 | 122.4391 | 128.2414 | 138.9758 | 142.9209 | 146.487 | 149.8938 | 152.2912 | 157.7775 | 153.9757 | 153.8355 | 154.1497 | 150.4386 | 145.8462 | 141.3269 | 139.8147 | 145.8302 | 149.8813 | 157.3019 | 149.8506 | 145.6513 | 138.9206 | 164.2775 | 163.9005

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.0173 | 80.4119 | 83.2236 | 100.5383 | 94.9329 | 97.7445 | 5.3283 | 2.8117 | 101.3789 | 57.6358 | 92.5138 | 50.243 | 95.6729 | 59.543 | 95.6326 | 57.6358 | 89.9922 | 50.5357 | 92.4144 | 62.457 | 84.1233 | 3.7114 | 103.6106 | 48.8783 | 93.8793 | 41.8399 | 96.7455 | 54.3545 | 110.1329 | 104.4585 | 107.1043

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 99.0891 | 90.5375 | 88.9961 | 113.61 | 105.0585 | 103.517 | -1.834 | -1.5414 | 105.0835 | 89.8331 | 97.598 | 79.8647 | 96.287 | 77.9961 | 104.2805 | 89.8331 | 96.7243 | 79.8647 | 95.3072 | 77.9961 | 92.0535 | 1.516 | 105.4293 | 81.0756 | 98.3083 | 71.1072 | 97.0784 | 69.2386 | 116.9021 | 109.6035 | 108.3405

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 93.4625 | 92.003 | 91.3997 | 107.9835 | 106.5239 | 105.9206 | -1.7958 | -0.60334 | 105.5068 | 67.0228 | 104.8061 | 59.8232 | 104.2709 | 58.0046 | 102.5552 | 67.0228 | 101.4745 | 59.8232 | 101.0287 | 58.0046 | 96.6588 | 4.6558 | 107.804 | 58.2653 | 106.2798 | 51.0657 | 106.7779 | 49.2471 | 119.1683 | 116.9344 | 118.191

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 152.0448 | 151.2046 | 150.5868 | 166.5658 | 165.7255 | 165.1078 | -1.7788 | -0.61775 | 164.6161 | 120.109 | 164.0753 | 115.1552 | 163.5131 | 113.3697 | 161.3765 | 120.109 | 160.7352 | 115.1552 | 160.2461 | 113.3697 | 155.8438 | 4.6392 | 167.1551 | 111.3515 | 165.7719 | 106.3977 | 166.1726 | 104.6122 | 178.0395 | 176.397 | 177.2825