## Kode AoR13
Measurement Name | Kode AoR13 (Normal Range)
Time of run | 2019-10-01 15:55:37 (1569941737)
Duration | 32.1 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0427114 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0408408 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0502154 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.82637e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.1819 | 67.6241 | 66.4328 | 65.9503 | 62.808 | 62.0324 | 58.9612 | 53.8997 | 52.334 | 51.758 | 52.4487 | 54.9654 | 58.1709 | 64.9921 | 62.6917 | 62.9473 | 66.2763 | 62.9297 | 56.8372 | 56.4411 | 57.1824 | 56.6348 | 53.4144 | 52.0166 | 50.8998 | 49.2991 | 45.1687 | 43.1563 | 40.1398 | 35.3352 | 31.5165 | 76.4506 | 70.8288
SEL | 84.2469 | 82.6891 | 81.4978 | 81.0154 | 77.8731 | 77.0975 | 74.0262 | 68.9647 | 67.399 | 66.8231 | 67.5138 | 70.0305 | 73.236 | 80.0571 | 77.7568 | 78.0124 | 81.3414 | 77.9947 | 71.9022 | 71.5061 | 72.2474 | 71.6998 | 68.4795 | 67.0816 | 65.9649 | 64.3641 | 60.2337 | 58.2213 | 55.2049 | 50.4002 | 46.5815 | 91.5156 | 85.8938
Min | 44.1987 | 45.3046 | 47.6897 | 44.128 | 44.6684 | 46.5576 | 44.1457 | 40.7843 | 37.5842 | 32.0705 | 29.813 | 29.2737 | 31.4941 | 32.0489 | 32.7103 | 35.7493 | 38.1955 | 39.7499 | 37.2188 | 34.2458 | 30.8778 | 27.7594 | 25.427 | 24.2985 | 23.5865 | 25.3841 | 24.2993 | 25.6479 | 26.3965 | 27.6339 | 28.9162
Max | 81.7281 | 81.6384 | 78.8345 | 79.5057 | 75.96 | 72.1346 | 68.5436 | 62.6519 | 63.4733 | 63.5479 | 63.9017 | 65.3153 | 70.6299 | 77.7629 | 72.7772 | 73.6369 | 77.7039 | 74.1409 | 67.4468 | 66.5303 | 68.626 | 69.0742 | 65.1353 | 62.9489 | 63.2575 | 59.9257 | 55.0821 | 52.5368 | 48.6594 | 43.3115 | 37.0527
At Max (LIN) | 76.1997 | 80.8244 | 78.8345 | 77.4004 | 75.1302 | 68.0143 | 60.7287 | 56.732 | 54.762 | 52.6768 | 44.2625 | 41.6883 | 40.9729 | 39.4871 | 36.459 | 40.1561 | 40.1891 | 41.2509 | 38.3878 | 36.4328 | 34.232 | 33.8661 | 32.0055 | 31.6403 | 30.789 | 30.1257 | 29.7989 | 29.5335 | 28.8527 | 29.2481 | 29.8673 | 85.2529 | 52.4462
At Max (A) | 60.8792 | 64.6485 | 65.1075 | 62.2207 | 66.8547 | 68.4006 | 64.0764 | 61.146 | 58.9369 | 61.0079 | 61.5342 | 62.8601 | 67.2836 | 75.0969 | 71.264 | 73.6369 | 77.7039 | 73.8225 | 66.8686 | 65.8282 | 65.6231 | 68.366 | 62.644 | 61.1563 | 60.5188 | 58.4834 | 53.9791 | 51.5396 | 48.0298 | 43.3115 | 36.6965 | 83.2624 | 81.3884

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.643 | 63.2892 | 62.7995 | 62.2563 | 61.516 | 60.83 | 58.0103 | 54.9944 | 54.7035 | 54.3544 | 53.303 | 55.8815 | 60.0264 | 64.3802 | 62.7904 | 63.8477 | 67.2639 | 63.1387 | 56.9731 | 56.1372 | 57.4852 | 55.7902 | 52.5682 | 51.5235 | 52.3304 | 48.7677 | 44.9583 | 42.9217 | 38.3435 | 34.178 | 31.0993 | 74.9579 | 71.2261
SEL | 79.7081 | 78.3542 | 77.8646 | 77.3213 | 76.5811 | 75.895 | 73.0754 | 70.0594 | 69.7685 | 69.4194 | 68.3681 | 70.9465 | 75.0915 | 79.4452 | 77.8554 | 78.9128 | 82.329 | 78.2037 | 72.0381 | 71.2022 | 72.5502 | 70.8553 | 67.6332 | 66.5885 | 67.3954 | 63.8328 | 60.0233 | 57.9868 | 53.4085 | 49.243 | 46.1643 | 90.0229 | 86.2911
Min | 45.7519 | 46.8396 | 50.0928 | 49.0166 | 47.8086 | 48.0015 | 45.2431 | 42.7979 | 41.3737 | 36.9066 | 35.7325 | 35.4085 | 36.4269 | 35.9403 | 37.3046 | 39.7634 | 41.5356 | 42.6419 | 40.1419 | 36.4608 | 32.9871 | 29.3539 | 27.8671 | 26.6785 | 25.1556 | 26.8222 | 25.4469 | 26.3621 | 26.9803 | 27.8218 | 29.2003
Max | 73.9247 | 72.8911 | 72.6435 | 74.7815 | 71.273 | 70.4916 | 67.0085 | 62.5085 | 65.8521 | 66.0231 | 64.2451 | 66.5992 | 72.4026 | 77.0326 | 73.2603 | 73.5152 | 78.9907 | 73.5672 | 66.5672 | 66.255 | 68.7051 | 67.3884 | 64.0204 | 62.2978 | 64.2878 | 59.303 | 55.1509 | 51.626 | 46.6816 | 41.5192 | 35.4897
At Max (LIN) | 63.561 | 67.7044 | 61.6114 | 61.9201 | 63.2742 | 63.1899 | 61.6104 | 61.4839 | 61.1792 | 63.4909 | 61.8683 | 65.2312 | 70.2795 | 74.12 | 71.864 | 73.2746 | 77.788 | 73.5672 | 66.5672 | 63.617 | 64.9622 | 67.1724 | 61.9687 | 60.4883 | 61.2129 | 57.1117 | 53.165 | 50.9006 | 45.5748 | 41.5192 | 35.4897 | 83.0682 | 81.1544
At Max (A) | 63.561 | 67.7044 | 61.6114 | 61.9201 | 63.2742 | 63.1899 | 61.6104 | 61.4839 | 61.1792 | 63.4909 | 61.8683 | 65.2312 | 70.2795 | 74.12 | 71.864 | 73.2746 | 77.788 | 73.5672 | 66.5672 | 63.617 | 64.9622 | 67.1724 | 61.9687 | 60.4883 | 61.2129 | 57.1117 | 53.165 | 50.9006 | 45.5748 | 41.5192 | 35.4897 | 83.0682 | 81.1544

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.7246 | 61.9322 | 63.0972 | 64.1533 | 61.4001 | 60.2222 | 57.5615 | 55.1406 | 54.1609 | 55.3666 | 54.9697 | 58.6858 | 61.7549 | 65.8905 | 70.9564 | 75.8037 | 78.7123 | 76.1305 | 71.4715 | 67.8479 | 65.4991 | 61.2536 | 56.591 | 55.4444 | 53.0823 | 52.3606 | 49.449 | 47.1892 | 43.3714 | 38.8601 | 37.246 | 83.2364 | 82.2266
SEL | 77.7896 | 76.9972 | 78.1623 | 79.2184 | 76.4652 | 75.2872 | 72.6266 | 70.2056 | 69.226 | 70.4317 | 70.0347 | 73.7508 | 76.8199 | 80.9556 | 86.0215 | 90.8688 | 93.7773 | 91.1956 | 86.5365 | 82.913 | 80.5642 | 76.3186 | 71.656 | 70.5094 | 68.1473 | 67.4256 | 64.5141 | 62.2542 | 58.4365 | 53.9251 | 52.3111 | 98.3015 | 97.2917
Min | 48.363 | 48.6334 | 47.8558 | 43.9087 | 44.0166 | 43.803 | 41.0535 | 38.7804 | 34.5641 | 31.8298 | 30.7543 | 30.6542 | 30.4435 | 30.2687 | 30.9325 | 33.1832 | 35.1965 | 35.2695 | 32.8143 | 29.6568 | 25.9146 | 23.871 | 23.3655 | 23.411 | 22.8008 | 24.1993 | 24.7296 | 24.5598 | 26.7889 | 31.146 | 29.7982
Max | 73.5639 | 70.7192 | 74.2639 | 76.4417 | 71.3018 | 70.93 | 69.8028 | 65.2162 | 65.3512 | 67.5311 | 65.8695 | 70.299 | 72.539 | 77.3886 | 83.3531 | 87.3773 | 90.6251 | 88.3357 | 83.6573 | 80.1466 | 79.172 | 72.7612 | 67.9867 | 66.7475 | 64.5638 | 63.8089 | 60.4542 | 58.348 | 53.5302 | 52.9783 | 51.7747
At Max (LIN) | 71.2212 | 66.9601 | 73.3299 | 66.9741 | 67.3184 | 67.8548 | 62.4214 | 64.4069 | 62.0879 | 65.2328 | 65.2639 | 70.299 | 70.3312 | 74.4771 | 81.4934 | 87.2786 | 90.5212 | 87.7627 | 83.258 | 79.0404 | 77.9211 | 72.7612 | 67.9867 | 66.5135 | 64.3592 | 63.8089 | 60.039 | 57.5858 | 53.1693 | 46.6642 | 41.922 | 94.6381 | 93.8618
At Max (A) | 71.2212 | 66.9601 | 73.3299 | 66.9741 | 67.3184 | 67.8548 | 62.4214 | 64.4069 | 62.0879 | 65.2328 | 65.2639 | 70.299 | 70.3312 | 74.4771 | 81.4934 | 87.2786 | 90.5212 | 87.7627 | 83.258 | 79.0404 | 77.9211 | 72.7612 | 67.9867 | 66.5135 | 64.3592 | 63.8089 | 60.039 | 57.5858 | 53.1693 | 46.6642 | 41.922 | 94.6381 | 93.8618

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 92.692 | 95.2115 | 92.6678 | 89.7863 | 89.0825 | 92.8252 | 98.133 | 96.9028 | 100.8957 | 102.1016 | 106.9107 | 109.7699 | 117.6491 | 125.6091 | 129.131 | 133.1071 | 136.2407 | 129.4789 | 123.6859 | 127.6643 | 127.4669 | 123.2511 | 125.5525 | 123.1245 | 121.7701 | 119.2202 | 122.3692 | 132.0019 | 125.0989 | 116.9974 | 117.0052 | 141.1286 | 140.1734
SEL | 107.7571 | 110.2765 | 107.7329 | 104.8513 | 104.1475 | 107.8903 | 113.1981 | 111.9679 | 115.9608 | 117.1666 | 121.9757 | 124.8349 | 132.7142 | 140.6741 | 144.196 | 148.1721 | 151.3058 | 144.544 | 138.751 | 142.7294 | 142.5319 | 138.3162 | 140.6175 | 138.1896 | 136.8351 | 134.2852 | 137.4343 | 147.067 | 140.164 | 132.0624 | 132.0703 | 156.1936 | 155.2385
Min | 58.9629 | 61.4585 | 61.4765 | 61.7877 | 63.814 | 63.2424 | 64.8641 | 64.2814 | 66.261 | 67.0809 | 67.8008 | 69.2326 | 69.7643 | 69.9445 | 70.9908 | 71.9522 | 72.9491 | 73.7166 | 74.0263 | 75.6469 | 76.7388 | 77.544 | 78.3875 | 79.6816 | 80.7186 | 81.7646 | 82.5005 | 83.691 | 85.1005 | 86.0954 | 87.8827
Max | 107.2256 | 109.7877 | 108.4148 | 103.5529 | 103.8926 | 106.1108 | 113.23 | 111.8956 | 118.2516 | 116.8223 | 120.87 | 123.5759 | 130.7621 | 138.7745 | 142.138 | 145.3509 | 149.5311 | 142.303 | 137.0874 | 139.4049 | 138.4778 | 133.9166 | 138.3431 | 136.1307 | 136.4722 | 132.0435 | 134.2403 | 145.1895 | 135.8743 | 126.7983 | 126.4414
At Max (LIN) | 97.2456 | 105.9749 | 103.5887 | 101.9683 | 97.3129 | 104.129 | 108.8901 | 107.6246 | 113.3198 | 111.924 | 118.1501 | 123.5759 | 128.8044 | 138.7745 | 142.0563 | 144.8063 | 149.5311 | 142.3015 | 134.3328 | 138.1939 | 138.0199 | 133.7203 | 137.642 | 136.1307 | 134.2399 | 132.0435 | 133.5753 | 145.1895 | 135.8743 | 126.1036 | 124.246 | 153.6872 | 152.6448
At Max (A) | 97.2456 | 105.9749 | 103.5887 | 101.9683 | 97.3129 | 104.129 | 108.8901 | 107.6246 | 113.3198 | 111.924 | 118.1501 | 123.5759 | 128.8044 | 138.7745 | 142.0563 | 144.8063 | 149.5311 | 142.3015 | 134.3328 | 138.1939 | 138.0199 | 133.7203 | 137.642 | 136.1307 | 134.2399 | 132.0435 | 133.5753 | 145.1895 | 135.8743 | 126.1036 | 124.246 | 153.6872 | 152.6448

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.0262 | 70.6528 | 74.6869 | 93.0912 | 85.7179 | 89.752 | 23.6853 | 4.0341 | 88.1236 | 61.8753 | 81.318 | 46.2176 | 83.2996 | 57.6786 | 84.5971 | 66.7081 | 79.1064 | 47.118 | 81.259 | 61.9986 | 73.9371 | 3.2843 | 90.9864 | 63.2966 | 82.5337 | 41.5758 | 86.8168 | 53.2721 | 96.8872 | 95.4829 | 95.2295

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 76.7432 | 71.0677 | 74.0102 | 91.8083 | 86.1328 | 89.0753 | 20.1044 | 2.9425 | 84.8162 | 64.0693 | 81.1656 | 48.9922 | 83.0233 | 61.9622 | 81.5213 | 67.9426 | 79.4914 | 50.3323 | 81.1216 | 64.6037 | 74.8221 | 3.7544 | 87.4563 | 62.6917 | 83.1676 | 46.2423 | 84.4749 | 63.8921 | 98.144 | 95.9225 | 97.6679

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.3286 | 82.1148 | 82.9771 | 98.3937 | 97.1799 | 98.0422 | 15.1928 | 0.86228 | 94.9371 | 59.2272 | 94.1694 | 42.7677 | 94.8582 | 54.5055 | 92.8404 | 64.6293 | 91.9591 | 43.2928 | 92.7554 | 58.2848 | 85.3807 | 3.2659 | 96.155 | 58.1689 | 95.4128 | 43.9333 | 96.1292 | 51.6039 | 106.4785 | 104.8613 | 106.21

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 140.9286 | 139.9759 | 140.3456 | 155.9936 | 155.0409 | 155.4106 | -1.2971 | 0.36971 | 153.9467 | 95.6343 | 152.9341 | 91.2458 | 153.3862 | 90.4364 | 150.1127 | 98.1073 | 149.1675 | 95.1654 | 149.5219 | 95.1506 | 144.8243 | 4.8484 | 155.6251 | 106.2636 | 154.4493 | 96.5962 | 155.1593 | 94.8 | 167.1515 | 166.1725 | 166.44