## ÅSA AoR04
Measurement Name | ÅSA AoR04 (Normal Range)
Time of run | 2019-10-31 12:10:02 (1572523802)
Duration | 44.54 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0408953 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0418186 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0503353 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.91718e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 56.6254 | 56.9022 | 61.9007 | 59.2263 | 56.7467 | 56.8577 | 53.797 | 53.0155 | 52.1153 | 51.217 | 52.2439 | 50.2159 | 53.2011 | 56.5319 | 61.8284 | 56.4114 | 57.9209 | 62.8422 | 56.5624 | 53.7183 | 53.6146 | 52.5435 | 50.1061 | 48.4406 | 48.9283 | 48.1202 | 45.8776 | 44.3831 | 41.8536 | 36.1799 | 34.3897 | 70.7797 | 67.3881
SEL | 73.109 | 73.3858 | 78.3843 | 75.7099 | 73.2304 | 73.3413 | 70.2806 | 69.4991 | 68.5989 | 67.7006 | 68.7275 | 66.6995 | 69.6847 | 73.0155 | 78.312 | 72.895 | 74.4045 | 79.3258 | 73.046 | 70.2019 | 70.0982 | 69.0271 | 66.5897 | 64.9242 | 65.4118 | 64.6038 | 62.3612 | 60.8667 | 58.3372 | 52.6635 | 50.8733 | 87.2633 | 83.8717
Min | 33.5471 | 34.8003 | 39.4519 | 37.7117 | 39.1396 | 39.0829 | 32.5123 | 28.4203 | 24.2725 | 17.9111 | 20.2136 | 19.7071 | 22.6221 | 22.3113 | 24.8207 | 29.7801 | 34.2877 | 32.2672 | 29.4275 | 27.0201 | 23.0283 | 20.6124 | 20.4748 | 21.1268 | 21.9791 | 23.1655 | 23.9228 | 24.8288 | 26.1535 | 27.2715 | 29.2542
Max | 70.3759 | 70.2752 | 75.435 | 74.0278 | 68.764 | 68.4658 | 68.3099 | 66.1151 | 65.3186 | 64.6763 | 65.5775 | 63.1956 | 67.6989 | 67.7912 | 75.1948 | 69.2056 | 70.5953 | 75.9739 | 68.0996 | 66.4588 | 66.4066 | 65.7118 | 62.1362 | 60.9212 | 61.505 | 60.3605 | 57.4549 | 55.7639 | 53.4794 | 46.488 | 42.1129
At Max (LIN) | 67.0308 | 68.5828 | 73.4652 | 71.6227 | 64.7074 | 64.6292 | 61.4203 | 61.2766 | 62.6218 | 60.2159 | 63.17 | 61.8202 | 66.846 | 67.3331 | 75.1948 | 66.5989 | 70.5953 | 75.2042 | 67.2269 | 63.8496 | 66.3989 | 62.9843 | 61.5698 | 59.915 | 61.505 | 60.1214 | 56.9348 | 55.7639 | 53.4794 | 46.2545 | 41.2878 | 82.4709 | 79.4854
At Max (A) | 66.7379 | 66.8478 | 69.7558 | 72.2457 | 68.764 | 65.0315 | 65.1287 | 61.0055 | 63.6382 | 61.456 | 63.4883 | 60.0558 | 63.0196 | 67.7912 | 75.1726 | 68.8393 | 70.482 | 75.9739 | 66.7113 | 64.897 | 65.4788 | 62.6878 | 61.7689 | 59.5826 | 59.8204 | 59.1098 | 56.4586 | 54.5277 | 52.1841 | 45.7626 | 41.0384 | 82.4448 | 79.7549

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 54.2327 | 54.7414 | 58.7146 | 55.7428 | 55.0024 | 59.3898 | 55.1595 | 53.3329 | 52.5804 | 51.4912 | 50.8854 | 50.013 | 52.4573 | 55.3027 | 58.718 | 55.4904 | 56.3139 | 60.5641 | 54.9937 | 52.1402 | 51.4204 | 49.7363 | 47.031 | 45.9269 | 47.175 | 44.7888 | 42.9094 | 40.501 | 36.6973 | 32.1123 | 30.3908 | 69.0625 | 65.2883
SEL | 70.7163 | 71.225 | 75.1982 | 72.2264 | 71.486 | 75.8734 | 71.6431 | 69.8165 | 69.0639 | 67.9748 | 67.369 | 66.4966 | 68.9409 | 71.7863 | 75.2016 | 71.974 | 72.7975 | 77.0477 | 71.4773 | 68.6238 | 67.904 | 66.2199 | 63.5146 | 62.4105 | 63.6586 | 61.2724 | 59.393 | 56.9846 | 53.1809 | 48.5959 | 46.8744 | 85.5461 | 81.7719
Min | 38.1119 | 37.8259 | 40.8542 | 36.9115 | 37.9205 | 38.5924 | 28.3726 | 27.0069 | 22.4535 | 22.123 | 23.0291 | 23.8677 | 25.0953 | 25.9001 | 27.6659 | 29.9026 | 32.6203 | 32.0696 | 29.3643 | 26.8878 | 23.2369 | 20.0425 | 20.5583 | 20.8531 | 21.8595 | 23.0192 | 24.0228 | 24.744 | 25.9302 | 27.083 | 28.6583
Max | 66.1678 | 66.9069 | 73.0948 | 68.6131 | 65.9082 | 74.3344 | 68.8941 | 67.1019 | 65.4922 | 66.1359 | 63.4554 | 63.0159 | 64.7214 | 66.7841 | 71.7793 | 68.5391 | 69.7517 | 73.1211 | 66.54 | 64.3328 | 64.4714 | 63.2085 | 58.6727 | 58.1698 | 59.9684 | 56.6608 | 53.8665 | 51.218 | 47.9859 | 42.7419 | 35.461
At Max (LIN) | 62.7649 | 62.2052 | 59.7841 | 64.714 | 65.1027 | 70.4187 | 68.8941 | 66.8391 | 62.7551 | 61.0438 | 59.9073 | 60.0168 | 61.8893 | 64.8901 | 70.9074 | 66.0955 | 69.7517 | 72.392 | 65.0984 | 61.4766 | 64.2451 | 59.876 | 58.6406 | 57.9211 | 59.203 | 56.4523 | 53.4926 | 50.9591 | 47.9641 | 41.2563 | 35.461 | 79.9374 | 76.9232
At Max (A) | 62.7649 | 62.2052 | 59.7841 | 64.714 | 65.1027 | 70.4187 | 68.8941 | 66.8391 | 62.7551 | 61.0438 | 59.9073 | 60.0168 | 61.8893 | 64.8901 | 70.9074 | 66.0955 | 69.7517 | 72.392 | 65.0984 | 61.4766 | 64.2451 | 59.876 | 58.6406 | 57.9211 | 59.203 | 56.4523 | 53.4926 | 50.9591 | 47.9641 | 41.2563 | 35.461 | 79.9374 | 76.9232

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.1726 | 64.5283 | 64.8228 | 63.8963 | 65.4999 | 62.5238 | 59.721 | 58.3042 | 58.1816 | 56.561 | 55.9515 | 55.0294 | 55.3873 | 56.5226 | 58.8174 | 68.0264 | 62.8814 | 60.122 | 60.2982 | 57.0896 | 53.5047 | 53.3663 | 57.7915 | 50.688 | 49.3974 | 50.912 | 48.9742 | 46.7601 | 44.9371 | 46.0727 | 40.8047 | 75.2827 | 70.4917
SEL | 80.6562 | 81.0119 | 81.3064 | 80.3799 | 81.9835 | 79.0074 | 76.2045 | 74.7878 | 74.6652 | 73.0446 | 72.4351 | 71.513 | 71.8709 | 73.0062 | 75.301 | 84.51 | 79.365 | 76.6056 | 76.7818 | 73.5732 | 69.9883 | 69.8499 | 74.2751 | 67.1716 | 65.881 | 67.3956 | 65.4578 | 63.2437 | 61.4207 | 62.5563 | 57.2883 | 91.7663 | 86.9753
Min | 47.193 | 43.9548 | 44.5692 | 44.6077 | 40.9709 | 40.0866 | 36.6103 | 34.2707 | 30.3914 | 29.319 | 27.9992 | 25.3192 | 25.2283 | 24.2949 | 28.5145 | 32.8163 | 35.4657 | 34.9006 | 31.5189 | 27.8554 | 24.6604 | 21.4133 | 22.0782 | 23.5529 | 21.7587 | 23.8762 | 26.5946 | 28.3161 | 35.2298 | 38.7888 | 36.2757
Max | 79.6135 | 80.7106 | 78.9068 | 78.927 | 79.4105 | 75.2646 | 72.7571 | 71.9436 | 75.069 | 71.0415 | 70.4707 | 69.0114 | 69.2752 | 70.0414 | 72.3159 | 83.2943 | 76.0728 | 73.8566 | 73.2399 | 70.6541 | 67.7864 | 67.0793 | 72.4882 | 64.6154 | 62.5992 | 64.9496 | 62.1171 | 59.7696 | 55.9939 | 52.0143 | 47.9651
At Max (LIN) | 74.8361 | 76.9414 | 75.1187 | 71.1491 | 76.9766 | 73.0429 | 68.6916 | 67.8414 | 69.5712 | 70.6371 | 68.9828 | 68.6613 | 67.8286 | 70.0414 | 71.3519 | 83.2943 | 75.5298 | 73.141 | 73.0162 | 70.6541 | 65.8297 | 66.8852 | 72.3567 | 64.6071 | 62.5992 | 63.8751 | 61.5336 | 59.4866 | 55.9939 | 51.43 | 47.9651 | 87.8682 | 84.531
At Max (A) | 74.8361 | 76.9414 | 75.1187 | 71.1491 | 76.9766 | 73.0429 | 68.6916 | 67.8414 | 69.5712 | 70.6371 | 68.9828 | 68.6613 | 67.8286 | 70.0414 | 71.3519 | 83.2943 | 75.5298 | 73.141 | 73.0162 | 70.6541 | 65.8297 | 66.8852 | 72.3567 | 64.6071 | 62.5992 | 63.8751 | 61.5336 | 59.4866 | 55.9939 | 51.43 | 47.9651 | 87.8682 | 84.531

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 89.7334 | 90.363 | 93.5627 | 94.8337 | 90.0596 | 92.1752 | 94.0604 | 96.3113 | 97.253 | 98.7712 | 104.044 | 107.9629 | 112.1268 | 115.6517 | 124.2429 | 122.2211 | 123.4739 | 129.7956 | 121.822 | 120.2721 | 117.8382 | 119.2375 | 115.7191 | 116.1155 | 121.0723 | 117.9202 | 118.8551 | 129.4003 | 126.7301 | 124.9148 | 121.29 | 136.2415 | 134.7843
SEL | 106.217 | 106.8466 | 110.0463 | 111.3173 | 106.5432 | 108.6588 | 110.544 | 112.7949 | 113.7365 | 115.2548 | 120.5276 | 124.4465 | 128.6104 | 132.1353 | 140.7265 | 138.7047 | 139.9575 | 146.2792 | 138.3056 | 136.7557 | 134.3219 | 135.7211 | 132.2027 | 132.5991 | 137.5559 | 134.4038 | 135.3387 | 145.8839 | 143.2137 | 141.3985 | 137.7736 | 152.7251 | 151.2679
Min | 73.1073 | 73.8572 | 74.4139 | 75.8151 | 73.6802 | 76.3706 | 75.6203 | 76.6253 | 75.884 | 76.6735 | 77.1566 | 78.2516 | 79.1916 | 80.7715 | 80.993 | 82.1136 | 83.0222 | 83.4077 | 89.8775 | 87.4344 | 86.9462 | 87.4495 | 88.2239 | 89.7982 | 90.6913 | 92.3741 | 93.3024 | 94.9709 | 96.127 | 97.9332 | 101.2547
Max | 105.7472 | 104.7843 | 108.3692 | 111.7434 | 106.9367 | 110.1879 | 111.1566 | 116.0312 | 115.8133 | 116.9207 | 122.0832 | 126.1882 | 129.5881 | 133.9831 | 139.3091 | 138.7469 | 138.6302 | 143.2994 | 136.2476 | 134.3029 | 133.5055 | 131.9216 | 130.2803 | 132.5522 | 137.1144 | 132.5339 | 131.3464 | 143.4837 | 137.8625 | 135.8956 | 130.1763
At Max (LIN) | 92.5833 | 92.8812 | 95.4743 | 106.5821 | 105.3349 | 105.9413 | 108.6897 | 101.8499 | 109.5065 | 111.9785 | 115.3049 | 119.0601 | 123.0839 | 126.31 | 138.4065 | 133.2822 | 134.4972 | 143.2994 | 134.8049 | 133.3535 | 128.3152 | 131.792 | 129.9379 | 130.1483 | 136.5467 | 130.8743 | 131.3464 | 143.4837 | 137.8625 | 135.8956 | 129.6221 | 149.2305 | 148.0312
At Max (A) | 92.5833 | 92.8812 | 95.4743 | 106.5821 | 105.3349 | 105.9413 | 108.6897 | 101.8499 | 109.5065 | 111.9785 | 115.3049 | 119.0601 | 123.0839 | 126.31 | 138.4065 | 133.2822 | 134.4972 | 143.2994 | 134.8049 | 133.3535 | 128.3152 | 131.792 | 129.9379 | 130.1483 | 136.5467 | 130.8743 | 131.3464 | 143.4837 | 137.8625 | 135.8956 | 129.6221 | 149.2305 | 148.0312

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 71.5475 | 67.2248 | 69.8284 | 88.035 | 83.7123 | 86.3159 | 8.4284 | 2.6036 | 83.7189 | 49.1731 | 79.6486 | 40.6548 | 81.9796 | 48.3372 | 81.0382 | 49.1731 | 77.5532 | 42.6676 | 79.882 | 48.3372 | 69.9627 | 2.7379 | 85.09 | 40.4156 | 80.6699 | 34.6304 | 83.3852 | 39.5797 | 94.3542 | 90.923 | 93.8108

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 69.5211 | 65.1282 | 68.1956 | 86.0086 | 81.6157 | 84.6831 | 7.6662 | 3.0675 | 80.4601 | 53.065 | 76.787 | 40.9657 | 79.4946 | 50.14 | 79.1356 | 56.5133 | 75.2595 | 42.1663 | 78.202 | 51.8559 | 67.6677 | 2.5395 | 81.4158 | 57.8648 | 77.8542 | 34.9993 | 80.3673 | 43.6444 | 92.6051 | 90.3794 | 91.7628

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 76.2086 | 70.3991 | 74.0187 | 92.6961 | 86.8866 | 90.5062 | 8.0707 | 3.6196 | 88.8513 | 60.0634 | 84.5794 | 43.6665 | 87.0077 | 54.5056 | 86.3681 | 65.5474 | 81.9684 | 44.0827 | 85.0959 | 57.9686 | 73.8392 | 3.4401 | 90.0922 | 60.2326 | 85.8347 | 36.9069 | 88.5638 | 49.7398 | 100.2123 | 96.9955 | 99.4921

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 136.1307 | 134.6505 | 134.3242 | 152.6182 | 151.138 | 150.8117 | -1.3586 | -0.32633 | 149.4539 | 108.1102 | 148.4097 | 102.7316 | 148.235 | 101.3051 | 146.7309 | 108.215 | 145.4883 | 102.7716 | 145.2111 | 101.3076 | 139.4242 | 4.7737 | 151.2516 | 99.4738 | 150.3189 | 94.02 | 150.4787 | 92.5504 | 166.7213 | 165.5391 | 165.7102