## ÅSA AoR09
Measurement Name | ÅSA AoR09 (Normal Range)
Time of run | 2019-10-31 13:08:10 (1572527290)
Duration | 28.98 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0408953 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0418186 (V)/(Pa)
Channel 3 | -10 dB | AC | 10Hz HP | GRAS MK03 | 0.0503353 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.91718e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.2138 | 76.6217 | 76.6856 | 76.7304 | 74.6087 | 75.0207 | 75.5052 | 70.2135 | 69.1398 | 68.3417 | 70.0838 | 67.6245 | 68.8358 | 70.2817 | 69.1416 | 69.2862 | 71.6827 | 72.9053 | 73.3156 | 70.1263 | 70.5004 | 70.9281 | 67.946 | 65.6846 | 64.2621 | 62.5038 | 60.6421 | 58.7871 | 56.3436 | 51.8866 | 48.376 | 86.3908 | 81.3761
SEL | 86.8227 | 91.2307 | 91.2945 | 91.3394 | 89.2177 | 89.6297 | 90.1142 | 84.8225 | 83.7487 | 82.9507 | 84.6928 | 82.2335 | 83.4448 | 84.8907 | 83.7506 | 83.8952 | 86.2917 | 87.5142 | 87.9246 | 84.7353 | 85.1093 | 85.5371 | 82.555 | 80.2936 | 78.871 | 77.1128 | 75.2511 | 73.3961 | 70.9526 | 66.4955 | 62.985 | 100.9997 | 95.985
Min | 45.1908 | 46.1199 | 47.8928 | 50.0141 | 46.6372 | 40.2379 | 34.533 | 31.9288 | 27.0154 | 27.5357 | 26.7561 | 26.8817 | 28.6666 | 30.9958 | 33.2692 | 34.394 | 35.4938 | 35.4226 | 35.5942 | 34.0385 | 27.9084 | 24.0846 | 21.8422 | 21.9122 | 22.2739 | 23.5631 | 24.1379 | 25.182 | 26.3573 | 27.2568 | 29.3348
Max | 86.649 | 94.7353 | 94.5116 | 93.2987 | 90.0135 | 89.9836 | 93.3972 | 84.4955 | 84.0673 | 83.0157 | 88.0818 | 82.4738 | 82.5211 | 84.9883 | 82.902 | 83.603 | 85.2792 | 85.5385 | 86.735 | 83.0317 | 83.9218 | 84.0485 | 81.9966 | 79.7547 | 77.7955 | 75.9478 | 73.6806 | 70.8724 | 68.6384 | 64.5017 | 60.0976
At Max (LIN) | 85.0406 | 92.946 | 94.5116 | 87.6738 | 87.643 | 85.2363 | 88.3984 | 84.4955 | 84.0673 | 83.0157 | 88.0818 | 82.3139 | 81.507 | 84.9883 | 82.5771 | 82.6563 | 85.2792 | 85.5385 | 85.0421 | 83.0317 | 81.5611 | 83.0049 | 78.5191 | 75.7325 | 74.6158 | 73.578 | 71.563 | 70.7208 | 67.6776 | 64.0349 | 59.3057 | 100.5821 | 93.7563
At Max (A) | 85.0406 | 92.946 | 94.5116 | 87.6738 | 87.643 | 85.2363 | 88.3984 | 84.4955 | 84.0673 | 83.0157 | 88.0818 | 82.3139 | 81.507 | 84.9883 | 82.5771 | 82.6563 | 85.2792 | 85.5385 | 85.0421 | 83.0317 | 81.5611 | 83.0049 | 78.5191 | 75.7325 | 74.6158 | 73.578 | 71.563 | 70.7208 | 67.6776 | 64.0349 | 59.3057 | 100.5821 | 93.7563

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.2927 | 72.3198 | 73.0073 | 72.5748 | 71.3274 | 72.2638 | 73.0357 | 70.5567 | 68.2936 | 67.1768 | 68.7493 | 67.358 | 67.9489 | 69.1618 | 68.3152 | 69.6188 | 70.2308 | 72.1431 | 73.4378 | 69.418 | 68.0112 | 68.5194 | 65.4478 | 62.7284 | 61.8922 | 59.4841 | 57.7142 | 55.6339 | 52.1509 | 47.4674 | 42.2257 | 84.1673 | 80.2172
SEL | 83.9017 | 86.9288 | 87.6162 | 87.1837 | 85.9364 | 86.8728 | 87.6446 | 85.1657 | 82.9026 | 81.7858 | 83.3582 | 81.967 | 82.5578 | 83.7708 | 82.9241 | 84.2277 | 84.8398 | 86.7521 | 88.0467 | 84.027 | 82.6201 | 83.1284 | 80.0568 | 77.3374 | 76.5012 | 74.0931 | 72.3232 | 70.2429 | 66.7599 | 62.0764 | 56.8347 | 98.7763 | 94.8262
Min | 44.1239 | 45.4941 | 46.6735 | 46.4201 | 45.101 | 38.0828 | 36.0124 | 31.7394 | 27.6895 | 28.9387 | 29.0427 | 30.9963 | 30.0554 | 31.4157 | 33.2864 | 34.1211 | 36.1082 | 35.9989 | 34.2396 | 32.4933 | 27.3478 | 22.9199 | 21.6133 | 21.9855 | 22.459 | 23.2184 | 24.0649 | 25.0842 | 25.9627 | 27.1787 | 28.8539
Max | 83.2656 | 90.6815 | 90.4853 | 89.0467 | 86.9006 | 87.7405 | 88.3595 | 85.5772 | 82.529 | 80.6862 | 85.3053 | 81.9343 | 81.8369 | 83.8374 | 83.1198 | 83.0057 | 83.4671 | 84.8513 | 86.2432 | 81.1699 | 80.1828 | 82.2427 | 78.2147 | 74.5956 | 74.2616 | 71.6406 | 69.8597 | 68.1272 | 65.2994 | 61.7196 | 56.8847
At Max (LIN) | 83.1033 | 88.33 | 90.4853 | 83.9549 | 84.9026 | 83.1973 | 87.1589 | 81.7201 | 81.0722 | 80.2863 | 85.3053 | 80.9419 | 79.1818 | 82.8225 | 81.8994 | 83.0057 | 83.4671 | 83.4615 | 85.4202 | 81.1699 | 80.1828 | 81.9124 | 77.1274 | 74.0627 | 73.1042 | 71.606 | 69.8597 | 67.9903 | 65.2994 | 61.7196 | 56.8847 | 97.8405 | 92.5817
At Max (A) | 83.1033 | 88.33 | 90.4853 | 83.9549 | 84.9026 | 83.1973 | 87.1589 | 81.7201 | 81.0722 | 80.2863 | 85.3053 | 80.9419 | 79.1818 | 82.8225 | 81.8994 | 83.0057 | 83.4671 | 83.4615 | 85.4202 | 81.1699 | 80.1828 | 81.9124 | 77.1274 | 74.0627 | 73.1042 | 71.606 | 69.8597 | 67.9903 | 65.2994 | 61.7196 | 56.8847 | 97.8405 | 92.5817

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.8724 | 73.2347 | 77.3561 | 74.7915 | 76.9675 | 73.8364 | 73.5573 | 70.8615 | 68.2709 | 67.3832 | 69.1989 | 67.1578 | 68.5437 | 69.6614 | 69.2198 | 68.7101 | 70.2828 | 75.0736 | 77.4973 | 69.8298 | 68.8336 | 69.6101 | 65.9529 | 63.7237 | 61.6196 | 60.4627 | 58.6965 | 56.5366 | 54.4815 | 49.0513 | 43.1857 | 86.3099 | 82.2421
SEL | 87.4814 | 87.8436 | 91.965 | 89.4005 | 91.5764 | 88.4454 | 88.1663 | 85.4704 | 82.8798 | 81.9921 | 83.8079 | 81.7668 | 83.1526 | 84.2704 | 83.8288 | 83.3191 | 84.8918 | 89.6826 | 92.1063 | 84.4388 | 83.4426 | 84.2191 | 80.5618 | 78.3326 | 76.2286 | 75.0716 | 73.3054 | 71.1455 | 69.0905 | 63.6603 | 57.7947 | 100.9189 | 96.8511
Min | 43.4985 | 36.1544 | 46.3784 | 48.34 | 46.8308 | 48.3855 | 43.0656 | 32.3758 | 26.6092 | 24.2393 | 21.2616 | 25.7491 | 24.882 | 28.0009 | 30.8734 | 33.3007 | 35.4627 | 36.4424 | 35.1633 | 30.7036 | 26.8534 | 23.0526 | 22.5015 | 22.2279 | 21.7584 | 23.0585 | 23.581 | 25.0101 | 26.1012 | 27.2297 | 28.5326
Max | 86.5247 | 86.9984 | 94.7755 | 88.0718 | 92.485 | 86.691 | 87.2012 | 85.7741 | 82.8572 | 81.4335 | 86.4602 | 81.8475 | 81.9724 | 83.0017 | 83.3856 | 82.0643 | 82.8619 | 87.7356 | 90.7051 | 82.8599 | 81.2089 | 83.9568 | 79.1516 | 76.8391 | 74.8895 | 73.486 | 72.1777 | 68.5816 | 66.3049 | 61.0748 | 54.3552
At Max (LIN) | 84.1791 | 85.0329 | 94.7755 | 87.9174 | 90.6979 | 85.6093 | 84.0449 | 81.6361 | 81.1415 | 80.5317 | 81.287 | 80.5572 | 81.2168 | 83.0017 | 82.1993 | 79.8903 | 81.5388 | 86.7002 | 88.3436 | 81.4482 | 79.3126 | 81.4815 | 79.1516 | 74.5985 | 72.8931 | 71.5999 | 69.9988 | 68.2378 | 65.2487 | 60.4289 | 53.4418 | 99.5674 | 93.6563
At Max (A) | 79.2563 | 85.6597 | 89.1745 | 84.6568 | 91.9441 | 85.9806 | 83.7798 | 85.7741 | 81.2231 | 80.5772 | 84.0424 | 79.6293 | 79.8499 | 80.7701 | 81.9163 | 79.7471 | 82.8619 | 87.5374 | 89.6677 | 82.1357 | 79.8411 | 81.9409 | 77.2809 | 74.4892 | 72.7195 | 71.7913 | 69.9781 | 68.5207 | 66.1035 | 60.3255 | 54.0861 | 98.7205 | 94.3733

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 107.6155 | 106.1708 | 98.1773 | 104.5554 | 99.1674 | 103.2886 | 104.4679 | 109.126 | 108.6265 | 106.0951 | 112.1879 | 119.1181 | 121.9243 | 126.2983 | 129.0148 | 133.3499 | 134.8948 | 141.4192 | 142.4751 | 137.3286 | 137.6868 | 138.8911 | 135.3566 | 132.7961 | 137.0725 | 132.0495 | 131.347 | 142.95 | 140.3146 | 139.1707 | 136.3095 | 150.5594 | 149.8447
SEL | 122.2245 | 120.7798 | 112.7863 | 119.1644 | 113.7764 | 117.8976 | 119.0769 | 123.735 | 123.2355 | 120.7041 | 126.7968 | 133.7271 | 136.5333 | 140.9073 | 143.6238 | 147.9589 | 149.5038 | 156.0282 | 157.084 | 151.9375 | 152.2958 | 153.5 | 149.9656 | 147.4051 | 151.6815 | 146.6585 | 145.956 | 157.559 | 154.9236 | 153.7796 | 150.9185 | 165.1683 | 164.4537
Min | 67.1394 | 65.5658 | 71.4625 | 70.1153 | 73.736 | 72.7702 | 74.5158 | 75.5584 | 75.3146 | 76.2131 | 78.0533 | 78.49 | 78.3559 | 79.5361 | 80.6163 | 81.833 | 82.8811 | 84.3244 | 88.3383 | 87.5046 | 86.5398 | 87.8309 | 88.5212 | 89.4902 | 90.6984 | 91.5899 | 92.7593 | 94.1072 | 95.3649 | 96.9694 | 103.7175
Max | 120.9833 | 119.5231 | 111.5626 | 119.0315 | 113.448 | 118.3626 | 119.9065 | 124.5318 | 123.3703 | 122.1472 | 126.6894 | 133.5146 | 137.8982 | 141.3778 | 142.9146 | 147.8642 | 148.6563 | 155.2245 | 156.0101 | 151.1924 | 153.534 | 154.0375 | 149.9547 | 148.2996 | 151.6053 | 145.7525 | 143.915 | 155.7606 | 151.8574 | 150.7827 | 146.1095
At Max (LIN) | 117.4285 | 115.6778 | 106.841 | 111.7511 | 107.7492 | 110.8306 | 111.1202 | 119.0713 | 120.5535 | 118.548 | 125.6388 | 133.4848 | 134.8915 | 141.3778 | 142.6689 | 145.374 | 148.0106 | 155.2245 | 156.0101 | 151.1924 | 153.534 | 154.0375 | 149.4747 | 148.2996 | 151.6053 | 145.7525 | 143.3502 | 155.6774 | 150.6367 | 148.5405 | 144.395 | 163.8439 | 163.7597
At Max (A) | 117.4285 | 115.6778 | 106.841 | 111.7511 | 107.7492 | 110.8306 | 111.1202 | 119.0713 | 120.5535 | 118.548 | 125.6388 | 133.4848 | 134.8915 | 141.3778 | 142.6689 | 145.374 | 148.0106 | 155.2245 | 156.0101 | 151.1924 | 153.534 | 154.0375 | 149.4747 | 148.2996 | 151.6053 | 145.7525 | 143.3502 | 155.6774 | 150.6367 | 148.5405 | 144.395 | 163.8439 | 163.7597

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.1336 | 81.2183 | 85.0561 | 102.7545 | 95.8392 | 99.677 | 6.8508 | 3.8378 | 105.6611 | 51.5773 | 93.7882 | 43.5061 | 100.5097 | 50.8071 | 99.0858 | 51.5773 | 91.73 | 46.4967 | 95.5571 | 50.8071 | 84.9311 | 3.7128 | 108.1349 | 42.8198 | 94.3872 | 38.401 | 103.4478 | 42.0496 | 116.6495 | 106.3948 | 113.1899

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 85.2224 | 80.0539 | 83.1627 | 99.8434 | 94.6749 | 97.7837 | 18.665 | 3.1089 | 101.5448 | 48.6531 | 92.4653 | 43.5878 | 97.6865 | 49.4752 | 95.7456 | 48.6531 | 90.1192 | 46.2423 | 93.353 | 49.4752 | 83.3854 | 3.3316 | 104.2111 | 39.8956 | 93.2456 | 38.2542 | 100.1317 | 40.7177 | 113.2041 | 106.6145 | 109.3609

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.0812 | 82.0735 | 85.117 | 101.7022 | 96.6945 | 99.7379 | 6.5131 | 3.0435 | 102.0955 | 56.4779 | 94.3858 | 43.1756 | 98.705 | 54.9712 | 96.889 | 56.4886 | 92.5336 | 43.1756 | 95.0926 | 56.0392 | 85.5445 | 3.471 | 104.2979 | 47.7324 | 95.2224 | 34.4181 | 100.6575 | 47.4408 | 112.2971 | 108.4137 | 109.5869

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 150.4295 | 149.6667 | 148.7228 | 165.0505 | 164.2877 | 163.3438 | -1.1476 | -0.94394 | 164.1723 | 108.9507 | 164.1205 | 102.8392 | 163.1481 | 101.8133 | 161.2656 | 110.1078 | 160.8129 | 103.6882 | 159.867 | 102.7382 | 156.2264 | 6.5596 | 167.0255 | 113.1794 | 167.1203 | 110.4019 | 166.0727 | 109.3761 | 186.1031 | 188.1172 | 185.7918