## Apelviken18
Measurement Name | Apelviken18 (Normal Range)
Time of run | 2020-06-17 13:26:25 (1592396785)
Duration | 39.4 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | +0 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.4469 | 68.4392 | 67.0506 | 66.7896 | 67.5918 | 62.808 | 61.729 | 61.5942 | 60.8513 | 62.8711 | 64.9102 | 67.2997 | 69.773 | 74.534 | 78.1619 | 78.4693 | 79.3424 | 78.0353 | 73.8625 | 73.3721 | 70.2467 | 70.3831 | 69.3101 | 66.9851 | 62.8535 | 60.8735 | 58.7891 | 56.3039 | 55.5449 | 53.6789 | 50.3108 | 86.6013 | 85.1908
SEL | 85.4018 | 84.3942 | 83.0055 | 82.7445 | 83.5468 | 78.7629 | 77.6839 | 77.5491 | 76.8063 | 78.826 | 80.8652 | 83.2546 | 85.728 | 90.489 | 94.1169 | 94.4243 | 95.2973 | 93.9902 | 89.8174 | 89.327 | 86.2017 | 86.338 | 85.2651 | 82.94 | 78.8085 | 76.8284 | 74.744 | 72.2589 | 71.4999 | 69.6339 | 66.2658 | 102.5562 | 101.1457
Min | 44.0221 | 41.642 | 45.719 | 43.938 | 40.5181 | 35.3272 | 34.2601 | 32.0866 | 30.1234 | 27.4494 | 28.4959 | 26.0641 | 25.9816 | 27.2417 | 28.8709 | 29.7763 | 29.4581 | 30.1869 | 28.165 | 27.2602 | 25.4154 | 23.5706 | 23.2746 | 19.3159 | 15.3199 | 14.5456 | 14.3109 | 15.0745 | 16.1317 | 16.8954 | 18.2722
Max | 84.6958 | 81.9076 | 81.13 | 79.4036 | 81.783 | 73.5292 | 76.0529 | 76.637 | 74.5262 | 80.5595 | 80.9027 | 80.9313 | 81.4595 | 85.2399 | 88.7652 | 88.7346 | 88.7979 | 88.4227 | 84.1682 | 84.0004 | 80.1949 | 79.9342 | 79.3353 | 77.1862 | 72.6175 | 71.0017 | 68.7402 | 69.2782 | 70.2687 | 66.4061 | 64.5863
At Max (LIN) | 84.6958 | 77.9777 | 72.9142 | 70.2337 | 69.0466 | 65.5719 | 61.6705 | 63.9481 | 62.9077 | 63.506 | 72.1705 | 78.2813 | 75.7284 | 81.5926 | 86.6024 | 87.7829 | 88.6213 | 88.4227 | 82.5861 | 81.4846 | 77.4379 | 78.11 | 77.6059 | 74.8736 | 70.232 | 68.7166 | 67.512 | 65.0835 | 64.8947 | 60.8112 | 57.0305 | 95.7011 | 94.2516
At Max (A) | 84.6958 | 77.9777 | 72.9142 | 70.2337 | 69.0466 | 65.5719 | 61.6705 | 63.9481 | 62.9077 | 63.506 | 72.1705 | 78.2813 | 75.7284 | 81.5926 | 86.6024 | 87.7829 | 88.6213 | 88.4227 | 82.5861 | 81.4846 | 77.4379 | 78.11 | 77.6059 | 74.8736 | 70.232 | 68.7166 | 67.512 | 65.0835 | 64.8947 | 60.8112 | 57.0305 | 95.7011 | 94.2516

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 68.8116 | 67.4882 | 64.8283 | 64.678 | 66.4155 | 62.1575 | 62.3596 | 61.0374 | 60.7147 | 62.1108 | 63.7031 | 66.0685 | 69.4978 | 74.5248 | 78.0868 | 79.029 | 79.4913 | 77.8154 | 74.1912 | 72.8851 | 69.5712 | 69.0014 | 67.0477 | 64.8535 | 62.9433 | 59.9028 | 56.6479 | 53.8485 | 50.9792 | 47.9556 | 41.7231 | 86.4647 | 85.0607
SEL | 84.7665 | 83.4432 | 80.7833 | 80.633 | 82.3705 | 78.1125 | 78.3146 | 76.9924 | 76.6696 | 78.0658 | 79.6581 | 82.0235 | 85.4528 | 90.4797 | 94.0418 | 94.984 | 95.4463 | 93.7704 | 90.1461 | 88.84 | 85.5261 | 84.9564 | 83.0026 | 80.8084 | 78.8982 | 75.8578 | 72.6029 | 69.8035 | 66.9342 | 63.9105 | 57.6781 | 102.4197 | 101.0157
Min | 45.6205 | 44.7844 | 46.5654 | 44.6307 | 37.8405 | 39.9627 | 35.8746 | 34.7312 | 34.5775 | 32.2931 | 30.7997 | 30.527 | 28.1373 | 29.4675 | 30.0871 | 30.9242 | 30.9203 | 31.12 | 31.8539 | 29.5008 | 28.0034 | 26.9694 | 24.8687 | 21.4667 | 17.1752 | 15.331 | 15.5832 | 16.3107 | 17.2175 | 18.0573 | 19.3979
Max | 81.3475 | 79.9771 | 76.0286 | 74.9972 | 78.2595 | 74.9913 | 74.6416 | 72.6172 | 74.1852 | 78.5552 | 76.2351 | 77.931 | 80.7037 | 87.883 | 88.7074 | 89.6871 | 89.5127 | 87.9559 | 84.2802 | 83.3702 | 79.8518 | 78.5531 | 76.3363 | 73.8677 | 73.1254 | 69.5251 | 66.3876 | 64.6116 | 62.2442 | 59.3851 | 53.3257
At Max (LIN) | 81.0917 | 79.354 | 74.2536 | 71.4162 | 73.5831 | 69.3684 | 67.3404 | 63.5672 | 61.8823 | 65.9558 | 70.9159 | 69.8519 | 76.8978 | 79.2562 | 86.9142 | 89.6871 | 88.8107 | 85.3184 | 82.7972 | 80.4934 | 77.6856 | 77.1608 | 74.9417 | 71.5997 | 69.9562 | 66.8263 | 62.8308 | 59.6636 | 56.4078 | 52.6986 | 47.4598 | 95.3842 | 93.8647
At Max (A) | 81.3475 | 73.2452 | 72.3888 | 67.0217 | 70.3148 | 64.4416 | 59.5489 | 62.4419 | 62.7113 | 68.1634 | 71.7283 | 73.9132 | 74.9096 | 79.6367 | 86.1903 | 87.9214 | 89.0833 | 87.905 | 83.9805 | 81.3716 | 77.4026 | 77.6234 | 75.4523 | 73.5401 | 71.381 | 67.9691 | 64.8201 | 62.4663 | 59.7239 | 55.2305 | 48.3152 | 95.3319 | 94.2207

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 16.9833 | 14.439 | 11.9427 | 12.006 | 10.099 | 7.9716 | 6.4536 | 5.1598 | 4.7232 | 5.0847 | 5.2876 | 5.7407 | 5.8463 | 6.1229 | 6.4518 | 6.9773 | 7.705 | 8.0879 | 8.4565 | 9.1191 | 9.8302 | 10.7123 | 11.7317 | 12.4793 | 13.4399 | 14.3213 | 15.279 | 16.4138 | 17.5458 | 18.7225 | 20.2527 | 27.8502 | 24.1706
SEL | 32.9383 | 30.394 | 27.8977 | 27.9609 | 26.054 | 23.9265 | 22.4085 | 21.1147 | 20.6781 | 21.0397 | 21.2426 | 21.6957 | 21.8013 | 22.0779 | 22.4067 | 22.9323 | 23.66 | 24.0429 | 24.4114 | 25.0741 | 25.7851 | 26.6672 | 27.6867 | 28.4343 | 29.3949 | 30.2762 | 31.234 | 32.3687 | 33.5008 | 34.6774 | 36.2076 | 43.8052 | 40.1256
Min | 3.9326 | 0.8821 | -2.3107 | -0.078174 | -1.2313 | -1.247 | -1.4228 | -3.28 | -0.78109 | -0.30929 | 0.96832 | 1.5712 | 2.2255 | 2.6914 | 3.9667 | 4.6792 | 5.3676 | 5.9788 | 6.9066 | 7.8018 | 8.403 | 9.1826 | 10.2254 | 10.816 | 12.4867 | 13.191 | 14.0908 | 15.3067 | 16.3356 | 17.7093 | 19.3382
Max | 24.6656 | 22.1144 | 20.1998 | 23.6765 | 20.4843 | 18.3459 | 16.2031 | 13.2188 | 12.6689 | 14.1447 | 12.3631 | 12.1512 | 12.0212 | 12.001 | 12.2097 | 11.3069 | 10.1415 | 10.0232 | 10.0213 | 10.26 | 11.2778 | 11.6634 | 12.6228 | 13.56 | 14.3728 | 15.1824 | 16.014 | 17.2108 | 18.6124 | 19.3555 | 21.0017
At Max (LIN) | 18.8305 | 13.7967 | 18.8409 | 23.6765 | 15.1142 | 14.4819 | 11.5766 | 12.1397 | 8.3494 | 9.6682 | 7.3936 | 10.6327 | 12.0212 | 11.1285 | 12.2097 | 11.3069 | 10.1118 | 9.9141 | 9.581 | 9.5258 | 9.7246 | 11.053 | 11.8989 | 13.0787 | 13.4546 | 14.8132 | 15.0084 | 16.5575 | 17.8254 | 19.2492 | 20.5065 | 30.3186 | 24.8056
At Max (A) | 18.8305 | 13.7967 | 18.8409 | 23.6765 | 15.1142 | 14.4819 | 11.5766 | 12.1397 | 8.3494 | 9.6682 | 7.3936 | 10.6327 | 12.0212 | 11.1285 | 12.2097 | 11.3069 | 10.1118 | 9.9141 | 9.581 | 9.5258 | 9.7246 | 11.053 | 11.8989 | 13.0787 | 13.4546 | 14.8132 | 15.0084 | 16.5575 | 17.8254 | 19.2492 | 20.5065 | 30.3186 | 24.8056

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.8536 | 103.9734 | 104.6618 | 107.2598 | 107.7629 | 104.708 | 102.6608 | 104.3401 | 106.5666 | 110.8801 | 116.0957 | 121.7802 | 129.7104 | 135.4616 | 140.6192 | 142.1062 | 142.7568 | 144.0877 | 143.4543 | 137.6769 | 134.6641 | 135.5916 | 137.0136 | 136.4084 | 138.407 | 139.2731 | 132.0125 | 132.1339 | 123.7346 | 113.8152 | 108.5314 | 151.455 | 151.1688
SEL | 115.8085 | 119.9283 | 120.6168 | 123.2147 | 123.7179 | 120.663 | 118.6158 | 120.295 | 122.5216 | 126.8351 | 132.0506 | 137.7352 | 145.6654 | 151.4165 | 156.5742 | 158.0611 | 158.7118 | 160.0426 | 159.4093 | 153.6319 | 150.6191 | 151.5466 | 152.9685 | 152.3634 | 154.362 | 155.228 | 147.9675 | 148.0888 | 139.6895 | 129.7702 | 124.4864 | 167.41 | 167.1237
Min | 63.0387 | 66.3036 | 68.9562 | 68.5724 | 69.9611 | 69.7929 | 72.7121 | 75.0467 | 74.8545 | 75.6416 | 76.6329 | 78.7063 | 79.5254 | 80.1767 | 81.2833 | 81.6017 | 83.3849 | 84.2896 | 85.3473 | 86.0397 | 87.0038 | 88.4809 | 89.5487 | 90.7401 | 91.4929 | 92.8016 | 93.5363 | 94.8018 | 95.9985 | 97.0955 | 98.7151
Max | 114.7113 | 116.4012 | 117.3106 | 120.7516 | 122.3999 | 119.6608 | 117.343 | 118.3315 | 119.0011 | 124.3347 | 129.2434 | 135.6541 | 145.7022 | 152.3284 | 156.1787 | 154.0397 | 155.1102 | 155.9641 | 156.398 | 151.7313 | 149.1738 | 148.2025 | 149.5993 | 150.8764 | 151.5803 | 150.7751 | 142.2356 | 142.386 | 135.3021 | 127.009 | 122.7409
At Max (LIN) | 104.3003 | 109.931 | 115.0068 | 111.6108 | 110.9509 | 116.0361 | 112.725 | 112.9601 | 119.0011 | 118.9251 | 119.6884 | 130.0406 | 142.8324 | 146.6779 | 156.1787 | 153.6397 | 152.627 | 155.9641 | 153.2451 | 150.5853 | 144.8453 | 146.8291 | 148.511 | 146.4331 | 148.7923 | 148.8425 | 141.1232 | 141.7021 | 130.8568 | 117.7111 | 108.9099 | 162.9922 | 162.3954
At Max (A) | 104.941 | 114.7251 | 115.1569 | 114.073 | 115.0194 | 107.9183 | 107.4883 | 109.4063 | 112.4906 | 116.2936 | 122.7162 | 129.0723 | 135.3634 | 140.9276 | 149.0658 | 152.1701 | 151.3559 | 154.3643 | 156.398 | 151.7313 | 149.1738 | 147.0387 | 149.5993 | 150.8764 | 151.5803 | 150.7751 | 142.2356 | 141.418 | 131.6611 | 118.2407 | 109.2259 | 162.7874 | 162.967

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.7244 | 85.0538 | 86.235 | 102.6794 | 101.0087 | 102.19 | 8.933 | 1.1812 | 95.6653 | 56.8572 | 94.1429 | 39.7045 | 95.5068 | 50.3562 | 94.6226 | 59.2896 | 92.9903 | 40.1499 | 94.0399 | 54.393 | 87.5515 | 2.4977 | 96.5194 | 50.5584 | 94.9274 | 31.4909 | 96.4031 | 49.3263 | 106.8882 | 106.7217 | 106.465

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.624 | 84.9278 | 86.1568 | 102.579 | 100.8828 | 102.1117 | 16.1413 | 1.229 | 95.3472 | 54.081 | 94.1186 | 40.7112 | 95.0734 | 51.6935 | 94.2939 | 54.081 | 92.7984 | 40.7112 | 93.8197 | 51.6935 | 87.4114 | 2.4836 | 96.3047 | 45.3235 | 94.8607 | 31.9537 | 96.2001 | 42.936 | 106.8515 | 105.7024 | 106.0253

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 31.3736 | 24.0713 | 24.3751 | 47.3286 | 40.0263 | 40.33 | 1.0483 | 0.30376 | 35.5887 | 27.464 | 24.7077 | 23.3885 | 28.0731 | 22.6295 | 33.5955 | 29.9317 | 24.3852 | 23.5668 | 26.2702 | 23.0334 | 24.3764 | 0.30512 | 39.5076 | 24.2932 | 24.9287 | 15.405 | 30.2844 | 14.2759 | 47.6101 | 37.9744 | 42.0056

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 151.2195 | 150.9396 | 150.9448 | 167.1745 | 166.8946 | 166.8997 | -1.4781 | 0.0051705 | 163.1817 | 105.9762 | 162.9171 | 102.4532 | 163.0025 | 101.2091 | 159.7197 | 106.0534 | 159.6073 | 102.7268 | 159.4812 | 101.4738 | 156.1493 | 5.2097 | 165.2341 | 97.2959 | 164.8092 | 94.1069 | 165.1213 | 92.9713 | 179.888 | 179.8367 | 178.8269