## Apelviken26
Measurement Name | Apelviken26 (Normal Range)
Time of run | 2020-06-17 14:54:45 (1592402085)
Duration | 20.28 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | +0 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 61.6528 | 62.8256 | 63.4025 | 68.0467 | 66.0798 | 60.8303 | 60.2437 | 60.4281 | 58.6204 | 60.0413 | 59.6553 | 64.0529 | 65.3259 | 66.8215 | 70.7593 | 64.5837 | 65.433 | 65.8566 | 62.4657 | 61.1533 | 60.2766 | 61.1226 | 61.6556 | 58.1404 | 54.8792 | 53.8122 | 53.2165 | 49.33 | 48.1458 | 46.1127 | 40.9435 | 78.0231 | 74.405
SEL | 74.7063 | 75.8792 | 76.456 | 81.1002 | 79.1334 | 73.8838 | 73.2972 | 73.4817 | 71.6739 | 73.0948 | 72.7088 | 77.1064 | 78.3794 | 79.875 | 83.8128 | 77.6372 | 78.4865 | 78.9101 | 75.5192 | 74.2068 | 73.3301 | 74.1761 | 74.7091 | 71.1939 | 67.9327 | 66.8657 | 66.27 | 62.3835 | 61.1993 | 59.1662 | 53.997 | 91.0766 | 87.4586
Min | 38.0537 | 39.7472 | 42.8892 | 46.9242 | 45.0682 | 40.5645 | 40.228 | 34.7529 | 35.928 | 35.1774 | 34.2266 | 37.3235 | 34.7503 | 34.6756 | 36.0972 | 36.4099 | 35.4966 | 42.5101 | 37.4796 | 35.2827 | 33.405 | 32.2436 | 32.1957 | 28.8076 | 25.5571 | 22.7794 | 20.001 | 17.7936 | 21.1093 | 22.2275 | 18.7498
Max | 69.9664 | 73.6335 | 75.9772 | 78.4076 | 75.0718 | 69.5648 | 69.3825 | 71.3343 | 68.6572 | 72.318 | 67.0629 | 73.7388 | 73.0791 | 74.6006 | 77.746 | 71.5364 | 73.1979 | 74.0508 | 70.3416 | 68.7612 | 70.1297 | 69.4906 | 69.8566 | 67.9101 | 66.0558 | 63.4666 | 67.8969 | 60.907 | 60.8577 | 60.1612 | 55.9714
At Max (LIN) | 67.3566 | 61.3888 | 65.2831 | 77.9983 | 74.0345 | 64.0611 | 68.3745 | 66.666 | 64.8221 | 66.7381 | 65.5127 | 70.783 | 71.6422 | 74.6006 | 77.746 | 70.9579 | 73.1979 | 70.2408 | 69.502 | 67.2924 | 64.847 | 69.0436 | 67.318 | 64.2484 | 59.3519 | 57.5116 | 55.0562 | 53.1874 | 49.7263 | 46.1752 | 38.4905 | 85.0285 | 80.9286
At Max (A) | 61.8792 | 61.5303 | 60.0837 | 70.9897 | 71.3236 | 59.7783 | 62.8109 | 59.4471 | 58.5294 | 63.6984 | 66.1385 | 71.589 | 71.7017 | 73.3532 | 75.9055 | 70.3681 | 73.1117 | 73.9348 | 70.3416 | 68.6739 | 65.3141 | 68.045 | 69.2741 | 66.2208 | 60.1456 | 60.2356 | 58.2843 | 54.3073 | 50.7626 | 46.9312 | 39.3856 | 83.6314 | 81.287

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.0747 | 65.1392 | 63.5193 | 65.0959 | 63.7178 | 60.1345 | 59.0108 | 59.8266 | 61.9586 | 62.8687 | 60.5842 | 64.6321 | 66.0953 | 66.2012 | 71.256 | 65.2128 | 65.6076 | 65.5144 | 63.3026 | 61.2161 | 59.9684 | 59.0666 | 58.8274 | 56.1419 | 55.13 | 53.3445 | 50.4281 | 47.4675 | 45.0789 | 41.9464 | 35.3954 | 78.0145 | 74.2807
SEL | 77.1282 | 78.1927 | 76.5728 | 78.1494 | 76.7713 | 73.188 | 72.0643 | 72.8801 | 75.0121 | 75.9222 | 73.6377 | 77.6857 | 79.1489 | 79.2547 | 84.3096 | 78.2663 | 78.6611 | 78.5679 | 76.3562 | 74.2696 | 73.022 | 72.1201 | 71.8809 | 69.1954 | 68.1835 | 66.398 | 63.4817 | 60.521 | 58.1324 | 54.9999 | 48.4489 | 91.068 | 87.3343
Min | 39.1439 | 41.8806 | 42.9268 | 45.1176 | 44.1408 | 39.1673 | 40.5659 | 37.1544 | 41.6268 | 39.6011 | 39.2837 | 40.2378 | 40.7477 | 39.5692 | 37.7931 | 38.9491 | 37.8784 | 41.5385 | 38.7964 | 37.1345 | 36.4655 | 34.4914 | 33.9276 | 29.9752 | 25.7906 | 23.0997 | 21.1819 | 18.2544 | 21.5723 | 22.6059 | 19.4514
Max | 77.4994 | 80.0842 | 78.0029 | 72.3812 | 75.2636 | 68.734 | 66.6636 | 69.29 | 71.5475 | 73.5829 | 69.8957 | 75.302 | 74.8585 | 73.2194 | 77.9509 | 71.7542 | 72.5677 | 71.8258 | 70.449 | 68.5545 | 69.2248 | 66.5634 | 65.196 | 64.4271 | 65.4402 | 61.9752 | 62.9563 | 59.0229 | 57.4509 | 55.3092 | 49.1903
At Max (LIN) | 71.6834 | 79.6416 | 78.0029 | 69.1595 | 73.2881 | 67.7218 | 62.1158 | 59.5262 | 70.0965 | 64.2472 | 58.8055 | 63.3639 | 64.058 | 63.4278 | 66.0139 | 63.464 | 63.4837 | 65.2445 | 62.1055 | 57.7735 | 56.6589 | 55.1732 | 53.2587 | 49.5696 | 47.9075 | 45.461 | 42.8731 | 40.261 | 39.0349 | 34.5235 | 26.1857 | 83.8696 | 71.7112
At Max (A) | 61.4151 | 61.5792 | 61.8195 | 66.036 | 68.4108 | 62.4088 | 62.2807 | 61.3064 | 59.1037 | 63.2161 | 66.8751 | 73.2268 | 73.739 | 73.2194 | 75.7388 | 71.0964 | 72.1784 | 71.7178 | 70.449 | 68.3803 | 65.1331 | 66.4437 | 64.7589 | 62.096 | 60.313 | 58.0922 | 54.0294 | 51.9987 | 47.63 | 43.2028 | 36.4007 | 83.1747 | 80.4228

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 18.1485 | 14.1345 | 12.6252 | 12.5272 | 11.5064 | 8.3351 | 6.4653 | 5.3439 | 5.3292 | 5.5643 | 5.3231 | 5.7862 | 6.1521 | 6.4711 | 6.7499 | 7.0611 | 7.516 | 8.0468 | 8.6032 | 9.2307 | 10.123 | 10.768 | 11.493 | 12.3644 | 13.3702 | 14.2022 | 15.1867 | 16.3311 | 17.5274 | 18.6986 | 20.1716 | 27.9848 | 24.1309
SEL | 31.202 | 27.188 | 25.6787 | 25.5807 | 24.5599 | 21.3886 | 19.5188 | 18.3974 | 18.3827 | 18.6178 | 18.3766 | 18.8397 | 19.2056 | 19.5246 | 19.8034 | 20.1146 | 20.5695 | 21.1003 | 21.6567 | 22.2843 | 23.1765 | 23.8216 | 24.5465 | 25.4179 | 26.4237 | 27.2558 | 28.2402 | 29.3846 | 30.5809 | 31.7522 | 33.2251 | 41.0383 | 37.1844
Min | 4.6812 | 3.0153 | 0.6205 | -0.51598 | -0.054206 | -1.9978 | -0.24699 | 0.29804 | 0.5174 | 0.69172 | 0.4879 | 2.0024 | 2.6864 | 3.9896 | 4.2343 | 5.1245 | 5.1854 | 6.7611 | 7.2767 | 7.8046 | 8.7979 | 9.6922 | 10.2935 | 11.3221 | 12.5883 | 13.4142 | 14.4997 | 15.5658 | 16.6335 | 17.7422 | 19.4687
Max | 24.3002 | 20.3607 | 20.843 | 22.0531 | 22.2987 | 15.8557 | 15.4173 | 11.3872 | 12.2205 | 14.7388 | 12.3924 | 11.0084 | 12.3433 | 11.2079 | 11.8158 | 10.3175 | 9.5137 | 9.4381 | 9.9749 | 10.3443 | 11.9553 | 11.7617 | 12.7446 | 13.1805 | 14.321 | 14.9903 | 15.7971 | 17.2552 | 18.4745 | 19.8067 | 20.9105
At Max (LIN) | 20.3101 | 19.5209 | 20.71 | 22.0531 | 13.8355 | 9.5385 | 2.4872 | 4.0768 | 5.8322 | 2.2719 | 6.6365 | 4.224 | 7.6048 | 4.8436 | 7.1279 | 7.8598 | 6.7104 | 8.881 | 8.6155 | 9.1494 | 11.9553 | 10.9955 | 11.9757 | 12.1819 | 13.8715 | 14.7372 | 15.1672 | 16.9753 | 17.8256 | 18.9269 | 20.5603 | 30.1001 | 24.5164
At Max (A) | 10.2862 | 3.9116 | 5.8014 | 6.9187 | 1.6247 | 0.98783 | 2.698 | 0.94428 | 2.7565 | 1.349 | 3.6501 | 5.1824 | 6.2566 | 7.5806 | 5.8923 | 6.7174 | 7.8876 | 8.1524 | 9.9749 | 9.5295 | 10.9028 | 11.0881 | 12.2129 | 13.0667 | 13.8052 | 14.3709 | 15.7971 | 17.2552 | 18.1373 | 19.3347 | 20.6336 | 27.4655 | 24.6852

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.7083 | 102.4332 | 104.2738 | 108.7131 | 108.8148 | 102.9335 | 100.6022 | 103.5039 | 105.8344 | 111.4235 | 114.3912 | 120.0564 | 123.6643 | 126.3049 | 132.1757 | 128.6171 | 128.5856 | 131.8784 | 131.0347 | 126.2769 | 122.065 | 123.7996 | 125.0217 | 127.0052 | 132.1808 | 136.5332 | 128.2312 | 128.3973 | 120.8393 | 110.7646 | 103.078 | 142.0498 | 141.5947
SEL | 112.7618 | 115.4867 | 117.3274 | 121.7666 | 121.8683 | 115.9871 | 113.6557 | 116.5575 | 118.8879 | 124.477 | 127.4447 | 133.1099 | 136.7178 | 139.3584 | 145.2292 | 141.6706 | 141.6391 | 144.9319 | 144.0882 | 139.3304 | 135.1185 | 136.8531 | 138.0752 | 140.0587 | 145.2343 | 149.5867 | 141.2848 | 141.4508 | 133.8928 | 123.8182 | 116.1315 | 155.1033 | 154.6483
Min | 67.5348 | 68.407 | 67.3237 | 68.0004 | 71.3799 | 70.2719 | 72.2426 | 73.0097 | 75.5886 | 76.3958 | 77.6924 | 77.3377 | 80.2946 | 80.5418 | 81.2459 | 83.0379 | 83.3983 | 84.875 | 86.2366 | 86.6238 | 88.1402 | 89.1231 | 90.5116 | 90.9503 | 91.792 | 93.379 | 94.309 | 95.4417 | 96.252 | 97.3476 | 98.8551
Max | 108.956 | 112.025 | 113.3632 | 118.3602 | 118.966 | 113.1885 | 111.5751 | 114.4379 | 118.8191 | 124.6726 | 126.7126 | 133.0383 | 133.9058 | 135.5733 | 142.2084 | 138.5542 | 138.8834 | 141.0344 | 140.6725 | 138.8191 | 134.1405 | 134.0693 | 134.9037 | 137.0588 | 140.3374 | 144.8463 | 136.8988 | 136.1489 | 127.4575 | 117.5311 | 108.2967
At Max (LIN) | 102.5031 | 110.1556 | 112.6019 | 113.8154 | 113.3836 | 106.8303 | 107.3905 | 106.323 | 113.512 | 117.2078 | 121.9456 | 129.3821 | 133.8591 | 133.5167 | 141.3535 | 138.2433 | 138.2581 | 141.0344 | 139.7919 | 138.8191 | 134.1405 | 134.0693 | 134.9037 | 134.8935 | 140.3197 | 143.511 | 135.0708 | 134.6384 | 126.8359 | 115.6128 | 106.0926 | 150.5658 | 150.1907
At Max (A) | 102.5031 | 110.1556 | 112.6019 | 113.8154 | 113.3836 | 106.8303 | 107.3905 | 106.323 | 113.512 | 117.2078 | 121.9456 | 129.3821 | 133.8591 | 133.5167 | 141.3535 | 138.2433 | 138.2581 | 141.0344 | 139.7919 | 138.8191 | 134.1405 | 134.0693 | 134.9037 | 134.8935 | 140.3197 | 143.511 | 135.0708 | 134.6384 | 126.8359 | 115.6128 | 106.0926 | 150.5658 | 150.1907

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.2986 | 74.2107 | 77.2749 | 91.3693 | 87.2813 | 90.3455 | 4.9325 | 3.0642 | 86.4791 | 56.6171 | 81.1249 | 49.3874 | 84.3411 | 55.5641 | 83.6672 | 56.6171 | 79.7179 | 53.0416 | 82.5299 | 56.6721 | 76.6853 | 2.4747 | 87.9877 | 47.8596 | 82.1784 | 45.8946 | 85.2396 | 47.9146 | 98.5432 | 93.3293 | 96.0612

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.0841 | 74.0728 | 77.3206 | 92.1548 | 87.1434 | 90.3913 | 2.9114 | 3.2479 | 89.4352 | 58.1283 | 80.3956 | 51.2002 | 83.1487 | 56.7882 | 85.0775 | 60.8289 | 79.0019 | 53.8308 | 81.8729 | 58.5996 | 76.1799 | 2.1071 | 91.6055 | 52.0714 | 81.1015 | 45.9446 | 85.1865 | 49.8421 | 97.3506 | 93.7329 | 95.6771

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 31.5962 | 24.0426 | 24.4884 | 44.6669 | 37.1133 | 37.5591 | -0.81442 | 0.44579 | 37.0882 | 27.5588 | 24.6328 | 23.4972 | 28.2884 | 22.6449 | 33.3484 | 30.0288 | 24.4536 | 23.5145 | 26.0496 | 22.664 | 24.3201 | 0.27749 | 40.274 | 22.822 | 24.8609 | 14.757 | 30.2824 | 13.9065 | 48.0449 | 38.1707 | 41.9672

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 141.961 | 141.5041 | 141.0482 | 155.0317 | 154.5748 | 154.1189 | -1.2553 | -0.45586 | 151.0235 | 106.3804 | 150.5696 | 102.8924 | 150.2087 | 101.6416 | 147.9739 | 109.7911 | 147.5246 | 106.0759 | 147.0674 | 104.583 | 146.8635 | 5.3594 | 153.3592 | 101.2858 | 152.9553 | 97.3771 | 152.9558 | 95.8344 | 172.3205 | 172.1685 | 171.6456