## Apelviken 2 dag09
Measurement Name | Apelviken 2 dag09 (Normal Range)
Time of run | 2020-06-18 11:40:26 (1592476826)
Duration | 31 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | +0 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 76.7103 | 72.4015 | 69.8516 | 67.9132 | 68.1574 | 61.5371 | 58.7244 | 56.4294 | 55.0061 | 56.8415 | 54.739 | 56.4577 | 59.0495 | 60.7879 | 65.5265 | 61.011 | 60.9855 | 60.2587 | 57.7832 | 55.139 | 55.5096 | 54.3421 | 56.296 | 55.0148 | 53.6384 | 52.2609 | 52.6124 | 51.04 | 55.6603 | 56.4179 | 51.0153 | 80.1661 | 69.6034
SEL | 91.624 | 87.3151 | 84.7652 | 82.8268 | 83.071 | 76.4508 | 73.638 | 71.343 | 69.9198 | 71.7551 | 69.6526 | 71.3713 | 73.9631 | 75.7016 | 80.4402 | 75.9246 | 75.8991 | 75.1723 | 72.6969 | 70.0526 | 70.4232 | 69.2557 | 71.2096 | 69.9284 | 68.552 | 67.1746 | 67.526 | 65.9536 | 70.574 | 71.3315 | 65.9289 | 95.0798 | 84.517
Min | 58.6356 | 57.0823 | 53.9859 | 52.2211 | 48.6263 | 42.3871 | 42.1388 | 36.8652 | 30.3884 | 31.6447 | 30.9114 | 30.589 | 29.7525 | 28.6553 | 29.3291 | 27.6067 | 28.611 | 29.0707 | 26.9408 | 25.5367 | 24.5311 | 23.5102 | 23.7971 | 23.4536 | 21.4354 | 19.0467 | 17.6199 | 16.9329 | 17.2158 | 17.1785 | 18.0676
Max | 86.7319 | 82.4772 | 78.2874 | 75.8602 | 78.8619 | 71.4484 | 68.9896 | 67.7093 | 69.1936 | 70.1936 | 67.8093 | 68.3644 | 72.0393 | 71.5946 | 77.4075 | 72.4101 | 72.5466 | 71.0608 | 68.9108 | 65.9762 | 67.8554 | 66.6799 | 69.4334 | 67.3676 | 67.699 | 64.5629 | 65.3338 | 63.9165 | 69.4956 | 70.2514 | 65.3664
At Max (LIN) | 86.7319 | 72.7756 | 69.8107 | 72.093 | 67.7891 | 61.7151 | 57.0403 | 54.2453 | 49.286 | 45.3291 | 40.0827 | 37.991 | 33.2871 | 33.8596 | 33.9385 | 32.6681 | 31.2648 | 32.0523 | 31.3912 | 29.0007 | 26.4947 | 27.5135 | 26.6917 | 25.2565 | 24.4786 | 23.009 | 22.3098 | 20.1578 | 28.807 | 33.4827 | 26.3127 | 87.1959 | 46.5393
At Max (A) | 67.9406 | 67.8093 | 66.6231 | 71.3047 | 76.5771 | 68.3904 | 66.9275 | 65.4412 | 65.3357 | 66.7909 | 67.8093 | 67.053 | 72.0393 | 70.7819 | 77.4075 | 72.2624 | 72.5466 | 68.9012 | 68.2206 | 65.4302 | 63.6869 | 64.4982 | 66.6662 | 63.5405 | 60.6314 | 58.9388 | 60.3917 | 60.0132 | 66.7725 | 67.3252 | 62.7238 | 84.3824 | 80.152

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.7026 | 61.85 | 61.6233 | 62.3329 | 64.5292 | 62.4963 | 60.803 | 58.1083 | 56.9945 | 59.6811 | 55.4619 | 56.5458 | 59.2959 | 59.9389 | 64.9538 | 61.1505 | 61.5049 | 60.217 | 58.2354 | 55.2835 | 54.9812 | 52.1987 | 53.1355 | 52.7397 | 52.4229 | 50.7748 | 49.1985 | 48.3936 | 50.3648 | 49.3526 | 42.7986 | 74.2371 | 69.0665
SEL | 77.6162 | 76.7637 | 76.5369 | 77.2465 | 79.4428 | 77.4099 | 75.7166 | 73.0219 | 71.9081 | 74.5947 | 70.3755 | 71.4594 | 74.2095 | 74.8525 | 79.8674 | 76.0641 | 76.4185 | 75.1306 | 73.149 | 70.1971 | 69.8948 | 67.1123 | 68.0491 | 67.6533 | 67.3365 | 65.6885 | 64.1122 | 63.3073 | 65.2784 | 64.2662 | 57.7122 | 89.1507 | 83.9801
Min | 49.27 | 49.8185 | 50.8997 | 50.8661 | 50.7811 | 48.7472 | 48.6673 | 44.6006 | 42.8095 | 39.1371 | 37.1611 | 37.3923 | 35.9845 | 33.2217 | 32.3034 | 33.5855 | 33.0538 | 33.3843 | 29.2596 | 28.1464 | 27.2516 | 25.535 | 25.3785 | 25.2808 | 22.4675 | 19.971 | 19.1082 | 18.4355 | 17.7994 | 18.6423 | 19.6948
Max | 71.7385 | 71.0632 | 68.7598 | 72.5182 | 75.2394 | 70.4037 | 70.356 | 66.8121 | 67.2303 | 73.0031 | 66.4878 | 67.4016 | 69.966 | 70.6665 | 76.8337 | 71.9048 | 72.8598 | 70.1708 | 69.1069 | 65.987 | 66.7273 | 64.2171 | 65.597 | 64.2914 | 65.1929 | 62.2667 | 60.0555 | 60.4606 | 64.162 | 63.5854 | 56.3918
At Max (LIN) | 68.8408 | 65.5422 | 68.7598 | 64.2734 | 75.2394 | 63.1713 | 63.7052 | 63.705 | 62.6404 | 71.8438 | 61.8587 | 65.5224 | 68.6329 | 67.4337 | 76.8337 | 71.0337 | 68.6246 | 68.1725 | 66.8992 | 63.8275 | 63.3949 | 61.6271 | 63.108 | 61.9104 | 62.3482 | 61.1379 | 54.2566 | 52.3882 | 49.2528 | 44.9609 | 38.5181 | 82.7779 | 78.4828
At Max (A) | 62.8877 | 68.0025 | 65.4181 | 72.5182 | 68.4412 | 67.8458 | 68.0214 | 65.1087 | 64.2908 | 70.933 | 65.4144 | 67.4016 | 69.6612 | 70.5233 | 73.4395 | 70.8525 | 72.7865 | 69.7896 | 68.8527 | 65.7969 | 63.6732 | 61.2343 | 62.8534 | 60.8654 | 59.855 | 58.282 | 57.9971 | 59.6105 | 63.1321 | 62.6383 | 56.3918 | 82.6813 | 78.9108

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 17.6167 | 14.7645 | 12.0308 | 11.9841 | 10.6804 | 8.2317 | 6.3062 | 5.0759 | 4.8723 | 4.7553 | 5.065 | 5.4589 | 5.7496 | 5.9695 | 6.2148 | 6.7637 | 7.3146 | 7.8295 | 8.4552 | 9.0674 | 9.7672 | 10.6123 | 11.4743 | 12.5461 | 13.6297 | 14.3636 | 15.3227 | 16.5403 | 17.5772 | 18.7879 | 20.3187 | 27.954 | 24.1763
SEL | 32.5304 | 29.6781 | 26.9444 | 26.8977 | 25.594 | 23.1453 | 21.2198 | 19.9895 | 19.7859 | 19.6689 | 19.9786 | 20.3725 | 20.6632 | 20.8831 | 21.1285 | 21.6773 | 22.2282 | 22.7431 | 23.3688 | 23.981 | 24.6808 | 25.5259 | 26.3879 | 27.4597 | 28.5433 | 29.2773 | 30.2363 | 31.4539 | 32.4908 | 33.7015 | 35.2323 | 42.8676 | 39.0899
Min | 3.7379 | 1.1465 | -1.1029 | 0.065495 | -2.1745 | -1.1094 | -1.4818 | -1.3412 | -0.53014 | -0.32706 | 0.48965 | 0.49745 | 1.5965 | 2.8262 | 2.9721 | 4.8017 | 5.6901 | 6.358 | 6.9135 | 7.7512 | 8.7324 | 9.6171 | 10.5547 | 11.5355 | 12.809 | 13.4445 | 14.5586 | 15.7418 | 16.9608 | 17.8771 | 19.6112
Max | 25.3456 | 22.2069 | 19.2813 | 20.3242 | 21.6042 | 17.8897 | 14.0838 | 12.7355 | 13.5599 | 13.6703 | 12.3113 | 13.1343 | 10.8668 | 11.975 | 11.6858 | 10.2144 | 9.0716 | 9.26 | 10.5484 | 10.2442 | 10.8746 | 11.6314 | 12.3781 | 13.3178 | 14.4643 | 15.412 | 15.9424 | 17.6951 | 18.2185 | 19.6314 | 20.9658
At Max (LIN) | 25.3456 | 19.0431 | 18.918 | 14.133 | 13.023 | 9.7892 | 8.6934 | 7.8371 | 5.011 | 4.7672 | 3.6234 | 4.4664 | 5.5129 | 5.46 | 6.3672 | 6.6857 | 7.4622 | 8.219 | 9.6169 | 9.2364 | 10.1715 | 10.7825 | 11.1907 | 12.3329 | 13.8514 | 14.718 | 15.5847 | 16.612 | 17.5961 | 18.803 | 20.5158 | 30.2581 | 24.3293
At Max (A) | 17.5144 | 12.6386 | 14.2738 | 15.8581 | 20.8738 | 17.1595 | 13.8788 | 8.9175 | 13.5599 | 13.6703 | 11.6788 | 13.1343 | 10.8668 | 11.5829 | 9.6456 | 8.7119 | 8.0177 | 8.7615 | 8.7907 | 9.5122 | 10.6757 | 10.1747 | 12.106 | 12.5248 | 14.1526 | 15.0063 | 15.4472 | 16.8467 | 18.0573 | 18.9274 | 20.6123 | 29.8046 | 24.7495

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 95.3396 | 98.849 | 100.9109 | 104.5779 | 106.2475 | 100.942 | 97.7804 | 98.4876 | 101.4696 | 107.4431 | 111.1409 | 113.5009 | 118.685 | 121.6305 | 127.9255 | 124.8721 | 124.8392 | 127.5555 | 126.5249 | 120.8525 | 116.901 | 116.6296 | 119.5693 | 121.9178 | 127.135 | 130.1358 | 124.2735 | 129.277 | 123.2229 | 116.5359 | 109.4717 | 137.719 | 136.8774
SEL | 110.2533 | 113.7626 | 115.8245 | 119.4915 | 121.1611 | 115.8556 | 112.694 | 113.4012 | 116.3832 | 122.3568 | 126.0545 | 128.4146 | 133.5986 | 136.5442 | 142.8391 | 139.7858 | 139.7528 | 142.4691 | 141.4385 | 135.7662 | 131.8147 | 131.5432 | 134.4829 | 136.8315 | 142.0486 | 145.0494 | 139.1871 | 144.1906 | 138.1365 | 131.4495 | 124.3854 | 152.6326 | 151.791
Min | 56.7719 | 58.6263 | 59.889 | 60.2472 | 59.2414 | 62.7816 | 62.8323 | 64.2394 | 64.6309 | 66.6264 | 66.5811 | 66.4842 | 69.157 | 70.4841 | 71.5446 | 72.1892 | 73.4513 | 74.338 | 75.8046 | 76.2383 | 77.6567 | 78.7024 | 80.0621 | 80.8633 | 81.8049 | 82.8125 | 83.7203 | 84.9058 | 86.1514 | 87.2239 | 88.8146
Max | 109.5418 | 111.9524 | 114.6484 | 119.8409 | 121.2074 | 115.5597 | 112.524 | 113.5914 | 117.3588 | 123.588 | 127.067 | 129.9352 | 133.6546 | 136.4527 | 142.7763 | 139.4333 | 138.3307 | 140.07 | 139.582 | 134.611 | 130.3097 | 129.7569 | 132.9895 | 136.6022 | 140.5262 | 142.2681 | 136.5531 | 144.8627 | 136.2836 | 130.6937 | 123.7909
At Max (LIN) | 98.6101 | 109.7096 | 111.8333 | 112.6097 | 115.3591 | 104.5958 | 105.8671 | 110.2939 | 111.6709 | 118.4398 | 121.1938 | 125.3237 | 129.6953 | 133.1771 | 139.8423 | 135.9116 | 137.3155 | 139.8108 | 139.5808 | 133.8047 | 128.9142 | 127.6596 | 130.4189 | 133.287 | 139.3834 | 139.9015 | 136.5531 | 144.8627 | 135.8426 | 125.2269 | 120.2945 | 150.2587 | 149.2069
At Max (A) | 98.6101 | 109.7096 | 111.8333 | 112.6097 | 115.3591 | 104.5958 | 105.8671 | 110.2939 | 111.6709 | 118.4398 | 121.1938 | 125.3237 | 129.6953 | 133.1771 | 139.8423 | 135.9116 | 137.3155 | 139.8108 | 139.5808 | 133.8047 | 128.9142 | 127.6596 | 130.4189 | 133.287 | 139.3834 | 139.9015 | 136.5531 | 144.8627 | 135.8426 | 125.2269 | 120.2945 | 150.2587 | 149.2069

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.5194 | 69.4416 | 77.986 | 99.433 | 84.3552 | 92.8996 | 32.4855 | 8.5445 | 92.0646 | 72.7191 | 80.2852 | 37.3497 | 84.8795 | 63.4445 | 87.4239 | 75.625 | 78.5172 | 37.3497 | 82.4039 | 70.3873 | 72.4799 | 3.0383 | 94.4315 | 66.9488 | 81.5851 | 28.5922 | 87.2669 | 66.7113 | 99.0382 | 92.6214 | 95.3508

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 75.6308 | 68.9461 | 73.2189 | 90.5445 | 83.8597 | 88.1326 | 18.3787 | 4.2728 | 83.2675 | 57.6369 | 79.1508 | 43.4639 | 82.3231 | 60.4943 | 82.1778 | 57.6369 | 77.8751 | 44.1076 | 81.1856 | 62.1377 | 71.2867 | 2.3406 | 84.4412 | 48.8794 | 79.6757 | 35.3757 | 83.2024 | 53.712 | 95.3232 | 91.5246 | 94.1301

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 31.5785 | 24.0711 | 24.41 | 46.4921 | 38.9847 | 39.3236 | -1.1614 | 0.33884 | 37.3381 | 27.6741 | 24.6275 | 23.5368 | 28.1291 | 22.7489 | 33.9961 | 29.4766 | 24.3347 | 23.6962 | 26.3048 | 23.1918 | 24.3579 | 0.2868 | 39.9119 | 21.1634 | 24.7658 | 15.4315 | 30.614 | 14.4837 | 47.618 | 37.9686 | 42.0606

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 137.5005 | 136.6305 | 136.2888 | 152.4141 | 151.5442 | 151.2024 | -1.4798 | -0.34178 | 150.013 | 96.2267 | 148.9128 | 92.4615 | 149.1961 | 91.2554 | 147.3139 | 96.4694 | 146.4543 | 92.4615 | 146.3254 | 91.2554 | 141.0475 | 4.4169 | 152.0884 | 88.1446 | 150.4107 | 83.704 | 150.8977 | 82.4979 | 168.0693 | 165.8799 | 167.7788