## Kåhögsgård 1 dag22
Measurement Name | Kåhögsgård 1 dag22 (Normal Range)
Time of run | 2020-06-24 11:16:56 (1592993816)
Duration | 40.12 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.6212 | 69.5365 | 70.396 | 71.6299 | 70.1857 | 68.9548 | 70.1894 | 67.6566 | 65.0944 | 65.0275 | 66.5853 | 70.3739 | 72.789 | 77.8503 | 83.1264 | 86.4547 | 89.1065 | 88.8265 | 84.9988 | 85.8409 | 83.6228 | 81.4827 | 76.5024 | 74.7185 | 71.9999 | 70.0687 | 67.8585 | 66.5184 | 66.236 | 62.4063 | 56.948 | 95.5575 | 95.2163
SEL | 86.6526 | 85.5679 | 86.4275 | 87.6613 | 86.2171 | 84.9862 | 86.2209 | 83.6881 | 81.1259 | 81.0589 | 82.6167 | 86.4053 | 88.8205 | 93.8817 | 99.1579 | 102.4861 | 105.1379 | 104.8579 | 101.0302 | 101.8723 | 99.6543 | 97.5141 | 92.5339 | 90.7499 | 88.0314 | 86.1002 | 83.89 | 82.5498 | 82.2674 | 78.4377 | 72.9795 | 111.589 | 111.2478
Min | 42.6815 | 49.5908 | 48.6805 | 50.3126 | 46.9536 | 48.9943 | 38.0935 | 35.0969 | 33.0701 | 30.3704 | 26.2131 | 31.8848 | 30.4275 | 31.0608 | 37.5481 | 41.7292 | 47.1298 | 50.2364 | 53.6849 | 48.3789 | 45.0699 | 43.1427 | 38.6512 | 34.7346 | 32.1258 | 39.2157 | 28.1481 | 34.6313 | 43.9676 | 40.5738 | 33.116
Max | 81.468 | 81.0317 | 85.4107 | 82.8579 | 81.8956 | 81.8472 | 80.4546 | 78.2591 | 76.3121 | 79.4355 | 78.2113 | 82.0502 | 81.4042 | 85.1387 | 89.9472 | 93.4139 | 95.1511 | 94.8339 | 93.9976 | 93.8758 | 92.6439 | 89.8186 | 85.5564 | 82.7641 | 83.6644 | 82.1663 | 82.3657 | 80.1317 | 78.4246 | 75.1454 | 69.9794
At Max (LIN) | 72.5689 | 68.6743 | 70.6305 | 76.1193 | 70.5139 | 65.4777 | 69.0367 | 67.9596 | 62.8832 | 60.7781 | 65.5254 | 70.3785 | 73.91 | 83.7536 | 89.2416 | 88.3595 | 95.1511 | 94.4635 | 92.8255 | 88.9805 | 91.8921 | 88.7252 | 83.6292 | 79.9619 | 78.0193 | 75.2815 | 72.3176 | 70.0148 | 67.1585 | 61.6625 | 53.0139 | 101.2842 | 101.2203
At Max (A) | 69.8166 | 69.1655 | 72.8322 | 73.1509 | 70.8338 | 69.8207 | 71.5704 | 67.2607 | 63.885 | 64.3305 | 66.5213 | 71.9732 | 75.3366 | 80.7536 | 88.3645 | 90.6063 | 93.214 | 93.1547 | 93.2106 | 91.0509 | 92.6439 | 89.5309 | 85.2549 | 81.5723 | 78.748 | 76.4047 | 73.1087 | 71.09 | 69.6037 | 64.334 | 56.4371 | 101.1476 | 101.2557

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.9435 | 69.6264 | 68.7753 | 70.2141 | 67.6528 | 65.6278 | 65.5558 | 65.0837 | 65.5757 | 66.1538 | 67.2701 | 69.251 | 71.7949 | 77.6931 | 84.0428 | 88.258 | 89.9044 | 89.0365 | 85.374 | 85.981 | 82.6644 | 80.4286 | 75.2023 | 73.9971 | 72.3639 | 68.6192 | 66.6831 | 64.2995 | 62.167 | 57.9314 | 52.0792 | 95.9987 | 95.5489
SEL | 85.975 | 85.6578 | 84.8067 | 86.2455 | 83.6842 | 81.6592 | 81.5873 | 81.1152 | 81.6071 | 82.1852 | 83.3015 | 85.2824 | 87.8263 | 93.7246 | 100.0742 | 104.2894 | 105.9358 | 105.0679 | 101.4054 | 102.0124 | 98.6958 | 96.46 | 91.2337 | 90.0286 | 88.3953 | 84.6507 | 82.7146 | 80.3309 | 78.1984 | 73.9629 | 68.1107 | 112.0302 | 111.5803
Min | 41.3952 | 48.9649 | 46.8631 | 49.5817 | 47.3709 | 44.9436 | 35.1388 | 35.1489 | 36.0253 | 34.2477 | 36.6575 | 39.0734 | 36.802 | 40.1247 | 43.491 | 47.5716 | 52.0143 | 53.7861 | 53.6632 | 49.8984 | 47.9446 | 46.3328 | 44.0443 | 38.2 | 32.915 | 40.8602 | 29.8127 | 34.5644 | 38.427 | 38.3906 | 27.4359
Max | 82.5336 | 81.887 | 83.1906 | 81.2991 | 79.1418 | 77.435 | 76.5085 | 74.2974 | 77.0797 | 78.2019 | 77.4454 | 80.533 | 79.5335 | 84.4714 | 90.2634 | 95.098 | 95.9374 | 95.0616 | 93.5623 | 93.1445 | 91.5853 | 89.1511 | 84.6883 | 82.7019 | 84.3297 | 81.5058 | 81.8281 | 78.1021 | 75.4821 | 71.6915 | 67.4839
At Max (LIN) | 62.2849 | 60.0714 | 62.1387 | 68.3843 | 64.7939 | 61.7661 | 64.0443 | 66.6261 | 65.7654 | 63.8751 | 67.0062 | 70.6781 | 74.583 | 81.0913 | 89.0147 | 90.4179 | 93.835 | 93.8946 | 93.5037 | 91.1391 | 91.5853 | 88.8166 | 84.0628 | 80.1077 | 78.587 | 74.7821 | 71.7402 | 68.4958 | 65.0053 | 58.6118 | 50.9811 | 101.2055 | 101.2503
At Max (A) | 62.2849 | 60.0714 | 62.1387 | 68.3843 | 64.7939 | 61.7661 | 64.0443 | 66.6261 | 65.7654 | 63.8751 | 67.0062 | 70.6781 | 74.583 | 81.0913 | 89.0147 | 90.4179 | 93.835 | 93.8946 | 93.5037 | 91.1391 | 91.5853 | 88.8166 | 84.0628 | 80.1077 | 78.587 | 74.7821 | 71.7402 | 68.4958 | 65.0053 | 58.6118 | 50.9811 | 101.2055 | 101.2503

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 19.385 | 18.2714 | 17.4355 | 17.4083 | 17.0613 | 17.4092 | 17.9835 | 18.7426 | 19.3888 | 20.2705 | 20.8767 | 21.6596 | 22.5834 | 23.206 | 24.0934 | 24.9205 | 25.6711 | 26.3818 | 27.1691 | 27.8995 | 28.8461 | 30.1806 | 30.6023 | 31.6751 | 32.7289 | 33.5651 | 34.5032 | 35.6159 | 36.7027 | 38.0122 | 39.6905 | 45.9361 | 43.2631
SEL | 35.4165 | 34.3028 | 33.4669 | 33.4397 | 33.0927 | 33.4406 | 34.015 | 34.774 | 35.4202 | 36.3019 | 36.9082 | 37.6911 | 38.6148 | 39.2374 | 40.1249 | 40.9519 | 41.7025 | 42.4133 | 43.2005 | 43.9309 | 44.8776 | 46.212 | 46.6337 | 47.7065 | 48.7603 | 49.5966 | 50.5347 | 51.6473 | 52.7342 | 54.0436 | 55.7219 | 61.9675 | 59.2945
Min | 6.1284 | 7.9836 | 7.9586 | 10.3627 | 10.7231 | 11.712 | 13.0514 | 13.1181 | 15.1763 | 16.479 | 17.5047 | 18.5991 | 19.8993 | 20.963 | 22.0174 | 22.9401 | 23.9364 | 24.9938 | 25.3763 | 26.858 | 27.6042 | 29.1335 | 29.5724 | 30.8509 | 31.8844 | 33.026 | 33.9305 | 34.9336 | 36.1308 | 37.3602 | 38.9976
Max | 25.7884 | 24.4547 | 23.4388 | 24.0933 | 22.7661 | 21.7474 | 23.2437 | 22.5861 | 22.8632 | 23.9041 | 23.8612 | 24.8056 | 24.7296 | 24.9985 | 26.4133 | 26.488 | 27.0998 | 27.7816 | 28.3849 | 29.1347 | 30.0212 | 31.235 | 31.4331 | 32.4587 | 33.4109 | 34.2244 | 35.0244 | 36.1924 | 37.4215 | 38.5515 | 40.1907
At Max (LIN) | 20.317 | 15.9243 | 18.4406 | 21.3318 | 18.9483 | 18.7379 | 20.6364 | 18.9848 | 21.9421 | 20.1607 | 19.7421 | 24.553 | 23.4241 | 23.6324 | 24.8793 | 24.7557 | 26.0939 | 26.1913 | 27.639 | 28.1996 | 29.0443 | 30.3384 | 30.8902 | 32.389 | 32.767 | 33.8141 | 34.9091 | 36.0528 | 37.1556 | 38.3763 | 39.898 | 46.2914 | 43.5922
At Max (A) | 20.317 | 15.9243 | 18.4406 | 21.3318 | 18.9483 | 18.7379 | 20.6364 | 18.9848 | 21.9421 | 20.1607 | 19.7421 | 24.553 | 23.4241 | 23.6324 | 24.8793 | 24.7557 | 26.0939 | 26.1913 | 27.639 | 28.1996 | 29.0443 | 30.3384 | 30.8902 | 32.389 | 32.767 | 33.8141 | 34.9091 | 36.0528 | 37.1556 | 38.3763 | 39.898 | 46.2914 | 43.5922

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 103.9779 | 103.2674 | 104.9969 | 106.7339 | 106.3701 | 107.7098 | 110.5639 | 115.747 | 116.0657 | 118.0047 | 123.1825 | 128.4822 | 136.2729 | 143.1373 | 150.7843 | 155.7456 | 158.2509 | 155.8633 | 153.5114 | 153.6743 | 150.5459 | 149.3073 | 147.8844 | 146.7726 | 144.9267 | 145.0052 | 143.7413 | 146.8114 | 139.4606 | 129.816 | 124.962 | 163.9534 | 163.6575
SEL | 120.0094 | 119.2989 | 121.0284 | 122.7654 | 122.4015 | 123.7413 | 126.5954 | 131.7784 | 132.0971 | 134.0362 | 139.2139 | 144.5137 | 152.3043 | 159.1687 | 166.8157 | 171.7771 | 174.2823 | 171.8947 | 169.5428 | 169.7057 | 166.5773 | 165.3387 | 163.9158 | 162.804 | 160.9582 | 161.0367 | 159.7728 | 162.8429 | 155.4921 | 145.8475 | 140.9934 | 179.9849 | 179.6889
Min | 57.0307 | 54.8698 | 59.2382 | 59.1818 | 59.1079 | 61.5437 | 62.9428 | 64.0528 | 65.2909 | 66.4124 | 67.9301 | 69.2121 | 70.6256 | 71.0339 | 71.3651 | 74.4115 | 88.1571 | 98.7303 | 112.6431 | 99.3916 | 86.2112 | 97.6457 | 97.141 | 103.4438 | 103.4988 | 111.0364 | 111.4032 | 116.4526 | 119.0123 | 116.8325 | 105.3526
Max | 117.2954 | 114.5555 | 118.2642 | 118.5552 | 120.2856 | 119.8968 | 126.3789 | 134.2396 | 135.7524 | 132.4598 | 135.3214 | 138.8834 | 145.7617 | 153.1158 | 157.8943 | 163.0578 | 165.8412 | 164.5471 | 161.7885 | 160.8181 | 157.7323 | 157.1765 | 155.9509 | 154.4233 | 152.5793 | 153.4931 | 150.8174 | 154.021 | 146.9301 | 140.4243 | 139.7197
At Max (LIN) | 111.4409 | 111.6822 | 111.1754 | 111.795 | 110.9891 | 105.2018 | 114.2333 | 117.9955 | 119.2569 | 124.7803 | 129.1642 | 134.7684 | 140.1251 | 147.3353 | 155.7174 | 159.8126 | 164.7649 | 164.4033 | 160.3196 | 159.3176 | 156.0677 | 154.9275 | 153.7404 | 152.5311 | 151.3467 | 150.3656 | 148.2158 | 150.7264 | 142.1647 | 130.4328 | 124.3757 | 170.278 | 170.1091
At Max (A) | 111.4409 | 111.6822 | 111.1754 | 111.795 | 110.9891 | 105.2018 | 114.2333 | 117.9955 | 119.2569 | 124.7803 | 129.1642 | 134.7684 | 140.1251 | 147.3353 | 155.7174 | 159.8126 | 164.7649 | 164.4033 | 160.3196 | 159.3176 | 156.0677 | 154.9275 | 153.7404 | 152.5311 | 151.3467 | 150.3656 | 148.2158 | 150.7264 | 142.1647 | 130.4328 | 124.3757 | 170.278 | 170.1091

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 95.4749 | 95.0756 | 95.3008 | 111.5086 | 111.1092 | 111.3344 | 3.4743 | 0.2252 | 101.3181 | 62.6838 | 101.2267 | 58.7842 | 101.1551 | 60.5344 | 99.7714 | 64.2135 | 99.6368 | 62.147 | 99.6098 | 63.8577 | 96.8983 | 1.8227 | 102.3052 | 56.056 | 102.1978 | 54.7097 | 102.2057 | 56.7208 | 113.1044 | 113.244 | 113.1201

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 95.9281 | 95.4282 | 95.7866 | 111.9617 | 111.4618 | 111.8202 | -0.29318 | 0.35841 | 101.2581 | 62.8069 | 101.2934 | 60.5415 | 101.197 | 61.4772 | 99.9159 | 64.7391 | 99.6898 | 62.9316 | 99.8643 | 64.5554 | 97.2297 | 1.8015 | 101.8509 | 57.3027 | 101.8398 | 55.8107 | 101.8248 | 58.1249 | 113.3089 | 113.9848 | 113.2704

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6589 | 43.1047 | 41.8776 | 62.6925 | 59.1383 | 57.9112 | -1.2186 | -1.2271 | 47.3336 | 45.7707 | 43.4093 | 42.5511 | 42.2321 | 41.5835 | 46.8417 | 45.7707 | 43.2391 | 42.5511 | 42.0127 | 41.7794 | 43.3437 | 0.23902 | 47.9224 | 37.0132 | 43.6647 | 33.7936 | 42.4289 | 33.2193 | 60.8609 | 57.6105 | 55.5841

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 163.791 | 163.5213 | 163.6219 | 179.8246 | 179.555 | 179.6555 | -1.3969 | 0.1006 | 170.4087 | 123.6318 | 170.2312 | 120.8382 | 170.3223 | 119.2767 | 168.2882 | 125.9997 | 167.9928 | 123.9497 | 168.1761 | 122.7755 | 166.5616 | 3.0402 | 171.6678 | 118.2165 | 171.6295 | 116.4173 | 171.5725 | 115.3903 | 184.2608 | 184.9564 | 183.665