## Kåhögsgård 1 dag26
Measurement Name | Kåhögsgård 1 dag26 (Normal Range)
Time of run | 2020-06-24 11:51:35 (1592995895)
Duration | 18.58 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 65.8372 | 60.8214 | 64.3438 | 65.1392 | 71.7212 | 64.939 | 63.2513 | 62.2187 | 59.4665 | 58.454 | 57.5421 | 60.3931 | 64.3643 | 64.0929 | 65.435 | 66.4203 | 68.6806 | 67.9187 | 64.6292 | 62.6698 | 61.8004 | 58.4357 | 53.6866 | 55.4938 | 52.0534 | 52.8253 | 49.929 | 50.0713 | 48.6313 | 42.8978 | 35.4531 | 78.5119 | 74.5451
SEL | 78.5089 | 73.4931 | 77.0155 | 77.8109 | 84.3929 | 77.6107 | 75.923 | 74.8904 | 72.1382 | 71.1257 | 70.2139 | 73.0648 | 77.036 | 76.7646 | 78.1067 | 79.092 | 81.3523 | 80.5904 | 77.301 | 75.3416 | 74.4721 | 71.1074 | 66.3583 | 68.1655 | 64.7252 | 65.497 | 62.6008 | 62.743 | 61.303 | 55.5695 | 48.1248 | 91.1836 | 87.2168
Min | 42.6931 | 44.1657 | 43.1549 | 45.5334 | 44.1123 | 44.4561 | 37.1575 | 34.3464 | 30.6116 | 29.285 | 26.8739 | 26.2047 | 27.3294 | 28.7808 | 31.4699 | 33.9417 | 38.2089 | 38.147 | 41.7149 | 34.7249 | 30.1599 | 28.47 | 25.0854 | 23.228 | 19.991 | 30.8739 | 21.4777 | 30.3981 | 38.7548 | 35.2802 | 27.1381
Max | 80.794 | 73.0166 | 77.0116 | 79.3779 | 83.8143 | 76.7546 | 75.3919 | 74.5465 | 70.5218 | 70.7781 | 68.281 | 71.7524 | 76.0561 | 74.5934 | 75.7552 | 77.6058 | 79.5101 | 78.5195 | 74.2314 | 72.7789 | 71.887 | 68.4107 | 63.7373 | 65.9724 | 62.0285 | 62.7896 | 59.8175 | 58.9961 | 56.1293 | 50.3185 | 43.5573
At Max (LIN) | 67.7186 | 66.0758 | 72.3591 | 69.9745 | 83.8143 | 74.0252 | 68.8622 | 67.6138 | 64.2161 | 63.5598 | 64.1967 | 66.4543 | 71.3955 | 73.7253 | 74.2714 | 75.6945 | 79.5101 | 76.9639 | 74.2314 | 72.392 | 70.3977 | 67.5072 | 61.7756 | 62.8332 | 60.3616 | 60.3058 | 57.9016 | 57.5121 | 55.0868 | 49.7143 | 41.7563 | 88.0371 | 84.0641
At Max (A) | 67.5318 | 69.0128 | 69.1387 | 71.568 | 80.7237 | 71.8945 | 68.3246 | 68.2461 | 67.1638 | 65.6912 | 65.5582 | 67.9134 | 71.8173 | 72.1783 | 75.631 | 76.7676 | 79.2891 | 78.5195 | 74.0588 | 71.5129 | 70.4658 | 67.065 | 61.666 | 62.836 | 59.598 | 60.0497 | 58.1035 | 57.0317 | 54.3918 | 48.6955 | 40.738 | 87.2951 | 84.4141

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.9654 | 59.6112 | 61.6197 | 62.6197 | 68.4118 | 63.8672 | 59.7762 | 58.334 | 59.3553 | 58.6806 | 58.5917 | 58.9845 | 61.7247 | 64.0753 | 66.5405 | 67.5774 | 68.9084 | 68.6567 | 64.8154 | 62.8693 | 59.788 | 56.724 | 51.796 | 53.0939 | 52.8323 | 50.9005 | 49.1232 | 48.1215 | 44.6066 | 39.4489 | 31.8617 | 77.5925 | 74.7423
SEL | 76.6371 | 72.2829 | 74.2915 | 75.2914 | 81.0835 | 76.5389 | 72.4479 | 71.0058 | 72.027 | 71.3523 | 71.2634 | 71.6562 | 74.3964 | 76.747 | 79.2122 | 80.2491 | 81.5802 | 81.3285 | 77.4871 | 75.541 | 72.4597 | 69.3957 | 64.4677 | 65.7657 | 65.504 | 63.5723 | 61.7949 | 60.7932 | 57.2783 | 52.1206 | 44.5335 | 90.2642 | 87.414
Min | 45.8912 | 43.2028 | 43.9805 | 45.3931 | 44.341 | 43.8689 | 36.4445 | 36.3294 | 34.6755 | 33.4699 | 33.0533 | 34.1496 | 33.3185 | 34.7518 | 36.0725 | 37.8033 | 41.7084 | 41.0101 | 42.3669 | 36.8143 | 33.473 | 32.0246 | 29.1188 | 25.9509 | 22.03 | 29.4525 | 22.2173 | 30.0988 | 33.1974 | 30.9967 | 22.7556
Max | 78.3711 | 70.7715 | 73.8901 | 75.1036 | 80.3062 | 76.1814 | 71.4149 | 69.4709 | 70.9333 | 69.4894 | 68.9463 | 69.453 | 73.3556 | 75.0619 | 77.7099 | 80.5018 | 80.3983 | 78.8443 | 75.4572 | 73.6035 | 69.6181 | 66.5825 | 61.4103 | 63.2683 | 63.0489 | 60.7734 | 58.791 | 56.2529 | 52.4822 | 47.1015 | 40.0688
At Max (LIN) | 70.9271 | 63.9487 | 68.9148 | 63.0473 | 74.7561 | 75.9815 | 67.3716 | 66.2869 | 67.0016 | 66.0397 | 64.6852 | 65.2167 | 67.1438 | 73.7133 | 76.9149 | 78.2658 | 80.0091 | 78.8443 | 75.4572 | 72.5905 | 68.7376 | 64.7107 | 59.1404 | 60.1312 | 60.0626 | 58.0359 | 57.0343 | 55.3369 | 51.8274 | 45.8483 | 38.0803 | 87.0693 | 85.0353
At Max (A) | 63.7188 | 59.1262 | 67.2024 | 66.7769 | 74.8451 | 67.0602 | 62.1371 | 59.4676 | 61.369 | 62.4572 | 63.6027 | 64.7318 | 67.0546 | 73.0138 | 76.8326 | 80.5018 | 80.3983 | 78.0584 | 73.7869 | 73.6035 | 68.2398 | 65.1156 | 58.7591 | 59.1749 | 58.0784 | 56.0493 | 54.4661 | 53.0118 | 48.8569 | 42.99 | 35.5297 | 86.8013 | 85.214

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 19.4533 | 17.9754 | 17.0784 | 17.3354 | 17.7126 | 17.6369 | 18.2355 | 18.8338 | 19.6992 | 20.1527 | 20.7452 | 21.7737 | 22.5242 | 23.098 | 23.8752 | 24.6478 | 25.4452 | 26.2452 | 27.0991 | 27.9921 | 28.9467 | 30.0998 | 30.7697 | 31.8158 | 32.718 | 33.4835 | 34.4499 | 35.6283 | 36.8123 | 38.0154 | 39.6281 | 45.9315 | 43.271
SEL | 32.125 | 30.6471 | 29.7501 | 30.0071 | 30.3843 | 30.3086 | 30.9072 | 31.5055 | 32.3709 | 32.8244 | 33.4169 | 34.4454 | 35.1959 | 35.7697 | 36.5469 | 37.3195 | 38.117 | 38.9169 | 39.7708 | 40.6638 | 41.6184 | 42.7715 | 43.4415 | 44.4875 | 45.3898 | 46.1553 | 47.1216 | 48.3001 | 49.484 | 50.6871 | 52.2999 | 58.6032 | 55.9427
Min | 7.6722 | 10.5857 | 9.5905 | 9.2207 | 11.219 | 12.0083 | 13.709 | 13.1913 | 14.2897 | 16.2433 | 18.0085 | 18.2102 | 20.0916 | 20.7894 | 21.3836 | 23.0441 | 23.0813 | 24.733 | 25.7643 | 26.6928 | 27.4148 | 29.0575 | 29.5082 | 30.6928 | 31.6037 | 32.2252 | 33.6369 | 34.7027 | 35.9131 | 37.2402 | 38.8781
Max | 26.5321 | 22.4428 | 21.9295 | 23.5938 | 21.8845 | 23.3024 | 23.5372 | 23.0032 | 23.9038 | 23.4476 | 23.9638 | 24.3374 | 24.9653 | 25.0151 | 25.8167 | 26.4809 | 27.7973 | 27.8559 | 29.148 | 29.1487 | 30.4517 | 31.1527 | 31.6717 | 32.9577 | 33.6076 | 34.2999 | 35.0442 | 36.4181 | 37.4586 | 38.754 | 40.3018
At Max (LIN) | 17.8194 | 16.3974 | 14.9399 | 21.5865 | 21.5621 | 18.1903 | 15.7359 | 17.6805 | 22.2147 | 19.2167 | 21.0106 | 22.9953 | 23.6861 | 23.1243 | 24.7528 | 24.9882 | 26.0348 | 27.5868 | 27.1603 | 28.5818 | 28.9089 | 30.5851 | 31.2255 | 32.1518 | 33.0173 | 33.7833 | 34.6282 | 35.9963 | 37.2389 | 38.5818 | 40.249 | 46.404 | 43.6593
At Max (A) | 12.0629 | 19.5577 | 15.8666 | 19.1697 | 15.4533 | 16.9661 | 21.4768 | 19.9395 | 18.9511 | 19.7069 | 20.3406 | 20.8405 | 22.6795 | 21.8196 | 24.7101 | 24.9751 | 26.046 | 26.3217 | 27.3307 | 28.1316 | 28.851 | 30.2429 | 31.441 | 32.9577 | 33.6076 | 34.2999 | 34.9217 | 35.9947 | 37.3403 | 38.4705 | 39.645 | 46.3198 | 43.7989

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.3051 | 105.2849 | 103.4079 | 106.4864 | 104.3054 | 102.779 | 100.9575 | 106.4334 | 108.7458 | 105.8052 | 112.4391 | 119.9866 | 125.4787 | 131.3449 | 133.6784 | 136.7268 | 139.692 | 138.0359 | 137.6865 | 135.5142 | 132.8991 | 131.4072 | 129.6121 | 132.8525 | 130.8467 | 132.1953 | 131.6369 | 139.39 | 131.6565 | 118.4065 | 110.9732 | 147.3841 | 146.7846
SEL | 111.9769 | 117.9566 | 116.0796 | 119.1582 | 116.9771 | 115.4507 | 113.6292 | 119.1051 | 121.4175 | 118.4769 | 125.1108 | 132.6583 | 138.1505 | 144.0167 | 146.3501 | 149.3985 | 152.3637 | 150.7076 | 150.3582 | 148.1859 | 145.5708 | 144.0789 | 142.2838 | 145.5243 | 143.5184 | 144.8671 | 144.3086 | 152.0617 | 144.3282 | 131.0782 | 123.6449 | 160.0559 | 159.4563
Min | 58.7947 | 58.9337 | 60.0427 | 59.3557 | 61.6905 | 62.1408 | 60.4916 | 64.0082 | 65.3464 | 66.8263 | 67.8091 | 68.3323 | 69.8666 | 70.7234 | 70.7647 | 72.4272 | 84.4909 | 90.0373 | 102.8033 | 92.2337 | 80.7415 | 84.6057 | 84.169 | 95.4676 | 91.9034 | 104.2181 | 104.3071 | 113.6585 | 115.1412 | 110.6878 | 98.6216
Max | 111.7738 | 118.0609 | 115.0175 | 118.7984 | 116.9772 | 115.677 | 116.3302 | 121.5429 | 123.2327 | 118.5967 | 126.0771 | 133.0438 | 137.0419 | 141.8831 | 144.4072 | 146.7239 | 149.5984 | 150.2642 | 149.1129 | 145.5566 | 143.7548 | 142.674 | 140.5952 | 144.2726 | 142.7013 | 143.8764 | 142.0247 | 150.1511 | 140.7729 | 124.5219 | 118.4435
At Max (LIN) | 102.9439 | 107.0257 | 105.7615 | 117.1232 | 112.9825 | 113.0409 | 116.3302 | 121.5429 | 122.8572 | 116.8711 | 123.7513 | 131.0261 | 135.7793 | 139.823 | 139.1983 | 146.3783 | 149.2761 | 150.2642 | 149.1129 | 144.7653 | 142.7362 | 142.506 | 139.787 | 143.8578 | 142.1113 | 143.607 | 141.321 | 149.668 | 140.1549 | 123.9811 | 117.755 | 157.7529 | 157.3542
At Max (A) | 102.9439 | 107.0257 | 105.7615 | 117.1232 | 112.9825 | 113.0409 | 116.3302 | 121.5429 | 122.8572 | 116.8711 | 123.7513 | 131.0261 | 135.7793 | 139.823 | 139.1983 | 146.3783 | 149.2761 | 150.2642 | 149.1129 | 144.7653 | 142.7362 | 142.506 | 139.787 | 143.8578 | 142.1113 | 143.607 | 141.321 | 149.668 | 140.1549 | 123.9811 | 117.755 | 157.7529 | 157.3542

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.9703 | 74.3651 | 77.581 | 91.6608 | 87.0555 | 90.2714 | 14.2316 | 3.2159 | 89.7306 | 58.4784 | 84.425 | 47.2717 | 87.1251 | 47.3704 | 86.6797 | 58.4784 | 82.4912 | 48.0887 | 85.6529 | 47.3704 | 77.8038 | 3.4387 | 92.2599 | 49.7209 | 85.4164 | 39.3312 | 88.3878 | 38.6129 | 99.7604 | 96.3304 | 99.8501

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.802 | 74.5362 | 76.8711 | 90.4924 | 87.2267 | 89.5615 | 13.2978 | 2.3349 | 87.7156 | 58.4056 | 85.3692 | 48.8555 | 86.9972 | 52.1359 | 85.4772 | 58.5109 | 82.8215 | 50.6984 | 84.8616 | 52.1359 | 79.5961 | 5.0599 | 89.4912 | 49.7685 | 87.7066 | 41.9409 | 89.1837 | 43.3784 | 101.3795 | 98.6255 | 100.5637

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6214 | 43.11 | 41.8749 | 59.3119 | 55.8004 | 54.5654 | -1.374 | -1.235 | 47.4926 | 44.6001 | 43.6176 | 41.9155 | 42.3993 | 40.6742 | 46.9452 | 44.6001 | 43.4134 | 41.9155 | 42.1828 | 40.6742 | 43.3988 | 0.28888 | 47.8989 | 35.8426 | 43.8993 | 33.158 | 42.6304 | 31.9167 | 61.0264 | 57.6201 | 56.3149

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 147.4619 | 146.8778 | 146.6633 | 160.1524 | 159.5682 | 159.3537 | -1.8896 | -0.2145 | 159.0201 | 118.5219 | 158.6987 | 115.491 | 158.2363 | 113.9548 | 156.0437 | 118.5219 | 155.5529 | 115.491 | 155.2801 | 113.9548 | 153.8755 | 6.9977 | 161.8798 | 109.7644 | 161.5053 | 106.7335 | 161.1431 | 105.1973 | 176.8154 | 176.9629 | 175.5987