## Kåhögsgård 1 dag32
Measurement Name | Kåhögsgård 1 dag32 (Normal Range)
Time of run | 2020-06-24 12:38:30 (1592998710)
Duration | 20.78 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.2709 | 66.2157 | 67.6972 | 67.2918 | 73.1272 | 72.5244 | 71.0928 | 64.5579 | 63.8265 | 65.0471 | 68.8752 | 69.5962 | 69.9466 | 69.4413 | 70.9212 | 75.5993 | 78.2424 | 78.8515 | 75.571 | 73.6243 | 72.3613 | 69.0752 | 66.3215 | 65.9828 | 61.8885 | 60.1719 | 58.2527 | 57.5532 | 57.6549 | 54.8136 | 50.5706 | 86.0697 | 84.5869
SEL | 79.4306 | 79.3754 | 80.8569 | 80.4515 | 86.2869 | 85.6841 | 84.2525 | 77.7176 | 76.9862 | 78.2068 | 82.0349 | 82.756 | 83.1063 | 82.601 | 84.0809 | 88.759 | 91.4021 | 92.0112 | 88.7307 | 86.784 | 85.521 | 82.2349 | 79.4812 | 79.1425 | 75.0482 | 73.3316 | 71.4124 | 70.7129 | 70.8146 | 67.9733 | 63.7303 | 99.2294 | 97.7466
Min | 40.0847 | 43.0342 | 44.3273 | 44.7347 | 45.2946 | 40.6422 | 26.4316 | 33.0942 | 32.9856 | 29.4803 | 29.192 | 30.0548 | 29.1398 | 30.1782 | 32.6689 | 35.5607 | 40.2896 | 43.9031 | 48.2385 | 39.8976 | 35.8121 | 31.1052 | 26.7937 | 24.4577 | 24.0299 | 36.3689 | 26.1776 | 34.3397 | 43.4098 | 38.7513 | 31.6683
Max | 78.5642 | 78.8614 | 78.4659 | 78.0634 | 84.7618 | 82.8183 | 82.0128 | 74.7899 | 79.3836 | 79.2226 | 85.148 | 83.5315 | 83.3628 | 79.6227 | 83.0878 | 89.2096 | 91.4508 | 91.3494 | 89.1925 | 86.5915 | 84.3844 | 80.1928 | 78.4055 | 77.5666 | 72.6741 | 71.6491 | 69.8689 | 67.6038 | 65.4005 | 64.1637 | 61.6134
At Max (LIN) | 69.6834 | 70.8913 | 73.3253 | 73.8667 | 82.83 | 78.2633 | 76.4912 | 74.4246 | 75.1098 | 78.9558 | 85.148 | 81.7089 | 81.1446 | 78.7855 | 83.0878 | 88.1766 | 91.4508 | 91.3494 | 89.1925 | 85.0235 | 83.1327 | 78.9635 | 77.9475 | 76.5826 | 71.6987 | 71.1045 | 69.0758 | 67.1421 | 63.3152 | 58.4136 | 51.1203 | 98.0599 | 97.0449
At Max (A) | 69.6834 | 70.8913 | 73.3253 | 73.8667 | 82.83 | 78.2633 | 76.4912 | 74.4246 | 75.1098 | 78.9558 | 85.148 | 81.7089 | 81.1446 | 78.7855 | 83.0878 | 88.1766 | 91.4508 | 91.3494 | 89.1925 | 85.0235 | 83.1327 | 78.9635 | 77.9475 | 76.5826 | 71.6987 | 71.1045 | 69.0758 | 67.1421 | 63.3152 | 58.4136 | 51.1203 | 98.0599 | 97.0449

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.5412 | 63.8468 | 65.4583 | 63.5818 | 69.1575 | 68.7268 | 67.148 | 62.6792 | 61.3784 | 64.3671 | 69.0774 | 68.5399 | 67.3983 | 69.6989 | 72.2067 | 75.7243 | 78.6535 | 78.3594 | 75.3235 | 73.2225 | 70.6499 | 66.8004 | 64.1849 | 63.6213 | 61.6279 | 57.9437 | 56.2523 | 54.6847 | 51.9472 | 48.8295 | 41.898 | 85.3563 | 84.2213
SEL | 77.7009 | 77.0065 | 78.618 | 76.7415 | 82.3172 | 81.8865 | 80.3077 | 75.8389 | 74.5381 | 77.5268 | 82.2371 | 81.6996 | 80.558 | 82.8586 | 85.3664 | 88.884 | 91.8132 | 91.5191 | 88.4832 | 86.3822 | 83.8096 | 79.9601 | 77.3446 | 76.781 | 74.7876 | 71.1034 | 69.412 | 67.8444 | 65.1069 | 61.9893 | 55.0577 | 98.516 | 97.381
Min | 45.0172 | 45.2534 | 44.1324 | 46.2585 | 46.1192 | 42.5435 | 37.828 | 36.9967 | 36.7525 | 34.5733 | 35.7278 | 34.7189 | 35.1524 | 36.8117 | 39.6699 | 40.7518 | 44.675 | 48.2615 | 46.9426 | 40.086 | 39.1966 | 35.717 | 31.2189 | 28.4245 | 25.8262 | 35.393 | 27.4761 | 34.4227 | 36.8584 | 34.6046 | 26.0777
Max | 75.5519 | 75.7575 | 75.7019 | 73.5839 | 79.6466 | 79.7661 | 79.1803 | 74.6944 | 71.8542 | 76.9012 | 81.8279 | 82.1297 | 79.5891 | 81.1103 | 83.1514 | 89.2156 | 92.1876 | 90.9136 | 88.1851 | 85.8859 | 82.4768 | 77.347 | 76.5202 | 74.6562 | 71.9895 | 69.0816 | 67.6617 | 65.0653 | 61.2161 | 57.5046 | 50.2468
At Max (LIN) | 61.8015 | 66.9204 | 67.0932 | 68.5676 | 77.7633 | 77.5754 | 71.4722 | 71.3835 | 70.1783 | 73.7714 | 81.4971 | 77.1933 | 75.2421 | 77.6163 | 82.0723 | 88.7964 | 92.1876 | 90.9136 | 86.5773 | 84.2416 | 79.1209 | 73.1032 | 73.0585 | 70.377 | 67.9686 | 64.942 | 62.7932 | 60.966 | 56.1371 | 51.147 | 44.2416 | 97.1241 | 96.3029
At Max (A) | 61.8015 | 66.9204 | 67.0932 | 68.5676 | 77.7633 | 77.5754 | 71.4722 | 71.3835 | 70.1783 | 73.7714 | 81.4971 | 77.1933 | 75.2421 | 77.6163 | 82.0723 | 88.7964 | 92.1876 | 90.9136 | 86.5773 | 84.2416 | 79.1209 | 73.1032 | 73.0585 | 70.377 | 67.9686 | 64.942 | 62.7932 | 60.966 | 56.1371 | 51.147 | 44.2416 | 97.1241 | 96.3029

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.1034 | 19.0609 | 18.5515 | 18.1634 | 17.9867 | 17.916 | 18.3922 | 18.7912 | 19.618 | 20.2446 | 21.0115 | 21.8288 | 22.7422 | 23.4044 | 24.0154 | 24.869 | 25.468 | 26.3811 | 27.152 | 27.8989 | 28.835 | 30.1508 | 30.6031 | 31.6433 | 32.6901 | 33.5535 | 34.5438 | 35.6616 | 36.7122 | 38.0365 | 39.6856 | 45.9548 | 43.2604
SEL | 34.2631 | 32.2206 | 31.7112 | 31.3231 | 31.1464 | 31.0757 | 31.5519 | 31.9509 | 32.7777 | 33.4043 | 34.1712 | 34.9885 | 35.9019 | 36.5641 | 37.1751 | 38.0288 | 38.6277 | 39.5408 | 40.3117 | 41.0586 | 41.9947 | 43.3105 | 43.7628 | 44.803 | 45.8498 | 46.7132 | 47.7035 | 48.8213 | 49.8719 | 51.1962 | 52.8453 | 59.1145 | 56.4201
Min | 9.6104 | 9.2971 | 9.3633 | 9.5516 | 10.3442 | 9.849 | 13.633 | 14.6236 | 15.6181 | 16.5772 | 17.6373 | 18.5695 | 19.9335 | 20.6276 | 22.2714 | 22.9912 | 23.7749 | 24.8897 | 25.6829 | 26.7501 | 27.1698 | 29.3239 | 29.6405 | 30.9126 | 31.9636 | 32.9967 | 34.0147 | 34.8284 | 36.1069 | 37.3407 | 38.9137
Max | 30.2754 | 24.394 | 23.7504 | 23.464 | 23.5216 | 21.7872 | 22.0512 | 23.9392 | 23.2327 | 23.6621 | 23.8579 | 24.0729 | 25.5887 | 25.4368 | 25.5807 | 26.6874 | 27.7231 | 27.4344 | 28.1836 | 29.0455 | 29.6413 | 31.0687 | 31.4353 | 32.3886 | 33.3688 | 34.2225 | 35.124 | 36.2275 | 37.4441 | 38.5849 | 40.312
At Max (LIN) | 21.1345 | 20.1272 | 14.0324 | 18.8136 | 22.5179 | 19.4742 | 18.4023 | 19.6715 | 21.8194 | 20.5679 | 21.9343 | 23.1658 | 24.3416 | 23.1001 | 23.9575 | 25.3462 | 25.933 | 25.8261 | 26.4805 | 27.3653 | 28.7406 | 30.4788 | 31.2215 | 32.2008 | 33.1336 | 34.0534 | 34.8866 | 35.7799 | 36.9761 | 38.5458 | 39.9306 | 46.2859 | 43.5591
At Max (A) | 13.6334 | 16.887 | 12.6823 | 15.8592 | 18.8261 | 18.6777 | 19.5559 | 20.9829 | 16.7865 | 19.458 | 19.6647 | 20.6601 | 21.5709 | 23.3147 | 24.7671 | 24.0713 | 25.418 | 26.46 | 26.8911 | 27.9507 | 29.3799 | 30.6392 | 31.1484 | 32.3826 | 33.2012 | 33.9425 | 35.0684 | 35.6818 | 37.3419 | 38.1917 | 39.9975 | 46.2539 | 43.6455

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 103.1678 | 108.8584 | 108.1221 | 109.615 | 112.2665 | 108.2426 | 107.0935 | 107.7703 | 111.3177 | 112.1102 | 117.1143 | 122.5262 | 129.2366 | 134.3327 | 139.4796 | 144.3232 | 148.3166 | 146.3932 | 143.5519 | 142.6055 | 140.9255 | 138.7404 | 138.6278 | 139.3683 | 137.6078 | 136.4676 | 135.7889 | 142.6613 | 136.001 | 125.673 | 119.7244 | 154.2294 | 153.8839
SEL | 116.3275 | 122.0181 | 121.2818 | 122.7747 | 125.4262 | 121.4024 | 120.2532 | 120.93 | 124.4774 | 125.2699 | 130.274 | 135.6859 | 142.3963 | 147.4924 | 152.6393 | 157.4828 | 161.4763 | 159.5529 | 156.7116 | 155.7652 | 154.0852 | 151.9001 | 151.7875 | 152.528 | 150.7675 | 149.6273 | 148.9486 | 155.821 | 149.1607 | 138.8327 | 132.8841 | 167.3891 | 167.0435
Min | 54.8566 | 56.72 | 58.4766 | 58.9932 | 61.3898 | 60.6922 | 59.5393 | 63.9848 | 64.1518 | 66.1282 | 67.3682 | 68.5675 | 68.9227 | 70.9934 | 69.6814 | 73.6625 | 93.5008 | 100.9867 | 107.1295 | 94.535 | 84.7704 | 88.552 | 87.8629 | 97.987 | 97.5996 | 108.6263 | 110.3032 | 117.429 | 119.564 | 114.8961 | 103.9594
Max | 113.012 | 119.2938 | 118.4256 | 120.5722 | 123.0163 | 118.9122 | 118.9515 | 120.015 | 121.5982 | 124.3407 | 128.7926 | 135.4974 | 138.7773 | 145.3125 | 152.3017 | 158.543 | 162.143 | 161.3587 | 157.0226 | 156.2483 | 152.4708 | 149.189 | 150.1809 | 150.4785 | 148.7691 | 147.2482 | 144.6713 | 150.6933 | 143.3121 | 134.7736 | 129.7007
At Max (LIN) | 111.6455 | 116.5051 | 117.1854 | 119.6644 | 120.6492 | 115.207 | 118.9216 | 115.1357 | 121.2857 | 124.3407 | 128.7926 | 135.4974 | 138.7773 | 144.3577 | 152.3017 | 158.2534 | 162.143 | 161.3587 | 157.0226 | 155.865 | 151.534 | 147.7658 | 150.1809 | 150.1304 | 146.4544 | 147.2482 | 144.6365 | 149.3725 | 140.6902 | 125.6604 | 118.8307 | 167.3306 | 167.0176
At Max (A) | 111.6455 | 116.5051 | 117.1854 | 119.6644 | 120.6492 | 115.207 | 118.9216 | 115.1357 | 121.2857 | 124.3407 | 128.7926 | 135.4974 | 138.7773 | 144.3577 | 152.3017 | 158.2534 | 162.143 | 161.3587 | 157.0226 | 155.865 | 151.534 | 147.7658 | 150.1809 | 150.1304 | 146.4544 | 147.2482 | 144.6365 | 149.3725 | 140.6902 | 125.6604 | 118.8307 | 167.3306 | 167.0176

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.1142 | 84.4064 | 85.5895 | 99.2907 | 97.5829 | 98.7659 | 1.5874 | 1.183 | 98.2268 | 61.5013 | 97.0331 | 49.2971 | 98.0344 | 52.6535 | 94.9734 | 62.3572 | 93.7107 | 49.2971 | 94.7334 | 52.6535 | 88.7266 | 4.3202 | 98.9654 | 53.7719 | 97.7156 | 40.5396 | 98.7321 | 43.896 | 111.1468 | 108.181 | 110.3885

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 85.338 | 84.0683 | 85.0147 | 98.5145 | 97.2448 | 98.1911 | 2.8218 | 0.94635 | 97.2509 | 63.5416 | 96.484 | 56.7725 | 97.162 | 57.935 | 94.4259 | 65.6133 | 93.5126 | 56.8356 | 94.3071 | 57.935 | 88.6501 | 4.5818 | 98.4233 | 57.0802 | 97.7516 | 48.0781 | 98.3605 | 49.1775 | 109.4504 | 108.5421 | 109.2054

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6551 | 43.1028 | 41.8932 | 59.8315 | 56.2793 | 55.0696 | -1.0383 | -1.2096 | 47.4172 | 46.1877 | 43.6329 | 42.6821 | 42.5844 | 41.5088 | 47.0126 | 46.4868 | 43.6329 | 42.9172 | 42.5844 | 41.7198 | 43.3725 | 0.26968 | 48.056 | 38.2551 | 43.6691 | 34.8754 | 42.6086 | 33.8269 | 59.9418 | 57.3035 | 55.8505

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 153.917 | 153.5759 | 153.5154 | 167.0934 | 166.7523 | 166.6919 | -1.8584 | -0.06046 | 167.6812 | 123.2049 | 167.4286 | 120.1517 | 167.5487 | 118.4731 | 163.4393 | 123.2407 | 163.1072 | 120.4426 | 163.2621 | 118.7678 | 159.8143 | 6.2384 | 169.3297 | 114.4859 | 169.1342 | 111.7444 | 169.1994 | 110.071 | 179.9389 | 181.0957 | 179.2851