## Kåhögsgård 1 dag39
Measurement Name | Kåhögsgård 1 dag39 (Normal Range)
Time of run | 2020-06-24 13:51:45 (1593003105)
Duration | 19.54 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.8665 | 65.2979 | 66.0271 | 64.6483 | 71.8474 | 65.1494 | 62.878 | 62.2889 | 58.7404 | 57.4312 | 56.9375 | 59.5783 | 62.8089 | 63.0642 | 64.5867 | 65.8569 | 68.2994 | 67.2375 | 63.2694 | 61.323 | 60.8738 | 57.4124 | 54.0804 | 55.0952 | 51.574 | 52.1304 | 49.3887 | 49.1852 | 48.2019 | 42.7892 | 35.7465 | 78.4007 | 73.7738
SEL | 79.7668 | 78.1982 | 78.9275 | 77.5487 | 84.7477 | 78.0498 | 75.7783 | 75.1892 | 71.6408 | 70.3316 | 69.8378 | 72.4787 | 75.7093 | 75.9645 | 77.4871 | 78.7573 | 81.1997 | 80.1378 | 76.1697 | 74.2234 | 73.7741 | 70.3127 | 66.9808 | 67.9955 | 64.4743 | 65.0307 | 62.289 | 62.0855 | 61.1023 | 55.6896 | 48.6468 | 91.301 | 86.6742
Min | 46.5271 | 45.2646 | 45.0323 | 43.2061 | 47.5937 | 46.3578 | 36.8812 | 31.198 | 34.6413 | 30.7092 | 29.9319 | 29.9999 | 31.9986 | 31.9234 | 33.0427 | 36.6721 | 42.2686 | 41.8909 | 40.776 | 36.1552 | 35.9683 | 35.3674 | 33.5715 | 30.0167 | 25.8698 | 31.7802 | 22.4701 | 32.2294 | 38.5267 | 34.378 | 25.5666
Max | 81.307 | 78.8854 | 79.58 | 76.6919 | 83.6129 | 78.4236 | 76.0259 | 75.0196 | 71.8457 | 67.9994 | 68.0219 | 71.1963 | 74.3452 | 73.6023 | 75.7406 | 78.1509 | 79.2229 | 77.0257 | 72.7778 | 71.6154 | 71.2648 | 67.8357 | 64.4407 | 67.7602 | 61.7013 | 62.0788 | 58.6261 | 57.5557 | 54.9674 | 49.9588 | 43.713
At Max (LIN) | 80.7181 | 78.8854 | 79.0006 | 73.7607 | 79.4182 | 73.3533 | 69.8129 | 69.7469 | 67.0512 | 65.5447 | 64.3602 | 65.5357 | 70.4035 | 73.6023 | 74.1541 | 78.1509 | 79.2229 | 76.0648 | 72.4517 | 71.6154 | 70.2603 | 65.7947 | 61.7899 | 61.8127 | 58.9596 | 59.94 | 57.846 | 56.3971 | 53.9119 | 48.9852 | 42.2952 | 88.7134 | 83.8036
At Max (A) | 80.7181 | 78.8854 | 79.0006 | 73.7607 | 79.4182 | 73.3533 | 69.8129 | 69.7469 | 67.0512 | 65.5447 | 64.3602 | 65.5357 | 70.4035 | 73.6023 | 74.1541 | 78.1509 | 79.2229 | 76.0648 | 72.4517 | 71.6154 | 70.2603 | 65.7947 | 61.7899 | 61.8127 | 58.9596 | 59.94 | 57.846 | 56.3971 | 53.9119 | 48.9852 | 42.2952 | 88.7134 | 83.8036

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 66.0484 | 65.6388 | 65.0341 | 63.3279 | 68.5422 | 63.9986 | 60.1914 | 58.7427 | 58.8097 | 58.9351 | 60.0095 | 60.8213 | 60.926 | 63.8627 | 65.3415 | 67.5958 | 68.4679 | 67.7724 | 63.8139 | 61.742 | 59.2247 | 55.6792 | 51.9104 | 52.8193 | 52.6258 | 50.5348 | 48.4449 | 47.4934 | 43.9364 | 39.5355 | 31.765 | 77.7816 | 74.099
SEL | 78.9487 | 78.5392 | 77.9345 | 76.2283 | 81.4426 | 76.899 | 73.0917 | 71.643 | 71.71 | 71.8355 | 72.9099 | 73.7216 | 73.8263 | 76.763 | 78.2419 | 80.4961 | 81.3682 | 80.6727 | 76.7143 | 74.6423 | 72.1251 | 68.5796 | 64.8107 | 65.7196 | 65.5262 | 63.4352 | 61.3453 | 60.3937 | 56.8368 | 52.4359 | 44.6653 | 90.6819 | 86.9994
Min | 48.0448 | 49.0719 | 47.0446 | 49.1689 | 45.8256 | 47.1911 | 38.015 | 37.1789 | 37.6996 | 35.5083 | 36.8498 | 37.3026 | 36.5619 | 36.7487 | 38.4745 | 40.7466 | 46.7448 | 45.1192 | 43.0019 | 39.701 | 41.1778 | 38.8451 | 37.4353 | 34.0347 | 27.9849 | 30.0721 | 23.9554 | 28.9005 | 32.5003 | 30.5059 | 21.8512
Max | 78.7043 | 76.4176 | 76.5646 | 73.4242 | 79.988 | 77.6017 | 71.7755 | 70.2914 | 70.006 | 69.3135 | 70.2543 | 73.7108 | 71.5184 | 74.5857 | 76.3479 | 81.6828 | 80.6538 | 77.4941 | 74.0656 | 72.4253 | 69.117 | 65.3307 | 61.3963 | 63.1757 | 63.9348 | 60.9486 | 57.998 | 55.9972 | 51.3117 | 47.8326 | 40.6567
At Max (LIN) | 78.5072 | 76.4176 | 73.8503 | 70.9397 | 76.1047 | 71.243 | 68.7375 | 67.0757 | 65.8325 | 67.7791 | 66.8815 | 66.6899 | 69.6531 | 73.6081 | 76.0375 | 79.2826 | 78.7857 | 77.4476 | 72.6337 | 72.4253 | 67.767 | 63.4777 | 59.366 | 60.27 | 60.4827 | 57.9568 | 56.3812 | 54.215 | 50.3994 | 46.8607 | 39.768 | 87.5915 | 84.1909
At Max (A) | 65.51 | 63.8724 | 70.9896 | 63.8055 | 74.3775 | 67.3889 | 62.3954 | 61.1372 | 62.1349 | 64.2238 | 66.9214 | 69.2664 | 68.7477 | 74.5857 | 76.2923 | 81.6828 | 80.6538 | 77.4941 | 71.9074 | 71.714 | 67.9541 | 62.2609 | 58.1125 | 59.4744 | 58.2455 | 56.2927 | 54.5856 | 52.5309 | 48.1635 | 42.9235 | 35.6274 | 87.1142 | 85.2088

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.3843 | 18.7265 | 17.9068 | 17.948 | 17.3829 | 17.6361 | 17.9283 | 18.3158 | 19.2644 | 20.2222 | 20.9054 | 21.6625 | 22.2869 | 23.2304 | 23.8126 | 24.6528 | 25.256 | 26.1544 | 27.0552 | 27.8549 | 28.9225 | 29.9726 | 30.6648 | 31.6211 | 32.5323 | 33.3609 | 34.3491 | 35.4975 | 36.6939 | 37.9172 | 39.5491 | 45.8301 | 43.1507
SEL | 33.2847 | 31.6269 | 30.8071 | 30.8483 | 30.2833 | 30.5364 | 30.8287 | 31.2162 | 32.1648 | 33.1225 | 33.8058 | 34.5629 | 35.1872 | 36.1307 | 36.7129 | 37.5531 | 38.1563 | 39.0548 | 39.9555 | 40.7552 | 41.8229 | 42.8729 | 43.5652 | 44.5214 | 45.4327 | 46.2612 | 47.2494 | 48.3979 | 49.5942 | 50.8176 | 52.4495 | 58.7304 | 56.051
Min | 11.4187 | 9.9795 | 10.4313 | 10.7245 | 7.7033 | 12.0482 | 11.6396 | 13.4306 | 15.4341 | 16.474 | 18.189 | 18.5686 | 19.9747 | 21.0372 | 21.2817 | 23.0901 | 23.6172 | 24.1975 | 25.6891 | 26.4508 | 26.6903 | 28.8131 | 29.4665 | 30.4207 | 31.5436 | 32.2484 | 33.4561 | 34.7501 | 35.5832 | 37.1116 | 38.8005
Max | 26.7485 | 24.5037 | 24.0017 | 23.6173 | 22.4848 | 22.0529 | 21.8448 | 22.0843 | 23.1976 | 22.767 | 24.1401 | 24.4778 | 24.5008 | 25.4728 | 26.0056 | 26.1496 | 26.945 | 27.6526 | 28.635 | 28.979 | 30.0821 | 31.5599 | 31.5509 | 32.7846 | 33.2775 | 34.0826 | 35.3153 | 36.3195 | 37.5589 | 38.7012 | 40.2746
At Max (LIN) | 19.3592 | 15.2168 | 17.7366 | 17.7589 | 15.4383 | 15.6151 | 15.9467 | 17.2096 | 17.8859 | 20.5517 | 21.4738 | 21.7492 | 23.5985 | 23.0593 | 24.171 | 24.3874 | 26.129 | 26.4975 | 28.0263 | 28.979 | 29.771 | 30.6518 | 31.2825 | 32.7846 | 32.9788 | 33.8964 | 34.8029 | 36.2795 | 37.5589 | 38.335 | 40.1816 | 46.4461 | 43.8371
At Max (A) | 19.3592 | 15.2168 | 17.7366 | 17.7589 | 15.4383 | 15.6151 | 15.9467 | 17.2096 | 17.8859 | 20.5517 | 21.4738 | 21.7492 | 23.5985 | 23.0593 | 24.171 | 24.3874 | 26.129 | 26.4975 | 28.0263 | 28.979 | 29.771 | 30.6518 | 31.2825 | 32.7846 | 32.9788 | 33.8964 | 34.8029 | 36.2795 | 37.5589 | 38.335 | 40.1816 | 46.4461 | 43.8371

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.4598 | 104.7618 | 103.3843 | 105.895 | 103.5552 | 102.9189 | 99.808 | 105.5087 | 107.0349 | 106.8359 | 111.9356 | 119.2742 | 124.9981 | 130.9395 | 133.365 | 135.3684 | 138.7432 | 136.5505 | 137.3777 | 134.1717 | 131.638 | 130.6195 | 130.0688 | 131.8036 | 130.7089 | 130.0846 | 129.8144 | 137.4028 | 130.3007 | 117.0206 | 109.0751 | 146.2646 | 145.7272
SEL | 112.3602 | 117.6621 | 116.2847 | 118.7953 | 116.4555 | 115.8192 | 112.7083 | 118.409 | 119.9352 | 119.7363 | 124.836 | 132.1745 | 137.8984 | 143.8399 | 146.2653 | 148.2687 | 151.6435 | 149.4509 | 150.2781 | 147.0721 | 144.5384 | 143.5199 | 142.9691 | 144.7039 | 143.6092 | 142.9849 | 142.7148 | 150.3031 | 143.2011 | 129.921 | 121.9754 | 159.165 | 158.6276
Min | 56.8322 | 58.1206 | 59.3781 | 60.4404 | 62.7001 | 63.5972 | 62.7254 | 63.6207 | 65.5518 | 66.1654 | 66.5646 | 68.8446 | 68.5921 | 70.1878 | 71.7142 | 73.5925 | 83.6373 | 91.2912 | 96.5322 | 85.7953 | 82.2303 | 85.6515 | 85.8414 | 96.18 | 93.1993 | 103.5838 | 102.8082 | 114.4523 | 115.3185 | 109.1396 | 97.5044
Max | 112.2763 | 117.7427 | 115.0437 | 118.5595 | 116.8087 | 115.5058 | 114.7336 | 119.8905 | 120.452 | 119.8133 | 124.9041 | 131.7174 | 136.3287 | 142.8752 | 144.1686 | 145.21 | 148.8077 | 148.306 | 149.2652 | 144.4575 | 143.3324 | 143.0496 | 141.4147 | 144.7545 | 143.0142 | 141.9788 | 140.2017 | 148.4386 | 139.284 | 122.892 | 116.3261
At Max (LIN) | 101.3294 | 109.4299 | 107.6339 | 111.7387 | 108.9596 | 111.2955 | 105.4056 | 111.7323 | 115.2631 | 116.8915 | 122.1885 | 129.6479 | 134.0503 | 139.4413 | 140.4377 | 144.555 | 147.356 | 146.4735 | 149.2652 | 144.4534 | 143.3324 | 143.0496 | 141.2152 | 142.8002 | 143.0142 | 141.8662 | 139.9811 | 148.4386 | 138.4972 | 122.7397 | 115.7927 | 156.6252 | 156.3722
At Max (A) | 101.3294 | 109.4299 | 107.6339 | 111.7387 | 108.9596 | 111.2955 | 105.4056 | 111.7323 | 115.2631 | 116.8915 | 122.1885 | 129.6479 | 134.0503 | 139.4413 | 140.4377 | 144.555 | 147.356 | 146.4735 | 149.2652 | 144.4534 | 143.3324 | 143.0496 | 141.2152 | 142.8002 | 143.0142 | 141.8662 | 139.9811 | 148.4386 | 138.4972 | 122.7397 | 115.7927 | 156.6252 | 156.3722

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.2723 | 73.622 | 77.2964 | 92.1815 | 86.5312 | 90.2057 | 10.5372 | 3.6744 | 89.7687 | 60.5145 | 83.8178 | 50.1548 | 86.8414 | 57.1721 | 86.3743 | 63.346 | 81.9586 | 51.6286 | 85.2508 | 60.0115 | 77.5038 | 3.8818 | 91.1954 | 59.6308 | 85.366 | 43.8052 | 88.4701 | 57.191 | 100.9611 | 96.5465 | 98.5026

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.3511 | 73.9435 | 76.8815 | 92.2603 | 86.8527 | 89.7908 | 8.8319 | 2.9381 | 87.6369 | 62.4317 | 85.3985 | 53.7779 | 87.1766 | 58.634 | 85.4067 | 66.9836 | 82.4779 | 53.9764 | 84.7659 | 62.7235 | 79.2024 | 5.2589 | 90.0803 | 61.1933 | 87.5739 | 45.2478 | 89.2679 | 60.9803 | 100.502 | 97.7328 | 98.8727

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.5652 | 42.9883 | 41.7663 | 59.4745 | 55.8976 | 54.6756 | -1.5354 | -1.222 | 47.3302 | 45.7909 | 43.6105 | 42.34 | 42.4092 | 41.1329 | 46.909 | 45.8238 | 43.5991 | 42.5845 | 42.1807 | 41.3677 | 43.294 | 0.30566 | 48.0633 | 37.0688 | 43.8278 | 34.8401 | 42.6452 | 33.4212 | 60.1315 | 56.5927 | 55.7708

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 146.4227 | 145.9321 | 145.75 | 159.332 | 158.8414 | 158.6593 | -1.9229 | -0.18207 | 158.3368 | 117.6357 | 158.1474 | 114.411 | 157.7163 | 112.8339 | 155.2321 | 117.6357 | 154.8561 | 114.411 | 154.6033 | 112.8339 | 152.983 | 7.0508 | 161.0583 | 108.8782 | 160.9348 | 105.6535 | 160.4703 | 104.0764 | 175.6133 | 176.5807 | 174.7913