## Kåhögsgård 1 dag42
Measurement Name | Kåhögsgård 1 dag42 (Normal Range)
Time of run | 2020-06-24 14:03:36 (1593003816)
Duration | 23.28 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.7803 | 62.4659 | 63.6815 | 63.3843 | 65.1337 | 61.9685 | 60.685 | 62.0675 | 61.2026 | 55.2075 | 57.4337 | 58.2633 | 61.1025 | 63.6954 | 64.552 | 64.5788 | 67.9846 | 67.6699 | 66.6095 | 65.5409 | 66.3358 | 62.6757 | 56.8722 | 56.9851 | 53.7145 | 53.3518 | 49.6984 | 49.3196 | 47.5706 | 41.1611 | 33.0433 | 77.4941 | 75.4907
SEL | 76.4352 | 76.1208 | 77.3364 | 77.0392 | 78.7886 | 75.6234 | 74.3399 | 75.7224 | 74.8574 | 68.8624 | 71.0886 | 71.9182 | 74.7574 | 77.3502 | 78.2068 | 78.2337 | 81.6394 | 81.3248 | 80.2644 | 79.1958 | 79.9907 | 76.3306 | 70.5271 | 70.6399 | 67.3694 | 67.0066 | 63.3532 | 62.9744 | 61.2255 | 54.816 | 46.6981 | 91.149 | 89.1455
Min | 37.8191 | 42.3931 | 43.4418 | 45.4662 | 44.9175 | 42.5998 | 37.7941 | 35.6004 | 30.407 | 29.4724 | 28.4248 | 29.5664 | 28.646 | 30.5542 | 34.3516 | 35.6361 | 39.4715 | 42.596 | 45.4124 | 37.1831 | 34.2426 | 32.7825 | 28.7722 | 24.8713 | 23.1583 | 29.2106 | 20.0411 | 26.5512 | 36.4817 | 32.4969 | 23.2217
Max | 78.2636 | 76.057 | 77.2691 | 75.1814 | 77.6368 | 75.1456 | 73.5945 | 75.3399 | 75.6437 | 68.3293 | 71.2402 | 71.975 | 75.2602 | 77.3686 | 79.0599 | 77.2019 | 80.8307 | 80.1304 | 78.1507 | 78.945 | 79.6411 | 76.02 | 70.9275 | 70.8644 | 67.4474 | 66.5063 | 62.6092 | 61.3516 | 57.3166 | 50.6663 | 43.2685
At Max (LIN) | 68.5467 | 74.8205 | 73.0276 | 73.7117 | 77.6368 | 73.3085 | 70.1857 | 72.5499 | 74.9762 | 68.2278 | 69.9945 | 69.9945 | 74.2861 | 73.8144 | 75.9039 | 75.8347 | 80.0373 | 79.2084 | 78.0069 | 78.1662 | 78.5033 | 75.7126 | 70.9275 | 70.8644 | 66.8287 | 65.9978 | 62.6092 | 61.0318 | 56.9992 | 50.4856 | 43.0799 | 89.2084 | 87.5611
At Max (A) | 64.0156 | 72.699 | 69.3626 | 74.659 | 73.0426 | 74.4593 | 71.288 | 72.7146 | 71.795 | 65.2732 | 71.2402 | 70.9562 | 75.2602 | 75.6025 | 77.1541 | 76.0703 | 79.9842 | 79.6142 | 76.9892 | 78.945 | 79.6411 | 75.3753 | 70.2157 | 70.2181 | 66.5589 | 65.5441 | 61.6487 | 60.0957 | 55.8947 | 49.5734 | 42.088 | 89.1592 | 87.8543

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 60.7972 | 60.0588 | 61.2275 | 59.9958 | 62.0031 | 59.5487 | 60.6203 | 62.997 | 61.5687 | 56.8308 | 57.3141 | 57.5963 | 58.0041 | 62.8263 | 64.9352 | 66.0431 | 68.4063 | 68.423 | 66.8559 | 65.5383 | 64.1403 | 60.8641 | 55.2675 | 55.1558 | 54.848 | 51.9192 | 48.4706 | 47.3123 | 43.2175 | 37.1748 | 29.1833 | 77.0151 | 75.3636
SEL | 74.452 | 73.7137 | 74.8824 | 73.6507 | 75.658 | 73.2036 | 74.2752 | 76.6519 | 75.2236 | 70.4857 | 70.9689 | 71.2511 | 71.6589 | 76.4812 | 78.5901 | 79.698 | 82.0612 | 82.0778 | 80.5108 | 79.1932 | 77.7952 | 74.519 | 68.9224 | 68.8106 | 68.5029 | 65.5741 | 62.1255 | 60.9672 | 56.8724 | 50.8296 | 42.8382 | 90.67 | 89.0185
Min | 43.9755 | 43.507 | 44.8893 | 44.7648 | 44.6178 | 42.865 | 38.8658 | 38.5259 | 34.5508 | 32.6362 | 32.2491 | 35.281 | 36.0178 | 37.6569 | 39.8399 | 40.7789 | 43.8099 | 44.7031 | 42.7452 | 40.3933 | 39.4085 | 38.1243 | 33.7752 | 29.0722 | 26.0218 | 30.2385 | 21.5687 | 23.6936 | 30.1355 | 28.176 | 21.3598
Max | 74.784 | 72.6572 | 74.5017 | 72.7977 | 74.2804 | 72.8473 | 73.8932 | 77.3846 | 75.5037 | 69.8793 | 69.7624 | 70.1868 | 71.379 | 76.5563 | 80.1016 | 80.2502 | 81.2248 | 80.6058 | 78.6177 | 78.3042 | 76.6117 | 73.6878 | 68.6719 | 68.4286 | 68.9222 | 65.1055 | 61.0288 | 57.7591 | 53.3649 | 46.5723 | 40.2873
At Max (LIN) | 65.2296 | 68.4852 | 66.8926 | 72.7977 | 72.9629 | 67.5097 | 67.2419 | 68.7244 | 64.9928 | 63.2046 | 66.0062 | 66.0912 | 69.2203 | 76.5563 | 80.1016 | 80.2502 | 80.8531 | 80.6058 | 77.6532 | 77.227 | 75.7697 | 71.5475 | 66.0967 | 65.0212 | 64.2248 | 60.6158 | 57.5591 | 54.7191 | 49.933 | 42.6265 | 35.613 | 88.8053 | 87.545
At Max (A) | 65.2296 | 68.4852 | 66.8926 | 72.7977 | 72.9629 | 67.5097 | 67.2419 | 68.7244 | 64.9928 | 63.2046 | 66.0062 | 66.0912 | 69.2203 | 76.5563 | 80.1016 | 80.2502 | 80.8531 | 80.6058 | 77.6532 | 77.227 | 75.7697 | 71.5475 | 66.0967 | 65.0212 | 64.2248 | 60.6158 | 57.5591 | 54.7191 | 49.933 | 42.6265 | 35.613 | 88.8053 | 87.545

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 19.9539 | 18.779 | 18.1685 | 18.0238 | 17.8173 | 17.4231 | 18.1705 | 18.656 | 18.9558 | 19.8502 | 20.9096 | 21.6766 | 22.2755 | 23.0529 | 23.7927 | 24.6878 | 25.3962 | 26.2239 | 26.9484 | 27.8036 | 29.1026 | 29.969 | 30.6696 | 31.5748 | 32.5025 | 33.3005 | 34.3286 | 35.4772 | 36.6207 | 37.8634 | 39.5084 | 45.795 | 43.129
SEL | 33.6088 | 32.4339 | 31.8233 | 31.6787 | 31.4722 | 31.078 | 31.8254 | 32.3109 | 32.6107 | 33.5051 | 34.5644 | 35.3315 | 35.9304 | 36.7078 | 37.4476 | 38.3427 | 39.0511 | 39.8787 | 40.6033 | 41.4585 | 42.7574 | 43.6238 | 44.3245 | 45.2297 | 46.1574 | 46.9554 | 47.9835 | 49.1321 | 50.2755 | 51.5182 | 53.1633 | 59.4499 | 56.7838
Min | 7.2781 | 8.4521 | 10.5977 | 10.3439 | 11.2067 | 11.9829 | 12.8497 | 13.173 | 15.0707 | 15.5641 | 17.4356 | 18.8519 | 19.027 | 20.7011 | 21.9569 | 22.1647 | 23.8711 | 24.8039 | 25.4644 | 26.3416 | 27.8427 | 27.5762 | 29.1568 | 30.4806 | 31.319 | 31.9675 | 33.1574 | 34.5972 | 35.4324 | 36.3171 | 38.6475
Max | 26.6126 | 25.1153 | 25.0551 | 23.2991 | 23.5916 | 21.6654 | 22.2437 | 21.9508 | 22.1177 | 23.1328 | 23.9044 | 23.9237 | 24.4049 | 25.2341 | 25.8536 | 26.5831 | 26.8943 | 27.6051 | 28.3859 | 29.1799 | 30.2859 | 31.2049 | 31.817 | 32.715 | 33.4298 | 34.2422 | 35.1098 | 36.3632 | 37.5132 | 38.7375 | 40.2719
At Max (LIN) | 20.3954 | 18.8069 | 15.0005 | 16.9535 | 16.8875 | 20.4889 | 18.3041 | 19.2595 | 18.7826 | 19.5269 | 21.4315 | 22.1229 | 24.1066 | 22.9461 | 23.758 | 24.8406 | 25.7381 | 26.7231 | 26.7149 | 27.7693 | 29.1591 | 30.5728 | 30.9547 | 31.8907 | 32.6178 | 33.9254 | 34.5426 | 35.7645 | 37.5132 | 38.4936 | 40.1322 | 46.2987 | 43.5132
At Max (A) | 23.6543 | 19.7614 | 18.3459 | 16.216 | 14.1613 | 15.5778 | 17.9396 | 20.7899 | 17.5201 | 18.5371 | 20.5499 | 20.7263 | 22.287 | 22.467 | 23.6836 | 24.1652 | 25.5423 | 26.834 | 28.1953 | 28.5145 | 29.5344 | 30.2154 | 31.5453 | 32.1569 | 32.9571 | 33.9965 | 34.9837 | 35.911 | 37.0529 | 38.3933 | 39.6595 | 46.2196 | 43.6614

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 95.7128 | 98.9162 | 98.5151 | 100.6603 | 96.1717 | 97.1565 | 99.8595 | 103.6694 | 103.7111 | 108.9514 | 111.5123 | 117.7219 | 123.4589 | 128.4264 | 132.4401 | 134.4969 | 138.3983 | 137.5278 | 137.7235 | 137.3461 | 135.9537 | 133.812 | 131.9052 | 132.7843 | 132.2478 | 130.9959 | 130.3697 | 136.7879 | 129.6944 | 115.2775 | 107.5086 | 146.9077 | 146.8033
SEL | 109.3676 | 112.571 | 112.1699 | 114.3152 | 109.8266 | 110.8114 | 113.5144 | 117.3243 | 117.3659 | 122.6062 | 125.1672 | 131.3767 | 137.1137 | 142.0813 | 146.095 | 148.1518 | 152.0532 | 151.1827 | 151.3784 | 151.001 | 149.6086 | 147.4668 | 145.5601 | 146.4392 | 145.9027 | 144.6508 | 144.0245 | 150.4428 | 143.3493 | 128.9324 | 121.1635 | 160.5626 | 160.4582
Min | 54.4731 | 57.599 | 60.3313 | 57.1878 | 59.7664 | 61.5976 | 61.3921 | 58.8587 | 65.1229 | 65.9969 | 67.4077 | 68.6702 | 68.3082 | 69.8958 | 69.1089 | 71.8059 | 84.4714 | 90.8553 | 104.7256 | 88.0249 | 78.8686 | 86.0435 | 84.062 | 92.6441 | 90.3695 | 98.9822 | 98.7701 | 110.1527 | 111.8306 | 106.5152 | 94.3678
Max | 113.5201 | 115.3462 | 115.2999 | 116.1069 | 111.5459 | 112.8358 | 115.5132 | 121.0254 | 120.5784 | 127.8687 | 127.8899 | 134.7583 | 138.3774 | 142.7421 | 146.9255 | 150.1548 | 153.8962 | 152.9688 | 152.657 | 150.6212 | 150.2023 | 148.3305 | 145.267 | 147.4362 | 148.3075 | 146.7018 | 143.9544 | 150.8088 | 141.3136 | 124.2978 | 117.4973
At Max (LIN) | 105.0841 | 102.5589 | 105.2934 | 107.5608 | 105.844 | 109.3426 | 113.3039 | 114.4319 | 117.1814 | 119.916 | 124.754 | 130.1094 | 137.0745 | 142.026 | 146.9255 | 150.1548 | 153.8962 | 152.9688 | 152.657 | 149.8651 | 150.0838 | 148.3305 | 145.267 | 147.4362 | 148.3075 | 146.7018 | 143.9544 | 150.8088 | 141.3136 | 124.2978 | 117.4973 | 161.5623 | 161.4265
At Max (A) | 105.0841 | 102.5589 | 105.2934 | 107.5608 | 105.844 | 109.3426 | 113.3039 | 114.4319 | 117.1814 | 119.916 | 124.754 | 130.1094 | 137.0745 | 142.026 | 146.9255 | 150.1548 | 153.8962 | 152.9688 | 152.657 | 149.8651 | 150.0838 | 148.3305 | 145.267 | 147.4362 | 148.3075 | 146.7018 | 143.9544 | 150.8088 | 141.3136 | 124.2978 | 117.4973 | 161.5623 | 161.4265

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.6849 | 75.3265 | 76.7753 | 91.3547 | 88.9963 | 90.4451 | 5.2977 | 1.4488 | 89.2611 | 52.5762 | 87.7851 | 48.6479 | 88.8607 | 55.9644 | 87.6434 | 52.5762 | 85.7205 | 48.6905 | 86.9996 | 58.1288 | 79.2593 | 3.9328 | 90.6029 | 43.8187 | 88.7643 | 39.9392 | 90.2385 | 50.5378 | 101.5532 | 102.9407 | 102.079

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.1616 | 75.1846 | 76.4671 | 90.8315 | 88.8544 | 90.1369 | 7.3104 | 1.2825 | 88.7582 | 58.0034 | 87.5676 | 51.4692 | 88.5399 | 54.4589 | 86.9451 | 58.0034 | 85.4592 | 51.4692 | 86.5537 | 54.4589 | 79.2419 | 4.0573 | 89.7017 | 49.2459 | 88.6504 | 42.7117 | 89.4388 | 45.7014 | 103.9207 | 103.3184 | 103.4067

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.518 | 42.9736 | 41.7511 | 60.1879 | 56.6435 | 55.4209 | -1.4225 | -1.2226 | 47.4209 | 45.6178 | 43.5382 | 41.9902 | 42.3823 | 40.8635 | 46.9305 | 45.9994 | 43.3674 | 42.1942 | 42.1425 | 41.0928 | 43.2625 | 0.28882 | 47.9578 | 37.414 | 43.7372 | 33.5149 | 42.7053 | 32.4356 | 60.4687 | 56.4982 | 55.7126

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 146.6057 | 146.5086 | 146.0192 | 160.2755 | 160.1784 | 159.6891 | -1.7644 | -0.48932 | 161.4618 | 115.3961 | 161.3157 | 112.449 | 160.975 | 110.974 | 157.2509 | 115.4574 | 157.1878 | 112.4698 | 156.7544 | 111.0913 | 153.5065 | 6.9979 | 163.686 | 106.7091 | 163.5414 | 103.7153 | 163.1852 | 102.3397 | 177.3643 | 178.4549 | 177.4166