## Kåhögsgård 2 dag11
Measurement Name | Kåhögsgård 2 dag11 (Normal Range)
Time of run | 2020-06-25 08:52:50 (1593071570)
Duration | 21.12 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 65.7737 | 65.4049 | 66.0912 | 65.8631 | 71.1007 | 66.9275 | 66.5465 | 63.4786 | 59.5604 | 60.4468 | 58.9811 | 61.1336 | 63.473 | 64.4692 | 64.9458 | 65.5753 | 67.5267 | 67.8525 | 64.9239 | 63.4165 | 61.8289 | 60.1584 | 55.4045 | 56.2083 | 52.5503 | 52.6127 | 49.2094 | 50.1791 | 48.6136 | 43.2879 | 35.483 | 78.8435 | 74.4252
SEL | 79.0165 | 78.6477 | 79.334 | 79.1059 | 84.3435 | 80.1703 | 79.7893 | 76.7214 | 72.8033 | 73.6896 | 72.2239 | 74.3764 | 76.7159 | 77.7121 | 78.1886 | 78.8181 | 80.7695 | 81.0953 | 78.1667 | 76.6593 | 75.0717 | 73.4013 | 68.6473 | 69.4511 | 65.7931 | 65.8556 | 62.4523 | 63.4219 | 61.8564 | 56.5307 | 48.7259 | 92.0863 | 87.668
Min | 40.2217 | 41.6623 | 42.1563 | 43.3378 | 43.6362 | 39.171 | 33.1076 | 31.0467 | 28.2699 | 25.9018 | 25.0688 | 26.4377 | 24.5134 | 25.5849 | 28.4843 | 28.8734 | 36.1769 | 38.3321 | 44.3938 | 34.7785 | 29.5796 | 27.1911 | 24.5372 | 21.9328 | 19.9619 | 28.838 | 16.9561 | 22.0647 | 32.2495 | 31.4416 | 23.1689
Max | 81.5151 | 79.393 | 82.2689 | 78.8716 | 82.7118 | 79.0518 | 80.0301 | 77.3743 | 71.6213 | 75.5549 | 72.8145 | 73.7213 | 75.7155 | 75.6918 | 76.1471 | 77.0851 | 78.5817 | 77.5986 | 74.702 | 73.8712 | 72.2101 | 71.4435 | 66.1065 | 67.2868 | 62.8836 | 62.7595 | 59.1044 | 59.2516 | 57.0134 | 52.0241 | 44.9212
At Max (LIN) | 81.5151 | 79.393 | 79.7121 | 75.2212 | 81.3394 | 75.8321 | 77.4709 | 72.3128 | 68.5466 | 65.9409 | 67.785 | 69.952 | 72.2732 | 75.6918 | 75.0655 | 77.0026 | 78.095 | 77.5986 | 73.8114 | 73.0507 | 70.4622 | 68.1944 | 63.0403 | 63.9734 | 61.3686 | 61.1888 | 58.5297 | 59.2516 | 57.0134 | 51.6174 | 44.5426 | 89.8203 | 84.2219
At Max (A) | 81.5151 | 79.393 | 79.7121 | 75.2212 | 81.3394 | 75.8321 | 77.4709 | 72.3128 | 68.5466 | 65.9409 | 67.785 | 69.952 | 72.2732 | 75.6918 | 75.0655 | 77.0026 | 78.095 | 77.5986 | 73.8114 | 73.0507 | 70.4622 | 68.1944 | 63.0403 | 63.9734 | 61.3686 | 61.1888 | 58.5297 | 59.2516 | 57.0134 | 51.6174 | 44.5426 | 89.8203 | 84.2219

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.2089 | 62.3158 | 63.0723 | 62.7293 | 67.7654 | 63.8368 | 63.3461 | 61.2306 | 59.0872 | 59.6229 | 60.6191 | 60.1516 | 61.5889 | 64.613 | 65.6086 | 66.8326 | 68.4375 | 68.3617 | 65.2198 | 63.8995 | 59.8807 | 58.2342 | 53.5109 | 54.9389 | 52.5663 | 51.0863 | 48.4399 | 48.9348 | 44.7787 | 40.725 | 33.0906 | 77.6783 | 74.6764
SEL | 76.4517 | 75.5586 | 76.3151 | 75.9722 | 81.0082 | 77.0796 | 76.5889 | 74.4734 | 72.33 | 72.8657 | 73.8619 | 73.3944 | 74.8317 | 77.8558 | 78.8514 | 80.0754 | 81.6803 | 81.6045 | 78.4626 | 77.1423 | 73.1235 | 71.477 | 66.7537 | 68.1818 | 65.8091 | 64.3291 | 61.6827 | 62.1776 | 58.0215 | 53.9678 | 46.3335 | 90.9211 | 87.9193
Min | 40.0319 | 41.0559 | 41.6061 | 41.6867 | 41.4793 | 39.1922 | 30.4737 | 31.6319 | 31.9114 | 30.1529 | 30.1915 | 33.1746 | 32.3149 | 32.1297 | 34.6176 | 36.3567 | 40.9122 | 43.8852 | 42.0358 | 34.3383 | 31.449 | 27.7976 | 24.1643 | 22.1311 | 20.0083 | 30.4813 | 18.7911 | 24.1942 | 26.1302 | 28.3463 | 21.4452
Max | 78.2679 | 75.4153 | 79.0468 | 75.319 | 80.1343 | 77.2051 | 77.2202 | 75.278 | 71.0012 | 70.5167 | 74.5574 | 71.8217 | 72.0708 | 76.6644 | 77.2355 | 79.5153 | 81.5787 | 78.5591 | 75.8029 | 75.5707 | 69.955 | 68.4064 | 64.1869 | 65.7802 | 62.6924 | 61.0413 | 57.9561 | 57.0161 | 53.5735 | 49.6196 | 42.8445
At Max (LIN) | 78.2679 | 75.4153 | 76.1223 | 72.6917 | 76.927 | 75.2742 | 73.9873 | 70.331 | 68.8581 | 68.5611 | 70.2968 | 69.5482 | 71.869 | 74.884 | 75.243 | 77.6118 | 77.7117 | 77.7884 | 73.6199 | 72.6353 | 67.8086 | 65.519 | 60.9123 | 62.6245 | 60.5156 | 58.8896 | 57.5594 | 57.0161 | 53.5735 | 49.6036 | 42.4207 | 87.9838 | 83.9474
At Max (A) | 64.5273 | 65.0736 | 68.2563 | 67.4583 | 75.1973 | 67.2308 | 62.9039 | 61.971 | 63.0945 | 61.7169 | 64.9035 | 67.0783 | 68.0173 | 75.0941 | 76.2132 | 79.5153 | 81.5787 | 78.0546 | 74.3992 | 75.5707 | 69.924 | 65.9081 | 60.48 | 61.2052 | 58.7028 | 56.5739 | 54.037 | 53.1417 | 48.6282 | 43.6351 | 35.7489 | 87.2517 | 85.7349

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.1923 | 18.7333 | 17.2732 | 17.487 | 17.7525 | 17.6512 | 18.4591 | 18.5696 | 19.3041 | 19.9164 | 20.9323 | 21.5351 | 22.4633 | 23.0337 | 23.7373 | 24.4648 | 25.2385 | 26.0106 | 26.8886 | 27.5912 | 28.5402 | 29.513 | 30.5489 | 31.305 | 32.3114 | 33.2402 | 34.2221 | 35.3801 | 36.3896 | 37.6439 | 39.3858 | 45.6273 | 42.9358
SEL | 33.4351 | 31.9761 | 30.516 | 30.7299 | 30.9953 | 30.894 | 31.7019 | 31.8125 | 32.547 | 33.1592 | 34.1751 | 34.778 | 35.7061 | 36.2766 | 36.9802 | 37.7076 | 38.4813 | 39.2534 | 40.1315 | 40.834 | 41.7831 | 42.7558 | 43.7917 | 44.5479 | 45.5542 | 46.4831 | 47.465 | 48.623 | 49.6325 | 50.8867 | 52.6287 | 58.8701 | 56.1786
Min | 9.7863 | 8.6019 | 11.7576 | 11.3675 | 10.3417 | 11.3564 | 12.8193 | 13.4382 | 15.8591 | 15.5545 | 17.4508 | 18.8527 | 19.4199 | 20.7256 | 21.4886 | 22.8969 | 23.6391 | 24.8581 | 25.1956 | 26.5082 | 27.2963 | 28.4993 | 29.0528 | 30.273 | 31.1596 | 32.1595 | 33.3482 | 34.2585 | 35.4875 | 36.7276 | 38.537
Max | 27.0467 | 25.6227 | 23.9332 | 22.16 | 22.3252 | 21.9126 | 24.6042 | 22.2596 | 22.7215 | 22.491 | 24.0829 | 24.0023 | 25.2561 | 25.4448 | 26.9019 | 25.9384 | 26.7803 | 27.4738 | 28.3424 | 28.7991 | 29.4288 | 30.5966 | 31.5733 | 32.3509 | 33.1542 | 34.0363 | 35.0482 | 36.2419 | 37.106 | 38.3738 | 40.0094
At Max (LIN) | 20.3988 | 20.901 | 20.0664 | 13.8981 | 14.1622 | 15.8919 | 15.048 | 18.269 | 18.8465 | 18.234 | 22.9512 | 21.8804 | 22.4895 | 23.7235 | 22.8325 | 24.8599 | 25.1273 | 26.8539 | 26.0892 | 27.7213 | 28.7673 | 30.0823 | 31.1155 | 32.0695 | 32.8509 | 33.3927 | 34.6537 | 36.0345 | 37.0638 | 37.9987 | 39.8069 | 46.0656 | 43.3807
At Max (A) | 16.6168 | 20.6609 | 18.9895 | 14.5658 | 15.8709 | 15.5431 | 14.0062 | 16.4745 | 19.0616 | 21 | 22.707 | 20.4263 | 22.2691 | 23.2689 | 24.4012 | 24.6161 | 24.7902 | 26.3905 | 27.5779 | 28.283 | 28.6183 | 29.8519 | 31.5379 | 31.9076 | 32.9333 | 33.7569 | 34.4987 | 35.7463 | 36.9043 | 37.9663 | 39.8563 | 46.0495 | 43.4152

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.3601 | 105.448 | 102.9707 | 104.6139 | 102.5361 | 105.6329 | 106.5434 | 107.8993 | 106.7688 | 107.8757 | 109.1728 | 114.6238 | 121.0409 | 128.1356 | 132.8126 | 134.4101 | 137.4783 | 134.7953 | 134.0465 | 133.9037 | 130.8351 | 129.1375 | 130.9117 | 131.7183 | 131.954 | 135.9799 | 132.2156 | 132.2861 | 126.1434 | 118.6217 | 112.1652 | 145.2208 | 144.9014
SEL | 112.6029 | 118.6908 | 116.2136 | 117.8567 | 115.7789 | 118.8757 | 119.7862 | 121.1421 | 120.0116 | 121.1185 | 122.4156 | 127.8667 | 134.2838 | 141.3784 | 146.0554 | 147.653 | 150.7211 | 148.0382 | 147.2893 | 147.1465 | 144.0779 | 142.3804 | 144.1546 | 144.9611 | 145.1968 | 149.2227 | 145.4584 | 145.5289 | 139.3863 | 131.8646 | 125.408 | 158.4636 | 158.1442
Min | 54.6569 | 55.5796 | 57.5117 | 58.4257 | 59.9344 | 60.5685 | 63.2105 | 63.5824 | 64.1757 | 66.3857 | 67.7006 | 68.157 | 69.7536 | 69.9152 | 71.0662 | 72.4104 | 75.0232 | 81.0394 | 100.7048 | 87.1586 | 76.5911 | 78.5004 | 80.127 | 84.0488 | 89.7334 | 107.4032 | 96.8884 | 102.3023 | 106.2309 | 107.5057 | 99.0204
Max | 112.4939 | 118.5739 | 115.4304 | 117.5811 | 116.5789 | 121.1378 | 122.41 | 123.2103 | 122.9983 | 124.5542 | 124.8218 | 129.687 | 132.904 | 139.3682 | 144.1986 | 145.2552 | 148.7137 | 147.4633 | 146.2617 | 145.7722 | 143.0608 | 141.595 | 143.219 | 144.0278 | 144.718 | 148.6807 | 142.5857 | 143.0032 | 134.9691 | 125.3997 | 119.9427
At Max (LIN) | 105.7736 | 109.2019 | 107.4735 | 112.877 | 111.3226 | 110.5032 | 113.7145 | 118.332 | 115.4063 | 115.2271 | 121.0351 | 125.4562 | 130.2074 | 135.8444 | 139.8737 | 143.5358 | 146.1121 | 147.4633 | 146.2617 | 143.6685 | 140.6253 | 140.2278 | 142.3009 | 144.0278 | 144.372 | 148.0938 | 142.4584 | 143.0032 | 134.9691 | 124.244 | 118.3427 | 155.9911 | 155.9394
At Max (A) | 105.7736 | 109.2019 | 107.4735 | 112.877 | 111.3226 | 110.5032 | 113.7145 | 118.332 | 115.4063 | 115.2271 | 121.0351 | 125.4562 | 130.2074 | 135.8444 | 139.8737 | 143.5358 | 146.1121 | 147.4633 | 146.2617 | 143.6685 | 140.6253 | 140.2278 | 142.3009 | 144.0278 | 144.372 | 148.0938 | 142.4584 | 143.0032 | 134.9691 | 124.244 | 118.3427 | 155.9911 | 155.9394

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.5131 | 74.2775 | 77.8709 | 92.76 | 87.5245 | 91.1179 | 2.4654 | 3.5934 | 92.0657 | 54.1287 | 84.3528 | 47.2679 | 88.2885 | 51.5047 | 87.598 | 58.1658 | 82.6462 | 48.202 | 85.9718 | 53.1918 | 77.7269 | 3.4493 | 94.5966 | 51.6229 | 85.5905 | 39.8028 | 89.9293 | 44.6799 | 102.9465 | 96.5232 | 100.1285

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.0456 | 74.5235 | 76.9754 | 91.2925 | 87.7705 | 90.2223 | 2.0695 | 2.4518 | 89.2634 | 54.1782 | 86.1256 | 48.5164 | 87.4656 | 52.2237 | 85.9142 | 57.4202 | 83.2942 | 49.7392 | 85.2658 | 53.1733 | 79.6104 | 5.0869 | 91.9121 | 50.566 | 88.3645 | 42.2757 | 89.6155 | 44.5946 | 99.614 | 99.1765 | 99.1087

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.3615 | 42.7828 | 41.5721 | 59.6084 | 56.0297 | 54.8191 | -0.84625 | -1.2106 | 46.9309 | 45.678 | 43.3266 | 42.117 | 42.0617 | 40.8949 | 46.7671 | 45.994 | 43.1376 | 42.289 | 41.91 | 41.1098 | 43.0592 | 0.27645 | 47.5698 | 38.008 | 43.5872 | 33.6537 | 42.2577 | 32.6695 | 59.5247 | 56.8672 | 54.8548

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 144.9667 | 144.6376 | 144.3002 | 158.2136 | 157.8846 | 157.5471 | -1.6 | -0.33746 | 156.0405 | 110.9193 | 155.9688 | 108.038 | 155.3418 | 106.2559 | 153.9813 | 110.9193 | 153.7003 | 108.038 | 153.3965 | 106.2559 | 149.5596 | 4.922 | 157.998 | 102.1618 | 158.0301 | 99.2805 | 157.355 | 97.4984 | 171.1358 | 170.8484 | 170.5216