## Kåhögsgård 2 dag37
Measurement Name | Kåhögsgård 2 dag37 (Normal Range)
Time of run | 2020-06-25 11:21:41 (1593080501)
Duration | 15.84 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 65.1622 | 64.6217 | 65.3705 | 65.7228 | 71.7889 | 65.7063 | 63.9034 | 63.1358 | 60.3479 | 58.2375 | 58.238 | 60.5279 | 63.9513 | 64.7169 | 65.6831 | 66.4783 | 68.9409 | 67.6472 | 63.6223 | 61.9847 | 59.3046 | 56.3 | 52.6227 | 53.7969 | 51.5609 | 52.0649 | 49.7774 | 50.1605 | 48.7952 | 43.4908 | 36.6829 | 78.6731 | 74.1817
SEL | 77.1488 | 76.6083 | 77.3571 | 77.7094 | 83.7755 | 77.6929 | 75.8899 | 75.1223 | 72.3344 | 70.2241 | 70.2245 | 72.5145 | 75.9379 | 76.7035 | 77.6696 | 78.4649 | 80.9274 | 79.6337 | 75.6089 | 73.9713 | 71.2912 | 68.2866 | 64.6093 | 65.7835 | 63.5475 | 64.0515 | 61.764 | 62.1471 | 60.7818 | 55.4774 | 48.6694 | 90.6596 | 86.1683
Min | 44.02 | 40.9705 | 43.5642 | 48.398 | 47.6527 | 41.1989 | 37.7149 | 34.4572 | 32.3499 | 32.6898 | 27.4406 | 24.7944 | 27.9719 | 27.8419 | 32.4323 | 34.1075 | 39.0118 | 40.2328 | 40.5441 | 35.7624 | 30.2481 | 27.8474 | 25.128 | 22.1072 | 20.1179 | 30.7183 | 21.204 | 30.5705 | 39.2016 | 34.7494 | 26.1754
Max | 79.6709 | 78.313 | 78.1569 | 77.9474 | 81.953 | 77.6269 | 75.4724 | 73.535 | 72.4635 | 68.1218 | 68.7462 | 71.4248 | 75.8279 | 74.1576 | 75.1607 | 76.5421 | 79.8885 | 76.3765 | 72.6626 | 71.6855 | 68.4814 | 65.9945 | 61.2828 | 62.5272 | 59.8867 | 60.8661 | 58.2875 | 58.0769 | 55.6392 | 49.8875 | 46.6512
At Max (LIN) | 79.6709 | 77.489 | 76.1023 | 77.9474 | 80.3074 | 75.0343 | 71.8671 | 70.5489 | 68.0878 | 66.3912 | 64.1563 | 67.4625 | 71.4397 | 73.3976 | 75.1397 | 75.7211 | 74.7657 | 76.1258 | 72.3721 | 70.839 | 68.4814 | 64.9717 | 60.1691 | 61.3729 | 58.8303 | 58.691 | 57.0288 | 56.2871 | 53.8923 | 49.0248 | 40.8061 | 88.1842 | 82.3492
At Max (A) | 66.6342 | 66.7446 | 66.7467 | 70.5196 | 81.953 | 71.6202 | 68.5592 | 66.6831 | 60.7521 | 62.7958 | 63.4418 | 66.1082 | 70.7801 | 72.8688 | 74.5905 | 75.9584 | 79.8885 | 75.9326 | 72.2243 | 70.981 | 68.2553 | 65.6174 | 60.1843 | 61.1277 | 59.4637 | 59.6435 | 57.6629 | 56.9077 | 54.5868 | 48.9521 | 40.6205 | 86.9828 | 83.505

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.975 | 62.7361 | 62.6924 | 62.5701 | 68.0984 | 60.8919 | 60.2008 | 59.5157 | 59.7531 | 60.1209 | 60.1255 | 61.1143 | 62.1866 | 65.0951 | 66.6005 | 68.6723 | 69.4666 | 68.3984 | 64.4609 | 62.6276 | 57.6353 | 54.4715 | 51.0954 | 52.2349 | 50.9442 | 50.091 | 48.4844 | 48.4349 | 44.8891 | 40.5655 | 32.8709 | 77.7975 | 74.8277
SEL | 74.9616 | 74.7227 | 74.6789 | 74.5566 | 80.085 | 72.8784 | 72.1874 | 71.5023 | 71.7397 | 72.1075 | 72.112 | 73.1009 | 74.1732 | 77.0816 | 78.5871 | 80.6589 | 81.4532 | 80.385 | 76.4475 | 74.6142 | 69.6218 | 66.4581 | 63.082 | 64.2214 | 62.9308 | 62.0776 | 60.471 | 60.4215 | 56.8757 | 52.5521 | 44.8575 | 89.7841 | 86.8143
Min | 43.5852 | 39.636 | 42.4021 | 47.2529 | 47.1156 | 40.0657 | 38.9727 | 34.8841 | 34.2075 | 34.1941 | 33.1432 | 34.3634 | 37.9377 | 36.7526 | 37.7601 | 38.9909 | 41.3188 | 40.7802 | 42.0485 | 35.3531 | 31.9918 | 29.4732 | 26.241 | 25.0638 | 22.5036 | 30.7953 | 23.1193 | 32.2031 | 33.6935 | 32.177 | 22.9151
Max | 77.0501 | 75.6513 | 74.1395 | 73.3067 | 79.0925 | 71.691 | 69.9286 | 70.8927 | 72.97 | 70.7458 | 70.5844 | 72.2862 | 72.2401 | 75.7577 | 76.9713 | 81.5161 | 80.2904 | 77.712 | 73.4113 | 72.8824 | 67.0712 | 62.7943 | 59.982 | 60.6915 | 59.468 | 58.6956 | 57.2116 | 55.7897 | 52.0022 | 47.9474 | 40.4431
At Max (LIN) | 74.8825 | 74.8097 | 73.0064 | 72.5638 | 76.0645 | 69.6642 | 68.483 | 68.2191 | 68.7388 | 67.5778 | 66.8844 | 70.1822 | 69.408 | 75.1456 | 75.0386 | 78.3659 | 78.732 | 76.7178 | 73.2795 | 71.3454 | 66.519 | 62.721 | 59.1404 | 60.3405 | 58.6795 | 56.9941 | 56.2006 | 55.1224 | 51.7951 | 47.9474 | 39.4191 | 86.9891 | 83.7706
At Max (A) | 64.2684 | 60.3563 | 62.8634 | 67.8817 | 74.7751 | 65.4445 | 63.7952 | 60.8042 | 61.9993 | 62.6992 | 65.535 | 66.2856 | 69.1176 | 75.7577 | 76.4503 | 81.5161 | 80.2904 | 76.902 | 73.0088 | 72.8824 | 65.7006 | 61.6755 | 56.8762 | 57.2782 | 55.8538 | 54.6578 | 52.4585 | 52.0319 | 48.1622 | 42.4348 | 34.7231 | 86.9427 | 85.0854

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.5947 | 19.313 | 18.5839 | 17.6566 | 17.436 | 17.3825 | 18.3445 | 19.0152 | 19.5613 | 20.4051 | 21.1787 | 21.5977 | 22.5356 | 23.0736 | 23.9134 | 24.7757 | 25.5364 | 26.1934 | 27.1343 | 27.8792 | 29.1605 | 30.1074 | 30.7699 | 31.7351 | 32.6459 | 33.4931 | 34.4718 | 35.5741 | 36.7333 | 37.9704 | 39.6092 | 45.9146 | 43.2537
SEL | 32.5812 | 31.2995 | 30.5705 | 29.6432 | 29.4225 | 29.3691 | 30.3311 | 31.0018 | 31.5479 | 32.3917 | 33.1652 | 33.5843 | 34.5221 | 35.0601 | 35.9 | 36.7623 | 37.5229 | 38.18 | 39.1208 | 39.8658 | 41.1471 | 42.094 | 42.7564 | 43.7217 | 44.6325 | 45.4797 | 46.4584 | 47.5607 | 48.7199 | 49.957 | 51.5958 | 57.9012 | 55.2403
Min | 8.604 | 10.4698 | 9.7751 | 10.5823 | 12.2072 | 11.4288 | 14.6148 | 14.6606 | 15.0399 | 17.3279 | 17.8032 | 18.7091 | 20.2209 | 21.164 | 21.3026 | 22.8949 | 24.2021 | 24.9569 | 25.9964 | 26.7446 | 27.0953 | 28.3275 | 29.6043 | 30.7437 | 31.7169 | 32.3986 | 33.8167 | 34.5799 | 35.9806 | 37.2327 | 38.7868
Max | 28.9392 | 25.7363 | 24.3768 | 24.7608 | 22.203 | 22.3334 | 21.6886 | 22.5043 | 23.9994 | 23.8457 | 23.4411 | 24.0669 | 24.8945 | 24.9337 | 25.7115 | 26.0485 | 26.9827 | 27.6322 | 28.5801 | 29.0531 | 30.3876 | 31.0638 | 31.8016 | 32.5655 | 33.6153 | 34.1391 | 35.0407 | 36.2948 | 37.3546 | 38.808 | 40.2153
At Max (LIN) | 19.0383 | 18.6388 | 20.6434 | 19.1513 | 21.0952 | 17.1401 | 15.8846 | 17.7258 | 20.7242 | 19.8226 | 21.5151 | 21.8511 | 21.9467 | 24.1265 | 23.2451 | 23.9037 | 26.2278 | 26.689 | 27.0947 | 27.8643 | 29.6687 | 31.0638 | 31.2067 | 32.5655 | 32.7246 | 33.7187 | 34.7593 | 35.9161 | 37.1305 | 38.2886 | 40.2153 | 46.3236 | 43.6455
At Max (A) | 19.0383 | 18.6388 | 20.6434 | 19.1513 | 21.0952 | 17.1401 | 15.8846 | 17.7258 | 20.7242 | 19.8226 | 21.5151 | 21.8511 | 21.9467 | 24.1265 | 23.2451 | 23.9037 | 26.2278 | 26.689 | 27.0947 | 27.8643 | 29.6687 | 31.0638 | 31.2067 | 32.5655 | 32.7246 | 33.7187 | 34.7593 | 35.9161 | 37.1305 | 38.2886 | 40.2153 | 46.3236 | 43.6455

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 100.563 | 106.0868 | 104.3123 | 106.7358 | 104.0213 | 104.8314 | 104.4975 | 106.7695 | 103.4225 | 102.2649 | 108.7621 | 113.3104 | 122.1202 | 131.2772 | 133.8843 | 136.3661 | 139.0652 | 136.603 | 133.5513 | 133.0586 | 128.7634 | 125.3888 | 127.525 | 128.6539 | 128.6268 | 130.3689 | 132.0154 | 134.1646 | 126.0342 | 115.415 | 108.2528 | 145.3304 | 144.5888
SEL | 112.5495 | 118.0734 | 116.2989 | 118.7224 | 116.0079 | 116.818 | 116.4841 | 118.756 | 115.409 | 114.2515 | 120.7487 | 125.2969 | 134.1068 | 143.2638 | 145.8709 | 148.3526 | 151.0517 | 148.5895 | 145.5379 | 145.0452 | 140.75 | 137.3753 | 139.5116 | 140.6405 | 140.6134 | 142.3555 | 144.002 | 146.1511 | 138.0207 | 127.4015 | 120.2394 | 157.317 | 156.5753
Min | 55.3161 | 56.7328 | 56.8899 | 59.9702 | 61.7692 | 62.0491 | 63.7327 | 63.507 | 64.2479 | 66.7212 | 67.901 | 68.6892 | 69.8538 | 71.14 | 70.5751 | 73.4935 | 81.1651 | 87.0817 | 98.7458 | 89.3621 | 80.8638 | 84.3153 | 83.5199 | 92.8001 | 91.1147 | 109.098 | 105.1856 | 115.9589 | 114.5854 | 108.1614 | 98.225
Max | 112.3219 | 118.4983 | 115.3001 | 119.0195 | 117.0701 | 116.5427 | 116.5474 | 118.7145 | 114.7993 | 114.7251 | 121.4808 | 125.4382 | 132.1287 | 142.1272 | 144.0788 | 145.3812 | 148.4915 | 147.84 | 142.8295 | 143.6215 | 138.9291 | 135.5241 | 136.4626 | 138.164 | 139.1241 | 140.7064 | 140.5926 | 142.1889 | 132.8027 | 120.6989 | 114.6165
At Max (LIN) | 111.6113 | 114.1444 | 113.9452 | 113.7836 | 112.2968 | 110.8797 | 109.3386 | 110.3459 | 107.4805 | 106.8075 | 113.849 | 119.0477 | 131.7212 | 140.0837 | 144.0788 | 145.3812 | 148.4915 | 143.2501 | 142.1831 | 143.6215 | 138.6229 | 134.2158 | 134.18 | 135.178 | 134.807 | 135.6293 | 139.0308 | 140.2787 | 131.3175 | 119.5773 | 114.3639 | 153.9099 | 153.1525
At Max (A) | 105.5306 | 107.7986 | 107.5674 | 112.9514 | 109.2196 | 113.1012 | 115.7596 | 117.6228 | 112.967 | 109.8565 | 117.5237 | 123.0879 | 129.0034 | 136.1065 | 139.9867 | 145.1498 | 146.4055 | 147.84 | 142.3733 | 141.1053 | 136.2752 | 133.5909 | 136.4078 | 137.7846 | 138.3595 | 139.9314 | 139.5428 | 141.3483 | 132.5202 | 119.4236 | 113.6071 | 153.8176 | 153.3351

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.9599 | 74.0222 | 77.6894 | 90.9575 | 86.0197 | 89.687 | 8.6856 | 3.6673 | 89.4104 | 53.3787 | 83.4744 | 48.5826 | 86.2474 | 54.5578 | 85.7029 | 53.3787 | 81.5006 | 49.811 | 84.7566 | 54.8748 | 77.7126 | 3.6904 | 91.7048 | 44.6212 | 84.4731 | 41.0535 | 87.8116 | 46.1187 | 99.3537 | 95.2299 | 97.5693

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.9387 | 74.7145 | 77.1504 | 89.9362 | 86.7121 | 89.148 | 5.9654 | 2.4359 | 87.4238 | 57.6579 | 85.4392 | 48.8633 | 87.1078 | 55.3582 | 85.0381 | 60.9263 | 82.4311 | 52.2774 | 84.5403 | 57.2195 | 80.259 | 5.5445 | 89.7001 | 53.8221 | 87.9145 | 43.5766 | 89.456 | 48.4782 | 99.3589 | 97.5068 | 99.4701

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6262 | 43.0954 | 41.8756 | 58.6237 | 55.093 | 53.8731 | -1.2133 | -1.2198 | 47.0956 | 45.9271 | 43.5368 | 42.3965 | 42.3337 | 41.2256 | 46.8295 | 46.2122 | 43.3675 | 42.7044 | 42.137 | 41.5128 | 43.3703 | 0.27484 | 47.7675 | 37.4742 | 43.8168 | 34.0033 | 42.6458 | 33.0935 | 60.4169 | 57.169 | 55.79

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 145.1126 | 144.3868 | 144.6196 | 157.1101 | 156.3843 | 156.6172 | -1.8369 | 0.23287 | 154.1774 | 119.5492 | 153.4539 | 116.8847 | 153.9019 | 115.1317 | 152.7015 | 122.8493 | 151.9967 | 120.4972 | 152.3136 | 118.6635 | 148.468 | 4.0813 | 156.0082 | 114.3494 | 155.5208 | 111.9599 | 155.6294 | 110.105 | 168.0334 | 168.3071 | 167.7439