## Kåhögsgård 2 dag44
Measurement Name | Kåhögsgård 2 dag44 (Normal Range)
Time of run | 2020-06-25 12:13:50 (1593083630)
Duration | 22.16 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0421505 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH3 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH3 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH3 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 65.8311 | 63.8756 | 63.8316 | 67.8799 | 76.2117 | 68.4705 | 66.7802 | 64.2883 | 63.1521 | 61.8994 | 63.982 | 65.1479 | 66.6823 | 70.5221 | 69.9587 | 70.2509 | 72.1162 | 73.2056 | 70.0202 | 68.4152 | 66.0674 | 63.7356 | 60.6398 | 60.0951 | 57.5829 | 57.0933 | 54.2705 | 54.222 | 52.909 | 48.0168 | 41.1046 | 82.591 | 79.2891
SEL | 79.275 | 77.3196 | 77.2755 | 81.3239 | 89.6556 | 81.9145 | 80.2242 | 77.7322 | 76.5961 | 75.3433 | 77.4259 | 78.5918 | 80.1262 | 83.966 | 83.4026 | 83.6948 | 85.5601 | 86.6496 | 83.4641 | 81.8591 | 79.5113 | 77.1795 | 74.0837 | 73.539 | 71.0268 | 70.5372 | 67.7144 | 67.666 | 66.3529 | 61.4607 | 54.5485 | 96.0349 | 92.733
Min | 42.1286 | 42.5548 | 38.9517 | 46.6838 | 46.5453 | 42.6514 | 35.2707 | 33.9482 | 30.1618 | 30.0747 | 27.965 | 29.0146 | 30.8488 | 31.7287 | 34.2277 | 35.4596 | 40.2462 | 44.8027 | 50.3364 | 41.4673 | 34.4117 | 30.9462 | 25.4581 | 25.1494 | 22.3918 | 33.2659 | 22.7766 | 32.401 | 40.8827 | 37.3771 | 27.5959
Max | 77.6718 | 75.4252 | 75.1102 | 78.0762 | 86.4162 | 78.9621 | 77.9206 | 74.6994 | 78.7512 | 73.7884 | 77.1013 | 75.8551 | 76.333 | 80.0813 | 79.3883 | 80.9833 | 82.1089 | 83.2906 | 80.2668 | 79.8027 | 76.5058 | 72.7972 | 71.9835 | 70.4811 | 67.456 | 67.1038 | 64.7666 | 63.6648 | 60.8306 | 56.6235 | 52.4018
At Max (LIN) | 72.5087 | 70.3805 | 73.8537 | 73.9105 | 86.2554 | 78.9621 | 73.7497 | 69.8886 | 67.706 | 68.5077 | 68.3988 | 71.6385 | 74.1168 | 79.4034 | 79.3883 | 80.0277 | 80.7536 | 83.2906 | 79.3024 | 79.0536 | 76.0733 | 72.3745 | 67.2367 | 68.2314 | 64.6366 | 63.9919 | 60.8342 | 60.3804 | 57.7719 | 52.5082 | 43.8714 | 91.8273 | 88.7846
At Max (A) | 65.4478 | 68.3417 | 68.6616 | 75.3804 | 84.8944 | 75.1818 | 72.9234 | 71.6363 | 68.0831 | 66.5903 | 67.7667 | 71.9508 | 75.0863 | 79.1487 | 78.5883 | 80.9833 | 82.1089 | 83.1704 | 80.2668 | 79.8027 | 76.4906 | 72.6508 | 67.5755 | 68.4387 | 65.2334 | 64.4468 | 61.2428 | 60.5664 | 58.3419 | 52.6505 | 44.4002 | 91.5528 | 89.279

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.4084 | 61.7882 | 61.3155 | 63.9479 | 73.5648 | 63.1023 | 64.5489 | 62.9009 | 62.0863 | 60.8481 | 63.5333 | 64.6394 | 64.2509 | 69.5867 | 70.3626 | 71.2784 | 72.3934 | 72.9116 | 70.4113 | 68.6286 | 64.1962 | 62.2075 | 59.359 | 59.2727 | 57.5773 | 55.7987 | 53.7003 | 52.7714 | 49.1237 | 44.338 | 36.7222 | 81.5784 | 79.2043
SEL | 76.8523 | 75.2321 | 74.7595 | 77.3918 | 87.0088 | 76.5462 | 77.9928 | 76.3448 | 75.5302 | 74.292 | 76.9773 | 78.0833 | 77.6948 | 83.0306 | 83.8065 | 84.7223 | 85.8373 | 86.3555 | 83.8552 | 82.0726 | 77.6401 | 75.6514 | 72.8029 | 72.7166 | 71.0212 | 69.2426 | 67.1442 | 66.2153 | 62.5676 | 57.782 | 50.1661 | 95.0223 | 92.6482
Min | 41.7613 | 42.0831 | 39.6259 | 45.2406 | 45.575 | 42.0923 | 35.3384 | 33.4684 | 32.5244 | 29.8717 | 32.776 | 36.1096 | 37.4096 | 37.9184 | 39.3775 | 40.2405 | 41.998 | 45.7331 | 47.6428 | 38.1526 | 33.5985 | 30.1954 | 26.683 | 26.4018 | 23.2409 | 33.8 | 23.343 | 31.2084 | 34.9287 | 34.036 | 23.8131
Max | 75.0936 | 72.7587 | 71.1347 | 73.2215 | 84.1056 | 74.4782 | 75.6698 | 76.2314 | 75.3887 | 72.0268 | 73.5137 | 74.1465 | 73.5753 | 78.8828 | 79.4353 | 80.5956 | 83.0535 | 82.503 | 80.6652 | 80.1394 | 73.884 | 72.2816 | 71.451 | 69.7509 | 68.1227 | 66.7504 | 64.546 | 62.4065 | 57.999 | 52.3689 | 46.1572
At Max (LIN) | 70.8197 | 69.3413 | 70.4448 | 69.8149 | 82.3273 | 70.5938 | 72.8477 | 70.6139 | 64.4631 | 68.576 | 69.1075 | 72.0248 | 72.2503 | 77.9705 | 79.2614 | 80.3627 | 81.9316 | 82.503 | 79.6633 | 79.5489 | 73.6549 | 70.0856 | 64.7468 | 66.4644 | 64.2722 | 61.8142 | 59.7601 | 58.1145 | 54.4837 | 48.8342 | 41.6592 | 90.5103 | 88.6079
At Max (A) | 70.8197 | 69.3413 | 70.4448 | 69.8149 | 82.3273 | 70.5938 | 72.8477 | 70.6139 | 64.4631 | 68.576 | 69.1075 | 72.0248 | 72.2503 | 77.9705 | 79.2614 | 80.3627 | 81.9316 | 82.503 | 79.6633 | 79.5489 | 73.6549 | 70.0856 | 64.7468 | 66.4644 | 64.2722 | 61.8142 | 59.7601 | 58.1145 | 54.4837 | 48.8342 | 41.6592 | 90.5103 | 88.6079

## 1_3 Octave CH3
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.3748 | 18.2312 | 17.4479 | 17.4762 | 17.8814 | 18.0017 | 18.2071 | 18.7259 | 19.3129 | 20.2831 | 20.9449 | 21.5937 | 22.328 | 23.2319 | 23.7846 | 24.6227 | 25.3994 | 26.2266 | 27.0708 | 27.9546 | 29.4645 | 29.9444 | 30.7248 | 31.7593 | 32.6944 | 33.4689 | 34.3846 | 35.592 | 36.7601 | 37.9926 | 39.6543 | 45.9221 | 43.257
SEL | 33.8188 | 31.6751 | 30.8918 | 30.9201 | 31.3254 | 31.4456 | 31.651 | 32.1699 | 32.7568 | 33.727 | 34.3889 | 35.0376 | 35.772 | 36.6758 | 37.2286 | 38.0666 | 38.8433 | 39.6705 | 40.5147 | 41.3985 | 42.9084 | 43.3884 | 44.1688 | 45.2032 | 46.1383 | 46.9128 | 47.8285 | 49.036 | 50.204 | 51.4365 | 53.0983 | 59.366 | 56.701
Min | 9.6679 | 8.8484 | 8.3877 | 8.9559 | 11.6291 | 11.3557 | 13.9459 | 14.4723 | 15.9967 | 17.2877 | 18.2043 | 18.9643 | 19.0966 | 20.3682 | 20.1197 | 22.5953 | 24.0714 | 25.014 | 25.3573 | 26.3959 | 28.207 | 29.1917 | 29.7634 | 30.9041 | 31.5589 | 32.1865 | 33.7199 | 33.9151 | 36.1058 | 37.2384 | 38.8993
Max | 27.2186 | 24.4229 | 23.514 | 23.3777 | 22.0599 | 22.2438 | 21.9052 | 23.0996 | 23.3249 | 23.3274 | 23.1193 | 23.6023 | 24.9996 | 25.4994 | 25.5387 | 26.7954 | 27.0745 | 27.6924 | 28.4434 | 28.84 | 30.4876 | 30.8595 | 31.5302 | 32.3929 | 33.2964 | 34.2604 | 34.9821 | 36.3369 | 37.3102 | 38.8504 | 40.2336
At Max (LIN) | 25.1608 | 22.1286 | 19.0344 | 14.3547 | 16.5466 | 18.051 | 17.6772 | 19.3865 | 17.0074 | 21.1557 | 22.11 | 22.5141 | 24.0207 | 24.6683 | 24.9033 | 25.1846 | 26.1793 | 26.6236 | 27.4003 | 28.5677 | 30.3218 | 30.3581 | 30.831 | 31.5066 | 33.2964 | 33.849 | 34.486 | 36.0542 | 37.1946 | 38.4469 | 40.2336 | 46.4029 | 43.6457
At Max (A) | 26.2179 | 22.0569 | 17.4632 | 13.9356 | 15.5865 | 17.7268 | 19.9108 | 19.7567 | 16.7731 | 19.427 | 20.9466 | 20.6237 | 22.9732 | 22.9692 | 23.8875 | 25.3135 | 24.909 | 26.6051 | 27.4857 | 28.6429 | 30.4876 | 30.5387 | 31.3117 | 32.2379 | 33.1801 | 33.9101 | 34.6448 | 36.0112 | 36.9927 | 38.2818 | 39.7897 | 46.2685 | 43.6924

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 102.1111 | 108.907 | 106.4088 | 108.3713 | 106.7956 | 110.4506 | 109.0011 | 108.6467 | 107.1696 | 107.9702 | 111.1695 | 117.9437 | 124.5989 | 132.4362 | 135.1555 | 139.2838 | 142.3287 | 142.1708 | 141.3704 | 139.0283 | 134.973 | 132.6949 | 135.2745 | 135.4781 | 133.8561 | 134.3711 | 135.3312 | 137.3499 | 129.3353 | 117.8412 | 110.6675 | 149.8256 | 149.6021
SEL | 115.5551 | 122.3509 | 119.8527 | 121.8152 | 120.2395 | 123.8945 | 122.445 | 122.0906 | 120.6135 | 121.4141 | 124.6134 | 131.3876 | 138.0428 | 145.8801 | 148.5995 | 152.7277 | 155.7726 | 155.6147 | 154.8143 | 152.4722 | 148.4169 | 146.1388 | 148.7184 | 148.9221 | 147.3 | 147.8151 | 148.7751 | 150.7938 | 142.7792 | 131.2851 | 124.1114 | 163.2696 | 163.046
Min | 57.2711 | 57.8496 | 58.5117 | 59.0048 | 61.7861 | 63.1606 | 62.9711 | 64.023 | 63.6294 | 66.1771 | 67.4799 | 69.5002 | 69.4708 | 70.2686 | 71.9573 | 75.1271 | 85.8385 | 93.8983 | 108.5904 | 97.7502 | 83.7786 | 90.7896 | 90.1966 | 97.0931 | 96.3423 | 107.4649 | 105.6799 | 111.3336 | 112.7343 | 108.5262 | 97.7655
Max | 113.4375 | 120.0881 | 118.5258 | 118.9343 | 120.0195 | 122.6485 | 121.7956 | 121.5759 | 120.3609 | 124.1694 | 124.9201 | 130.0944 | 134.9407 | 142.9141 | 145.0863 | 150.6674 | 152.3575 | 155.4581 | 155.7952 | 151.6757 | 146.8449 | 143.643 | 145.2823 | 146.9836 | 144.7201 | 144.1321 | 144.1654 | 145.7105 | 137.205 | 123.8973 | 117.8381
At Max (LIN) | 98.6735 | 105.2235 | 103.9725 | 111.6066 | 109.0353 | 113.7834 | 112.9859 | 114.8784 | 112.9084 | 111.2256 | 121.5706 | 126.6438 | 131.707 | 139.8821 | 143.0645 | 150.2042 | 149.2225 | 155.4581 | 155.7952 | 150.5658 | 145.5032 | 143.4681 | 144.1835 | 144.6864 | 144.1265 | 143.3535 | 142.9756 | 144.5019 | 135.4393 | 122.9591 | 116.7695 | 161.0665 | 161.1833
At Max (A) | 98.6735 | 105.2235 | 103.9725 | 111.6066 | 109.0353 | 113.7834 | 112.9859 | 114.8784 | 112.9084 | 111.2256 | 121.5706 | 126.6438 | 131.707 | 139.8821 | 143.0645 | 150.2042 | 149.2225 | 155.4581 | 155.7952 | 150.5658 | 145.5032 | 143.4681 | 144.1835 | 144.6864 | 144.1265 | 143.3535 | 142.9756 | 144.5019 | 135.4393 | 122.9591 | 116.7695 | 161.0665 | 161.1833

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 82.6486 | 79.1334 | 81.8372 | 96.1042 | 92.5891 | 95.2929 | 6.6746 | 2.7038 | 92.3266 | 57.6569 | 89.4508 | 53.9059 | 91.7129 | 56.2339 | 89.5395 | 59.6767 | 86.4186 | 56.7746 | 88.8016 | 59.4071 | 82.4624 | 3.329 | 93.584 | 51.5196 | 90.4009 | 50.4128 | 92.912 | 54.061 | 103.3086 | 100.8168 | 102.0581

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 81.5895 | 79.0828 | 81.0438 | 95.0452 | 92.5385 | 94.4995 | 4.1576 | 1.961 | 90.6402 | 57.1023 | 88.9081 | 53.3446 | 90.2938 | 56.3742 | 88.3565 | 57.1744 | 86.1739 | 54.6158 | 87.8796 | 58.965 | 82.604 | 3.5212 | 91.7165 | 48.4273 | 89.8478 | 46.4701 | 91.1124 | 52.0669 | 102.1823 | 100.8236 | 102.0047

## SLM CH3
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 46.6016 | 43.0985 | 41.8667 | 60.0573 | 56.5542 | 55.3224 | -1.3523 | -1.2319 | 47.2123 | 46.1162 | 43.541 | 41.9698 | 42.3672 | 41.0549 | 46.8332 | 46.3102 | 43.3287 | 41.9698 | 42.11 | 41.1081 | 43.3534 | 0.25483 | 47.9977 | 37.7172 | 43.7607 | 33.2123 | 42.6247 | 32.3589 | 60.3417 | 56.8955 | 55.2864

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 149.5741 | 149.3548 | 149.1477 | 163.0298 | 162.8105 | 162.6034 | -1.8481 | -0.20715 | 160.9978 | 118.2051 | 161.1267 | 116.6972 | 160.792 | 115.3354 | 157.5141 | 118.2051 | 157.491 | 116.7865 | 157.186 | 115.492 | 155.0622 | 5.7074 | 163.9297 | 109.4476 | 164.1023 | 108.039 | 163.792 | 106.7575 | 175.4483 | 175.352 | 175.177