## Apelviken22
Measurement Name | Apelviken22 (Normal Range)
Time of run | 2020-08-19 14:27:37 (1597843657)
Duration | 11.96 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0411379 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | +0 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 62.4204 | 63.4663 | 61.893 | 65.8609 | 69.1662 | 60.0848 | 57.7539 | 59.775 | 55.1634 | 55.6554 | 59.1879 | 62.0485 | 65.5619 | 66.191 | 70.4934 | 67.8693 | 67.8084 | 68.0214 | 65.5439 | 62.2981 | 60.8524 | 61.9126 | 62.1217 | 57.7365 | 55.3275 | 54.2363 | 53.648 | 54.3484 | 54.5789 | 54.2401 | 51.4134 | 78.6246 | 75.7049
SEL | 73.1758 | 74.2218 | 72.6485 | 76.6164 | 79.9217 | 70.8403 | 68.5093 | 70.5305 | 65.9189 | 66.4109 | 69.9433 | 72.8039 | 76.3174 | 76.9465 | 81.2489 | 78.6248 | 78.5639 | 78.7769 | 76.2994 | 73.0536 | 71.6079 | 72.6681 | 72.8772 | 68.4919 | 66.0829 | 64.9918 | 64.4035 | 65.1039 | 65.3343 | 64.9956 | 62.1689 | 89.3801 | 86.4604
Min | 52.6339 | 52.0956 | 50.1436 | 53.5097 | 48.9672 | 42.7144 | 41.0414 | 38.0768 | 36.4218 | 34.2439 | 33.3423 | 32.6924 | 31.093 | 33.8103 | 35.5021 | 33.4594 | 36.424 | 38.2093 | 39.7305 | 35.0588 | 31.9503 | 29.6015 | 28.6587 | 23.1173 | 20.2204 | 17.5825 | 16.6404 | 16.8422 | 21.421 | 21.0033 | 19.144
Max | 69.6557 | 74.0169 | 70.0505 | 72.0737 | 77.5834 | 67.7469 | 64.6709 | 69.3314 | 62.4869 | 63.8978 | 66.751 | 70.1345 | 73.2608 | 73.2549 | 77.5536 | 75.0453 | 73.7297 | 75.6028 | 74.7408 | 70.5681 | 70.1291 | 70.9292 | 69.6598 | 67.018 | 64.5798 | 63.502 | 64.9788 | 66.4797 | 67.8833 | 68.1703 | 65.6435
At Max (LIN) | 66.5817 | 72.2934 | 70.0505 | 71.1924 | 73.6658 | 64.9461 | 62.1261 | 63.3877 | 60.5503 | 63.5691 | 66.4517 | 69.0868 | 69.6713 | 70.9507 | 76.9698 | 74.3313 | 73.064 | 75.6028 | 73.1352 | 69.4694 | 70.1291 | 70.9292 | 68.0439 | 66.0024 | 63.373 | 62.5954 | 63.9919 | 65.5832 | 66.3365 | 66.558 | 63.7911 | 85.1839 | 82.8315
At Max (A) | 66.5817 | 72.2934 | 70.0505 | 71.1924 | 73.6658 | 64.9461 | 62.1261 | 63.3877 | 60.5503 | 63.5691 | 66.4517 | 69.0868 | 69.6713 | 70.9507 | 76.9698 | 74.3313 | 73.064 | 75.6028 | 73.1352 | 69.4694 | 70.1291 | 70.9292 | 68.0439 | 66.0024 | 63.373 | 62.5954 | 63.9919 | 65.5832 | 66.3365 | 66.558 | 63.7911 | 85.1839 | 82.8315

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 61.5941 | 61.3062 | 60.6553 | 63.7881 | 64.0802 | 58.6362 | 56.9855 | 60.3209 | 56.0627 | 57.5005 | 59.2552 | 62.4621 | 65.112 | 65.3923 | 70.6294 | 68.2906 | 68.1315 | 67.9326 | 66.6665 | 61.8565 | 59.3648 | 59.9326 | 59.4855 | 55.8674 | 55.7745 | 52.5573 | 50.793 | 50.97 | 50.6404 | 49.6705 | 47.7434 | 77.9854 | 75.5585
SEL | 72.3496 | 72.0617 | 71.4108 | 74.5436 | 74.8357 | 69.3917 | 67.741 | 71.0764 | 66.8182 | 68.256 | 70.0107 | 73.2176 | 75.8675 | 76.1477 | 81.3849 | 79.0461 | 78.887 | 78.688 | 77.422 | 72.612 | 70.1203 | 70.6881 | 70.2409 | 66.6228 | 66.53 | 63.3127 | 61.5485 | 61.7255 | 61.3958 | 60.426 | 58.4989 | 88.7408 | 86.3139
Min | 46.6925 | 48.675 | 47.8621 | 53.0377 | 48.057 | 43.2687 | 40.5288 | 38.8858 | 36.3073 | 36.8226 | 38.0789 | 38.6052 | 37.2041 | 40.3595 | 41.9292 | 40.1046 | 41.6949 | 41.5852 | 40.9745 | 36.1833 | 34.1979 | 32.9351 | 31.1611 | 26.2885 | 23.1889 | 20.5307 | 18.9762 | 18.7918 | 21.0637 | 20.8053 | 20.5305
Max | 69.6887 | 70.3117 | 68.5435 | 70.9273 | 71.1002 | 67.1577 | 65.1387 | 68.0427 | 64.0555 | 65.5333 | 66.2839 | 69.5805 | 73.2501 | 72.0417 | 77.9678 | 75.1182 | 74.409 | 75.2421 | 75.4569 | 69.668 | 67.4246 | 67.8864 | 66.7249 | 64.1662 | 64.4619 | 60.5548 | 61.4483 | 63.0835 | 63.7766 | 63.4434 | 62.1719
At Max (LIN) | 65.1701 | 69.4684 | 68.4036 | 64.0968 | 66.659 | 65.1284 | 59.5108 | 65.7588 | 60.4264 | 60.3479 | 65.2072 | 69.5805 | 68.3114 | 70.0058 | 77.9678 | 75.1182 | 72.31 | 73.6541 | 72.6144 | 68.9963 | 66.4959 | 67.1652 | 65.09 | 63.1952 | 62.6019 | 60.2543 | 59.7291 | 60.4103 | 60.7727 | 60.3833 | 58.6001 | 83.9795 | 81.7828
At Max (A) | 65.1701 | 69.4684 | 68.4036 | 64.0968 | 66.659 | 65.1284 | 59.5108 | 65.7588 | 60.4264 | 60.3479 | 65.2072 | 69.5805 | 68.3114 | 70.0058 | 77.9678 | 75.1182 | 72.31 | 73.6541 | 72.6144 | 68.9963 | 66.4959 | 67.1652 | 65.09 | 63.1952 | 62.6019 | 60.2543 | 59.7291 | 60.4103 | 60.7727 | 60.3833 | 58.6001 | 83.9795 | 81.7828

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 101.4762 | 102.0736 | 107.3328 | 109.1938 | 110.1117 | 107.2657 | 105.4125 | 105.7928 | 109.544 | 113.2812 | 117.3266 | 119.9865 | 125.8255 | 128.1036 | 133.0234 | 130.7678 | 130.5842 | 133.1492 | 132.298 | 127.2841 | 123.6861 | 125.4899 | 125.24 | 130.8017 | 136.548 | 134.9319 | 134.3145 | 136.376 | 126.9576 | 118.6935 | 107.4122 | 144.356 | 143.691
SEL | 112.2316 | 112.8291 | 118.0882 | 119.9492 | 120.8672 | 118.0212 | 116.168 | 116.5482 | 120.2995 | 124.0367 | 128.082 | 130.742 | 136.581 | 138.8591 | 143.7789 | 141.5233 | 141.3397 | 143.9046 | 143.0535 | 138.0395 | 134.4416 | 136.2453 | 135.9954 | 141.5572 | 147.3034 | 145.6873 | 145.07 | 147.1315 | 137.7131 | 129.449 | 118.1676 | 155.1115 | 154.4464
Min | 54.9511 | 50.5628 | 50.5499 | 52.0292 | 55.5192 | 53.8667 | 67.1961 | 57.8752 | 59.0621 | 60.3143 | 58.3452 | 60.3059 | 60.5694 | 60.795 | 61.2151 | 62.6135 | 65.1163 | 75.0956 | 95.2825 | 88.8956 | 71.2083 | 73.9172 | 77.1248 | 72.6501 | 71.3829 | 74.8943 | 74.1115 | 89.0938 | 97.8741 | 94.186 | 82.6374
Max | 110.5733 | 113.0067 | 119.2657 | 120.1138 | 119.8503 | 117.3815 | 116.7132 | 117.866 | 120.6338 | 123.2401 | 126.862 | 130.0435 | 137.0131 | 137.6945 | 142.2142 | 140.2039 | 139.9508 | 142.3235 | 140.996 | 135.967 | 132.7538 | 136.9187 | 133.8526 | 142.0096 | 148.2755 | 143.6212 | 143.5471 | 147.3721 | 133.6659 | 129.4845 | 116.7645
At Max (LIN) | 108.5768 | 108.1468 | 114.2661 | 114.0917 | 117.0943 | 112.9197 | 114.1134 | 113.2561 | 117.8638 | 122.7178 | 125.1892 | 128.5895 | 133.1141 | 135.699 | 140.563 | 138.3345 | 138.1862 | 139.577 | 138.177 | 132.3051 | 128.2376 | 130.6286 | 132.2592 | 139.103 | 148.2755 | 143.6212 | 141.6379 | 147.3721 | 133.6659 | 129.4845 | 116.7645 | 153.4968 | 152.8683
At Max (A) | 108.5768 | 108.1468 | 114.2661 | 114.0917 | 117.0943 | 112.9197 | 114.1134 | 113.2561 | 117.8638 | 122.7178 | 125.1892 | 128.5895 | 133.1141 | 135.699 | 140.563 | 138.3345 | 138.1862 | 139.577 | 138.177 | 132.3051 | 128.2376 | 130.6286 | 132.2592 | 139.103 | 148.2755 | 143.6212 | 141.6379 | 147.3721 | 133.6659 | 129.4845 | 116.7645 | 153.4968 | 152.8683

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.9707 | 75.5245 | 77.8795 | 89.748 | 86.3018 | 88.6568 | 14.8995 | 2.355 | 86.0038 | 63.3315 | 83.0498 | 45.023 | 84.6435 | 60.0396 | 83.4352 | 68.5762 | 80.2969 | 52.2347 | 82.4234 | 62.9758 | 78.6677 | 3.1432 | 86.91 | 67.8672 | 83.7249 | 61.2425 | 85.3006 | 65.9075 | 97.6493 | 96.4773 | 97.716

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 78.2485 | 75.3663 | 77.4314 | 89.0258 | 86.1436 | 88.2087 | 13.8091 | 2.0651 | 84.5001 | 64.7419 | 81.9331 | 48.2951 | 83.7916 | 59.8544 | 82.4403 | 68.7479 | 79.7769 | 53.9054 | 81.6786 | 62.7622 | 78.4259 | 3.0596 | 85.4139 | 64.3609 | 82.7917 | 61.6809 | 85.1104 | 64.216 | 96.839 | 96.3547 | 96.6845

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 144.2225 | 143.5443 | 142.9118 | 154.9998 | 154.3217 | 153.6891 | -1.6959 | -0.63256 | 153.7633 | 100.5346 | 153.2213 | 97.9352 | 152.0149 | 96.6854 | 150.2511 | 118.9665 | 149.5747 | 118.1588 | 148.8804 | 117.4999 | 150.6394 | 7.0951 | 156.771 | 122.4698 | 156.3481 | 122.4085 | 154.7733 | 121.7693 | 172.0099 | 171.3 | 171.9961