## Skårby14
Measurement Name | Skårby14 (Normal Range)
Time of run | 2020-09-07 13:13:30 (1599480810)
Duration | 10.96 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0399089 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 64.545 | 68.9409 | 69.7909 | 68.3904 | 76.0648 | 69.3315 | 63.8354 | 62.9873 | 61.917 | 63.6763 | 58.903 | 58.8318 | 60.256 | 63.3781 | 65.5866 | 75.4166 | 80.5801 | 71.5958 | 69.4429 | 71.9307 | 66.5609 | 63.7245 | 59.6199 | 59.9595 | 58.3447 | 57.3022 | 55.7811 | 55.1001 | 52.7646 | 46.3413 | 38.3023 | 84.6491 | 82.5111
SEL | 74.9192 | 79.3152 | 80.1652 | 78.7646 | 86.4391 | 79.7057 | 74.2097 | 73.3616 | 72.2912 | 74.0506 | 69.2773 | 69.206 | 70.6303 | 73.7523 | 75.9609 | 85.7909 | 90.9544 | 81.9701 | 79.8171 | 82.305 | 76.9352 | 74.0988 | 69.9941 | 70.3338 | 68.719 | 67.6765 | 66.1554 | 65.4744 | 63.1389 | 56.7156 | 48.6766 | 95.0233 | 92.8854
Min | 48.7218 | 39.6527 | 43.9269 | 46.0479 | 41.9296 | 43.9601 | 35.3818 | 31.6798 | 23.3405 | 26.776 | 30.7048 | 31.4395 | 34.6888 | 40.6709 | 42.6467 | 44.9593 | 46.4374 | 51.4203 | 48.4068 | 46.4297 | 41.5721 | 34.1997 | 40.0009 | 33.9889 | 35.8487 | 30.095 | 25.1495 | 29.8948 | 30.7158 | 28.5813 | 24.3253
Max | 76.6698 | 82.3852 | 83.056 | 80.3982 | 85.4038 | 79.2461 | 74.4634 | 73.9014 | 74.6044 | 77.6991 | 67.9306 | 68.6998 | 70.0229 | 72.923 | 73.9925 | 84.5113 | 89.3705 | 81.2364 | 78.5241 | 82.7279 | 75.5001 | 73.1176 | 68.5422 | 69.6525 | 69.0344 | 66.8326 | 64.7403 | 63.8386 | 60.9884 | 54.5721 | 46.8175
At Max (LIN) | 67.3247 | 75.1088 | 77.8123 | 75.9016 | 85.4038 | 78.0752 | 71.656 | 69.7238 | 74.6044 | 76.4454 | 67.9306 | 66.8044 | 66.784 | 69.6819 | 72.8026 | 81.6251 | 88.7396 | 80.7278 | 77.5328 | 82.7279 | 75.1537 | 73.0845 | 68.5422 | 69.6525 | 68.7594 | 66.8285 | 64.6262 | 63.707 | 60.9884 | 54.0083 | 46.4095 | 93.0834 | 91.0116
At Max (A) | 68.0166 | 72.7165 | 76.4908 | 74.2619 | 83.4196 | 75.9226 | 70.4097 | 70.2334 | 72.6428 | 73.6858 | 67.2668 | 67.5951 | 67.7372 | 71.3197 | 73.3916 | 83.1086 | 89.3705 | 81.2364 | 77.7435 | 82.4521 | 75.5001 | 73.1176 | 68.3116 | 69.5935 | 69.0344 | 66.8326 | 64.2589 | 63.4808 | 60.9385 | 53.4583 | 45.9157 | 93.01 | 91.4809

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.394 | 66.9274 | 67.7704 | 66.6836 | 78.5429 | 68.839 | 62.834 | 63.1154 | 59.4804 | 61.0973 | 61.1071 | 60.5914 | 61.4116 | 62.7305 | 65.8197 | 74.4962 | 79.4056 | 71.7769 | 71.1614 | 74.6132 | 66.5851 | 62.8409 | 58.1278 | 58.4643 | 58.5544 | 55.9809 | 53.4999 | 52.7349 | 49.0961 | 42.6735 | 35.7227 | 84.69 | 82.3623
SEL | 73.7682 | 77.3016 | 78.1447 | 77.0578 | 88.9171 | 79.2133 | 73.2083 | 73.4897 | 69.8547 | 71.4716 | 71.4814 | 70.9656 | 71.7858 | 73.1048 | 76.194 | 84.8704 | 89.7799 | 82.1512 | 81.5356 | 84.9874 | 76.9594 | 73.2151 | 68.5021 | 68.8386 | 68.9286 | 66.3552 | 63.8742 | 63.1092 | 59.4704 | 53.0478 | 46.097 | 95.0643 | 92.7366
Min | 39.6877 | 42.9861 | 44.0271 | 45.1463 | 39.6808 | 40.8356 | 37.6774 | 32.5331 | 30.8021 | 33.3878 | 37.3283 | 36.8331 | 38.8874 | 41.9804 | 41.0616 | 44.207 | 48.237 | 50.666 | 46.1737 | 42.7943 | 41.9071 | 35.571 | 38.8276 | 33.0229 | 32.1806 | 28.3371 | 24.7417 | 29.1624 | 26.624 | 24.6553 | 22.7906
Max | 75.4236 | 79.8262 | 80.7019 | 78.0133 | 88.493 | 78.154 | 73.3271 | 72.3958 | 69.3132 | 72.5661 | 70.0548 | 70.2956 | 70.4642 | 71.3899 | 73.4267 | 83.9299 | 88.0791 | 80.3303 | 81.2405 | 86.4013 | 75.3208 | 71.323 | 66.3653 | 67.302 | 69.3478 | 65.0892 | 62.7824 | 60.9621 | 57.1376 | 50.7451 | 44.8453
At Max (LIN) | 66.2351 | 74.5538 | 75.9609 | 72.742 | 88.493 | 77.3642 | 72.5537 | 70.6561 | 68.5013 | 70.8878 | 69.4653 | 68.8024 | 67.1707 | 69.8478 | 71.731 | 81.994 | 86.5669 | 79.8798 | 79.1502 | 83.2337 | 74.6968 | 71.092 | 66.0567 | 67.1887 | 68.1073 | 65.0892 | 62.7824 | 60.9621 | 57.0128 | 50.5157 | 44.6057 | 93.0417 | 90.1384
At Max (A) | 66.2102 | 69.4104 | 71.736 | 71.7808 | 84.5752 | 74.0743 | 70.7227 | 70.2403 | 65.6191 | 68.2898 | 67.1941 | 67.2759 | 67.0258 | 69.2153 | 72.9605 | 83.0898 | 88.0115 | 80.1667 | 81.2072 | 86.4013 | 75.3208 | 71.323 | 66.3653 | 67.0498 | 69.3478 | 64.5805 | 62.2571 | 60.5353 | 56.059 | 48.8375 | 42.6857 | 93.0372 | 91.9547

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 97.8102 | 103.4168 | 99.932 | 107.3996 | 113.3777 | 112.2143 | 103.5734 | 106.0396 | 107.01 | 109.3637 | 113.5454 | 116.3408 | 117.4688 | 123.4336 | 129.0272 | 143.3135 | 150.0949 | 141.7381 | 143.2772 | 148.0088 | 136.7355 | 135.1721 | 133.9669 | 140.9926 | 143.0883 | 133.5875 | 129.1572 | 132.3019 | 125.8588 | 115.2234 | 108.1987 | 154.3607 | 154.3995
SEL | 108.1844 | 113.791 | 110.3062 | 117.7739 | 123.752 | 122.5886 | 113.9477 | 116.4139 | 117.3843 | 119.738 | 123.9197 | 126.715 | 127.8431 | 133.8078 | 139.4015 | 153.6878 | 160.4692 | 152.1124 | 153.6515 | 158.3831 | 147.1097 | 145.5464 | 144.3412 | 151.3668 | 153.4626 | 143.9618 | 139.5315 | 142.6762 | 136.2331 | 125.5977 | 118.573 | 164.7349 | 164.7738
Min | 57.456 | 56.7144 | 59.3872 | 58.8304 | 63.0109 | 62.5627 | 63.8826 | 63.563 | 65.808 | 66.0962 | 68.2054 | 69.071 | 69.6233 | 72.787 | 79.3509 | 93.3996 | 99.0761 | 94.6405 | 102.3639 | 101.7221 | 92.1862 | 91.557 | 80.7758 | 80.2296 | 85.3134 | 98.8948 | 89.1818 | 106.3409 | 103.3607 | 94.3036 | 89.0364
Max | 108.9794 | 114.362 | 111.6474 | 119.4761 | 125.7068 | 124.0751 | 117.701 | 120.5636 | 121.1705 | 125.8813 | 129.2117 | 132.2843 | 132.5078 | 134.9301 | 140.4659 | 154.4294 | 161.3003 | 153.7003 | 154.8899 | 161.0658 | 148.8566 | 147.6498 | 144.916 | 153.0589 | 155.792 | 145.8212 | 138.6953 | 141.3937 | 132.9534 | 120.6317 | 115.2172
At Max (LIN) | 105.5048 | 113.5082 | 109.2737 | 115.9966 | 122.4749 | 120.9937 | 107.7998 | 112.5657 | 114.1736 | 115.4324 | 121.9388 | 122.3436 | 125.7046 | 134.0815 | 138.1027 | 153.7238 | 161.3003 | 153.7003 | 154.8899 | 161.0658 | 148.7448 | 147.6498 | 144.916 | 153.0589 | 155.792 | 145.8212 | 138.6953 | 141.3937 | 132.9534 | 120.5788 | 114.7667 | 166.2565 | 166.4699
At Max (A) | 105.5048 | 113.5082 | 109.2737 | 115.9966 | 122.4749 | 120.9937 | 107.7998 | 112.5657 | 114.1736 | 115.4324 | 121.9388 | 122.3436 | 125.7046 | 134.0815 | 138.1027 | 153.7238 | 161.3003 | 153.7003 | 154.8899 | 161.0658 | 148.7448 | 147.6498 | 144.916 | 153.0589 | 155.792 | 145.8212 | 138.6953 | 141.3937 | 132.9534 | 120.5788 | 114.7667 | 166.2565 | 166.4699

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.7399 | 82.2805 | 84.0191 | 95.138 | 92.6786 | 94.4172 | 3.913 | 1.7386 | 92.9592 | 61.5547 | 91.366 | 54.5845 | 92.5363 | 59.3652 | 90.8763 | 63.0784 | 88.6776 | 54.7844 | 90.2284 | 60.326 | 85.9431 | 3.6626 | 94.0165 | 54.6708 | 92.2982 | 46.0574 | 93.4901 | 51.7472 | 104.6575 | 103.0679 | 103.9664

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.6718 | 82.1726 | 84.0363 | 95.0699 | 92.5708 | 94.4344 | 1.4966 | 1.8637 | 93.2248 | 59.2495 | 92.0673 | 55.7918 | 92.921 | 57.3137 | 90.9252 | 59.3983 | 88.6936 | 56.3562 | 90.3631 | 57.613 | 86.6792 | 4.5066 | 94.382 | 50.6612 | 93.5382 | 47.7206 | 94.0805 | 48.902 | 105.1637 | 103.4869 | 103.8321

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 154.0938 | 154.0889 | 153.9108 | 164.4919 | 164.487 | 164.3089 | -0.83503 | -0.17816 | 166.1777 | 111.2283 | 166.3638 | 109.2202 | 165.984 | 108.6131 | 161.605 | 111.2283 | 161.6777 | 109.2202 | 161.4127 | 108.6131 | 160.3885 | 6.2996 | 167.6779 | 102.4708 | 167.9323 | 100.4627 | 167.5034 | 99.8556 | 180.0925 | 180.0848 | 179.6236