## Torp35
Measurement Name | Torp35 (Normal Range)
Time of run | 2020-09-10 12:32:19 (1599737539)
Duration | 23.92 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0399089 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.8107 | 72.4387 | 73.413 | 74.1512 | 72.2525 | 72.2194 | 71.089 | 67.8528 | 65.3596 | 65.6723 | 64.1982 | 62.4176 | 63.7273 | 65.281 | 67.4408 | 68.9438 | 71.6121 | 76.0436 | 72.2866 | 69.3997 | 73.2157 | 68.8792 | 65.9601 | 63.2836 | 61.4625 | 59.6717 | 56.9172 | 56.2627 | 55.0575 | 50.0641 | 46.2397 | 84.4622 | 81.528
SEL | 84.5947 | 86.2226 | 87.197 | 87.9352 | 86.0365 | 86.0034 | 84.873 | 81.6368 | 79.1435 | 79.4563 | 77.9821 | 76.2016 | 77.5113 | 79.065 | 81.2248 | 82.7278 | 85.3961 | 89.8276 | 86.0706 | 83.1837 | 86.9997 | 82.6632 | 79.7441 | 77.0676 | 75.2465 | 73.4557 | 70.7012 | 70.0467 | 68.8414 | 63.8481 | 60.0237 | 98.2462 | 95.312
Min | 41.2135 | 41.7946 | 47.4323 | 43.6607 | 45.2772 | 41.6814 | 35.6395 | 24.9282 | 20.4282 | 20.9575 | 22.7634 | 22.5418 | 23.3904 | 28.2407 | 33.3771 | 35.9764 | 38.2145 | 40.308 | 39.7641 | 32.6045 | 30.8722 | 26.0418 | 18.3203 | 16.09 | 16.1361 | 19.3725 | 22.7084 | 24.8036 | 32.8111 | 28.1734 | 30.502
Max | 84.9531 | 87.4035 | 91.975 | 90.2069 | 84.6545 | 85.553 | 84.3071 | 83.3627 | 80.0836 | 80.1778 | 79.6802 | 76.2026 | 78.0997 | 78.5315 | 80.6908 | 84.0129 | 85.206 | 89.9072 | 87.3069 | 82.7813 | 85.8009 | 81.7184 | 80.456 | 78.1067 | 75.9357 | 73.1871 | 69.743 | 69.3841 | 68.1804 | 63.9834 | 57.6222
At Max (LIN) | 72.7598 | 86.8808 | 91.975 | 90.2069 | 82.5414 | 84.7592 | 82.7061 | 80.9423 | 79.2956 | 79.1788 | 76.8668 | 75.989 | 75.9693 | 76.8968 | 79.7841 | 79.9563 | 83.6582 | 85.5006 | 83.1341 | 80.3462 | 84.5423 | 78.7986 | 75.35 | 72.674 | 71.3345 | 68.6336 | 66.2835 | 65.2758 | 62.7465 | 57.9416 | 51.8246 | 97.6378 | 92.1721
At Max (A) | 75.1894 | 86.9796 | 86.9329 | 87.5622 | 82.1352 | 82.3102 | 79.8731 | 79.4877 | 75.9244 | 80.1778 | 79.6802 | 76.2026 | 77.6107 | 77.5358 | 79.7601 | 81.577 | 85.206 | 89.0635 | 87.3069 | 82.7813 | 84.8278 | 81.366 | 77.1046 | 74.557 | 72.8665 | 72.6166 | 69.4332 | 67.092 | 64.5612 | 59.7628 | 53.4682 | 97.1498 | 94.5779

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 68.6809 | 70.4981 | 70.9827 | 72.5934 | 69.8417 | 70.6162 | 69.6112 | 66.3486 | 64.1326 | 64.1107 | 63.5981 | 62.9758 | 63.6709 | 65.9077 | 67.8592 | 71.82 | 72.9369 | 78.1429 | 72.8233 | 70.8331 | 72.6662 | 68.0549 | 63.7243 | 62.3283 | 61.6672 | 57.8652 | 55.4803 | 54.2613 | 50.6653 | 45.4822 | 39.7833 | 84.295 | 82.4338
SEL | 82.4649 | 84.2821 | 84.7667 | 86.3773 | 83.6257 | 84.4002 | 83.3951 | 80.1325 | 77.9166 | 77.8947 | 77.3821 | 76.7598 | 77.4549 | 79.6917 | 81.6432 | 85.604 | 86.7208 | 91.9269 | 86.6073 | 84.6171 | 86.4502 | 81.8389 | 77.5083 | 76.1123 | 75.4512 | 71.6492 | 69.2643 | 68.0453 | 64.4493 | 59.2662 | 53.5673 | 98.079 | 96.2177
Min | 40.8718 | 41.5117 | 47.2013 | 43.1637 | 44.1 | 38.9986 | 33.0261 | 24.3357 | 24.6743 | 26.9431 | 29.4424 | 28.7593 | 28.7861 | 32.0647 | 36.0166 | 37.0272 | 39.3602 | 38.4194 | 36.1881 | 33.3027 | 30.6518 | 27.1001 | 18.5669 | 16.6994 | 16.8871 | 17.8826 | 20.1954 | 24.9982 | 26.6032 | 22.1577 | 23.6915
Max | 81.8857 | 85.3756 | 88.9374 | 87.8854 | 83.2192 | 85.2987 | 83.9517 | 79.9997 | 77.1593 | 78.2159 | 77.4092 | 76.5002 | 77.8595 | 79.3368 | 80.8277 | 86.6148 | 86.9544 | 93.1086 | 87.9436 | 83.5093 | 84.7458 | 81.0351 | 76.9087 | 76.0977 | 75.8525 | 71.0172 | 68.1326 | 66.8316 | 63.0376 | 59.251 | 52.604
At Max (LIN) | 74.7022 | 85.3038 | 84.4422 | 86.0226 | 77.8337 | 79.8109 | 80.2125 | 76.8721 | 76.8119 | 75.5874 | 77.3636 | 75.7391 | 75.6941 | 79.0924 | 78.9836 | 86.6148 | 86.0207 | 91.8115 | 87.9436 | 83.4199 | 84.4584 | 81.0351 | 75.3443 | 73.9215 | 72.9211 | 70.5878 | 67.5478 | 65.951 | 62.1705 | 57.3564 | 52.5743 | 97.3699 | 95.8901
At Max (A) | 76.1106 | 85.3756 | 81.1655 | 83.3116 | 81.5877 | 82.7333 | 77.7287 | 77.3477 | 77.1593 | 74.0589 | 75.5444 | 75.6699 | 75.9704 | 77.4381 | 80.31 | 85.5696 | 85.2253 | 93.1086 | 86.1401 | 83.4523 | 84.1452 | 80.5287 | 76.3035 | 74.5303 | 73.0373 | 71.0172 | 68.1326 | 66.3847 | 62.9046 | 59.251 | 52.604 | 97.3167 | 96.0504

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 107.9001 | 98.3213 | 101.111 | 100.2845 | 99.9509 | 101.3941 | 103.8512 | 107.2611 | 106.5795 | 108.7596 | 109.2381 | 115.0289 | 121.9972 | 126.9986 | 131.9298 | 137.5576 | 138.9252 | 148.667 | 142.6141 | 141.7125 | 142.745 | 138.9672 | 135.5772 | 134.8287 | 131.1134 | 138.0663 | 145.5798 | 149.4974 | 141.6497 | 135.4889 | 123.2857 | 154.8726 | 154.1576
SEL | 121.6841 | 112.1053 | 114.895 | 114.0684 | 113.7349 | 115.178 | 117.6352 | 121.0451 | 120.3634 | 122.5436 | 123.022 | 128.8129 | 135.7812 | 140.7826 | 145.7138 | 151.3416 | 152.7092 | 162.4509 | 156.3981 | 155.4965 | 156.529 | 152.7512 | 149.3612 | 148.6127 | 144.8974 | 151.8503 | 159.3637 | 163.2813 | 155.4337 | 149.2729 | 137.0696 | 168.6566 | 167.9416
Min | 65.7019 | 66.6635 | 66.2717 | 70.0829 | 70.0014 | 70.4216 | 71.2068 | 73.4479 | 74.4398 | 75.3632 | 76.0868 | 75.348 | 77.8712 | 80.6351 | 80.424 | 84.8709 | 86.7686 | 91.6084 | 96.4301 | 96.2972 | 89.9042 | 91.6631 | 87.418 | 88.8308 | 89.8976 | 92.8853 | 96.8526 | 118.975 | 119.4503 | 111.2898 | 108.3696
Max | 122.0647 | 111.3202 | 116.1504 | 115.2668 | 116.3809 | 117.1475 | 120.5946 | 124.6373 | 123.1645 | 125.4601 | 125.2343 | 131.4188 | 138.7042 | 143.3156 | 147.9216 | 153.9703 | 154.0512 | 163.9226 | 157.6143 | 155.4216 | 155.4547 | 152.4572 | 148.5487 | 149.4682 | 144.9356 | 150.944 | 157.6992 | 162.4009 | 151.2341 | 146.3905 | 133.1043
At Max (LIN) | 114.5163 | 111.0827 | 112.208 | 115.2668 | 114.651 | 117.1475 | 116.2645 | 117.9046 | 117.7836 | 121.1817 | 122.819 | 127.5966 | 136.7553 | 141.4575 | 145.6685 | 151.1468 | 152.1122 | 163.9226 | 156.5143 | 155.0691 | 154.8561 | 151.9606 | 148.5487 | 148.5488 | 143.7953 | 150.944 | 157.6992 | 161.7255 | 150.9329 | 145.8575 | 131.8883 | 168.1834 | 167.7278
At Max (A) | 114.5163 | 111.0827 | 112.208 | 115.2668 | 114.651 | 117.1475 | 116.2645 | 117.9046 | 117.7836 | 121.1817 | 122.819 | 127.5966 | 136.7553 | 141.4575 | 145.6685 | 151.1468 | 152.1122 | 163.9226 | 156.5143 | 155.0691 | 154.8561 | 151.9606 | 148.5487 | 148.5488 | 143.7953 | 150.944 | 157.6992 | 161.7255 | 150.9329 | 145.8575 | 131.8883 | 168.1834 | 167.7278

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 85.6561 | 81.354 | 83.3602 | 99.4437 | 95.1417 | 97.1478 | 3.4743 | 2.0061 | 101.3368 | 55.9555 | 94.5536 | 47.7653 | 96.3009 | 54.8942 | 95.5504 | 55.9759 | 91.2781 | 50.1194 | 93.1433 | 56.9994 | 85.5404 | 4.1863 | 103.856 | 47.2211 | 95.4556 | 43.3156 | 97.7687 | 49.1289 | 111.3563 | 106.4767 | 108.1448

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.9515 | 82.2754 | 83.5334 | 98.7391 | 96.063 | 97.321 | 3.3764 | 1.258 | 98.8469 | 54.5055 | 96.1767 | 46.9728 | 96.8454 | 53.744 | 94.8351 | 54.5055 | 92.2278 | 49.5358 | 93.4965 | 56.1145 | 87.1235 | 4.8481 | 100.9337 | 45.748 | 97.4033 | 44.8794 | 97.8188 | 48.5453 | 110.7522 | 109.1976 | 110.0413

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 154.6456 | 153.9235 | 153.0209 | 168.4332 | 167.7111 | 166.8085 | -1.8336 | -0.90259 | 167.9915 | 122.4015 | 167.6233 | 118.7542 | 166.951 | 117.0088 | 164.6335 | 122.4015 | 164.0008 | 118.7542 | 163.1529 | 117.0088 | 158.8238 | 4.9003 | 169.2201 | 113.644 | 168.9621 | 109.9967 | 168.3736 | 108.2513 | 184.8789 | 184.4607 | 184.4729