## Torp38
Measurement Name | Torp38 (Normal Range)
Time of run | 2020-09-10 13:12:32 (1599739952)
Duration | 29.06 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0399089 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 74.3773 | 73.163 | 73.9013 | 74.3405 | 74.4775 | 74.7115 | 72.3557 | 71.9092 | 68.1327 | 67.9995 | 69.2491 | 68.1652 | 67.436 | 69.1167 | 70.4697 | 72.7553 | 76.8693 | 78.4293 | 78.5351 | 78.0195 | 79.2129 | 74.6658 | 72.2867 | 69.0909 | 65.4943 | 64.1902 | 61.5455 | 60.8044 | 58.7473 | 53.2909 | 49.8757 | 88.2106 | 86.8704
SEL | 89.0013 | 87.787 | 88.5253 | 88.9645 | 89.1015 | 89.3354 | 86.9796 | 86.5332 | 82.7566 | 82.6235 | 83.8731 | 82.7892 | 82.06 | 83.7407 | 85.0937 | 87.3793 | 91.4933 | 93.0532 | 93.1591 | 92.6434 | 93.8369 | 89.2898 | 86.9107 | 83.7149 | 80.1183 | 78.8141 | 76.1694 | 75.4284 | 73.3712 | 67.9149 | 64.4997 | 102.8346 | 101.4943
Min | 41.7337 | 39.559 | 44.5536 | 43.3521 | 44.4932 | 38.408 | 30.3598 | 26.4171 | 22.6575 | 22.4021 | 23.8161 | 26.8881 | 26.8173 | 28.7779 | 31.7593 | 33.7956 | 36.4292 | 40.5321 | 38.4879 | 36.8941 | 31.3521 | 25.8121 | 23.193 | 21.4619 | 21.6595 | 22.428 | 23.648 | 22.3644 | 24.734 | 22.8159 | 27.615
Max | 88.8996 | 85.0188 | 87.9886 | 87.4139 | 90.6309 | 90.8662 | 87.4956 | 89.0605 | 82.5543 | 84.7572 | 86.8294 | 85.8977 | 82.6229 | 83.1203 | 85.389 | 87.8607 | 93.579 | 94.0185 | 93.8846 | 93.4667 | 93.9079 | 88.8243 | 83.9794 | 80.9256 | 78.5899 | 77.9168 | 73.496 | 72.1625 | 68.5658 | 63.3795 | 58.5289
At Max (LIN) | 81.3165 | 84.7646 | 85.7502 | 86.3373 | 90.6309 | 90.8322 | 87.4956 | 86.2291 | 82.5543 | 81.8311 | 85.3607 | 85.4052 | 81.49 | 83.1203 | 85.389 | 87.4798 | 92.5046 | 93.927 | 93.8846 | 93.4667 | 92.9388 | 88.517 | 83.9794 | 79.0521 | 77.4492 | 77.7944 | 73.496 | 72.1625 | 68.5658 | 63.0345 | 57.3951 | 102.7774 | 101.5887
At Max (A) | 85.1632 | 85.0188 | 85.9491 | 84.5132 | 89.0451 | 89.2713 | 84.902 | 83.4626 | 80.6549 | 84.7572 | 86.8294 | 83.2461 | 82.6229 | 82.3284 | 84.5402 | 87.8607 | 93.579 | 94.0185 | 93.7215 | 93.189 | 93.9079 | 88.8243 | 83.7569 | 79.7901 | 78.5899 | 77.1853 | 73.4599 | 71.9903 | 68.5598 | 62.8247 | 56.974 | 102.7481 | 101.8566

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 72.9748 | 72.0422 | 72.2928 | 72.5309 | 72.3467 | 72.4911 | 70.0625 | 69.7103 | 66.1563 | 66.6911 | 68.3612 | 68.7815 | 67.8157 | 68.6973 | 71.5593 | 73.702 | 77.5656 | 78.179 | 78.5843 | 77.542 | 77.4332 | 72.9604 | 69.986 | 66.9878 | 64.958 | 62.3591 | 59.3357 | 57.8902 | 54.3786 | 49.0522 | 44.0946 | 87.3892 | 86.2432
SEL | 87.5988 | 86.6661 | 86.9168 | 87.1548 | 86.9707 | 87.1151 | 84.6865 | 84.3343 | 80.7803 | 81.3151 | 82.9851 | 83.4054 | 82.4397 | 83.3213 | 86.1833 | 88.326 | 92.1896 | 92.803 | 93.2083 | 92.166 | 92.0572 | 87.5844 | 84.61 | 81.6118 | 79.5819 | 76.9831 | 73.9597 | 72.5141 | 69.0026 | 63.6761 | 58.7185 | 102.0132 | 100.8672
Min | 36.534 | 42.1327 | 43.8955 | 41.6179 | 42.0054 | 36.7283 | 27.6264 | 26.0238 | 25.9165 | 26.2595 | 30.8181 | 33.3203 | 31.1432 | 30.8891 | 34.619 | 35.695 | 39.5207 | 42.2079 | 38.4874 | 37.1605 | 32.1741 | 27.0554 | 24.9957 | 24.3254 | 22.8758 | 22.7478 | 22.7071 | 22.6849 | 20.9875 | 20.1732 | 22.2944
Max | 86.818 | 84.7826 | 86.8031 | 86.2383 | 86.5522 | 87.1845 | 84.9676 | 85.6524 | 79.0639 | 82.377 | 85.7565 | 85.6831 | 82.925 | 83.2589 | 86.4195 | 89.5951 | 95.3512 | 92.4652 | 94.1664 | 92.6343 | 90.814 | 87.1096 | 82.4115 | 78.0081 | 76.9333 | 76.3117 | 71.7074 | 70.5818 | 66.2633 | 62.4011 | 57.9808
At Max (LIN) | 82.8148 | 83.7714 | 83.16 | 82.3134 | 86.0297 | 86.6868 | 83.7025 | 82.5301 | 78.7658 | 82.377 | 85.7565 | 84.1334 | 82.8791 | 82.7861 | 85.9207 | 89.5951 | 95.3512 | 92.4557 | 93.6277 | 92.6343 | 90.814 | 87.1096 | 81.992 | 77.6117 | 76.9333 | 75.5343 | 71.5722 | 69.9405 | 66.2633 | 62.4011 | 57.4514 | 102.0514 | 101.2073
At Max (A) | 82.8148 | 83.7714 | 83.16 | 82.3134 | 86.0297 | 86.6868 | 83.7025 | 82.5301 | 78.7658 | 82.377 | 85.7565 | 84.1334 | 82.8791 | 82.7861 | 85.9207 | 89.5951 | 95.3512 | 92.4557 | 93.6277 | 92.6343 | 90.814 | 87.1096 | 81.992 | 77.6117 | 76.9333 | 75.5343 | 71.5722 | 69.9405 | 66.2633 | 62.4011 | 57.4514 | 102.0514 | 101.2073

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 110.1835 | 104.8376 | 104.3107 | 105.6828 | 102.5169 | 105.4459 | 106.6793 | 110.9354 | 107.8853 | 109.964 | 112.5922 | 118.8879 | 124.2574 | 130.3098 | 136.4234 | 138.8956 | 143.9422 | 149.3754 | 146.2177 | 146.67 | 147.1573 | 142.7898 | 140.521 | 137.5038 | 134.7554 | 141.5505 | 148.3977 | 151.192 | 143.3411 | 137.0134 | 126.0589 | 157.3738 | 156.9163
SEL | 124.8075 | 119.4615 | 118.9346 | 120.3068 | 117.1409 | 120.0699 | 121.3033 | 125.5593 | 122.5093 | 124.588 | 127.2162 | 133.5119 | 138.8814 | 144.9338 | 151.0473 | 153.5195 | 158.5662 | 163.9993 | 160.8417 | 161.2939 | 161.7813 | 157.4138 | 155.1449 | 152.1277 | 149.3794 | 156.1744 | 163.0217 | 165.816 | 157.9651 | 151.6373 | 140.6828 | 171.9978 | 171.5403
Min | 59.2854 | 63.2724 | 66.2757 | 69.0279 | 70.0401 | 72.1068 | 72.3398 | 71.3051 | 74.2065 | 75.4637 | 77.3121 | 77.5959 | 78.236 | 79.5215 | 81.3987 | 83.9639 | 89.3808 | 96.0348 | 97.5959 | 102.284 | 91.7222 | 88.8064 | 88.5629 | 89.1812 | 89.958 | 91.2776 | 92.7977 | 102.7695 | 105.8095 | 102.8217 | 104.9996
Max | 122.3724 | 118.9091 | 118.7091 | 118.3554 | 116.0266 | 121.5149 | 123.1254 | 126.6713 | 121.7126 | 124.4002 | 126.1541 | 134.5347 | 137.5118 | 146.2678 | 152.6794 | 156.1549 | 162.2663 | 165.3195 | 163.1375 | 162.7539 | 161.0775 | 156.4765 | 153.1949 | 150.6242 | 149.2418 | 153.2913 | 159.8924 | 162.5041 | 153.0446 | 147.0013 | 136.1455
At Max (LIN) | 116.2655 | 112.0778 | 114.2648 | 117.3862 | 114.7639 | 114.4235 | 113.8814 | 120.1945 | 116.6528 | 118.8173 | 120.2728 | 130.7158 | 136.8382 | 143.0121 | 152.53 | 154.0185 | 161.1404 | 165.041 | 163.1375 | 162.7539 | 161.0626 | 156.4765 | 150.2925 | 150.4657 | 148.628 | 151.9469 | 155.9073 | 158.0371 | 149.4591 | 143.8408 | 132.2676 | 170.8653 | 171.0612
At Max (A) | 116.2655 | 112.0778 | 114.2648 | 117.3862 | 114.7639 | 114.4235 | 113.8814 | 120.1945 | 116.6528 | 118.8173 | 120.2728 | 130.7158 | 136.8382 | 143.0121 | 152.53 | 154.0185 | 161.1404 | 165.041 | 163.1375 | 162.7539 | 161.0626 | 156.4765 | 150.2925 | 150.4657 | 148.628 | 151.9469 | 155.9073 | 158.0371 | 149.4591 | 143.8408 | 132.2676 | 170.8653 | 171.0612

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 88.7773 | 86.7001 | 87.4395 | 103.4102 | 101.333 | 102.0725 | 4.2386 | 0.73945 | 103.6651 | 56.3855 | 101.9605 | 45.4278 | 102.4048 | 50.1607 | 99.3448 | 57.7621 | 97.2868 | 45.4485 | 97.958 | 50.1607 | 91.9331 | 5.233 | 105.0829 | 49.045 | 103.3002 | 36.694 | 103.437 | 41.4032 | 114.3333 | 113.5248 | 113.634

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.7721 | 86.0824 | 86.7347 | 102.405 | 100.7153 | 101.3677 | 10.009 | 0.65237 | 102.3923 | 50.7201 | 101.0777 | 47.6403 | 101.6615 | 49.0678 | 98.3573 | 50.7885 | 96.8692 | 48.2244 | 97.4883 | 49.0836 | 90.7117 | 4.6293 | 103.5746 | 42.0409 | 101.7755 | 39.6193 | 102.4385 | 40.3284 | 114.4468 | 113.767 | 113.778

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 157.2191 | 156.759 | 155.7972 | 171.8521 | 171.392 | 170.4302 | -1.87 | -0.96181 | 171.5391 | 111.9198 | 171.6915 | 109.2133 | 171.2301 | 108.4101 | 166.6139 | 111.9279 | 166.7085 | 109.268 | 166.1307 | 108.4865 | 161.7479 | 4.9888 | 172.8414 | 103.1716 | 172.9875 | 100.5186 | 172.5928 | 99.7411 | 185.1139 | 185.7069 | 184.2225