## Torp50
Measurement Name | Torp50 (Normal Range)
Time of run | 2020-09-10 15:05:44 (1599746744)
Duration | 39.48 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0399089 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.4053 | 70.7053 | 70.2972 | 70.1104 | 68.8107 | 69.6097 | 66.4008 | 64.6939 | 63.685 | 64.4625 | 65.8577 | 66.0354 | 65.7464 | 67.9848 | 70.3971 | 72.4002 | 79.9946 | 78.6446 | 76.1542 | 76.7098 | 75.9208 | 70.7016 | 65.877 | 64.5961 | 63.3088 | 60.6658 | 57.8485 | 57.3945 | 55.1413 | 49.7982 | 46.1337 | 86.4627 | 85.6086
SEL | 86.3602 | 86.6602 | 86.2522 | 86.0653 | 84.7657 | 85.5646 | 82.3558 | 80.6489 | 79.64 | 80.4174 | 81.8127 | 81.9904 | 81.7014 | 83.9398 | 86.3521 | 88.3551 | 95.9496 | 94.5995 | 92.1092 | 92.6648 | 91.8758 | 86.6566 | 81.832 | 80.5511 | 79.2637 | 76.6208 | 73.8035 | 73.3495 | 71.0963 | 65.7531 | 62.0887 | 102.4176 | 101.5636
Min | 47.3676 | 46.7837 | 39.7122 | 43.661 | 42.2382 | 39.2388 | 33.8574 | 30.8266 | 32.328 | 29.278 | 30.3996 | 31.1156 | 29.2797 | 31.2857 | 32.3421 | 33.9717 | 37.715 | 37.6068 | 33.8188 | 32.6513 | 29.3849 | 26.9709 | 27.8509 | 27.3685 | 26.2171 | 24.8852 | 23.5384 | 22.1082 | 21.1587 | 20.8874 | 21.4289
Max | 81.6626 | 85.1962 | 86.5201 | 84.907 | 83.534 | 85.0441 | 80.5116 | 78.9608 | 79.7594 | 83.2394 | 85.408 | 85.9962 | 81.796 | 83.1859 | 86.502 | 88.2348 | 96.6492 | 95.6511 | 92.9632 | 93.2667 | 90.5859 | 85.141 | 79.3744 | 77.3625 | 75.5623 | 72.4752 | 69.6035 | 69.1335 | 65.2974 | 60.1753 | 54.9452
At Max (LIN) | 81.5382 | 84.8848 | 86.5201 | 80.9611 | 82.638 | 84.7224 | 80.5116 | 78.9608 | 79.7594 | 83.2394 | 84.4397 | 82.2917 | 81.5091 | 82.101 | 86.502 | 88.2348 | 95.8084 | 95.2229 | 92.9632 | 93.2667 | 89.7888 | 85.0993 | 79.3744 | 77.3053 | 75.5623 | 71.9238 | 69.6035 | 67.6626 | 64.6073 | 60.1281 | 54.7179 | 102.1985 | 101.514
At Max (A) | 81.5382 | 84.8848 | 86.5201 | 80.9611 | 82.638 | 84.7224 | 80.5116 | 78.9608 | 79.7594 | 83.2394 | 84.4397 | 82.2917 | 81.5091 | 82.101 | 86.502 | 88.2348 | 95.8084 | 95.2229 | 92.9632 | 93.2667 | 89.7888 | 85.0993 | 79.3744 | 77.3053 | 75.5623 | 71.9238 | 69.6035 | 67.6626 | 64.6073 | 60.1281 | 54.7179 | 102.1985 | 101.514

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.1466 | 70.3725 | 69.3293 | 68.4889 | 67.5515 | 68.4439 | 66.6237 | 63.4157 | 61.9022 | 62.6344 | 65.1674 | 65.737 | 66.6639 | 67.4831 | 70.5186 | 73.4437 | 79.8018 | 77.762 | 75.6268 | 76.1661 | 74.1537 | 69.0213 | 63.8258 | 63.1597 | 62.9378 | 58.8876 | 55.7171 | 54.4697 | 50.5534 | 45.1796 | 39.9951 | 85.861 | 84.929
SEL | 86.1016 | 86.3275 | 85.2842 | 84.4439 | 83.5064 | 84.3989 | 82.5786 | 79.3707 | 77.8571 | 78.5894 | 81.1224 | 81.6919 | 82.6189 | 83.4381 | 86.4736 | 89.3987 | 95.7568 | 93.7169 | 91.5817 | 92.1211 | 90.1086 | 84.9762 | 79.7807 | 79.1146 | 78.8928 | 74.8426 | 71.672 | 70.4246 | 66.5084 | 61.1345 | 55.9501 | 101.816 | 100.884
Min | 39.6864 | 37.8074 | 40.4004 | 40.7797 | 41.9207 | 35.0207 | 32.0576 | 30.0736 | 31.0556 | 31.7261 | 32.23 | 31.3207 | 29.1348 | 32.4117 | 32.021 | 36.0892 | 38.6573 | 36.6772 | 33.8563 | 33.7688 | 29.5702 | 27.8974 | 28.1655 | 28.0099 | 26.987 | 24.9604 | 23.2045 | 21.6205 | 20.46 | 19.8661 | 21.1353
Max | 79.4495 | 83.8286 | 84.6663 | 80.9265 | 80.9892 | 84.1827 | 82.0269 | 77.0901 | 75.2258 | 78.6145 | 82.7877 | 83.206 | 83.7047 | 83.348 | 86.6007 | 89.4011 | 96.2929 | 93.8284 | 92.2314 | 92.0243 | 88.3631 | 83.359 | 77.5674 | 76.4402 | 75.7197 | 71.2637 | 68.2955 | 66.323 | 63.0821 | 59.7915 | 54.8651
At Max (LIN) | 77.7821 | 83.1386 | 84.6663 | 78.3539 | 80.9892 | 83.961 | 80.8996 | 74.0773 | 75.0122 | 78.6145 | 81.9854 | 82.116 | 83.7047 | 81.4318 | 86.6007 | 89.4011 | 96.2929 | 93.4489 | 91.8161 | 92.0243 | 87.9288 | 83.2529 | 77.4739 | 76.4402 | 75.7197 | 71.2242 | 68.2955 | 66.323 | 63.0821 | 59.7915 | 54.8651 | 101.4173 | 100.6903
At Max (A) | 77.7821 | 83.1386 | 84.6663 | 78.3539 | 80.9892 | 83.961 | 80.8996 | 74.0773 | 75.0122 | 78.6145 | 81.9854 | 82.116 | 83.7047 | 81.4318 | 86.6007 | 89.4011 | 96.2929 | 93.4489 | 91.8161 | 92.0243 | 87.9288 | 83.2529 | 77.4739 | 76.4402 | 75.7197 | 71.2242 | 68.2955 | 66.323 | 63.0821 | 59.7915 | 54.8651 | 101.4173 | 100.6903

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 99.4943 | 101.0202 | 100.6488 | 99.8929 | 101.9246 | 109.4858 | 113.3266 | 106.6679 | 109.0536 | 110.7384 | 114.2242 | 119.4269 | 126.4017 | 130.4883 | 137.0894 | 140.067 | 147.3134 | 147.6268 | 143.8876 | 145.1482 | 143.8929 | 138.6607 | 135.4702 | 135.5215 | 134.1928 | 139.5414 | 145.1505 | 147.5503 | 139.2092 | 132.7183 | 121.267 | 155.2699 | 154.8512
SEL | 115.4493 | 116.9752 | 116.6038 | 115.8479 | 117.8796 | 125.4408 | 129.2816 | 122.6229 | 125.0086 | 126.6933 | 130.1791 | 135.3819 | 142.3566 | 146.4432 | 153.0443 | 156.0219 | 163.2684 | 163.5818 | 159.8426 | 161.1032 | 159.8478 | 154.6157 | 151.4252 | 151.4764 | 150.1477 | 155.4963 | 161.1054 | 163.5053 | 155.1641 | 148.6733 | 137.222 | 171.2248 | 170.8061
Min | 64.7614 | 66.5162 | 64.9215 | 69.8526 | 69.8389 | 67.7744 | 70.1672 | 73.5027 | 73.9567 | 75.1077 | 76.4365 | 76.753 | 78.3827 | 79.3517 | 82.2288 | 85.2228 | 95.2734 | 98.436 | 94.6936 | 105.3252 | 95.604 | 86.6492 | 88.4533 | 88.7139 | 88.6383 | 90.5877 | 91.3589 | 93.6549 | 95.7545 | 96.6282 | 98.6837
Max | 113.0214 | 115.2396 | 114.6401 | 116.9034 | 120.0722 | 125.476 | 128.1511 | 121.5376 | 125.681 | 126.1944 | 130.9861 | 134.0793 | 142.439 | 147.2302 | 155.5033 | 157.6099 | 167.1603 | 165.7207 | 161.428 | 160.9564 | 158.1291 | 152.5773 | 150.8676 | 151.2327 | 150.4869 | 153.6119 | 156.153 | 159.0398 | 148.6024 | 142.1256 | 132.8108
At Max (LIN) | 90.8879 | 91.499 | 92.6916 | 106.1407 | 108.1349 | 116.1069 | 121.8389 | 114.686 | 117.1497 | 124.6104 | 130.9861 | 134.0793 | 142.439 | 147.2302 | 155.5033 | 157.6099 | 167.1603 | 164.6562 | 161.428 | 160.8436 | 156.8744 | 151.696 | 150.559 | 150.985 | 150.1401 | 153.6119 | 154.1557 | 154.7832 | 146.6482 | 140.9166 | 130.9182 | 171.3226 | 171.0784
At Max (A) | 90.8879 | 91.499 | 92.6916 | 106.1407 | 108.1349 | 116.1069 | 121.8389 | 114.686 | 117.1497 | 124.6104 | 130.9861 | 134.0793 | 142.439 | 147.2302 | 155.5033 | 157.6099 | 167.1603 | 164.6562 | 161.428 | 160.8436 | 156.8744 | 151.696 | 150.559 | 150.985 | 150.1401 | 153.6119 | 154.1557 | 154.7832 | 146.6482 | 140.9166 | 130.9182 | 171.3226 | 171.0784

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.8819 | 85.4577 | 85.9497 | 102.8456 | 101.4215 | 101.9134 | 6.1314 | 0.49196 | 102.3711 | 61.0727 | 101.5284 | 44.5288 | 101.9407 | 55.7066 | 98.5706 | 65.4508 | 97.6571 | 45.2066 | 98.0542 | 56.9898 | 90.1461 | 4.6884 | 103.0947 | 66.8239 | 102.5746 | 36.9373 | 102.8478 | 48.2631 | 114.1798 | 112.7958 | 113.346

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 86.5226 | 84.7869 | 85.403 | 102.4863 | 100.7507 | 101.3667 | 27.1171 | 0.61604 | 101.6622 | 60.6821 | 100.7031 | 42.8291 | 101.2576 | 52.0197 | 97.8212 | 62.0837 | 97.0035 | 42.8291 | 97.4632 | 52.6339 | 89.782 | 4.9951 | 103.2235 | 53.5138 | 102.3765 | 34.0716 | 102.9103 | 43.9863 | 112.9899 | 113.1988 | 112.4121

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 155.1752 | 154.7621 | 154.2036 | 171.139 | 170.7259 | 170.1673 | -1.9896 | -0.55858 | 171.3076 | 109.0265 | 171.1226 | 108.4674 | 171.1346 | 107.4754 | 166.8415 | 109.0995 | 166.7409 | 108.557 | 166.55 | 107.5502 | 160.2292 | 5.4671 | 173.3449 | 100.3528 | 173.0632 | 99.8126 | 173.1882 | 98.8037 | 188.5324 | 186.7535 | 187.5202