## Trönningenäs18
Measurement Name | Trönningenäs18 (Normal Range)
Time of run | 2020-09-29 11:03:09 (1601373789)
Duration | 29.24 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0406325 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -10 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 61.2576 | 61.7096 | 63.4229 | 62.9282 | 63.1668 | 61.5884 | 62.3075 | 62.65 | 61.7122 | 63.8176 | 67.4234 | 68.9901 | 70.7161 | 69.0922 | 73.2209 | 82.5177 | 79.786 | 79.795 | 75.3515 | 71.9826 | 71.688 | 67.7894 | 68.1655 | 67.2339 | 63.7744 | 62.0194 | 59.224 | 57.7192 | 54.9022 | 49.1891 | 42.8688 | 87.242 | 86.1742
SEL | 75.9114 | 76.3635 | 78.0768 | 77.582 | 77.8206 | 76.2423 | 76.9613 | 77.3038 | 76.3661 | 78.4714 | 82.0772 | 83.644 | 85.3699 | 83.7461 | 87.8747 | 97.1716 | 94.4398 | 94.4488 | 90.0053 | 86.6364 | 86.3419 | 82.4432 | 82.8193 | 81.8877 | 78.4282 | 76.6733 | 73.8778 | 72.3731 | 69.5561 | 63.8429 | 57.5226 | 101.8959 | 100.828
Min | 37.8838 | 41.7014 | 41.559 | 45.315 | 46.114 | 44.8658 | 41.8975 | 38.6738 | 34.4585 | 33.7332 | 35.5107 | 34.9927 | 35.0091 | 35.2162 | 35.3509 | 38.5651 | 44.3695 | 43.8914 | 43.6636 | 37.3504 | 31.7095 | 28.8647 | 22.7501 | 22.2008 | 19.6313 | 29.5132 | 19.327 | 25.6705 | 31.2516 | 24.6435 | 25.8852
Max | 71.3751 | 74.2291 | 76.7095 | 74.4018 | 75.4918 | 70.8114 | 73.1281 | 77.7881 | 75.6226 | 79.4557 | 83.5288 | 85.0862 | 87.6813 | 80.8781 | 83.3281 | 91.9542 | 88.5792 | 88.2358 | 84.6129 | 81.3325 | 81.4455 | 76.7709 | 77.5288 | 76.7469 | 72.4724 | 71.2271 | 68.1382 | 66.7761 | 64.454 | 59.3357 | 53.6045
At Max (LIN) | 68.0222 | 67.0458 | 71.8443 | 69.3222 | 72.2354 | 70.1314 | 70.0224 | 76.1611 | 72.9225 | 77.6509 | 79.2659 | 81.8912 | 87.1345 | 80.8781 | 82.4206 | 90.7548 | 87.6899 | 88.0101 | 81.6235 | 80.474 | 78.5185 | 76.2114 | 74.5023 | 74.1931 | 71.1775 | 69.1823 | 66.8736 | 65.7569 | 62.5819 | 58.1555 | 51.4693 | 96.1395 | 94.3391
At Max (A) | 67.472 | 64.9555 | 62.4475 | 66.86 | 65.5143 | 65.432 | 69.7269 | 67.5598 | 66.9429 | 65.6564 | 66.2351 | 66.3966 | 69.2137 | 74.6254 | 80.6865 | 91.9542 | 86.8309 | 88.1764 | 83.792 | 81.3325 | 81.4455 | 75.5524 | 76.9121 | 75.6094 | 72.4359 | 70.504 | 67.4297 | 66.0487 | 63.7509 | 58.4679 | 51.9873 | 95.5562 | 94.7233

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 59.0535 | 60.11 | 60.8521 | 61.0963 | 62.619 | 61.4986 | 61.6472 | 62.0163 | 60.9333 | 63.5852 | 67.8668 | 69.7526 | 72.6113 | 69.0258 | 72.9692 | 80.772 | 78.9101 | 77.1965 | 74.0544 | 69.878 | 68.8558 | 65.3695 | 65.1532 | 64.9593 | 62.627 | 59.1039 | 56.9448 | 54.4562 | 50.2572 | 45.2652 | 39.3332 | 85.8174 | 84.4768
SEL | 73.7074 | 74.7638 | 75.5059 | 75.7501 | 77.2729 | 76.1524 | 76.301 | 76.6702 | 75.5871 | 78.2391 | 82.5206 | 84.4064 | 87.2652 | 83.6796 | 87.623 | 95.4258 | 93.564 | 91.8503 | 88.7083 | 84.5319 | 83.5096 | 80.0233 | 79.8071 | 79.6131 | 77.2808 | 73.7577 | 71.5987 | 69.11 | 64.911 | 59.919 | 53.9871 | 100.4713 | 99.1306
Min | 39.7677 | 41.1606 | 37.7511 | 43.4996 | 46.1961 | 44.3114 | 39.9594 | 38.7977 | 37.0149 | 37.8424 | 38.4892 | 35.8154 | 35.9918 | 35.178 | 37.6025 | 40.2524 | 44.8773 | 42.716 | 41.959 | 37.3307 | 32.9465 | 28.7313 | 23.0932 | 21.4798 | 18.9894 | 23.5895 | 18.5099 | 20.4182 | 22.9017 | 20.5155 | 22.4658
Max | 68.9301 | 70.3281 | 72.1809 | 71.9094 | 77.368 | 73.1585 | 74.4743 | 74.9586 | 74.9064 | 80.0006 | 83.8134 | 86.2547 | 90.1648 | 81.6263 | 83.9323 | 90.2084 | 88.7585 | 85.8418 | 83.2031 | 78.8471 | 77.9833 | 74.4627 | 74.0909 | 74.5095 | 71.258 | 67.8719 | 65.7503 | 63.5589 | 59.36 | 56.3279 | 51.6282
At Max (LIN) | 63.8049 | 65.5561 | 70.2694 | 71.6728 | 74.1024 | 70.3715 | 73.2569 | 72.1381 | 71.2272 | 76.6831 | 81.631 | 82.8859 | 90.1648 | 81.6263 | 82.4344 | 90.2084 | 87.3803 | 85.8418 | 82.4605 | 78.8471 | 76.7739 | 74.3473 | 73.6416 | 72.7105 | 70.6546 | 67.4728 | 65.7503 | 63.5589 | 59.3436 | 56.3279 | 51.6282 | 96.2724 | 93.7889
At Max (A) | 63.8049 | 65.5561 | 70.2694 | 71.6728 | 74.1024 | 70.3715 | 73.2569 | 72.1381 | 71.2272 | 76.6831 | 81.631 | 82.8859 | 90.1648 | 81.6263 | 82.4344 | 90.2084 | 87.3803 | 85.8418 | 82.4605 | 78.8471 | 76.7739 | 74.3473 | 73.6416 | 72.7105 | 70.6546 | 67.4728 | 65.7503 | 63.5589 | 59.3436 | 56.3279 | 51.6282 | 96.2724 | 93.7889

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 98.2774 | 94.4362 | 99.1682 | 103.2103 | 101.2091 | 102.5546 | 105.5244 | 106.0188 | 109.8656 | 113.6201 | 118.359 | 121.0897 | 126.8544 | 131.9847 | 138.1724 | 149.4712 | 146.4057 | 148.3388 | 142.2208 | 138.65 | 138.1612 | 135.0882 | 136.6945 | 136.1388 | 135.478 | 141.4992 | 139.4512 | 138.9308 | 128.0905 | 121.4886 | 110.0261 | 154.5784 | 153.9372
SEL | 112.9313 | 109.0901 | 113.822 | 117.8642 | 115.8629 | 117.2084 | 120.1782 | 120.6727 | 124.5195 | 128.2739 | 133.0129 | 135.7435 | 141.5082 | 146.6385 | 152.8262 | 164.125 | 161.0595 | 162.9927 | 156.8747 | 153.3038 | 152.815 | 149.742 | 151.3484 | 150.7926 | 150.1319 | 156.153 | 154.1051 | 153.5847 | 142.7443 | 136.1424 | 124.6799 | 169.2322 | 168.591
Min | 54.0474 | 54.7408 | 55.8459 | 58.2903 | 61.1022 | 60.0448 | 62.8339 | 64.6426 | 64.2823 | 64.7891 | 67.1608 | 67.9883 | 69.3162 | 70.0845 | 73.9982 | 78.7308 | 88.4164 | 91.5199 | 94.7649 | 84.0801 | 82.0709 | 81.425 | 78.8512 | 79.5187 | 81.5293 | 97.2787 | 96.5467 | 103.9015 | 100.6567 | 97.6915 | 96.0645
Max | 109.6508 | 107.5585 | 111.9554 | 115.3994 | 113.2878 | 117.5491 | 121.7423 | 119.4122 | 124.6515 | 128.7558 | 135.1855 | 136.735 | 142.4291 | 147.6281 | 151.1594 | 160.8521 | 158.8822 | 159.8305 | 152.4361 | 147.5097 | 148.0698 | 145.1079 | 147.1552 | 146.4525 | 145.5871 | 150.576 | 147.9514 | 148.8136 | 135.829 | 129.1821 | 116.9717
At Max (LIN) | 104.9672 | 100.0343 | 106.5 | 112.7691 | 107.7337 | 103.481 | 109.7495 | 110.0551 | 114.1301 | 117.0946 | 124.3553 | 128.2348 | 136.9588 | 140.9715 | 148.7603 | 160.8521 | 156.2425 | 159.8305 | 152.4361 | 147.4142 | 146.4892 | 145.1079 | 143.715 | 143.4662 | 144.1924 | 148.6054 | 145.5156 | 145.6774 | 133.4438 | 126.7049 | 114.0194 | 165.079 | 164.3477
At Max (A) | 104.9672 | 100.0343 | 106.5 | 112.7691 | 107.7337 | 103.481 | 109.7495 | 110.0551 | 114.1301 | 117.0946 | 124.3553 | 128.2348 | 136.9588 | 140.9715 | 148.7603 | 160.8521 | 156.2425 | 159.8305 | 152.4361 | 147.4142 | 146.4892 | 145.1079 | 143.715 | 143.4662 | 144.1924 | 148.6054 | 145.5156 | 145.6774 | 133.4438 | 126.7049 | 114.0194 | 165.079 | 164.3477

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.138 | 86.0627 | 87.0267 | 101.7977 | 100.7225 | 101.6865 | 7.6392 | 0.96399 | 96.251 | 59.1118 | 94.8367 | 51.5759 | 96.1694 | 56.3234 | 94.5595 | 60.5322 | 93.051 | 52.4425 | 94.4801 | 58.0761 | 89.0197 | 2.957 | 97.467 | 53.4952 | 95.9845 | 43.9451 | 97.4229 | 51.9691 | 107.718 | 106.4745 | 107.5151

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 85.711 | 84.3546 | 85.6113 | 100.3707 | 99.0144 | 100.2711 | 4.9868 | 1.2567 | 96.3654 | 59.3063 | 94.0152 | 50.0958 | 96.3181 | 56.5752 | 93.868 | 62.0058 | 91.91 | 51.6309 | 93.8099 | 57.7813 | 87.362 | 3.0074 | 97.6732 | 55.2999 | 95.4546 | 43.9613 | 97.6194 | 49.506 | 106.992 | 105.6893 | 106.8812

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 154.4339 | 153.7954 | 154.166 | 169.0937 | 168.4552 | 168.8258 | -1.7016 | 0.37065 | 165.4599 | 107.9892 | 164.6932 | 105.9714 | 165.375 | 104.8257 | 162.7311 | 108.0282 | 162.0304 | 106.0288 | 162.5728 | 104.8851 | 158.2842 | 4.4888 | 167.3856 | 99.2764 | 166.5375 | 97.2796 | 167.3341 | 96.1362 | 180.461 | 179.4103 | 180.0303