## Trönningenäs32
Measurement Name | Trönningenäs32 (Normal Range)
Time of run | 2020-09-29 13:58:10 (1601384290)
Duration | 30.54 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | +0 dB | AC | 10Hz HP | GRAS MK01 | 0.0499252 (V)/(Pa)
Channel 2 | +0 dB | AC | 10Hz HP | GRAS MK02 | 0.0406325 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 69.8373 | 67.7499 | 67.7487 | 65.6048 | 65.8891 | 62.9829 | 60.1677 | 60.292 | 60.1891 | 59.231 | 56.4393 | 56.4235 | 58.3406 | 63.5173 | 65.7433 | 74.2176 | 78.0826 | 74.2285 | 71.0364 | 65.9672 | 61.1263 | 57.4419 | 55.6311 | 54.857 | 53.7479 | 53.1986 | 51.0817 | 49.8758 | 46.7724 | 40.4737 | 34.257 | 82.5453 | 80.9138
SEL | 84.6803 | 82.5929 | 82.5918 | 80.4478 | 80.7321 | 77.8259 | 75.0107 | 75.135 | 75.0321 | 74.074 | 71.2823 | 71.2665 | 73.1836 | 78.3603 | 80.5863 | 89.0606 | 92.9256 | 89.0715 | 85.8794 | 80.8102 | 75.9693 | 72.2849 | 70.4742 | 69.7 | 68.5909 | 68.0416 | 65.9248 | 64.7188 | 61.6154 | 55.3167 | 49.1 | 97.3883 | 95.7568
Min | 52.8772 | 47.3567 | 45.8945 | 42.7604 | 42.6116 | 40.011 | 33.7313 | 32.7273 | 29.7296 | 30.0971 | 29.5088 | 29.3685 | 29.6332 | 31.2514 | 31.2451 | 33.1506 | 34.6962 | 36.1594 | 36.0576 | 30.6921 | 26.9128 | 25.2598 | 22.8279 | 22.6762 | 22.5877 | 24.4864 | 20.1258 | 19.584 | 21.7264 | 19.7126 | 20.5529
Max | 84.1874 | 78.8753 | 81.2327 | 78.1899 | 79.1424 | 77.5778 | 73.5767 | 75.7183 | 74.5456 | 74.043 | 68.9348 | 68.7919 | 70.311 | 75.9097 | 77.5529 | 86.1916 | 90.0968 | 85.8901 | 82.8755 | 78.0941 | 73.2003 | 69.3023 | 67.2325 | 66.7118 | 65.4206 | 65.116 | 62.51 | 61.1847 | 57.0071 | 50.8067 | 43.6962
At Max (LIN) | 78.3112 | 76.6507 | 80.731 | 76.6475 | 79.1424 | 77.5778 | 70.3548 | 71.5205 | 73.3288 | 70.6171 | 68.9171 | 66.5568 | 69.0294 | 72.6154 | 75.9868 | 85.9529 | 88.2099 | 84.8471 | 82.2199 | 75.6987 | 71.921 | 67.6997 | 66.3521 | 64.7366 | 63.5027 | 62.6708 | 60.4397 | 59.0754 | 55.187 | 49.8842 | 42.4988 | 93.3337 | 91.5286
At Max (A) | 72.4985 | 70.436 | 73.1049 | 69.6127 | 71.7784 | 71.6889 | 69.6793 | 67.9497 | 70.6006 | 71.0268 | 68.9348 | 67.708 | 66.2614 | 72.6133 | 75.549 | 85.3077 | 90.0351 | 84.9988 | 81.6879 | 78.0941 | 73.2003 | 68.121 | 66.4765 | 64.9909 | 63.0613 | 62.1524 | 61.2793 | 59.6782 | 55.5528 | 49.7062 | 42.4985 | 93.2573 | 92.3115

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 70.2489 | 68.0587 | 66.6286 | 65.7739 | 65.5479 | 63.6191 | 60.7118 | 60.3255 | 59.3444 | 57.796 | 57.0046 | 57.4822 | 60.0995 | 63.8544 | 65.852 | 74.0147 | 78.4457 | 73.4824 | 71.4479 | 64.6025 | 59.025 | 56.0923 | 53.7295 | 53.0391 | 53.3523 | 51.3763 | 50.4021 | 47.3662 | 42.0445 | 36.8001 | 30.684 | 82.5473 | 80.8679
SEL | 85.0919 | 82.9017 | 81.4715 | 80.6169 | 80.3909 | 78.4621 | 75.5547 | 75.1685 | 74.1874 | 72.639 | 71.8475 | 72.3252 | 74.9425 | 78.6974 | 80.695 | 88.8577 | 93.2887 | 88.3253 | 86.2909 | 79.4455 | 73.868 | 70.9353 | 68.5725 | 67.8821 | 68.1953 | 66.2193 | 65.2451 | 62.2092 | 56.8875 | 51.6431 | 45.527 | 97.3903 | 95.7108
Min | 51.5051 | 52.1355 | 52.1649 | 51.5844 | 48.2106 | 44.6715 | 42.1211 | 37.0319 | 34.757 | 36.2416 | 34.3026 | 32.9231 | 31.1501 | 31.4643 | 32.1767 | 31.7186 | 35.3705 | 35.6797 | 36.2847 | 30.9414 | 27.2091 | 25.0591 | 24.7951 | 24.7666 | 24.0253 | 23.1409 | 21.7883 | 20.0436 | 19.8025 | 19.784 | 20.8779
Max | 81.6063 | 77.6574 | 78.6734 | 77.5333 | 74.9206 | 77.538 | 74.2179 | 73.611 | 73.2938 | 69.812 | 68.4724 | 69.3882 | 73.1218 | 76.066 | 77.2307 | 85.9807 | 91.0441 | 85.0913 | 84.0185 | 76.2996 | 71.0153 | 67.8689 | 65.0852 | 64.5899 | 65.266 | 63.2824 | 62.7336 | 58.4121 | 52.2645 | 49.1064 | 40.8947
At Max (LIN) | 71.5951 | 75.7651 | 73.7654 | 75.0992 | 74.6011 | 76.2748 | 73.2636 | 73.611 | 71.594 | 67.9395 | 67.7687 | 67.2053 | 70.094 | 71.3665 | 77.1669 | 84.2813 | 91.0217 | 82.7648 | 80.1182 | 75.141 | 69.9508 | 67.6912 | 64.0543 | 62.7927 | 62.9894 | 60.6691 | 59.5685 | 56.9665 | 51.2761 | 46.3417 | 39.2752 | 93.4522 | 92.1452
At Max (A) | 70.7813 | 71.2721 | 70.2225 | 71.2908 | 73.9117 | 67.3088 | 61.0746 | 66.6684 | 64.4202 | 67.0981 | 66.2233 | 67.7944 | 69.2576 | 72.9904 | 77.2307 | 85.9807 | 89.9836 | 83.6829 | 82.3342 | 76.2996 | 70.8282 | 67.8689 | 64.3681 | 64.5544 | 63.9749 | 63.0029 | 62.7336 | 57.908 | 52.2645 | 46.56 | 38.8314 | 93.1292 | 92.1529

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 91.8334 | 96.3092 | 93.8666 | 101.2914 | 102.9674 | 99.2722 | 95.1306 | 94.6513 | 94.6027 | 100.9499 | 108.1747 | 112.2664 | 117.2281 | 124.8788 | 131.0988 | 142.4727 | 148.0755 | 143.4053 | 142.5369 | 136.5165 | 130.5071 | 127.4028 | 127.2123 | 128.2771 | 130.3754 | 135.3925 | 134.0983 | 132.6695 | 121.8093 | 115.6202 | 103.4772 | 151.4585 | 150.9754
SEL | 106.6764 | 111.1522 | 108.7096 | 116.1344 | 117.8104 | 114.1152 | 109.9736 | 109.4943 | 109.4457 | 115.7929 | 123.0176 | 127.1094 | 132.0711 | 139.7218 | 145.9418 | 157.3157 | 162.9185 | 158.2483 | 157.3799 | 151.3595 | 145.3501 | 142.2458 | 142.0553 | 143.1201 | 145.2184 | 150.2355 | 148.9413 | 147.5125 | 136.6523 | 130.4632 | 118.3202 | 166.3015 | 165.8184
Min | 66.7677 | 66.1175 | 68.6227 | 68.8574 | 69.2356 | 69.2943 | 70.3813 | 72.1072 | 73.6759 | 75.1276 | 76.6731 | 75.5214 | 77.7956 | 77.802 | 80.6385 | 83.1063 | 88.6701 | 89.4999 | 94.6898 | 86.2631 | 86.2268 | 86.8328 | 86.8413 | 88.5474 | 89.7208 | 95.2502 | 91.9596 | 93.8644 | 94.5956 | 95.8661 | 97.5568
Max | 106.0691 | 110.6601 | 107.9726 | 117.7942 | 117.3031 | 114.5064 | 111.7005 | 109.921 | 110.2127 | 116.7866 | 122.8049 | 126.8876 | 130.9542 | 139.3614 | 142.9782 | 155.1583 | 160.6648 | 155.7661 | 156.2441 | 149.1663 | 143.2285 | 139.548 | 139.5623 | 142.4206 | 144.2553 | 149.0282 | 144.8221 | 144.3201 | 131.6336 | 125.1539 | 110.1142
At Max (LIN) | 100.4821 | 102.8964 | 100.1926 | 111.1987 | 115.9818 | 112.8575 | 108.7116 | 109.921 | 107.3676 | 114.9177 | 121.3684 | 126.5882 | 130.4696 | 138.2526 | 142.4492 | 155.1583 | 160.3204 | 155.7661 | 156.2441 | 149.0523 | 143.0821 | 139.4903 | 139.5041 | 142.4206 | 144.2553 | 149.0282 | 144.3071 | 143.773 | 131.6336 | 125.113 | 109.9877 | 164.0212 | 163.6103
At Max (A) | 100.4821 | 102.8964 | 100.1926 | 111.1987 | 115.9818 | 112.8575 | 108.7116 | 109.921 | 107.3676 | 114.9177 | 121.3684 | 126.5882 | 130.4696 | 138.2526 | 142.4492 | 155.1583 | 160.3204 | 155.7661 | 156.2441 | 149.0523 | 143.0821 | 139.4903 | 139.5041 | 142.4206 | 144.2553 | 149.0282 | 144.3071 | 143.773 | 131.6336 | 125.113 | 109.9877 | 164.0212 | 163.6103

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.6058 | 80.715 | 81.9652 | 98.4544 | 95.5637 | 96.8139 | 7.6398 | 1.2503 | 94.023 | 61.7696 | 92.4423 | 43.1527 | 93.241 | 55.1557 | 92.1481 | 63.8083 | 90.9689 | 43.2047 | 91.8411 | 58.6352 | 84.3899 | 3.6749 | 95.7128 | 55.0508 | 94.2976 | 34.4547 | 95.0155 | 60.9086 | 107.0454 | 105.799 | 106.6532

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.7686 | 80.6439 | 81.9809 | 98.6173 | 95.4925 | 96.8296 | 18.4718 | 1.3371 | 94.6195 | 65.3148 | 92.546 | 44.5802 | 93.7341 | 54.7702 | 91.7987 | 70.4105 | 90.6007 | 45.1678 | 91.5073 | 54.7702 | 84.5488 | 3.9049 | 96.3519 | 65.7801 | 94.2256 | 36.6051 | 95.3775 | 46.0127 | 107.3635 | 104.6878 | 106.5461

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 151.3528 | 150.8412 | 151.2197 | 166.2015 | 165.6899 | 166.0683 | -1.6759 | 0.37844 | 164.3111 | 105.3434 | 163.8527 | 102.8051 | 164.196 | 101.7873 | 162.0408 | 105.507 | 161.5376 | 103.0843 | 161.9251 | 102.0591 | 155.7991 | 4.9579 | 166.2668 | 96.7768 | 165.5138 | 94.3856 | 166.2034 | 93.3688 | 178.1966 | 178.3217 | 177.9543