## Trönningenäs US32
Measurement Name | Trönningenäs US32 (Normal Range)
Time of run | 2020-10-19 15:12:13 (1603116733)
Duration | 48.44 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0507888 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.050714 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 67.7246 | 66.4404 | 65.1808 | 62.9267 | 64.6743 | 61.0311 | 59.5563 | 58.3057 | 58.9134 | 58.2174 | 56.1674 | 56.6671 | 56.1651 | 58.7345 | 58.8687 | 61.368 | 64.1585 | 62.3773 | 60.2468 | 61.6075 | 58.0926 | 54.6161 | 55.3662 | 52.3171 | 50.3497 | 49.9328 | 48.5248 | 47.2944 | 46.6371 | 40.0499 | 34.9514 | 75.523 | 70.385
SEL | 84.5731 | 83.2888 | 82.0292 | 79.7752 | 81.5228 | 77.8795 | 76.4047 | 75.1542 | 75.7619 | 75.0659 | 73.0158 | 73.5155 | 73.0136 | 75.5829 | 75.7171 | 78.2165 | 81.0069 | 79.2257 | 77.0952 | 78.456 | 74.9411 | 71.4646 | 72.2147 | 69.1655 | 67.1982 | 66.7813 | 65.3733 | 64.1429 | 63.4856 | 56.8983 | 51.7999 | 92.3714 | 87.2334
Min | 45.7557 | 43.5494 | 45.2326 | 42.6179 | 41.997 | 40.0929 | 37.4313 | 31.4458 | 25.1538 | 26.3203 | 23.3854 | 23.3088 | 24.828 | 25.8142 | 27.9267 | 29.1576 | 29.8121 | 31.1724 | 30.0348 | 27.4829 | 24.5451 | 22.0476 | 21.553 | 20.5923 | 21.0228 | 22.4848 | 22.8216 | 23.7633 | 24.9746 | 26.0887 | 27.9619
Max | 79.1092 | 80.2845 | 82.3926 | 77.611 | 79.0051 | 76.53 | 73.9055 | 75.5975 | 75.4146 | 73.6516 | 69.9744 | 71.3282 | 69.741 | 71.596 | 72.8525 | 76.5946 | 78.8721 | 76.1827 | 73.4353 | 76.7626 | 73.6465 | 70.3237 | 70.6235 | 67.6062 | 64.9043 | 64.1785 | 62.7451 | 60.9378 | 58.1177 | 52.588 | 45.6699
At Max (LIN) | 76.4044 | 80.2845 | 82.3926 | 75.928 | 77.3783 | 75.2152 | 70.9093 | 71.1027 | 73.1041 | 70.7209 | 68.0614 | 67.8685 | 69.3652 | 71.2663 | 71.4291 | 75.8643 | 76.1879 | 74.8336 | 72.9481 | 74.514 | 69.8557 | 65.4696 | 67.7108 | 64.2394 | 62.5953 | 61.9411 | 60.6439 | 59.1776 | 57.444 | 50.9001 | 43.8381 | 88.7118 | 82.9617
At Max (A) | 62.1344 | 70.5237 | 68.7427 | 73.6948 | 72.7588 | 74.8785 | 67.7153 | 68.8539 | 70.2267 | 69.9508 | 68.6933 | 69.3685 | 68.652 | 70.6409 | 72.8525 | 73.8941 | 77.8332 | 75.379 | 73.4353 | 76.4331 | 73.6465 | 69.9713 | 69.3549 | 66.869 | 64.8042 | 64.1441 | 61.8617 | 60.4699 | 57.9338 | 51.8362 | 44.82 | 86.2648 | 84.2886

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 60.5645 | 60.8993 | 60.073 | 59.488 | 61.0067 | 59.4817 | 59.1244 | 57.1441 | 56.0392 | 56.2389 | 55.3531 | 55.0926 | 54.7228 | 55.7365 | 55.8975 | 60.0633 | 61.915 | 60.0598 | 59.4409 | 59.3023 | 54.2757 | 51.0782 | 51.7206 | 49.9695 | 47.8322 | 45.7439 | 44.6315 | 42.4769 | 38.6827 | 33.8254 | 30.6606 | 72.1538 | 68.1448
SEL | 77.4129 | 77.7477 | 76.9214 | 76.3364 | 77.8551 | 76.3302 | 75.9728 | 73.9925 | 72.8876 | 73.0874 | 72.2016 | 71.941 | 71.5713 | 72.585 | 72.746 | 76.9117 | 78.7635 | 76.9082 | 76.2893 | 76.1507 | 71.1241 | 67.9266 | 68.5691 | 66.8179 | 64.6807 | 62.5924 | 61.48 | 59.3253 | 55.5311 | 50.6739 | 47.509 | 89.0022 | 84.9932
Min | 44.06 | 40.9241 | 43.7977 | 42.7646 | 42.3462 | 37.9731 | 36.604 | 30.0238 | 29.678 | 30.2621 | 28.1757 | 27.5296 | 25.5041 | 25.4231 | 27.0499 | 27.709 | 28.8899 | 31.6829 | 30.1115 | 25.4262 | 24.8876 | 21.9235 | 20.991 | 21.0485 | 21.0444 | 21.9592 | 22.6856 | 23.6356 | 24.8101 | 25.9609 | 27.7732
Max | 76.049 | 74.4517 | 74.2611 | 73.1491 | 76.477 | 75.5781 | 76.1905 | 73.4092 | 71.7755 | 71.6689 | 71.1998 | 68.7611 | 68.5337 | 69.214 | 69.4281 | 73.1759 | 76.3839 | 73.8571 | 73.3098 | 72.8367 | 68.1599 | 65.6531 | 66.7081 | 65.0412 | 62.2766 | 59.5386 | 58.2379 | 56.0424 | 51.1773 | 46.2131 | 40.7361
At Max (LIN) | 76.049 | 74.4517 | 72.1682 | 72.655 | 71.0908 | 75.5781 | 75.5055 | 73.4092 | 71.7755 | 71.5348 | 70.3129 | 67.3606 | 68.5337 | 69.214 | 69.252 | 72.2217 | 75.5004 | 72.8449 | 72.4883 | 71.5053 | 66.407 | 62.5159 | 64.0206 | 61.4014 | 60.1685 | 57.5008 | 57.0128 | 54.1895 | 50.0325 | 45.5516 | 39.6508 | 85.9629 | 80.9635
At Max (A) | 64.7634 | 65.4819 | 62.6756 | 69.128 | 68.4193 | 65.8873 | 67.3057 | 66.8069 | 66.2619 | 66.0221 | 67.1647 | 68.7611 | 66.1862 | 66.9813 | 67.9203 | 71.7313 | 76.3839 | 72.3417 | 70.5454 | 72.6706 | 67.6033 | 65.4142 | 66.5302 | 65.0361 | 62.2766 | 59.5061 | 58.2379 | 55.4025 | 51.0145 | 45.5321 | 39.0397 | 83.0084 | 81.2199

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 89.7096 | 94.4663 | 92.5406 | 97.9875 | 101.2121 | 100.7855 | 95.5913 | 97.009 | 97.4965 | 99.023 | 103.2378 | 105.325 | 108.7084 | 114.2317 | 119.2808 | 126.8627 | 130.8639 | 129.461 | 128.2057 | 128.6032 | 124.9837 | 123.1348 | 120.6337 | 121.9531 | 128.3396 | 131.9192 | 126.6802 | 128.8737 | 119.8814 | 114.0133 | 102.7325 | 139.2934 | 139.0952
SEL | 106.5581 | 111.3147 | 109.3891 | 114.8359 | 118.0605 | 117.634 | 112.4398 | 113.8574 | 114.3449 | 115.8715 | 120.0863 | 122.1735 | 125.5568 | 131.0801 | 136.1293 | 143.7112 | 147.7124 | 146.3095 | 145.0542 | 145.4517 | 141.8322 | 139.9832 | 137.4822 | 138.8015 | 145.1881 | 148.7676 | 143.5286 | 145.7221 | 136.7299 | 130.8617 | 119.581 | 156.1418 | 155.9436
Min | 66.1795 | 65.6042 | 67.0452 | 67.0246 | 69.8899 | 70.5026 | 71.0306 | 72.1488 | 72.9866 | 74.9837 | 75.0143 | 77.0639 | 77.4645 | 79.0369 | 80.4452 | 80.6864 | 81.7295 | 82.1189 | 83.4121 | 84.4341 | 84.9514 | 86.4424 | 87.3003 | 88.0013 | 89.6318 | 90.598 | 91.6229 | 92.686 | 94.133 | 95.1534 | 97.1624
Max | 106.9167 | 110.8941 | 111.2742 | 114.5268 | 118.1907 | 118.0093 | 115.8258 | 116.3779 | 116.4041 | 116.6931 | 123.1912 | 124.3438 | 126.7928 | 131.5611 | 135.3132 | 142.5946 | 145.9236 | 144.4525 | 143.5747 | 144.1687 | 141.3243 | 139.1481 | 137.3434 | 138.7247 | 145.9673 | 148.1393 | 140.3303 | 143.8453 | 132.3639 | 126.4893 | 112.1328
At Max (LIN) | 97.7402 | 103.7281 | 103.7697 | 112.8758 | 118.1907 | 116.9637 | 115.8258 | 115.1423 | 112.7212 | 116.173 | 117.9714 | 121.4291 | 125.9927 | 130.6807 | 135.2764 | 141.6528 | 144.8102 | 144.4525 | 143.5747 | 144.1687 | 141.3243 | 139.1481 | 137.3434 | 137.3924 | 145.6387 | 147.6494 | 139.9397 | 142.9875 | 132.2314 | 125.8062 | 111.6517 | 154.5702 | 154.5508
At Max (A) | 97.7402 | 103.7281 | 103.7697 | 112.8758 | 118.1907 | 116.9637 | 115.8258 | 115.1423 | 112.7212 | 116.173 | 117.9714 | 121.4291 | 125.9927 | 130.6807 | 135.2764 | 141.6528 | 144.8102 | 144.4525 | 143.5747 | 144.1687 | 141.3243 | 139.1481 | 137.3434 | 137.3924 | 145.6387 | 147.6494 | 139.9397 | 142.9875 | 132.2314 | 125.8062 | 111.6517 | 154.5702 | 154.5508

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 77.7097 | 70.1894 | 73.9881 | 94.5617 | 87.0415 | 90.8401 | 2.3444 | 3.7987 | 90.2813 | 59.9224 | 84.3399 | 40.1051 | 87.551 | 55.4285 | 86.4958 | 60.4531 | 82.6824 | 42.0574 | 84.9773 | 57.9195 | 73.4785 | 3.2891 | 92.1179 | 51.6956 | 85.0659 | 37.003 | 88.4285 | 57.0695 | 101.5584 | 96.6211 | 98.3388

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 73.1789 | 67.9892 | 71.1084 | 90.031 | 84.8412 | 87.9605 | 9.6504 | 3.1193 | 86.8096 | 57.0471 | 81.0695 | 39.3567 | 84.9651 | 53.0925 | 83.2776 | 60.4346 | 79.894 | 40.9913 | 82.142 | 55.0271 | 70.8646 | 2.8755 | 88.4699 | 51.7036 | 81.7702 | 36.7682 | 85.7396 | 50.1728 | 96.8363 | 96.9937 | 97.208

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 139.1078 | 138.9035 | 138.1718 | 155.9598 | 155.7555 | 155.0238 | -1.4556 | -0.73172 | 155.0284 | 104.1347 | 155.0079 | 100.3822 | 154.1005 | 99.0984 | 152.0215 | 104.1347 | 151.9068 | 100.5746 | 151.1379 | 99.1732 | 144.1635 | 5.2601 | 156.8063 | 95.3772 | 156.7216 | 91.8479 | 155.9677 | 90.423 | 170.1466 | 171.4945 | 169.2819