## Myrbyn71
Measurement Name | Myrbyn71 (Normal Range)
Time of run | 2020-10-14 14:01:33 (1602680493)
Duration | 20.64 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0507888 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.050714 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 76.466 | 75.7482 | 76.5836 | 75.1407 | 74.1988 | 72.9028 | 71.4727 | 68.7933 | 68.4827 | 66.8209 | 67.4879 | 65.859 | 65.9563 | 66.6852 | 66.8145 | 65.8131 | 65.873 | 68.4057 | 66.5896 | 64.375 | 70.9907 | 67.3831 | 65.2109 | 64.1227 | 61.8464 | 60.7099 | 58.5508 | 58.8196 | 56.7831 | 52.1866 | 45.4926 | 84.9546 | 78.0152
SEL | 89.6046 | 88.8868 | 89.7222 | 88.2794 | 87.3375 | 86.0414 | 84.6114 | 81.932 | 81.6214 | 79.9596 | 80.6266 | 78.9976 | 79.095 | 79.8239 | 79.9532 | 78.9518 | 79.0117 | 81.5444 | 79.7283 | 77.5137 | 84.1294 | 80.5218 | 78.3496 | 77.2614 | 74.9851 | 73.8485 | 71.6895 | 71.9583 | 69.9218 | 65.3252 | 58.6313 | 98.0933 | 91.1539
Min | 40.1577 | 39.6974 | 44.1549 | 38.9877 | 35.8665 | 29.2137 | 27.8194 | 27.0951 | 28.7363 | 29.8302 | 30.8548 | 32.754 | 35.5882 | 35.5373 | 35.0135 | 35.9058 | 38.9567 | 38.3626 | 32.3944 | 30.7208 | 29.5815 | 27.0247 | 25.7515 | 25.4687 | 24.677 | 23.7389 | 23.6568 | 23.7959 | 24.8194 | 26.3899 | 28.1499
Max | 89.7776 | 89.2113 | 90.3617 | 88.3468 | 88.3628 | 84.7444 | 83.6141 | 83.6058 | 84.027 | 79.2628 | 80.8066 | 78.1425 | 78.3337 | 80.5754 | 80.1217 | 78.0182 | 77.0117 | 80.4139 | 78.3168 | 75.1041 | 86.0752 | 80.5979 | 77.1339 | 76.022 | 72.9522 | 72.3189 | 70.5139 | 69.4809 | 68.2034 | 64.7606 | 58.7636
At Max (LIN) | 89.4045 | 87.6374 | 90.3617 | 85.9556 | 88.3628 | 82.4411 | 81.2627 | 78.2727 | 79.4728 | 78.2515 | 77.6516 | 74.9495 | 75.5019 | 76.8252 | 75.1686 | 74.0855 | 73.619 | 76.9268 | 74.5915 | 72.9568 | 78.8462 | 74.7233 | 74.0045 | 72.5096 | 70.1282 | 68.394 | 67.4917 | 66.9423 | 65.2543 | 61.1102 | 54.8089 | 96.7074 | 86.2683
At Max (A) | 83.9705 | 79.1416 | 82.0723 | 82.5597 | 83.7364 | 79.5771 | 78.8631 | 73.8143 | 74.4879 | 75.1227 | 74.7874 | 73.9447 | 72.9172 | 72.1005 | 73.8711 | 73.7417 | 75.822 | 80.0431 | 77.2273 | 74.5357 | 86.0752 | 80.5979 | 75.2277 | 74.9744 | 72.4294 | 72.2866 | 69.2003 | 68.3575 | 67.4252 | 62.2612 | 56.3769 | 93.3502 | 90.4013

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 73.4795 | 72.5792 | 72.9724 | 71.6035 | 71.9784 | 71.0132 | 73.4839 | 67.1603 | 66.5837 | 65.5812 | 65.1239 | 64.8379 | 64.3727 | 65.0849 | 65.8482 | 65.0437 | 64.2439 | 67.4107 | 65.6628 | 62.3291 | 67.0927 | 64.8154 | 62.3995 | 62.2481 | 60.5716 | 58.1886 | 55.9128 | 55.5098 | 52.0828 | 48.6676 | 42.9498 | 82.6947 | 75.8714
SEL | 86.6181 | 85.7179 | 86.1111 | 84.7422 | 85.1171 | 84.1518 | 86.6226 | 80.299 | 79.7224 | 78.7199 | 78.2626 | 77.9765 | 77.5114 | 78.2236 | 78.9869 | 78.1824 | 77.3826 | 80.5494 | 78.8015 | 75.4677 | 80.2314 | 77.9541 | 75.5382 | 75.3868 | 73.7102 | 71.3273 | 69.0515 | 68.6485 | 65.2214 | 61.8062 | 56.0884 | 95.8334 | 89.01
Min | 38.6133 | 38.0891 | 42.274 | 36.5687 | 33.208 | 25.2213 | 26.4287 | 30.3752 | 31.4821 | 32.3841 | 32.4604 | 31.3068 | 33.7386 | 34.3153 | 34.4256 | 35.6027 | 38.4327 | 37.7084 | 32.7261 | 29.3523 | 28.5683 | 25.6868 | 24.8161 | 24.9387 | 24.5419 | 23.6605 | 23.54 | 23.8675 | 24.7264 | 26.0437 | 27.8502
Max | 86.5991 | 86.1687 | 85.5949 | 82.8465 | 86.6234 | 83.231 | 86.3159 | 80.1884 | 79.6254 | 77.7986 | 76.9283 | 77.4725 | 77.3059 | 78.2991 | 79.0916 | 77.489 | 74.5077 | 78.8427 | 76.948 | 72.6304 | 80.5322 | 76.6841 | 73.5077 | 73.2956 | 71.5062 | 69.4827 | 67.8945 | 66.0891 | 63.676 | 61.0029 | 56.1291
At Max (LIN) | 82.3423 | 86.0304 | 84.1424 | 82.6019 | 86.6234 | 83.231 | 84.8124 | 76.7164 | 78.7672 | 74.2771 | 76.3968 | 76.4713 | 75.4695 | 77.184 | 76.6698 | 75.8799 | 72.883 | 77.4835 | 74.0998 | 71.8031 | 76.9794 | 73.9777 | 73.0673 | 72.6571 | 70.3904 | 67.7451 | 66.7742 | 65.9125 | 62.7216 | 60.1687 | 55.4176 | 94.241 | 85.8398
At Max (A) | 80.4257 | 75.2354 | 78.2121 | 78.6432 | 80.4402 | 76.9946 | 80.5781 | 73.7718 | 74.0605 | 72.7899 | 72.1884 | 72.6984 | 72.4001 | 72.0676 | 71.7086 | 71.4377 | 73.2169 | 78.8427 | 76.7113 | 72.0597 | 80.5322 | 76.6841 | 70.9592 | 72.939 | 71.2529 | 69.1125 | 66.3039 | 64.3827 | 61.7005 | 57.4849 | 51.564 | 90.4407 | 86.8292

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 106.9761 | 107.2511 | 100.7073 | 108.4892 | 107.4586 | 112.8394 | 111.6933 | 114.0157 | 113.3326 | 109.8678 | 102.0636 | 104.3325 | 103.4831 | 103.9027 | 107.7667 | 112.7479 | 123.1734 | 139.4141 | 137.1617 | 129.0505 | 130.6165 | 127.2351 | 133.7783 | 133.3713 | 133.8637 | 139.3743 | 143.4793 | 144.3977 | 135.2506 | 129.8253 | 126.0535 | 149.393 | 148.4238
SEL | 120.1148 | 120.3898 | 113.846 | 121.6278 | 120.5973 | 125.9781 | 124.832 | 127.1543 | 126.4712 | 123.0065 | 115.2023 | 117.4712 | 116.6218 | 117.0414 | 120.9053 | 125.8866 | 136.3121 | 152.5528 | 150.3004 | 142.1891 | 143.7552 | 140.3738 | 146.9169 | 146.51 | 147.0023 | 152.513 | 156.6179 | 157.5364 | 148.3893 | 142.964 | 139.1922 | 162.5317 | 161.5624
Min | 65.8142 | 61.5548 | 69.0175 | 69.3933 | 69.6045 | 70.1876 | 71.7073 | 73.4007 | 74.3488 | 75.6868 | 76.1952 | 75.8364 | 78.7637 | 79.5172 | 80.0171 | 81.4915 | 81.7301 | 83.0067 | 84.2087 | 84.9097 | 85.8015 | 87.1832 | 87.7117 | 88.9765 | 90.0633 | 91.3521 | 92.2648 | 94.3719 | 95.9508 | 99.3891 | 99.3448
Max | 119.564 | 119.982 | 112.3309 | 121.1199 | 119.8382 | 125.4575 | 124.6111 | 126.763 | 126.0727 | 123.0868 | 116.885 | 116.9378 | 118.0919 | 117.1026 | 119.9403 | 126.0784 | 136.9185 | 152.9371 | 151.7917 | 146.0759 | 143.4488 | 141.1077 | 147.2191 | 147.2894 | 146.6367 | 152.7766 | 156.6302 | 156.4629 | 146.1704 | 139.2837 | 136.9203
At Max (LIN) | 112.953 | 114.3572 | 110.0723 | 118.4663 | 116.0743 | 122.4884 | 121.7019 | 123.6656 | 123.9808 | 121.6976 | 111.9739 | 116.9378 | 115.3389 | 116.5063 | 119.0621 | 124.9465 | 135.497 | 152.3752 | 149.3468 | 138.4805 | 143.4488 | 139.9136 | 145.9654 | 144.2005 | 146.6367 | 152.6194 | 155.6601 | 156.4629 | 146.1704 | 139.2837 | 136.6681 | 161.6532 | 160.7752
At Max (A) | 112.953 | 114.3572 | 110.0723 | 118.4663 | 116.0743 | 122.4884 | 121.7019 | 123.6656 | 123.9808 | 121.6976 | 111.9739 | 116.9378 | 115.3389 | 116.5063 | 119.0621 | 124.9465 | 135.497 | 152.3752 | 149.3468 | 138.4805 | 143.4488 | 139.9136 | 145.9654 | 144.2005 | 146.6367 | 152.6194 | 155.6601 | 156.4629 | 146.1704 | 139.2837 | 136.6681 | 161.6532 | 160.7752

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 87.217 | 77.8311 | 82.9882 | 100.3641 | 90.9782 | 96.1353 | 5.892 | 5.1571 | 103.1933 | 54.7176 | 90.3909 | 45.1256 | 95.5204 | 50.1958 | 96.9069 | 57.0136 | 87.2075 | 45.8351 | 91.3404 | 51.8602 | 82.9673 | 5.1361 | 106.5592 | 51.5721 | 92.3259 | 37.8092 | 97.8246 | 52.1787 | 112.4779 | 102.3245 | 106.0493

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 84.2395 | 75.7054 | 81.0376 | 97.3866 | 88.8525 | 94.1846 | 6.4941 | 5.3321 | 98.8816 | 52.7252 | 86.9995 | 44.3194 | 93.2071 | 48.7509 | 93.1693 | 56.6926 | 84.7497 | 45.1956 | 89.3525 | 50.7487 | 79.6425 | 3.9371 | 101.9938 | 48.649 | 88.1323 | 44.9045 | 94.7671 | 53.9223 | 108.8267 | 98.3996 | 104.1033

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 149.1529 | 148.1127 | 146.6862 | 162.3 | 161.2598 | 159.8333 | -0.90789 | -1.4264 | 161.7162 | 106.3506 | 160.9143 | 101.7938 | 159.5303 | 100.4341 | 158.6371 | 107.6921 | 157.71 | 103.2863 | 156.3161 | 101.8888 | 154.3114 | 6.1987 | 164.067 | 114.7133 | 163.7956 | 110.5289 | 162.7079 | 108.7477 | 177.9035 | 177.6473 | 176.4129