## Regina Skärby06
Measurement Name | Regina Skärby06 (Normal Range)
Time of run | 2020-11-13 11:10:13 (1605265813)
Duration | 31.84 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0498769 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.040407 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 63.3444 | 62.7447 | 63.7236 | 64.8823 | 69.9132 | 64.1216 | 59.7699 | 56.7955 | 55.7723 | 54.4326 | 54.9899 | 54.9732 | 55.9253 | 58.7666 | 60.7444 | 71.6181 | 75.8436 | 66.807 | 63.7047 | 64.1626 | 62.4002 | 60.509 | 58.5814 | 58.7198 | 56.6144 | 55.1975 | 53.8268 | 52.4652 | 50.1919 | 44.1271 | 36.9729 | 79.7882 | 77.7804
SEL | 78.3687 | 77.769 | 78.7478 | 79.9066 | 84.9375 | 79.1459 | 74.7942 | 71.8198 | 70.7966 | 69.4568 | 70.0142 | 69.9975 | 70.9496 | 73.7909 | 75.7687 | 86.6423 | 90.8679 | 81.8312 | 78.7289 | 79.1869 | 77.4245 | 75.5333 | 73.6057 | 73.7441 | 71.6386 | 70.2217 | 68.8511 | 67.4894 | 65.2162 | 59.1514 | 51.9972 | 94.8125 | 92.8047
Min | 38.2578 | 38.6865 | 40.4746 | 45.2012 | 48.6572 | 41.5325 | 37.0364 | 32.6766 | 28.5131 | 23.9584 | 27.6842 | 30.5579 | 33.0037 | 35.5947 | 37.2133 | 40.2325 | 42.3738 | 42.3406 | 39.415 | 36.3002 | 32.5058 | 27.8122 | 23.0311 | 21.3245 | 20.8478 | 21.7166 | 22.4517 | 23.6358 | 24.4946 | 25.9218 | 27.6132
Max | 80.2529 | 77.9613 | 78.3523 | 80.3657 | 82.9407 | 78.646 | 73.4792 | 69.774 | 70.2435 | 69.2338 | 70.502 | 70.3434 | 69.9348 | 72.5812 | 74.4521 | 84.7865 | 88.203 | 79.4489 | 75.435 | 77.1329 | 74.0294 | 74.8113 | 73.8785 | 73.7349 | 71.1619 | 68.0284 | 66.8391 | 64.93 | 63.2293 | 57.6132 | 51.3171
At Max (LIN) | 70.2379 | 74.6687 | 70.6509 | 71.2299 | 79.3871 | 78.646 | 69.9539 | 67.294 | 65.2633 | 61.2889 | 63.3294 | 61.9978 | 64.1363 | 66.0757 | 69.849 | 84.7865 | 88.1063 | 77.1448 | 73.6716 | 72.1473 | 71.5284 | 72.0025 | 68.1699 | 69.4238 | 67.2442 | 65.4762 | 63.6162 | 62.9539 | 60.5545 | 54.5159 | 46.7194 | 91.3479 | 89.5979
At Max (A) | 69.4093 | 69.1881 | 72.0506 | 73.004 | 79.2218 | 74.9266 | 67.146 | 65.9781 | 63.0419 | 65.4302 | 62.3309 | 61.2792 | 64.5667 | 69.1803 | 70.331 | 82.8083 | 88.203 | 78.2768 | 74.6097 | 74.2124 | 74.0294 | 74.8113 | 73.8785 | 73.7349 | 71.1619 | 68.0284 | 66.332 | 64.4707 | 62.771 | 57.3156 | 50.6986 | 91.188 | 89.9088

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 20.7255 | 18.089 | 17.2678 | 19.4701 | 18.9685 | 16.7562 | 13.7079 | 12.8092 | 12.3486 | 12.5947 | 13.1182 | 13.2959 | 13.9768 | 14.7524 | 15.5565 | 16.9067 | 18.3825 | 17.8846 | 17.9865 | 18.621 | 19.8499 | 20.4336 | 21.0112 | 21.8616 | 22.8164 | 23.6442 | 24.6416 | 25.7037 | 26.8453 | 28.151 | 29.9334 | 36.6937 | 33.6334
SEL | 35.7498 | 33.1132 | 32.2921 | 34.4944 | 33.9928 | 31.7804 | 28.7322 | 27.8335 | 27.3728 | 27.6189 | 28.1424 | 28.3202 | 29.0011 | 29.7767 | 30.5808 | 31.9309 | 33.4068 | 32.9089 | 33.0108 | 33.6452 | 34.8742 | 35.4578 | 36.0355 | 36.8858 | 37.8406 | 38.6685 | 39.6659 | 40.7279 | 41.8695 | 43.1752 | 44.9577 | 51.718 | 48.6577
Min | 9.2396 | 5.4394 | 5.5254 | 10.5432 | 11.997 | 8.7951 | 7.6798 | 7.0426 | 7.1605 | 8.03 | 8.2992 | 8.0156 | 10.2394 | 12.4456 | 12.7648 | 13.8348 | 15.2967 | 16.2394 | 16.3866 | 17.344 | 18.1066 | 19.0866 | 20.032 | 20.6896 | 21.6711 | 23.0009 | 23.6199 | 24.7851 | 25.8852 | 27.2659 | 29.0862
Max | 27.5175 | 24.1768 | 24.8155 | 28.531 | 25.6875 | 23.5393 | 20.5291 | 18.1135 | 17.1727 | 15.8072 | 17.2244 | 16.4855 | 18.06 | 17.0015 | 17.9664 | 19.8988 | 22.1537 | 21.2917 | 20.5298 | 20.0948 | 21.9484 | 21.4679 | 22.2003 | 22.6711 | 23.5542 | 24.3452 | 25.2463 | 26.288 | 27.5867 | 28.8065 | 30.5153
At Max (LIN) | 23.8654 | 16.6328 | 22.2059 | 27.0527 | 20.0186 | 19.7499 | 14.4765 | 13.2221 | 15.1414 | 15.1746 | 14.7348 | 14.8449 | 17.4121 | 16.8145 | 16.3986 | 15.965 | 16.6691 | 17.7577 | 18.1317 | 18.7792 | 20.9134 | 20.2026 | 21.3995 | 22.0369 | 23.0136 | 23.4471 | 24.5438 | 25.5253 | 26.7942 | 28.5096 | 29.9126 | 37.4211 | 33.7199
At Max (A) | 20.3491 | 19.5351 | 19.4959 | 16.6835 | 19.6901 | 16.4378 | 11.2065 | 10.6521 | 10.5152 | 14.8197 | 13.3412 | 13.2698 | 13.9393 | 15.8381 | 15.9511 | 18.9236 | 19.1468 | 17.5561 | 18.1425 | 18.4102 | 21.1124 | 21.4679 | 21.7497 | 22.3567 | 23.3948 | 23.6996 | 24.9885 | 25.7291 | 27.125 | 28.214 | 30.038 | 36.9507 | 34.0572

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 93.6868 | 101.0394 | 97.7951 | 104.4415 | 109.0969 | 108.1333 | 101.0844 | 98.3805 | 101.1182 | 103.2464 | 108.7323 | 110.6456 | 115.7795 | 121.8506 | 129.1691 | 135.6689 | 143.9271 | 137.9604 | 137.1012 | 138.5754 | 130.2784 | 127.8874 | 129.7876 | 136.0181 | 138.9809 | 133.1915 | 126.4284 | 130.1713 | 123.8216 | 114.8645 | 110.2405 | 148.2231 | 148.1464
SEL | 108.7111 | 116.0637 | 112.8194 | 119.4658 | 124.1212 | 123.1575 | 116.1086 | 113.4048 | 116.1425 | 118.2707 | 123.7566 | 125.6698 | 130.8037 | 136.8749 | 144.1934 | 150.6932 | 158.9514 | 152.9847 | 152.1255 | 153.5996 | 145.3026 | 142.9116 | 144.8118 | 151.0423 | 154.0052 | 148.2157 | 141.4527 | 145.1956 | 138.8458 | 129.8887 | 125.2648 | 163.2474 | 163.1707
Min | 64.4069 | 65.6869 | 65.501 | 67.58 | 70.055 | 70.75 | 72.6916 | 72.22 | 74.4373 | 76.1958 | 76.3758 | 77.0346 | 78.2442 | 78.959 | 80.4418 | 81.4443 | 82.5051 | 83.5436 | 84.7739 | 85.6593 | 86.1953 | 87.0273 | 88.0608 | 88.9006 | 90.2227 | 91.4543 | 92.3425 | 93.5634 | 94.8148 | 95.9227 | 97.5353
Max | 108.1735 | 115.2916 | 112.3969 | 119.453 | 123.7153 | 123.0764 | 116.073 | 113.0364 | 115.6036 | 117.9748 | 124.5454 | 125.4502 | 130.9028 | 136.5855 | 143.9769 | 149.3039 | 157.7173 | 151.6095 | 150.3329 | 153.7148 | 143.9688 | 141.5973 | 144.2144 | 149.4205 | 154.3119 | 147.1504 | 140.0975 | 143.953 | 135.3058 | 125.5117 | 121.6714
At Max (LIN) | 99.2032 | 105.2525 | 102.8278 | 107.8767 | 113.3021 | 116.7964 | 112.7618 | 113.0364 | 113.7907 | 116.0273 | 124.5454 | 125.1315 | 126.5092 | 135.3322 | 142.4767 | 148.1322 | 157.7173 | 151.6095 | 150.0071 | 153.7148 | 143.5713 | 141.2059 | 141.6237 | 149.2061 | 154.3119 | 145.0051 | 138.7302 | 140.9047 | 134.4503 | 124.762 | 120.5734 | 162.0875 | 162.1111
At Max (A) | 99.2032 | 105.2525 | 102.8278 | 107.8767 | 113.3021 | 116.7964 | 112.7618 | 113.0364 | 113.7907 | 116.0273 | 124.5454 | 125.1315 | 126.5092 | 135.3322 | 142.4767 | 148.1322 | 157.7173 | 151.6095 | 150.0071 | 153.7148 | 143.5713 | 141.2059 | 141.6237 | 149.2061 | 154.3119 | 145.0051 | 138.7302 | 140.9047 | 134.4503 | 124.762 | 120.5734 | 162.0875 | 162.1111

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 79.9167 | 77.6662 | 79.2627 | 94.9464 | 92.6959 | 94.2924 | 12.3274 | 1.5965 | 91.5162 | 57.725 | 89.9973 | 48.5981 | 91.1931 | 55.8489 | 90.1024 | 59.7679 | 88.1619 | 49.7577 | 89.6073 | 57.8848 | 81.2665 | 3.6003 | 93.3892 | 54.4443 | 91.4724 | 49.7451 | 92.546 | 52.2967 | 103.3241 | 102.3395 | 104.217

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 38.2503 | 33.5146 | 33.0392 | 53.28 | 48.5443 | 48.069 | -0.083555 | -0.47534 | 40.971 | 36.8034 | 33.9756 | 33.0155 | 34.4815 | 32.1314 | 40.5026 | 37.6714 | 33.8403 | 33.2123 | 33.4986 | 32.5246 | 33.8457 | 0.33111 | 43.2988 | 31.7451 | 34.2624 | 25.076 | 35.3829 | 24.1019 | 53.0919 | 47.7355 | 47.6672

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 148.1362 | 148.0373 | 147.8053 | 163.1659 | 163.067 | 162.835 | -1.2145 | -0.23206 | 162.7643 | 105.1743 | 162.7325 | 101.3633 | 162.422 | 100.089 | 159.0314 | 105.5217 | 158.9142 | 101.5752 | 158.7043 | 100.3544 | 153.5842 | 5.5468 | 164.6597 | 97.2366 | 164.5518 | 93.0212 | 164.3231 | 91.8915 | 177.9001 | 177.8067 | 177.3783