## Regina Torp07
Measurement Name | Regina Torp07 (Normal Range)
Time of run | 2020-11-09 08:07:15 (1604909235)
Duration | 32.82 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0498769 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.040407 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 68.0641 | 68.4262 | 70.2518 | 70.1589 | 71.4049 | 70.6374 | 69.0871 | 66.605 | 64.2627 | 66.3631 | 62.0395 | 60.2407 | 60.8404 | 62.9962 | 64.3537 | 65.9257 | 68.0729 | 71.4475 | 67.9799 | 67.015 | 70.3328 | 67.8439 | 66.1265 | 64.4328 | 63.39 | 62.5246 | 59.3577 | 58.4784 | 56.4769 | 50.7799 | 46.2011 | 81.8609 | 78.7583
SEL | 83.2228 | 83.5849 | 85.4106 | 85.3177 | 86.5636 | 85.7961 | 84.2458 | 81.7637 | 79.4214 | 81.5218 | 77.1983 | 75.3995 | 75.9991 | 78.1549 | 79.5124 | 81.0845 | 83.2317 | 86.6062 | 83.1387 | 82.1737 | 85.4916 | 83.0027 | 81.2853 | 79.5916 | 78.5487 | 77.6833 | 74.5164 | 73.6371 | 71.6356 | 65.9386 | 61.3598 | 97.0197 | 93.9171
Min | 39.1263 | 40.8009 | 40.9009 | 45.2357 | 43.6508 | 40.4596 | 34.4616 | 28.8784 | 26.592 | 23.3303 | 22.2824 | 22.6679 | 23.4505 | 26.2421 | 29.3758 | 33.9875 | 37.0528 | 37.3638 | 35.4141 | 32.1241 | 29.2878 | 26.4676 | 21.4203 | 20.3542 | 20.7918 | 22.0616 | 23.3455 | 23.9891 | 27.8862 | 25.9719 | 28.6313
Max | 83.8986 | 83.9252 | 86.5887 | 86.0308 | 88.9962 | 87.4036 | 84.0522 | 82.2176 | 78.7435 | 84.799 | 78.0023 | 74.4418 | 75.0873 | 77.3742 | 80.1889 | 80.0985 | 82.1186 | 84.9425 | 81.8236 | 80.372 | 84.8017 | 83.099 | 82.1848 | 80.7338 | 78.2444 | 76.7001 | 73.9048 | 72.9919 | 69.9286 | 64.2527 | 60.2949
At Max (LIN) | 78.662 | 81.2229 | 79.8224 | 82.9355 | 88.115 | 87.4036 | 79.185 | 79.6484 | 77.9833 | 79.2149 | 76.1186 | 73.5718 | 75.0873 | 77.3742 | 78.9839 | 79.6574 | 82.1186 | 83.3989 | 80.1861 | 80.0639 | 82.7109 | 78.221 | 75.3584 | 74.149 | 76.5972 | 75.9665 | 70.3835 | 70.6831 | 66.0699 | 60.6361 | 54.819 | 95.2559 | 91.0087
At Max (A) | 78.9668 | 81.4215 | 81.0912 | 77.0043 | 78.3286 | 81.5788 | 81.6198 | 75.3491 | 75.7651 | 78.7574 | 77.3964 | 74.1874 | 73.8884 | 75.0125 | 76.3757 | 77.7824 | 80.284 | 84.9425 | 80.3674 | 79.6861 | 84.8017 | 82.7229 | 81.1288 | 79.4692 | 77.0203 | 75.8805 | 73.9048 | 72.9919 | 69.6085 | 63.6536 | 58.9096 | 94.1751 | 92.5419

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 21.6747 | 19.9195 | 19.5088 | 19.9235 | 18.7301 | 17.2771 | 15.473 | 14.214 | 13.3608 | 13.1899 | 13.1563 | 13.2895 | 13.6737 | 14.5455 | 15.0659 | 16.1323 | 16.6105 | 17.4398 | 17.8418 | 18.2075 | 19.082 | 20.0401 | 20.7107 | 21.6169 | 22.5888 | 23.4818 | 24.4396 | 25.5233 | 26.6801 | 27.9607 | 29.7497 | 36.6077 | 33.3327
SEL | 36.8335 | 35.0782 | 34.6675 | 35.0823 | 33.8889 | 32.4359 | 30.6317 | 29.3728 | 28.5195 | 28.3486 | 28.3151 | 28.4482 | 28.8324 | 29.7042 | 30.2247 | 31.291 | 31.7692 | 32.5985 | 33.0005 | 33.3662 | 34.2407 | 35.1989 | 35.8695 | 36.7757 | 37.7475 | 38.6405 | 39.5984 | 40.682 | 41.8389 | 43.1194 | 44.9085 | 51.7664 | 48.4914
Min | 8.991 | 8.9136 | 11.3368 | 8.3584 | 12.2545 | 9.7676 | 9.6915 | 9.0109 | 8.1724 | 8.7952 | 8.4522 | 10.4316 | 10.1175 | 11.9744 | 11.6598 | 13.7273 | 15.1724 | 15.6257 | 16.3161 | 16.6661 | 18.069 | 18.7025 | 19.6751 | 20.766 | 21.4961 | 22.8221 | 23.7737 | 24.54 | 25.7247 | 27.21 | 29.0004
Max | 27.8881 | 24.7117 | 26.1858 | 25.6222 | 24.9693 | 22.3077 | 20.8154 | 18.6695 | 18.2394 | 17.9305 | 16.4463 | 16.5561 | 15.8173 | 17.0148 | 17.3867 | 19.4052 | 18.6381 | 19.7658 | 19.3855 | 19.2425 | 20.0334 | 21.1043 | 21.7721 | 22.4494 | 23.5378 | 24.3797 | 25.3295 | 26.5503 | 27.4985 | 28.7587 | 30.4091
At Max (LIN) | 23.0538 | 21.5913 | 20.0532 | 20.3857 | 22.0652 | 18.0222 | 10.8511 | 13.3234 | 14.3752 | 12.4535 | 13.4312 | 11.7989 | 14.4098 | 14.397 | 15.7731 | 16.5975 | 16.9488 | 17.5004 | 17.9351 | 18.1523 | 19.6348 | 20.299 | 21.2116 | 22.1651 | 22.8671 | 24.3797 | 24.8539 | 26.303 | 27.1904 | 28.5125 | 30.3951 | 37.2377 | 33.8258
At Max (A) | 23.0538 | 21.5913 | 20.0532 | 20.3857 | 22.0652 | 18.0222 | 10.8511 | 13.3234 | 14.3752 | 12.4535 | 13.4312 | 11.7989 | 14.4098 | 14.397 | 15.7731 | 16.5975 | 16.9488 | 17.5004 | 17.9351 | 18.1523 | 19.6348 | 20.299 | 21.2116 | 22.1651 | 22.8671 | 24.3797 | 24.8539 | 26.303 | 27.1904 | 28.5125 | 30.3951 | 37.2377 | 33.8258

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 104.6494 | 102.8939 | 100.7322 | 98.2897 | 101.5411 | 101.7613 | 104.9575 | 107.4194 | 104.0327 | 104.8289 | 107.8847 | 112.1869 | 118.6222 | 123.5677 | 125.9987 | 132.911 | 135.3404 | 143.4319 | 137.7129 | 137.5104 | 138.317 | 136.6882 | 133.6147 | 132.1683 | 132.6098 | 145.1199 | 150.0379 | 147.9029 | 138.1608 | 132.9907 | 123.407 | 154.1625 | 153.2307
SEL | 119.8081 | 118.0526 | 115.8909 | 113.4485 | 116.6999 | 116.92 | 120.1163 | 122.5782 | 119.1914 | 119.9877 | 123.0434 | 127.3456 | 133.781 | 138.7264 | 141.1574 | 148.0697 | 150.4991 | 158.5907 | 152.8716 | 152.6691 | 153.4757 | 151.847 | 148.7734 | 147.327 | 147.7686 | 160.2786 | 165.1966 | 163.0617 | 153.3196 | 148.1494 | 138.5658 | 169.3212 | 168.3894
Min | 65.8532 | 64.756 | 68.0508 | 69.2718 | 70.2434 | 64.4802 | 70.9355 | 72.1833 | 73.1293 | 75.8299 | 77.0016 | 77.3668 | 77.2114 | 79.0599 | 80.4273 | 81.0836 | 82.6766 | 85.9883 | 86.8515 | 95.5681 | 92.7032 | 87.5702 | 88.1872 | 88.9648 | 89.7434 | 91.4742 | 93.3157 | 102.1829 | 100.4653 | 98.7286 | 103.2745
Max | 121.7126 | 122.836 | 116.657 | 118.0076 | 120.0283 | 119.5621 | 121.3702 | 125.3494 | 120.4731 | 122.3196 | 127.2195 | 131.3272 | 138.6994 | 141.6197 | 143.0387 | 150.5005 | 151.455 | 158.7512 | 153.4153 | 151.9979 | 152.5425 | 151.5307 | 149.3754 | 147.0651 | 150.7792 | 159.3656 | 163.4176 | 161.427 | 148.9316 | 145.5265 | 135.87
At Max (LIN) | 115.1314 | 108.6107 | 107.6228 | 108.4046 | 110.4464 | 110.1077 | 112.5464 | 115.783 | 114.6234 | 116.9879 | 118.8276 | 123.2468 | 126.9366 | 133.2696 | 137.0958 | 143.0291 | 147.8546 | 158.6744 | 150.1947 | 148.5086 | 150.9966 | 149.3823 | 147.3627 | 146.2742 | 144.4803 | 159.3656 | 163.4176 | 160.551 | 148.8251 | 145.5265 | 135.4445 | 167.5211 | 166.7007
At Max (A) | 115.1314 | 108.6107 | 107.6228 | 108.4046 | 110.4464 | 110.1077 | 112.5464 | 115.783 | 114.6234 | 116.9879 | 118.8276 | 123.2468 | 126.9366 | 133.2696 | 137.0958 | 143.0291 | 147.8546 | 158.6744 | 150.1947 | 148.5086 | 150.9966 | 149.3823 | 147.3627 | 146.2742 | 144.4803 | 159.3656 | 163.4176 | 160.551 | 148.8251 | 145.5265 | 135.4445 | 167.5211 | 166.7007

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 83.0223 | 78.5933 | 80.7758 | 98.1837 | 93.7546 | 95.9372 | 4.832 | 2.1825 | 99.5245 | 48.1167 | 92.4526 | 44.0983 | 94.5673 | 48.6524 | 93.9309 | 48.1167 | 90.2936 | 44.0983 | 92.1141 | 48.6905 | 82.6094 | 4.0161 | 102.0484 | 39.3592 | 93.5775 | 35.3408 | 96.627 | 39.9385 | 109.3837 | 104.3927 | 107.0389

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 38.3992 | 33.2116 | 32.9301 | 53.5605 | 48.373 | 48.0915 | -1.0335 | -0.28152 | 40.7662 | 36.5654 | 33.7334 | 32.7212 | 34.1073 | 31.9277 | 39.1594 | 37.6627 | 33.4926 | 32.9865 | 33.4072 | 32.1633 | 33.5438 | 0.3322 | 43.1221 | 29.3214 | 34.1146 | 24.5452 | 35.8837 | 23.4329 | 54.4838 | 47.3003 | 49.0398

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 153.971 | 153.02 | 151.5766 | 169.1324 | 168.1814 | 166.738 | -1.717 | -1.4434 | 167.9143 | 109.7125 | 167.0004 | 106.3805 | 165.6462 | 104.9837 | 165.562 | 110.4437 | 164.7025 | 107.1465 | 163.2917 | 105.7694 | 157.5341 | 4.5141 | 169.3146 | 102.127 | 168.5623 | 98.7651 | 167.3776 | 97.4127 | 184.3512 | 182.4291 | 180.9717