## Regina Trönningenäs24
Measurement Name | Regina Trönningenäs24 (Normal Range)
Time of run | 2020-11-20 13:55:11 (1605880511)
Duration | 18.12 s
Measurement location
Analyzer model
Serial number | 6149
Operator name
Calibration
Notes
Measurement mode | Autostore (Normal Range)
Start mode | Normal
Duration (s) | Free. Manual stop
Channel 1 | -10 dB | AC | 10Hz HP | GRAS MK01 | 0.0487309 (V)/(Pa)
Channel 2 | -10 dB | AC | 10Hz HP | GRAS MK02 | 0.0392172 (V)/(Pa)
Channel 3 | -20 dB | AC | 10Hz HP | GRAS MK03 | 0.0447595 (V)/(Pa)
Channel 4 | -20 dB | AC | 10Hz HP | Cnossos Räl 1.0 | 9.8309e-010 (V)/(m/s2)
Signal CH1 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH2 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
Signal CH4 | 20000 Hz / 51.2 kHz |  |  |  | 0.02
1/3 Octave CH1 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH2 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
1/3 Octave CH4 | 20 Hz ÷ 20 kHz |  |  | Exponential 0.125 s | 0.1
SLM CH1 |  |  |  |  | 0.01
SLM CH2 |  |  |  |  | 0.01
SLM CH4 |  |  |  |  | 0.01
Marker |  |  |  |  | 0.02
| CH1 | CH2 | CH3 | CH4
Overload count | 0 | 0 | 0 | 0
Underrange count | 0 | 0 | 0 | 0
Marker count | Aircraft | Automobile
| 0 | 0

## 1_3 Octave CH1
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 76.6494 | 72.1846 | 74.487 | 72.0823 | 71.0991 | 71.1074 | 66.9113 | 65.1842 | 64.7903 | 63.4427 | 59.9715 | 61.4881 | 63.3511 | 65.5175 | 68.7371 | 72.8315 | 82.0725 | 83.3527 | 76.7498 | 76.4932 | 73.9475 | 69.0511 | 66.4908 | 65.8335 | 65.2034 | 62.2312 | 59.2645 | 58.0415 | 54.6099 | 48.1142 | 42.2977 | 88.4416 | 87.3235
SEL | 89.2262 | 84.7614 | 87.0638 | 84.6591 | 83.6758 | 83.6842 | 79.4881 | 77.7609 | 77.3671 | 76.0194 | 72.5483 | 74.0649 | 75.9279 | 78.0943 | 81.3139 | 85.4083 | 94.6493 | 95.9295 | 89.3266 | 89.07 | 86.5243 | 81.6279 | 79.0676 | 78.4103 | 77.7802 | 74.808 | 71.8413 | 70.6183 | 67.1867 | 60.691 | 54.8745 | 101.0184 | 99.9003
Min | 50.8485 | 44.857 | 45.3338 | 52.7336 | 50.2663 | 49.4513 | 41.6217 | 38.1231 | 33.5958 | 31.4654 | 29.7965 | 32.4973 | 34.7471 | 37.4102 | 38.0353 | 38.5258 | 41.2989 | 44.2931 | 49.7798 | 40.4477 | 34.8626 | 31.7161 | 23.4671 | 21.7071 | 22.1532 | 30.5054 | 24.5829 | 26.5288 | 31.2782 | 28.9807 | 29.8358
Max | 91.6292 | 82.9273 | 86.3165 | 84.1701 | 83.4749 | 83.1175 | 78.1886 | 77.3809 | 79.1413 | 76.9424 | 70.9351 | 73.4387 | 76.2165 | 77.77 | 79.8546 | 84.9806 | 94.3644 | 97.1888 | 88.5287 | 88.7782 | 87.1462 | 81.5993 | 79.9854 | 79.2294 | 78.1515 | 75.0251 | 71.6655 | 70.1495 | 66.1698 | 60.0165 | 53.8936
At Max (LIN) | 78.7927 | 76.9315 | 80.5478 | 77.2517 | 77.0629 | 80.4634 | 75.527 | 72.889 | 74.4927 | 73.1335 | 68.7808 | 70.8 | 73.3804 | 76.1383 | 79.739 | 84.9806 | 94.3644 | 97.1888 | 87.9004 | 88.7782 | 87.1462 | 81.5799 | 79.2667 | 79.1566 | 77.444 | 75.0251 | 71.6655 | 70.0633 | 65.9663 | 60.0165 | 53.8936 | 100.5435 | 100.2704
At Max (A) | 78.7927 | 76.9315 | 80.5478 | 77.2517 | 77.0629 | 80.4634 | 75.527 | 72.889 | 74.4927 | 73.1335 | 68.7808 | 70.8 | 73.3804 | 76.1383 | 79.739 | 84.9806 | 94.3644 | 97.1888 | 87.9004 | 88.7782 | 87.1462 | 81.5799 | 79.2667 | 79.1566 | 77.444 | 75.0251 | 71.6655 | 70.0633 | 65.9663 | 60.0165 | 53.8936 | 100.5435 | 100.2704

## 1_3 Octave CH2
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 75.907 | 71.9272 | 73.0409 | 70.6003 | 70.1798 | 70.7852 | 67.0484 | 65.894 | 65.1849 | 62.5119 | 60.6861 | 61.3934 | 63.8859 | 66.4889 | 69.3797 | 73.8631 | 83.062 | 84.2519 | 77.411 | 77.9174 | 75.4614 | 68.9758 | 65.4416 | 65.245 | 65.2584 | 61.665 | 58.7471 | 57.3415 | 52.6852 | 47.4046 | 42.2547 | 89.0685 | 88.2625
SEL | 88.4838 | 84.5039 | 85.6177 | 83.177 | 82.7566 | 83.362 | 79.6252 | 78.4708 | 77.7617 | 75.0887 | 73.2629 | 73.9702 | 76.4627 | 79.0657 | 81.9565 | 86.4399 | 95.6388 | 96.8287 | 89.9878 | 90.4942 | 88.0382 | 81.5526 | 78.0184 | 77.8218 | 77.8352 | 74.2418 | 71.3239 | 69.9183 | 65.262 | 59.9813 | 54.8315 | 101.6452 | 100.8393
Min | 50.9097 | 51.4285 | 49.9152 | 49.6805 | 50.7189 | 48.1044 | 41.4984 | 39.8497 | 34.0103 | 32.7152 | 31.3626 | 35.4946 | 36.1303 | 39.3895 | 38.1368 | 37.7382 | 41.1638 | 44.8442 | 49.9084 | 39.3965 | 35.769 | 31.6215 | 24.969 | 23.6534 | 23.0892 | 27.0381 | 25.5264 | 27.1303 | 29.062 | 29.4216 | 31.3002
Max | 90.2964 | 82.1411 | 86.0554 | 81.6058 | 81.5672 | 84.0726 | 78.0709 | 77.6505 | 77.4551 | 73.5169 | 73.4217 | 73.4312 | 77.6638 | 78.7901 | 82.4275 | 85.6868 | 95.4435 | 97.8109 | 88.9766 | 90.4948 | 89.0919 | 81.4872 | 78.3589 | 78.1322 | 77.6822 | 74.5985 | 71.2471 | 69.2534 | 64.616 | 59.7287 | 54.863
At Max (LIN) | 77.8796 | 76.0475 | 79.0219 | 75.9899 | 76.7191 | 77.575 | 75.6411 | 73.9 | 75.6574 | 72.813 | 70.2991 | 71.934 | 73.147 | 76.8191 | 80.5461 | 85.6868 | 94.9556 | 97.8109 | 88.8933 | 90.4948 | 89.0919 | 81.1411 | 78.3589 | 78.1322 | 77.6822 | 74.5985 | 70.9729 | 69.2534 | 64.616 | 59.7287 | 54.863 | 101.2305 | 101.0697
At Max (A) | 77.8796 | 76.0475 | 79.0219 | 75.9899 | 76.7191 | 77.575 | 75.6411 | 73.9 | 75.6574 | 72.813 | 70.2991 | 71.934 | 73.147 | 76.8191 | 80.5461 | 85.6868 | 94.9556 | 97.8109 | 88.8933 | 90.4948 | 89.0919 | 81.1411 | 78.3589 | 78.1322 | 77.6822 | 74.5985 | 70.9729 | 69.2534 | 64.616 | 59.7287 | 54.863 | 101.2305 | 101.0697

## 1_3 Octave CH4
Spectrum | 20 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | SUM(LIN) | SUM(A)
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
Leq | 94.8767 | 97.2698 | 101.05 | 100.6372 | 106.0385 | 108.7942 | 106.512 | 102.1462 | 107.3474 | 107.9981 | 110.0656 | 117.5931 | 123.4527 | 127.9429 | 132.7167 | 139.9318 | 153.7983 | 156.7869 | 147.7726 | 150.2125 | 142.9426 | 140.3357 | 136.7818 | 138.1454 | 142.4274 | 144.7891 | 142.2115 | 142.9322 | 133.1892 | 127.14 | 116.3036 | 160.0981 | 160.0626
SEL | 107.4535 | 109.8466 | 113.6268 | 113.214 | 118.6153 | 121.371 | 119.0888 | 114.723 | 119.9242 | 120.5749 | 122.6424 | 130.1699 | 136.0295 | 140.5197 | 145.2935 | 152.5086 | 166.3751 | 169.3637 | 160.3494 | 162.7893 | 155.5193 | 152.9125 | 149.3586 | 150.7222 | 155.0042 | 157.3659 | 154.7883 | 155.509 | 145.766 | 139.7168 | 128.8804 | 172.6749 | 172.6393
Min | 66.105 | 64.2264 | 62.7909 | 68.2649 | 71.1426 | 72.3115 | 70.0738 | 72.7829 | 73.0734 | 75.6747 | 76.1874 | 77.2931 | 78.6063 | 80.2255 | 80.5998 | 83.3198 | 88.7062 | 95.5105 | 103.2465 | 93.1052 | 88.9975 | 87.3369 | 88.0554 | 88.8621 | 90.6519 | 98.1062 | 100.7927 | 108.7759 | 106.1201 | 102.7487 | 99.9317
Max | 108.4612 | 110.6506 | 116.5412 | 117.7734 | 122.4407 | 125.2108 | 122.028 | 120.396 | 126.8361 | 127.3914 | 128.3556 | 135.702 | 141.683 | 144.8973 | 148.3739 | 153.9306 | 166.9326 | 170.3813 | 160.6694 | 163.2669 | 155.4056 | 153.0893 | 151.574 | 152.5793 | 157.772 | 157.9488 | 153.7404 | 155.7987 | 144.7044 | 138.8382 | 128.4203
At Max (LIN) | 89.8157 | 95.4429 | 98.3115 | 115.0366 | 122.1812 | 121.5688 | 120.9648 | 120.396 | 126.8361 | 127.3914 | 128.3556 | 135.702 | 141.683 | 144.8973 | 148.3739 | 153.9306 | 166.2406 | 170.3813 | 160.6694 | 161.5226 | 154.6492 | 153.0893 | 151.574 | 152.5793 | 157.772 | 157.5405 | 153.4012 | 153.3276 | 144.4117 | 138.8382 | 128.4203 | 173.1252 | 173.0905
At Max (A) | 89.8157 | 95.4429 | 98.3115 | 115.0366 | 122.1812 | 121.5688 | 120.9648 | 120.396 | 126.8361 | 127.3914 | 128.3556 | 135.702 | 141.683 | 144.8973 | 148.3739 | 153.9306 | 166.2406 | 170.3813 | 160.6694 | 161.5226 | 154.6492 | 153.0893 | 151.574 | 152.5793 | 157.772 | 157.5405 | 153.4012 | 153.3276 | 144.4117 | 138.8382 | 128.4203 | 173.1252 | 173.0905

## SLM CH1
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 89.577 | 87.1986 | 87.8289 | 102.1586 | 99.7802 | 100.4105 | 7.1222 | 0.63025 | 100.4645 | 65.7526 | 100.238 | 57.3978 | 100.3298 | 62.6097 | 97.1912 | 68.3296 | 96.5334 | 59.0808 | 96.7689 | 63.9619 | 92.6092 | 5.4106 | 103.5572 | 59.8558 | 101.6449 | 51.2126 | 101.7487 | 56.0888 | 112.114 | 110.9845 | 112.001

## SLM CH2
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 90.0561 | 88.1206 | 88.6248 | 102.6377 | 100.7022 | 101.2064 | 9.8783 | 0.50425 | 101.1582 | 64.0239 | 101.0069 | 56.0846 | 101.0723 | 57.3271 | 97.8516 | 64.1133 | 97.378 | 57.516 | 97.5592 | 57.3271 | 93.5051 | 5.3845 | 103.1773 | 55.3558 | 102.5262 | 48.7585 | 102.5884 | 48.5696 | 112.83 | 113.6157 | 112.8098

## SLM CH4
Spectrum | LZeq | LAeq | LCeq | LZE | LAE | LCE | LC - LA | LCeq - LAeq | LZFmax | LZFmin | LAFmax | LAFmin | LCFmax | LCFmin | LZSmax | LZSmin | LASmax | LASmin | LCSmax | LCSmin | LAIeq | LAIeq - LAeq | LZImax | LZImin | LAImax | LAImin | LCImax | LCImin | LZpeak | LApeak | LCpeak
| dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB | dB
| 159.9381 | 159.9018 | 159.7516 | 172.5197 | 172.4834 | 172.3332 | -1.4272 | -0.15012 | 173.5811 | 116.7889 | 173.5368 | 114.4576 | 173.4282 | 112.8702 | 169.506 | 119.0244 | 169.458 | 118.7353 | 169.3395 | 117.8974 | 166.8106 | 6.9089 | 176.2247 | 111.2153 | 176.1177 | 111.3562 | 176.053 | 110.5966 | 189.932 | 191.7501 | 188.0241